## stable rc
D0901920-v13 H1 COC Ray Coordinates | [5 empty] | ADLIGO/IFO/D0901920-v13 H1 COC Ray Coordinates_12-7-12.xlsx
2012-12-07
Note:
1 | The recycling cavity lengths are specified in Ref:T0900043-10; the ITM and ETM were moved per E1200345
2 | using as-built wedge angles
3 | using IO's x-coord for PR3; new y-coord and z-coord determined by wedge angles
4 | using IO's x & y-coords for PR2 and PRM; new z-coord determined by wedge angles
5 | using v12 y-coord for SR3; new x-coord and z-coord determined by wedge angles
6 | using v12 x & y-coords for SR2 and SRM; new z-coord determined by wedge angles
WEDGE
| horizontal | vertical | thick side
ITMX 10? |  | 0.077 | down
ITMY 11? |  | 0.076 | down
ETMX |  | ?
ETMY |  | ?
CP-x 01 | 0.069 |  | -Y
CP-y 09? | 0.069 |  | -X
BS 06 | 0.076 |  | +X, +Y
PRM3/SRM3 |  | 0.1 | down
PRM2/SRM2 |  | 1 | down
PRM/SRM |  | 1 | down
Schnupp Assymetry | 80
Schnupp correction | 0
RAY COORDINATES, mm
OPTIC | ZEMAX |  |  | GLOBAL |  |  | LOCAL |  |  | CHAMBER
| X | Y | Z | X | Y | Z | X | Y | Z
ITMX-RADIUS | 80 | -200 | 5013 | 5013 | -200 | -80 | 433 | -200 | -80 | LBSC3
ITMX-CP | 80.0121 | -200 | 4793 | 4793 | -200 | -80.0121 | 213 | -200 | -80.0121 | LBSC3
ITMX ELLIPTICAL BAF | 82.396 | -202.1358 | 752.1932 | 752.1932 | -202.1358 | -82.396 | -3999247.8068 | -202.1358 | -82.396 | LBSC2
BSAR ELLIPTICAL BAF | 82.9068 | -202.5935 | -92.31 | -92.31 | -202.5935 | -82.9068 | 20029.69 | -202.5935 | -82.9068 | LBSC2
BS AR | 82.9336 | -202.6175 | -136.616 | -136.616 | -202.6175 | -82.9336 | -136.616 | -202.6175 | -82.9336 | LBSC2
PR3 | 94.7787 | -173.9534 | -19740.4961 | -19740.4961 | -173.9534 | -94.7787 | 381.5039 | -173.9534 | -94.7787 | LHAM2
PR2 | 84.5276 | -530.3785 | -3581.6897 | -3581.6897 | -530.3785 | -84.5276 | 249.3103 | -530.3785 | -84.5276 | LHAM3
PRM | 95.7963 | -628.0012 | -20194.3105 | -20194.3105 | -628.0012 | -95.7963 | -72.3105 | -628.0012 | -95.7963 | LHAM2
ITMY-RADIUS | 80 | 4983.1001 | -200 | -200 | 4983.1001 | -80 | -200 | 403.1001 | -80 | LBSC1
ITMY-CP | 80.0119 | 4763.1001 | -200 | -200 | 4763.1001 | -80.0119 | -200 | 183.1001 | -80.0119 | LBSC1
ITMY ELLIPTICAL BAF | 82.3468 | 751.7997 | -202.1198 | -202.1198 | 751.7997 | -82.3468 | -202.1198 | -3828.2003 | -82.3468 | LBSC2
BSHR ELLIPTICAL BAF | 82.88 | -141.4588 | -202.6039 | -202.6039 | -141.4588 | -82.88 | 22489.3961 | -141.4588 | -82.88 | LBSC2
BS HR | 82.9053 | -183.886 | -202.6269 | -202.6269 | -183.886 | -82.9053 | -202.6269 | -183.886 | -82.9053 | LBSC2
BS ARS | 82.9335 | -249.8175 | -183.9911 | -183.9911 | -249.8175 | -82.9335 | -183.9911 | -249.8175 | -82.9335 | LBSC2
SR3 | 94.494 | -19615.8945 | -174.2223 | -174.2223 | -19615.8945 | -94.494 | -174.2223 | 506.1055 | -94.494 | LHAM5
SR2 | 104.3625 | -4178.1001 | -594.0996 | -594.0996 | -4178.1001 | -104.3625 | -594.0996 | -347.1001 | -104.3625 | LHAM4
SRM | 113.2179 | -19908.5801 | 305.4 | 305.4 | -19908.5801 | -113.2179 | 305.4 | 213.4199 | -113.2179 | LHAM5
OUTPUT FARADAY IN | 117.1874 | -20474.1094 | 337.61 | 337.61 | -20474.1094 | -117.1874 | 337.61 | -352.1094 | -117.1874 | LHAM5
OUTPUT FARADAY OUT | 117.4469 | -20976.8887 | 362.2704 | 362.2704 | -20976.8887 | -117.4469 | 362.2704 | -854.8887 | -117.4469 | LHAM5
ISC STEERING MIRROR | 118.7514 | -23317 | 507.6331 | 507.6331 | -23317 | -118.7514 | 507.6331 | -625 | -118.7514 | LHAM6
ETMX | 80 | -200 | 3999498 | 3999498 | -200 | -80 | -502 | -200 | -80 | LBSC9
ETMY | 80 | 3999468.1 | -200 | -200 | 3999468.1 | -80 | -200 | -531.9 | -80 | LBSC10
|  | ZEMAX |  |  | GLOBAL |  |  | GLOBAL
OPTIC | CHAMBER | INCIDENT RAY VECTOR COSINES |  |  | INCIDENT RAY VECTOR COSINES |  |  | INCIDENT RAY VECTOR ANGLES, deg
|  | X | Y | Z | X | Y | Z | X | Y | Z
ITMX-RADIUS | LBSC3 | 0 | 0 | -1 | -1 | 0 | 0 | 180 |  | 0
ITMX-CP | LBSC3 | 0.0006048 | 0 | -1 | -1 | 0 | -0.0006048 | 180 |  | -0.034652
ITMX ELLIPTICAL BAF | LBSC2 | 0.0006048 | -0.00054196 | -1 | -1 | -0.00054196 | -0.0006048 | 180.0311 |  | -0.034652
BSAR ELLIPTICAL BAF | LBSC2 | 0.0006048 | -0.00054196 | -1 | -1 | -0.00054196 | -0.0006048 | 180.0311 |  | -0.034652
BS AR | LBSC2 | 0.0006048 | -0.00054196 | -1 | -1 | -0.00054196 | -0.0006048 | 180.0311 |  | -0.034652
PR3 | LHAM2 | 0.0006048 | 0.00050831 | -1 | -1 | 0.00050831 | -0.0006048 | 179.9709 |  | -0.034652
PR2 | LHAM3 | -0.00063426 | -0.022059 | 0.99976 | 0.99976 | -0.022059 | 0.00063426 | -1.264 |  | 0.03634
PRM | LHAM2 | 0.00068022 | -0.0058651 | -0.99998 | -0.99998 | -0.0058651 | -0.00068022 | 180.3361 |  | -0.038974
ITMY-RADIUS | LBSC1 | 0 | -1 | 0 | 0 | -1 | 0 |  | 180 | 0
ITMY-CP | LBSC1 | 0.00059694 | -1 | 0 | 0 | -1 | -0.00059694 |  | 180 | -0.034202
ITMY ELLIPTICAL BAF | LBSC2 | 0.00059694 | -1 | -0.00054196 | -0.00054196 | -1 | -0.00059694 |  | 179.9689 | -0.034202
BSHR ELLIPTICAL BAF | LBSC2 | 0.00059694 | -1 | -0.00054196 | -0.00054196 | -1 | -0.00059694 |  | 179.9689 | -0.034202
BS HR | LBSC2 | 0.00059694 | -1 | -0.00054196 | -0.00054196 | -1 | -0.00059694 |  | 179.9689 | -0.034202
BS ARS | LBSC2 | internal ray
SR3 | LHAM4 | 0.00059694 | -1 | 0.00050443 | 0.00050443 | -1 | -0.00059694 |  | 180.0289 | -0.034202
SR2 | LHAM5 | 0.000639 | 0.99963 | -0.027191 | -0.027191 | 0.99963 | -0.000639 |  | 1.5581 | -0.036612
SRM | LHAM5 | 0.00056203 | -0.99837 | 0.057086 | 0.057086 | -0.99837 | -0.00056203 |  | 183.2726 | -0.032202
OUTPUT FARADAY IN | LHAM5 | 0.00055789 | -0.99837 | 0.057085 | 0.057085 | -0.99837 | -0.00055789 |  | 183.2725 | -0.031965
OUTPUT FARADAY OUT | LBSC9 | 0.00055789 | -0.99775 | 0.067103 | 0.067103 | -0.99775 | -0.00055789 |  | 183.8476 | -0.031965
ISC STEERING MIRROR | LHAM6 | 0.00055789 | -0.99813 | 0.061199 | 0.061199 | -0.99813 | -0.00055789 |  | 183.5087 | -0.031965
ETMX | LBSC9
ETMY | LBSC10
CAVITY LENGTH
| ACTUAL | DESIGN | DIFF
AC length | 3994485 | 3994485 | 4.9e-05
PRC length | 57656.4533 | 57656 | -0.45329
SRC length | 56008.0157 | 56008 | -0.015717
Arm Cavity X length | 3994485 | 3994485 | 0
Arm Cavity Y length | 3994484.9999 | 3994485 | 9.8e-05
Schnupp Assymmetry | 80 | 80 | 0
n (1064nm) | 1.4496
GLOBAL
CHAMBER
LBSC1 |  |  |  | 0 | 4580 | 0
LBSC2 |  |  |  | 0 | 0 | 0
LBSC3 |  |  |  | 4580 | 0 | 0
LBSC9 |  |  |  | 4000000 | 0 | 0
LBSC10 |  |  |  | 0 | 4000000 | 0
LHAM1 |  |  |  | -22692 | 0 | 0
LHAM2 |  |  |  | -20122 | 0 | 0
LHAM3 |  |  |  | -3831 | 0 | 0
LHAM4 |  |  |  | 0 | -3831 | 0
LHAM5 |  |  |  | 0 | -20122 | 0
LHAM6 |  |  |  | 0 | -22692 | 0
z | x | y | Comment | distance | index | optical path | average length | Schnupp | design length
ACTUAL SPACING
POWER RECYCLING CAVITY
Y-ARM
-80 | -200 | 3999468.1 | ETMY
-80 | -200 | 4983.1001 | ITMY-RADIUS |  |  | 0
-80 | -200 | 4883.1001 | ITMY-RADIUS | 100 | 1.4496 | 144.963
-80 | -200 | 4783.1001 | ITMY-RADIUS | 100 | 1.4496 | 144.963
-80 | -200 | 4763.1001 | ITMY-CP | 20 | 1 | 20
-80 | -200 | 4663.1001 | ITMY-CP | 100 | 1.4496 | 144.963
-82.9053 | -202.6269 | -183.886 | BSHR | 4846.9876 | 1 | 4846.9876
-94.7787 | -19740.4961 | -173.9534 | PRM3 | 19537.8753 | 1 | 19537.8753
-84.5276 | -3581.6897 | -530.3785 | PRM2 | 16162.7401 | 1 | 16162.7401
-95.7963 | -20194.3105 | -628.0012 | PRM | 16612.9115 | 1 | 16612.9115
57615.4036
X-ARM
-80 | 3999498 | -200 | ETMX
-80 | 5013 | -200 | ITMX-RADIUS |  |  | 0
-80 | 4913 | -200 | ITMX-RADIUS | 100 | 1.4496 | 144.963
-80 | 4813 | -200 | ITMX-RADIUS | 100 | 1.4496 | 144.963
-80 | 4793 | -200 | ITMX-CP | 20 | 1 | 20
-80 | 4693 | -200 | ITMX-CP | 100 | 1.4496 | 144.963
-82.9336 | -136.616 | -202.6175 | BS AR | 4829.6176 | 1 | 4829.6176
-82.9053 | -202.6269 | -183.886 | BSHR | 68.6172 | 1.4496 | 99.4695
-94.7787 | -19740.4961 | -173.9534 | PRM3 | 19537.8753 | 1 | 19537.8753
-84.5276 | -3581.6897 | -530.3785 | PRM2 | 16162.7401 | 1 | 16162.7401
-95.7963 | -20194.3105 | -628.0012 | PRM | 16612.9115 | 1 | 16612.9115
[6 empty] | 57697.503 | 57656.4533 | 82.0994
z | x | y | Comment | distance | index | optical path | average length | Schnupp | design length
ACTUAL SPACING
SIGNAL RECYCLING CAVITY
Y-ARM
-80 | -200 | 4983.1001 | ITMY-RADIUS |  |  | 0
-80 | -200 | 4883.1001 | ITMY-RADIUS | 100 | 1.4496 | 144.963
-80 | -200 | 4783.1001 | ITMY-RADIUS | 100 | 1.4496 | 144.963
-80.0119 | -200 | 4763.1001 | ITMY-CP | 20 | 1 | 20
-80.0119 | -200 | 4663.1001 | ITMY-CP | 100 | 1.4496 | 144.963
-82.9053 | -202.6269 | -183.886 | BSHR | 4846.9876 | 1 | 4846.9876
-82.9335 | -183.9911 | -249.8175 | BS ARS | 68.5147 | 1.4496 | 99.3209
-94.494 | -174.2223 | -19615.8945 | SRM3 | 19366.083 | 1 | 19366.083
-104.3625 | -594.0996 | -4178.1001 | SRM2 | 15443.5064 | 1 | 15443.5064
-113.2179 | 305.4 | -19908.5801 | SRM | 15756.1791 | 1 | 15756.1791
55966.966
X-ARM
-80 | 5013 | -200 | ITMX-RADIUS | 0 | 1.4496 | 0
-80 | 4913 | -200 | ITMX-RADIUS | 100 | 1.4496 | 144.963
-80 | 4813 | -200 | ITMX-RADIUS | 100 | 1.4496 | 144.963
-80.0121 | 4793 | -200 | ITMX-CP | 20 | 1 | 20
-80.0121 | 4693 | -200 | ITMX-CP | 100 | 1.4496 | 144.963
-82.9336 | -136.616 | -202.6175 | BS AR | 4829.6175 | 1 | 4829.6175
-82.9053 | -202.6269 | -183.886 | BSHR | 68.6172 | 1.4496 | 99.4695
-82.9335 | -183.9911 | -249.8175 | BSARS | 68.5147 | 1.4496 | 99.3209
-94.494 | -174.2223 | -19615.8945 | SRM3 | 19366.083 | 1 | 19366.083
-104.3625 | -594.0996 | -4178.1001 | SRM2 | 15443.5064 | 1 | 15443.5064
-113.2179 | 305.4 | -19908.5801 | SRM | 15756.1791 | 1 | 15756.1791
[6 empty] | 56049.0654 | 56008.0157 | 82.0994