Notes about fused silica work in Glasgow

RW October 29, 2009

LIGO-L0900223-v1

Summary and Overall Impression

------------------------------------

We should have patience with the fused quartz suspension. The pulling techniques and

the welding are not as difficult as one first imagines. Excepting the tendency to fracture,

fused silica is an easy material to work. It is forgiving and the skill required to

weld and form it is not more difficult than to join metals, certainly easier than many other

glasses.

The Glasgow group has now successfully constructed test suspensions several times.

My assessment is that the difficulties experienced in hanging a suspension at MIT

came from inexperience with the integration of the many steps involved. The steps

individually had been qualified but the experience of the overall assembly had

not been practiced enough.

I fully expect that we will be making successful hangs and achieving more reliability

in the near future.

People and commitment

---------------------

The Glasgow group has made a significant investment in the fused silica science,

technology and fabrication methods. It is clear to me that they are eager

to see the investment they have made through to a successful application in

the detection of gravitational waves. The group developing the fused silica technology

consists of:

Angus Bell

Alan Cumming

Liam Cunningham

Giles Hammond

Alastair Heptonstall

R. Kumar

Kirill Tockmackou

Marielle van Veggel

The different steps involved in the fused silica suspension were developed

by different people in the group. Specific individuals became expert in the fiber

pulling system, the welding techniques, the chemical bonding techniques, the design of fastners,

the testing procedures and fiber modeling. It is only lately that all of this has come

together. As a contingency, there is continuing work on flame welding. The current strategy

is to develop a core group with experience in all the steps, who, if needed, can augment

the LIGO staff responsible for suspension construction, assembly and installation.

A significant addition to the group is the arrival of Angus Bell after the loss of both Russell

Jones and Ken Strain due to illness. Bell's experience is as an engineering physicist

in industry and government laboratory on laser systems and precision measurement.

What went wrong at MIT

----------------------

The two assembly and hanging failures at MIT came after the Glasgow group had only hung one

complete trial suspension. In my opinion they tried to export the integrated process too soon.

They were still learning how to do it and even now they are iterating the process.

Although there is not enough information to draw a definite conclusion of what went wrong

at MIT, subsequent analysis and discussion by the Glasgow group led to a forensic report which looked at

a range of possibilities. The environmental conditions in Glasgow, where there have now been several

successful hangings, are not significantly different than those at MIT. Neither place uses clean room

facilities nor is there control of humidity or air currents. The first hanging at MIT was done with almost

the same techniques that were successful at Glasgow. The welding was done by the same person. The fibers

were strength tested prior to welding although for 1 to 2 minutes at 12.5 kg (at MIT) and 5 minutes

at 15 kg (at Glasgow). There is a possibility that the fused quartz ear was damaged prior to the

welding and that this was the cause of the failure. A nick was found in an edge of the ear

and no careful inspection was made of the glass with strong illumination in a search for cracks.

The second hanging at MIT was done in a hurry. There was no strength test done on the fibers

prior to welding. In subsequent hangings at Glasgow it was found that for a variety or reasons 1 out of

3 fibers that had been formed and tested earlier failed the prewelding strength test. This test (until

one understands more about the way the fibers become vulnerable) cannot be eliminated from the process.

My assessment is that the Glasgow group did not have enough experience with the steps in the hanging process

before coming to MIT, They did not realize that the hanging process

which includes not only the welding but also stress release and annealing and straightening

steps as well as time to look at the welds from different angles and make judgements about rework,

take longer than they gave themselves. It looks as though the hanging takes two days at the minimum

in the hands of two experienced people.

Based on the current experiences in Glasgow, Angus Bell has urged the policy of pulling and

characterizing 12 fibers for each hanging of 4 fibers and eight welds.

Assessment of working with fused silica relative to other materials

-------------------------------------------------------------------

I was particularly interested in the welding process as that will continue to be the one which needs

the most skill and experience. It has never been easy in any material joining to automate the

process although more attempts could be made with laser welding since all the commands given

by the welder are recorded and there is more control in laser welding process than with a torch.

The most important property of the fused silica relevant for the welding process is that the glass

is forgiving. The viscosity change over the temperature range where the welding can occur is small

enough so that there are no time critical steps. One can work to flow the materials from the joining

pieces together without danger of a fluid runaway or if one lets the material cool too quickly to lose

the joint through thermal stress cracking. A weld can be made then cooled without annealling, inspected

and reheated without incident. The weld can be worked and reworked limited only by the

patience of the welder. The fused silica also acts as its own indicator of too high

a temperature (and thereby a dangerous low viscosity) by evaporating, leaving a white silicon

dioxide deposit on nearby cooler surfaces. The silicon dioxide "particle smoke" is easy to see

even through welder's glass since its emissivity in the visible is higher than the fused silica.

Working fused silica is significantly easier than other glasses many of which tend to break due to

thermal stresses as they cool without sufficent annealing. They also have a much greater range

of viscosities around the fusion temperatures. Determining if a weld is good, has full penetration

and is free of cracks is actually easier with fused silica than metals. The material is transparent

and one can see discontinuities in the melted region easily understrong illumination. The telltale

for a good weld is the radius and continuity of the meniscus that has formed at the join. Again,

visual inspection under good lighting tells the story. It may also be advantageous to use

video cameras after heating to inspect the weld with magnification from different sides. The key

issue is to see the continuous meniscus from the rod at the fiber end to the horn on the fused quartz ear.

In my experience with glass working, welding and hard and soft soldering, I would rate the welding

of fused silica in the ordered list below with 10 being the most difficult and 1 the easiest.

10 Aluminium welding

soft soldering without being able to move the piece

soda glass fusion with gravity assist

borosilicate glass fusion with gravity assist

hard soldering without being able to move the piece

hard soldering with gravity assist

fused silica welding

stainless steel welding

soft soldering with gravity assist

1  gluing

Specific technical issues and possible suggestions

---------------------------------------------------

Fiber breaking

---------------

The key problem with the technology is ease of breaking the fibers. The

most likely source is surface damage and/or chemistry which causes a

weakness to form that becomes a source for a propagating fissure. The

energy to propagate the fissure and extend it comes from the work done

by the tension in the fiber as the crack opens. It is a run away

phenomena leading to a shock front. The optical fiber industry uses a plastic

cladding to avoid the formation of surface damage. Coatings could be developed

to inhibit the damage but it requires research to determine that the coatings

do not compromise the fiber mechanical losses and increase suspension thermal noise.

At this time the only means for reducing the probability of producing damage

on the surface is to avoid contact with the fiber and to store the fiber in a benign

atmosphere.

Here there is room for significant improvement to reduce the probability of fiber

damage.

1) To facilitate handling in the pulling machine and in subsequent testing apparatus

it would be useful to attach metal holders to both ends of the rod from which the

fiber is pulled. The holders are made to be concentric with the rod and serve to align

the fiber once pulled. They are removed only at the very end when the fiber with its

rod stubs are cut to length for the welding. The holders need to be large enough so that

there is no chance that a glove or knuckle can accidentally touch the wire as it

is transported between the different measuring and testing rigs and storage bins.

Glasgow is already adopting this improvement and it needs to be applied at MIT.

2) The long term storage of the fibers should be in dry hydrocarbon free nitrogen (boil off from

liquid nitrogen) or better still vacuum (Sam Waldman suggestion). The storage of the finished

suspensions should also be in vacuum or at worst dry nitrogen.

Damage from fiber breakage in the interferometer

------------------------------------------------

There is significant energy stored in the loaded fiber, about 1/3 of a Joule is released

When a fiber breaks, The shards can attain close to sonic speeds and can cause damage to

objects in their path. It would be important to protect the optic surfaces from direct hits

by the shards. LIGO will need shields to keep the shrapnel from a broken fiber contained

and to avoid any direct hit on an optical surface or polished surface used in an actuator.

Tolerance to fiber length fit

------------------------------

Another factor that makes working with the fused silica fibers less onerous than I thought

is the 1% stretch of the fiber between unloaded to loaded conditions. The fiber stretches

6mm. This serves to reduce the accuracy required in fitting the fiber length to equalize

the fiber tensions. The technique with the current jigging establishes length equality to

+- 1/2mm.  After welding all four fibers on the test mass are put under small tension and

the rod stubs are heated for a final anneal and length normalization. The results show good

uniformity in the violin mode frequencies. Before seeing the process, I had assumed the

distribution of the load between the fibers was a major concern. It is not.

Change in the ear and horn design

-----------------------------------

A small change in the geometry of the horn may pay dividends in ease of welding. Currently

the rod is welded to the square horn directly. The cross section of the horn is larger than

the rod  and in the welding process more heat has to be applied to the horn than the rod to

make a good weld. The meniscus between the rod and the horn is the critical part of the weld.

A suggestion is to make a heat relief, as is done in metal welding. This could be done by

extending the horn by several millimeters with a smaller piece (either round or square) with

the same cross section as the rod. The heating during the welding would be uniform and the

extra length of the horn would allow for more weld attempts should there be a fiber breakage.

The meniscus between the welded sections would be easier to see.

The sacrifice in thermal noise does not look serious using the results in the published paper

on fiber modeling.

Mechanism for loading the fibers after welding

----------------------------------------------

An important point raised by Angus Bell is the possibility that the release of the lower mass

is not uniform as the fibers begin to be loaded. The release is carried out by using a scissors jack

under a table forced to move on ground rod guides. There may well be binding at these

guides and it would be useful to measure the motion on release. Should it be a stick/slip

motion it would be worthwhile to use Thomson linear bearings or teflon sleeves

on these ground rods.

Welded rod misalignment

-------------------------

Need to understand how the misalignment of the fiber pull direction with respect to the

axis of the welded rod can cause failure and if so what are the requirements for colinearity.

A simple model of stress to balance the torques gives smaller stress in the rod than in the

fiber for even a 10 degree misalignment. Is the ultimate shear stress significantly smaller

than the ultimate tensile or compression strength?

If the alignment is truly critical it may well be worthwhile to sight along the rod and fiber

with a magnifying theodolite or camera to measure the angles from two almost orthogonal

directions. Currently one of the final annealing and alignment steps is to put the fibers

under a gentle load and reheat the welded sections to straighten the welded connections (the

same step used for load equalization of the fibers).

Information transfer and education

-------------------------------------

It would be useful for the Glasgow group to make a movie of the steps in the suspension assembly.

The movie would be best with narration. An atlas of pictures showing good and bad welds would also

help in training new people.