## Slide 1: LLO CDS Electronics Rack Naming Scheme
CDS racks are named according to site, IFO designation, subsystem use, station (location) and sequence.
Site | Description | IFO | Subsystem | Description | Station | Description | Rack Number
L | Livingston | 1 | AOS | Auxiliary Optics | C | [Corner] Common | 1
H | Hanford | 2 | DAQ | Data Acquisition | MS | Mass Storage | 2
M | MIT |  | ETR | Electronics Test Rack | R | [Corner] Remote (Field) | 3
C | CIT |  | FAC | Facilities and Infrastructure | XC | X-End Common | 4
 |  |  | ISC | IFO Sensing and Control | XR | X-End Remote [Field] | 5
 |  |  | LDR | Laser Diode Room | YC | Y-End Common | 6
 |  |  | PEM | Physical Environment Monitoring | YR | Y-End Remote [Field] | 7
 |  |  | PSL | Pre-stabilized Laser |  |  | 8
 |  |  | SEI | Seismic Isolation |  |  | 9
 |  |  | SUS | Suspensions |  |  | 10
 |  |  | TCS | Thermal Compensation System |  |  | 11
 |  |  | VAC | Vacuum |  |  | 12
 |  |  | VDC | Voltage - DC |  |  | etc.

## Slide 2: LLO CDS Electronics Rack Naes
Rack | Rack Designator | Subsystem | Location | Comment
1 | L1-TCS-C1 | AOS | Common Electronics Room | 
2 | L1-TCS-R1 | AOS | Remote Electronics Rack | 
3 | L1-TCS-R2 | AOS | Remote Electronics Rack | 
4 | L1-TCS-XC1 | AOS | X End Remote Electronics Rack | 
5 | L1-TCS-XR1 | AOS | X End Remote Electronics Rack | 
6 | L1-TCS-YC1 | AOS | Y End Common Electronics Rack | 
7 | L1-TCS-YR1 | AOS | Y End Remote Electronics Rack | 
8 | L1-PEM-C1 | DAQ | Common Electronics Room | 
9 | L1-ETR-01 | DAQ | DAQ Electronics Test Rack | DAQ Electronics Test Rack
10 | L1-PEM-XC1 | DAQ/ISC | X End Common Electronics Rack | 
11 | L1-PEM-YC1 | DAQ/ISC | Y End Common Electronics Rack | 
12 | L1-ISC-C1 | ISC | Common Electronics Room | 
13 | L1-ISC-C2 | ISC | Common Electronics Room | 
14 | L1-ISC-C3 | ISC | Common Electronics Room | 
15 | L1-ISC-R1 | ISC | Remote Electronics Rack | 
16 | L1-ISC-R2 | ISC | Remote Electronics Rack | 
17 | L1-ISC-R3 | ISC | Remote Electronics Rack | 
18 | L1-ISC-XR1 | ISC | X End Remote Electronics Rack | 
19 | L1-ISC-YR1 | ISC | Y End Remote Electronics Rack | 
20 | L1-ETR-04 | OPTICS | Optics Electronics Lab Rack | Optics Electronics Lab Rack
21 | L1-LDR-C1 | PSL | Laser Diode Room Rack | 
22 | L1-LDR-C2 | PSL | Laser Diode Room Rack | 
23 | L1-PSL-C1 | PSL | Common Electronics Room | 
24 | L1-PSL-R1 | PSL | Remote Electronics Rack | 
25 | L1-PSL-R2 | PSL | Remote Electronics Rack | 
26 | L1-SEI-C1 | SEI | Common Electronics Room | SEI HAM 1 and HAM 6
27 | L1-SEI-C2 | SEI | Common Electronics Room | SEI HAM 2 and HAM 3
28 | L1-SEI-C3 | SEI | Common Electronics Room | SEI HAM 4 and HAM 5
29 | L1-SEI-C4 | SEI | Common Electronics Room | SEI BCS1
30 | L1-SEI-C5 | SEI | Common Electronics Room | SEI BCS2
31 | L1-SEI-C6 | SEI | Common Electronics Room | SEI BCS3
32 | L1-SEI-XC1 | SEI | X End Common Electronics Rack | SEI BCS4
33 | L1-SEI-YC1 | SEI | Y End Common Electronics Rack | SEI BCS5
34 | L1-ETR-05 | SEI | HAM ISI Electronics Test Rack | HAM ISI Electronics Test Rack
35 | L1-ETR-07 | SEI | Triple Electronics Test Rack | Triple Electronics Test Rack
36 | L1-SUS-C1 | SUS | Common Electronics Room | SUS ITM, FM, and BS (1 of 2)
37 | L1-SUS-C2 | SUS | Common Electronics Room | SUS ITM, FM, and BS (2 of 2)
38 | L1-SUS-C3 | SUS | Common Electronics Room | SUS HAM 2 (1 of 2)
39 | L1-SUS-C4 | SUS | Common Electronics Room | SUS HAM 2 (2 of 2)
40 | L1-SUS-C5 | SUS | Common Electronics Room | SUS ITMX, ITMY, and BS (1 of 2)
41 | L1-SUS-C6 | SUS | Common Electronics Room | SUS ITMX, ITMY, and BS (2 of 2)
42 | L1-SUS-C7 | SUS | Common Electronics Room | SUS HAM 5 and HAM 6 (1 of 2)
43 | L1-SUS-C8 | SUS | Common Electronics Room | SUS HAM 5 and HAM 6 (2 of 2)
44 | L1-SUS-R1 | SUS | Remote Electronics Rack | 
45 | L1-SUS-R2 | SUS | Remote Electronics Rack | 
46 | L1-SUS-R3 | SUS | Remote Electronics Rack | 
47 | L1-SUS-R4 | SUS | Remote Electronics Rack | 
48 | L1-SUS-R5 | SUS | Remote Electronics Rack | 
49 | L1-SUS-R6 | SUS | Remote Electronics Rack | 
50 | L1-SUS-XC1 | SUS | X End Common Electronics Rack | 
51 | L1-SUS-XC2 | SUS | X End Common Electronics Rack | 
52 | L1-SUS-XR1 | SUS | X End Remote Electronics Rack | 
53 | L1-SUS-YC1 | SUS | Y End Common Electronics Rack | 
54 | L1-SUS-YC2 | SUS | Y End Common Electronics Rack | 
55 | L1-SUS-YR1 | SUS | Y End Remote Electronics Rack | 
56 | L1-ETR-02 | SUS | BSC Electronics Test Rack | BSC Electronics Test Rack
57 | L1-ETR-03 | SUS | RM Electronics Test Rack | RM Electronics Test Rack
58 | L1-ETR-06 | SUS | STS Huddle Electronics Test Rack | STS Huddle Electronics Test Rack
59 | L1-VAC-R1 | VAC | Remote Electronics Rack | 
60 | L1-VAC-R2 | VAC | Remote Electronics Rack | 
61 | L1-VAC-R3 | VAC | Remote Electronics Rack | 
62 | L1-VAC-XR1 | VAC | X End Remote Electronics Rack | 
63 | L1-VAC-YR1 | VAC | Y End Remote Electronics Rack | 
64 | L1-VDC-C1 | VDC | DC Voltage Rack - CPR | 
65 | L1-VDC-C2 | VDC | DC Voltage Rack - CPR | 
66 | L1-VDC-C3 | VDC | DC Voltage Rack - CPR | 
67 | L1-VDC-C4 | VDC | DC Voltage Rack - CPR | 
68 | L1-VDC-C5 | VDC | DC Voltage Rack - CPR | 
69 | L1-VDC-C6 | VDC | DC Voltage Rack - CPR | 
70 | L1-VDC-C6 | VDC | DC Voltage Rack - CPR | 
71 | L1-VDC-XC1 | VDC | DC Voltage Rack - VEAX | 
72 | L1-VDC-XC2 | VDC | DC Voltage Rack - VEAX | 
73 | L1-VDC-YC1 | VDC | DC Voltage Rack - VEAY | 
74 | L1-VDC-YC2 | VDC | DC Voltage Rack - VEAY | 
75 | L1-MS1 |  |  | 
76 | L1-MS2 |  |  | 
77 | L1-MS3 |  |  | 
78 | L1-MS4 |  |  | 
79 | L1-MS5 |  |  | 
80 | L1-MS6 |  |  | 
81 | L1-DAQ-MS7 | DAQ | Front end computers | 
82 | L1-DAQ-MS8 | DAQ | Front end computers | 
83 | L1-DAQ-MS9 | DAQ | Front end computers | 
84 | L1-MS10 |  |  | 
85 | L1-MS11 |  |  | 
86 | L1-MS12 |  |  | 
87 | L1-MS13 |  |  | 
88 | L1-FAC-XC1 | DAQ | Facilities - VEAX | 
89 | L1-FAC-YC1 | DAQ | Facilities - VEAY |