## Slide 1: LLO CDS Components
Front End Computer
Front End Computer
Timing Master
18VDC
I/O Extension
Timing Fanout
24VDC
Chassis
Chassis
Chassis
Chassis
Chassis
Chassis
DC Power
DC Power
DC Power
DC Power
DC Power
DC Power
AC Voltage
Chassis
Chassis
Chassis
Chassis
Chassis
Chassis
Mass
Storage
Room (MSR)
Operator
Control
Room (OCR)
CDS
Electronics
Room (CER)
Laser
Diode
Room (LDR)
CDS
Power
Room (CPR)
Field
I/O
Cables
Timing
Distribution
Cables
DC
Power
Racks
Field Satellite
Racks
Subsystem
Electronics
Racks
Front
End
Racks
Fiber
Optic
Cables
DC
Extension
Cables
Field
DC
Extension
Cords
Computer Users Room (CUR)
Racks and Rooms (RAR)
LVEA Racks
(LVEA)
X-End Racks
(X-End)
Y-End Racks (Y-End)
Electronics Test Racks (ETR)

## Slide 2: CDS Electronics Room (CER) Rack Layout
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
L1-OAF-C1
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-TCS-C1
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
L1-UNK-C3
L1-UNK-C2
L1-UNK-C1
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-PSL-C1
CDS Electronics Room (CER)
L1-ISC-C4
L1-UNK-C5
SUS ITMX, ITMY, FMX, FMY, and BS Rack 1
SUS HAM3 and HAM4 Rack 2
SUS HAM3 and HAM4 Rack 1
SUS HAM2 Rack 1
SUS HAM2 Rack 2
SUS ITMX, ITMY, FMX, FMY, and BS Rack 2
SUS HAM5 and HAM6 Rack 1
SUS HAM5 and HAM6 Rack 2
ISC LVEA Rack 1
ISC LVEA Rack 2
ISC LVEA Rack 3
PSL Rack 1
DAQ Rack 1
TCS Rack 1
Front
SEI HAM1 and HAM6
SEI HAM2 and HAM3
SEI HAM4 and HAM5
SEI BSC1
SEI BSC2
SEI BSC3
ISC LVEA Rack 4

## Slide 3: Laser Diode Room (LDR) Rack Layout
CDS Power Room (CPR)
Front
Front
L1-VDC-C5
L1-VDC-C7
L1-VDC-C1
L1-VDC-C2
L1-VDC-C3
L1-VDC-C4
L1-VDC-C6
2feet
Each Rack is 39” Deep and 24” Wide
Laser Diode Room (LDR)
Changing Room
480V Distribution
Panel
208V Distribution
Panel
DC Supplies
2feet
208V Distribution
Panel – CDS1
208V Distribution
Panel – CDS2
LDR Chiller
L1-LDR-C2
L1-LDR-C1
2 feet
Transformer

## Slide 4: CDS Power Room (CPR) Rack Layout
Transformer
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
Laser Diode Room (LDR)
Changing Room
480V Distribution
Panel
208V Distribution
Panel
DC Supplies
2feet
208V Distribution
Panel – CDS1
208V Distribution
Panel – CDS2
LDR Chiller
L1-LDR-C2
L1-LDR-C1
CDS Power Room (CPR)
Front
Front
L1-VDC-C5
L1-VDC-C7
L1-VDC-C1
L1-VDC-C2
L1-VDC-C3
L1-VDC-C4
L1-VDC-C6

## Slide 5: CDS Electronics Room X-End (CERX) Rack Layout
(L1-FAC-XC1)
CERX
(L1-VDC-XC1)
(L1-VDC-XC2)
(L1-DAQ-XC1)
(L1-SEI-XC1)
(L1-SUS-XC1)
(L1-SUS-XC2)
(L1-TCS-XC1)

## Slide 6: CDS Electronics Room Y-End (CERY) Rack Layout
CERY
(L1-VDC-YC1)
(L1-VDC-YC2)
(L1-DAQ-YC1)
(L1-SEI-YC1)
(L1-SUS-YC1)
(L1-SUS-YC2)
(L1-TCS-YC1)
(L1-FAC-YC1)