LIGO Laboratory / LIGO Scientific Collaboration

LIGO-T050199-00-D	LIGO	(th of August 20005

Bill Of Materials for the production of the HAM optical bench Seismic Attenuation System prototype

Gianni Gennaro,   Riccardo DeSalvo

Distribution of this document:

LIGO Science Collaboration

This is an internal working note

of the LIGO Project.

| California Institute of Technology LIGO Project – MS 18-34 1200 E. California Blvd. Pasadena, CA 91125 Phone (626) 395-2129 Fax (626) 304-9834 E-mail: info@ligo.caltech.edu | Massachusetts Institute of Technology LIGO Project – NW17-161 175 Albany St Cambridge, MA 02139 Phone (617) 253-4824 Fax (617) 253-7014 E-mail: info@ligo.mit.edu |
| --- | --- |
| LIGO Hanford Observatory P.O. Box 1970 Mail Stop S9-02 Richland WA 99352 Phone 509-372-8106 Fax 509-372-8137 | LIGO Livingston Observatory P.O. Box 940 Livingston, LA 70754 Phone 225-686-3100 Fax 225-686-7189 |

http://www.ligo.caltech.edu/

# List of drawings for HAM-OPTICAL BENCH 					LIGO-D050100-00-D to D050165

Seismic attenuator

| Draw. | Type | Title | Name details and drawings (xxx) |
| --- | --- | --- | --- |
| H-OPT.100 | Assembly | Section D-D | 1-1.1(114)-2(127)-3-3.1(117)-64-64.1-64.2-75(113)-gr.1-gr.2-gr.3-gr.4-gr.5 |
| H-OPT.101 | Assembly | Section A-A |  |
| H-OPT.102 | Assembly | Section C-C | 4(128)-gr.1-gr.2-gr.3-gr.4-gr.6 |
| H-OPT.103 | Assembly | Section E-E | 7-8-8.1-8.2-73-74(142)-gr.1-gr.2-gr.3-gr.4-gr.5-gr.6 |
| H-OPT.104 | Assembly | Section B-B | gr.2-gr.3-gr.5 |
| H-OPT.105 | Assembly | LVDT-actuator | 5-5.1-6(130)-65-68(129)-72(123)-gr.3.1-gr.3.2 |
| H-OPT.106 | Assembly | Filter | 9-77(121)-10-11-12-19-20(124)-13-22-23-23.1-23.2(122)-14-15-18(125)-16-17(126)-21-24-26-27-28-72(123)-25(120) |
| H-OPT.107 | Assembly | Inverted pendulum | 29-30-66-67(135)-31-35-62-63(136)-32-33-71(138)-34-36-37-38-39-40-41(137)-94-95(154) |
| H-OPT.108 | Assembly | Slide | 42-43-45-46-47-50-51(143)-44-48-49-52-76(139) |
| H-OPT.109 | Assembly | Motorized vertical spring | 53-54-55-56-60-61(140)57-58-59-69-70(141)-76(139) |
| H-OPT.113 | Details | Tube suspension | 64-64.1-64.2-75(100) |
| H-OPT.114 | Details | Base | 1-1.1(100) |
| H-OPT.115 | Details | Base | 1.2-1.3(100) |
| H-OPT.116 | Details | Base | 1.4-1.5-1.6(100) |
| H-OPT.117 | Details | Table | 3-3.1(100) |
| H-OPT.118 | Details | Table | 3.2-3.5(100) |
| H-OPT.119 | Details | Table | 3.3-3.4(100) |
| H-OPT.120 | Details | Blade | 25(106) |
| H-OPT.121 | Details | Platform | 9-77(106 |
| H-OPT.122 | Details | Filter | 13-22-23-23.1-23.2(106) |
| H-OPT.123 | Details | Filter | 21-24-26-27-28-72(106) |
| H-OPT.124 | Details | Filter | 10-11-12-19-20(106) |
| H-OPT.125 | Details | Filter | 14-15-18(106) |
| H-OPT.126 | Details | Filter | 16-17(106) |
| H-OPT.127 | Details | Suspension filter | 2(100) |
| H-OPT.128 | Details | Filter’s plate | 4(102) |
| H-OPT.129 | Details | LVDT actuator | 65-68(105) |
| H-OPT.130 | Details | LVDT actuator | 5-5.1-6(105) |
| Draw. | Type | Title | Name details and drawings (xxx) |
| H-OPT.135 | Details | Inverted pendulum | 29-30-66-67(107) |
| H-OPT.136 | Details | Inverted pendulum | 31-35-62-63(107) |
| H-OPT.137 | Details | Inverted pendulum | 34-36-37-38-39-40-41(107) |
| H-OPT.138 | Details | Inverted pendulum | 32-33-71(107) |
| H-OPT.139 | Details | Slide | 44-48-49-52-76(108) |
| H-OPT.140 | Details | Motorized vertical spring | 53-54-55-56-60-61(109) |
| H-OPT.141 | Details | Motorized vertical spring | 57-58-59-69-70(109) |
| H-OPT.142 | Details | Mounting tools | 7-8-8.1-8.2-73-74(103) |
| H-OPT.143 | Details | Slide | 42-43-45-46-47-50-51(108) |
| H-OPT.144 | Assembly | Mounting blade tool | 78-80-81(145)-79-82-83-84-85-86(146)-87-88-89-90-91-92(147) |
| H-OPT.145 | Details | Mounting blade tool | 78-80-81(144) |
| H-OPT.146 | Details | Mounting blade tool | 79-82-83-84-85-86(144) |
| H-OPT.147 | Details | Mounting blade tool | 87-88-89-90-91-92(144) |
| H-OPT.148 | Details | Mounting top plate tool | 93 |
| H-OPT.149 | Assembly | Horizontal calibrator | 96-96.1-97-98-99(152)-100-101-102(153) |
| H-OPT.150 | Assembly | Horizontal calibrator |  |
| H-OPT.151 | Assembly | Horizontal calibrator |  |
| H-OPT.152 | Details | Horizontal calibrator | 96-96.1-97-99(149) |
| H-OPT.153 | Details | Assembly | 100-101-102(149) |
| H-OPT.154 | Details | Inverted pendulum | 94-95(107) |
| H-OPT.155 | Details | Horizontal calibrator | 98(149) |
| H-OPT.156 | Assembly | Vertical calibrator | Gr.7 (157) |
| H-OPT.157 | Assembly | Large filter | 102(153)-103(158)-104-109-111-112-114-117-120(160)-105-110-113-116(161)-106-107-115(163)-108-118(162)-119(159) |
| H-OPT.158 | Details | Large filter | 103(157) |
| H-OPT.159 | Details | Large filter | 119(157) |
| H-OPT.160 | Details | Large filter | 104-109-111-112-114-117-120(157) |
| H-OPT.161 | Details | Large filter | 105-110-113-116(157) |
| H-OPT.162 | Details | Large filter | 108-118(157) |
| H-OPT.163 | Details | Large filter | 119(157) |
| H-OPT.164 | Assembly | Filter’s test | 121-122-123(165) |
| H-OPT.165 | Details | Filter’s test | 121-122-123(164) |

HAM-Hor_accelerometer  (reference only)

| Draw. | Type | Title | Name details |
| --- | --- | --- | --- |
| H-OPT.110 | Assembly | Hor. Accelerometer | 1-2-9-10-11-12-13-14-15-16--17-18-21-22-23-25-28-29-30-31 |

HAM-Actuator

| Draw | Type | Title | Name details |
| --- | --- | --- | --- |
| H-OPT.111 | Assembly | Actuator | 1-6(134)-2-3-4-5(133) |
| H-OPT.133 | Details | Actuator | 2-3-4-5(111) |
| H-OPT.134 | Details | Actuator | 1-6(111) |

HAM-LVDT

| Draw. | Type | Title | Name details |
| --- | --- | --- | --- |
| H-OPT.112 | Assembly | LVDT | 3-4-6-8(131)-1-2-5-7-7.1-9-10(132) |
| H-OPT.131 | Details | LVDT | 3-4-6-8(112) |
| H-OPT.132 | Details | LVDT | 1-2-5-7-7.1-9-10(112) |

# List of Production parts

HAM-OPTICAL BENCH

| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces |
| --- | --- | --- | --- | --- |
| 1 | HAM.114 | Base structure ass’y | HAM.100 | 1 |
| 1.1 | HAM.114 | Base structure bottom plate | HAM.114 | 1 |
| 1.2 | HAM.115 | Base structure side | HAM.114 | 2 |
| 1.3 | HAM.115 | Base structure side | HAM.114 | 2 |
| 1.4 | HAM.116 | Base structure rib | HAM.114 | 2 |
| 1.5 | HAM.116 | Base structure rib | HAM.114 | 4 |
| 1.6 | HAM.116 | Base structure rib | HAM.114 | 4 |
| 2 | HAM.127 | Filter’s top plate | HAM.100 | 1 |
| 3 | HAM.117 | Optical table ass’y | HAM.100 | 1 |
| 3.1 | HAM.117 | Optical table bottom plate | HAM.100 | 1 |
| 3.2 | HAM.118 | Optical table side | HAM.117 | 2 |
| 3.3 | HAM.119 | Optical table rib | HAM.117 | 6 |
| 3.4 | HAM.119 | Optical table rib | HAM.117 | 6 |
| 3.5 | HAM.118 | Optical table side | HAM.117 | 2 |
| 4 | HAM.128 | Filter’s bottom plate | HAM.102 | 1 |
| 5 | HAM.130 | Sensor/actuator plate | HAM.105 | 4 |
| 5.1 | HAM.130 | Sensor/actuator bar | HAM.105 | 8 |
| 6 | HAM.130 | Sensor/actuator base | HAM.105 | 4 |
| 7 | HAM.142 | Wedge | HAM.103 | 8 |
| 8 | HAM.142 | Stiffener fastening | HAM:003 | 8 |
| 8.1 | HAM.142 | Fastening | HAM.103 | 8 |
| 8.2 | HAM.142 | Fastening | HAM.103 | 8 |
| 9 | HAM.121 | Filter main platform | HAM.106 | 4 |
| 10 | HAM.124 | Blade central support | HAM.106 | 4 |
| 11 | HAM.124 | Central screw | HAM.106 | 4 |
| 12 | HAM.124 | End-stop blade | HAM.106 | 4 |
| 13 | HAM.122 | End-stop column | HAM.106 | 16 |
| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces |
| 14 | HAM.125 | LVDT coil | HAM.106 | 4 |
| 15 | HAM.125 | Magnet yoke front | HAM.106 | 4 |
| 16 | HAM.126 | Magnet yoke back | HAM.106 | 4 |
| 17 | HAM.126 | LVDT/actuator coils | HAM.106 | 4 |
| 18 | HAM.125 | Coil adjustement plate | HAM.106 | 4 |
| 19 | HAM.124 | Washer | HAM.106 | 4 |
| 20 | HAM.124 | Filter’s structural column | HAM.106 | 32 |
| 21 | HAM.123 | Blade clamp plate | HAM.106 | 32 |
| 22 | HAM.122 | Connection table | HAM.106 | 4 |
| 23 | HAM.122 | Connection, nose (point) | HAM.106 | 1 |
| 23.1 | HAM.122 | Connection nose (flat) | HAM.106 | 2 |
| 23.2 | HAM.122 | Connection nose (line) | HAM.106 | 1 |
| 24 | HAM.123 | Tuning pusher | HAM.106 | 32 |
| 25 | HAM.120 | GAS blade | HAM.106 | 32 |
| 25.1 | HAM.120 | GAS blade ¾ width | HAM.106 | 8 |
| 25.2 | HAM.120 | GAS blade ½ width | HAM.106 | 8 |
| 25.3 | HAM.120 | GAS blade ¼ width | HAM.106 | 8 |
| 26 | HAM.123 | Blade clamp | HAM.106 | 32 |
| 27 | HAM.123 | Guide left | HAM.106 | 32 |
| 28 | HAM.123 | Guide right | HAM.106 | 32 |
| 29 | HAM.135 | LIGO-I flex joint base | HAM.107 | 2 |
| 30 | HAM.135 | Main flex joint | HAM.107 | 4 |
| 31 | HAM.136 | LIGO-I safety tube extension | HAM.107 | 4 |
| 32 | HAM.138 | Safety tube | HAM.107 | 4 |
| 33 | HAM.138 | Maintenance locking screw | HAM.107 | 4 |
| 34 | HAM.137 | Flex joint connector | HAM.107 | 4 |
| 35 | HAM.136 | IP leg | HAM.107 | 4 |
| 36 | HAM.137 | Small flex joint | HAM.107 | 4 |
| 37 | HAM.137 | Top leg disk | HAM.107 | 4 |
| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces |
| 38 | HAM.137 | 1/2 cup retainer | HAM.107 | 4 |
| 39 | HAM.137 | Small flex joint base plate | HAM.107 | 4 |
| 40 | HAM.137 | 1/2 cups | HAM.107 | 8 |
| 41 | HAM.137 | Disk | HAM.107 | 4 |
| 42 | HAM.143 | Support | HAM.108 | 4 |
| 43 | HAM.143 | Hor. movement screw | HAM.108 | 4 |
| 44 | HAM.139 | Sled | HAM.108 | 4 |
| 45 | HAM.143 | Rod | HAM.108 | 4 |
| 46 | HAM.143 | Motor flange | HAM.108 | 4 |
| 47 | HAM.143 | Hor. movement nut | HAM.108 | 4 |
| 48 | HAM.139 | Spring clamp | HAM.108 | 8 |
| 49 | HAM.139 | Spring support | HAM.108 | 8 |
| 50 | HAM.143 | Central spring clamp | HAM.108 | 4 |
| 51 | HAM.143 | Central spring support | HAM.108 | 4 |
| 52 | HAM.139 | Bushing | HAM.108 | 8 |
| 53 | HAM.140 | Vert. movement screw | HAM.109 | 4 |
| 54 | HAM.140 | Vert. movement nut | HAM.109 | 4 |
| 55 | HAM.140 | Rod | HAM.109 | 4 |
| 56 | HAM.140 | Counter rotation | HAM.109 | 4 |
| 57 | HAM.141 | Spring clamp support | HAM.109 | 4 |
| 58 | HAM.141 | Spring clamp | HAM.109 | 4 |
| 59 | HAM.141 | Spring clamp | HAM.109 | 4 |
| 60 | HAM.140 | Joint | HAM.109 | 4 |
| 61 | HAM.140 | Support plate | HAM.109 | 4 |
| 62 | HAM.136 | C. weight bell | HAM.107 | 2 |
| 63 | HAM.136 | C. weight | HAM.107 | 8 |
| 64 | HAM.113 | Support tube ass’y | HAM.100 | 2 |
| 64.1 | HAM.113 | Support tube endcap | HAM.100 | 4 |
| 64.2 | HAM.113 | Supporbushingt tube spools | HAM.100 | 22 |
| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces |
| 65 | HAM.129 | LVDT/actuator LIGO-I spacer | HAM.105 | 4 |
| 66 | HAM.135 | Ddv-LIGO extension spool | HAM.107 | 2 |
| 67 | HAM.135 | Flex joint base | HAM.107 | 2 |
| 68 | HAM.129 | LVDT/act. transport plate | HAM.105 | 8 |
| 69 | HAM.141 | Vert. spring clamp support | HAM.109 | 4 |
| 70 | HAM.141 | Spacer | HAM.109 | 8 |
| 71 | HAM.138 | Adv-LIGO flex joint base | HAM.107 | 2 |
| 72 | HAM.123 | Electrical connection bar | HAM.105 | 8 |
| 73 | HAM.142 | LIGO_I transport column | HAM.103 | 4 |
| 73.1 | HAM.142 | Adv. LIGO transport column | HAM.103 | 4 |
| 74 | HAM.142 | Transport braket | HAM.103 | 4 |
| 75 | HAM.113 | Support tube | HAM.100 | 4 |
| 76 | HAM.139 | Hor.-vert. spring | HAM.108/9 | 12 |
| 77 | HAM.121 | Mounting tool | HAM.106 | 4 |
| 78 | HAM.145 | Support base | HAM.144 | 2 |
| 79 | HAM.146 | Tie rod | HAM.144 | 8 |
| 80 | HAM.145 | Curve-gauge | HAM.144 | 4 |
| 81 | HAM.145 | Curve-gauge | HAM.144 | 2 |
| 82 | HAM.146 | Spacer | HAM.144 | 8 |
| 83 | HAM.146 | Clamp spacer | HAM.144 | 2 |
| 84 | HAM.146 | Fork stop block | HAM.144 | 2 |
| 85 | HAM.146 | Clamp blade | HAM.144 | 2 |
| 86 | HAM.146 | Clamp blade | HAM.144 | 2 |
| 87 | HAM.147 | Clamp blade tip | HAM.144 | 1 |
| 88 | HAM.147 | Axis of rotation | HAM.144 | 2 |
| 89 | HAM.147 | Rotary jar | HAM.144 | 1 |
| 90 | HAM.147 | Rotary jar | HAM.144 | 1 |
| 91 | HAM.147 | Tie rod | HAM.144 | 1 |
| 92 | HAM.147 | Handle | HAM.144 | 1 |
| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces |
| 93 | HAM.148 | Alignment part 2 and 4 | HAM.148 | 4 |
| 93.1 | HAM.148 | Alignment part 2 and 4 | HAM.148 | 4 |
| 94 | HAM.154 | Magnets separator 35.5 | HAM.107 | 16 |
| 94 | HAM.154 | Magnets separator 51 | HAM.107 | 32 |
| 95 | HAM.154 | Magnets support | HAM.107 | 8 |
| 96 | HAM.152 | Clamping cups | HAM.149 | 4 |
| 96.1 | HAM.152 | Clamping cups | HAM.149 | 4 |
| 96.1 | HAM.152 | Clamping cups | HAM.149 | 4 |
| 97 | HAM.152 | Support ring ass’y | HAM.149 | 4 |
| 98 | HAM.155 | Main support tube | HAM.149 | 4 |
| 99 | HAM.152 | Top plate | HAM.149 | 4 |
| 100 | HAM.153 | wire | HAM.149 | 4 |
| 101 | HAM.153 | Adjustment screw | HAM.149 | 4 |
| 102 | HAM.153 | ½ cups | HAM.149-157 | 16 |
| 103 | HAM.158 | Filter main platform | HAM.157 | 4 |
| 104 | HAM.160 | Tuning pusher | HAM.157 | 32 |
| 105 | HAM.161 | Magnet yoke back | HAM.157 | 4 |
| 106 | HAM.163 | Coil adjust. plate | HAM.157 | 4 |
| 107 | HAM.163 | LVDT coil | HAM.157 | 4 |
| 108 | HAM.162 | Blade central support | HAM.157 | 4 |
| 109 | HAM.160 | End-stop plate | HAM.157 | 4 |
| 110 | HAM.161 | Electrical conn. bar | HAM.157 | 4 |
| 111 | HAM.160 | End-stop column | HAM.157 | 16 |
| 112 | HAM.160 | End-stop column | HAM.157 | 16 |
| 113 | HAM.161 | Blade clamp plate | HAM.157 | 4 |
| 114 | HAM.160 | Blade clamp | HAM.157 | 32 |
| 115 | HAM.163 | LVDT/act.coils | HAM.157 | 4 |
| 116 | HAM.161 | Magnet yoke front | HAM.157 | 4 |
| 117 | HAM.160 | Guide right | HAM.157 | 32 |
| Part number | Detailed in drawing | Description | Shown in assembly number | Production pieces |
| 118 | HAM.162 | End-stop plate | HAM.157 | 4 |
| 119 | HAM.159 | GAS blade | HAM.157 | 32 |
| 120 | HAM.160 | Guide left | HAM.157 | 32 |
| 121 | HAM.165 | ½ cup | HAM.164 | 8 |
| 122 | HAM.165 | Nut | HAM.164 | 8 |
| 123 | HAM.165 | wire | HAM.164 | 4 |
|  |  | Actuator |  |  |
| 1 | HAM.134 | Coil spool base | HAM.111 | 4 |
| 2 | HAM.133 | Coil tray | HAM.111 | 8 |
| 3 | HAM.133 | Flux guides | HAM.111 | 8 |
| 4 | HAM.133 | Central flux guide | HAM.111 | 4 |
| 5 | HAM.133 | Coil1/2 spools | HAM.111 | 8 |
| 6 | HAM.134 | Magnet base | HAM.111 | 4 |
|  |  | LVDT |  |  |
| 1 | HAM.132 | Insulator washer | HAM.112 | 32 |
| 2 | HAM.132 | Insulator bushing | HAM.112 | 32 |
| 3 | HAM.131 | Lateral plate | HAM.112 | 16 |
| 4 | HAM.131 | Lateral plate | HAM.112 | 8 |
| 5 | HAM.132 | Top plate | HAM.112 | 8 |
| 6 | HAM.131 | Bottom support | HAM.112 | 4 |
| 7 | HAM.132 | Small coil support | HAM.112 | 4 |
| 7.1 | HAM.132 | Small coil cabling connectror | HAM.112 | 4 |
| 8 | HAM.131 | Large coil | HAM.112 | 8 |
| 9 | HAM.132 | Small coil | HAM.112 | 4 |
| 10 | HAM.132 | Holder small coil | HAM.112 | 8 |

## Commercial supplies

-Ring seeger J 19x1 V	HAM.108	N°16

-Oriental motor flexible coupling MC120505	HAM.108	N°4

-Stepping motor AML B17.2-R	HAM.108	N°4

-Stepping motor AML B17.2-R	HAM.109	N°4

-Bunting Magnets NEB3590	HAM.106	N°32

-Bunting Magnets NEP3054NP/N35P500500	HAM.107	N°128

-Bunting Magnets NEB3586NP/N35P500500	HAM.111	N°64

-Bunting Magnets NEB3586NP/N35P500500	HAM.157	N°64

# Bolt and screw list

List of Stainless Steel screws and bolts needed to assemble one unit of HAM-SAS

(S) stands for silver plated for mating with Stainless Steel parts

Of each kind provide at least 10% spares (when plating, process screws in units of full boxes).

Wash, degrease and bake-out clean assembly screws according to UHV specifications.

All clean assembly screws to be stored in clean plastic boxes and/or sealable bags

Black steel screws should be used in the dirty assembly instead of the silver plater stainles steel screws.

| Screw type | Thread type and length (mm) | Number needed | Detailed in Drawing number |
| --- | --- | --- | --- |
| Tommy head (socket cap) | M12x35 | N° 64 | Draw. 100 |
| Tommy head (socket cap) | M10x20 | N° 64 | Draw. 103 |
| Tommy head (socket cap) | M10x50 | N° 16 | Draw. 103 |
| Tommy head (socket cap) | M12x30 | N° 16 | Draw. 103 |
| Tommy head (socket cap) | M16x35 | N° 8 | Draw. 103 |
| Tommy head (socket cap) | M10x25 (S) | N° 80 | Draw. 106 |
| Tommy head (socket cap) | M10x35 (S) | N° 128 | Draw. 106 |
| Tommy head (socket cap) | M10x40 (S) | N° 96 | Draw. 106 |
| Tommy head (socket cap) | M12x40 (S) | N° 64 | Draw. 106 |
| Tommy head (socket cap) | M8x20 (S) | N° 76 | Draw. 106 |
| Tommy head (socket cap) | M5x30 (S) | N°24 | Draw. 106 |
| Tommy head (socket cap) | M4x12 (S) | N°32 | Draw. 106 |
| Tommy head (socket cap) | M4x12 | N°12 | Draw. 106 |
| Flat head | M3x8 (S) | N°12 | Draw. 106 |
| Tommy head (socket cap) | M10x30 | N° 32 | Draw. 107 |
| Tommy head (socket cap) | M10x25 (S) | N° 16 | Draw. 107 |
| Tommy head (socket cap) | M10x35 | N° 8 | Draw. 107 |
| Tommy head (socket cap) | M4x12 | N° 8 | Draw. 107 |
| Tommy head (socket cap) | M4x12 (S) | N° 8 | Draw. 107 |
| Screw type | Thread type and length (mm) | Number needed | Detailed in Drawing number |
| Flat head | M10x25 (S) | N° 8 | Draw. 108 |
| Tommy head (socket cap) | M6x60 (S) | N° 8 | Draw. 108 |
| Tommy head (socket cap) | M6x50 (S) | N° 8 | Draw. 108 |
| Tommy head (socket cap) | M5x16 | N° 16 | Draw. 108 |
| Tommy head (socket cap) | M4x16 (S) | N° 24 | Draw. 108 |
| Nut | M3 | N° 16 | Draw. 108 |
| Grub | M5x8 | N° 16 | Draw. 108 |
| Tommy head (socket cap) | M10x30 | N° 8 | Draw. 109 |
| Tommy head (socket cap) | M10x70 | N° 8 | Draw. 109 |
| Tommy head (socket cap) | M5x12 | N° 8 | Draw. 109 |
| Tommy head (socket cap) | M5x20 | N° 8 | Draw. 109 |
| Tommy head (socket cap) | M3x12 | N° 8 | Draw. 109 |
| Nut | M6 | N° 4 | Draw. 109 |
| Nut | M3 | N° 16 | Draw. 109 |
| Grub | M4x5 | N° 4 | Draw. 109 |
| Tommy head (socket cap) | M5x12 (S) | N° 24 | Draw. 111 |
| Tommy head (socket cap) | M5x12 | N° 24 | Draw. 111 |
| Flat head | M2.5x6 (S) | N° 48 | Draw. 111 |
| Tommy head (socket cap) | M5x12 | N° 32 | Draw. 112 |
| Tommy head (socket cap) | M3x8 | N° 64 | Draw. 112 |
| Flat head | M3x5 | N° 4 | Draw. 112 |
| Flat head | M4x16 (S) | N° 16 | Draw. 112 |
| Flat head | M2.5x5 | N° 8 | Draw. 112 |
| Tommy head (socket cap) | M10x100 | N° 2 | Draw. 144 |
| Tommy head (socket cap) | M6x35 | N° 2 | Draw. 144 |
| Tommy head (socket cap) | M6x20 | N° 4 | Draw. 144 |
| Tommy head (socket cap) | M12x35 | N° 8 | Draw. 149 |
| Hexagonal head | M12x40 | N° 32 | Draw. 149 |
| Nut | M18 | N° 8 | Draw. 149 |
| Grub | M10x15 | N° 4 | Draw. 149 |
| Screw type | Thread type and length (mm) | Number needed | Detailed in Drawing number |
| Hexagonal head | M12x40 | N° 32 | Draw. 156 |
| Tommy head (socket cap) | M10x25 | N° 64 | Draw. 157 |
| Tommy head (socket cap) | M12x55 | N° 96 | Draw. 157 |
| Tommy head (socket cap) | M12x45 | N° 128 | Draw. 157 |
| Tommy head (socket cap) | M12x30 | N° 16 | Draw. 157 |
| Tommy head (socket cap) | M8x25 | N° 64 | Draw. 157 |
| Tommy head (socket cap) | M6x55 | N° 16 | Draw. 157 |
| Tommy head (socket cap) | M5x45 | N° 32 | Draw. 157 |
| Tommy head (socket cap) | M5x16 | N° 32 | Draw. 157 |
| Tommy head (socket cap) | M4x12 | N° 16 | Draw. 157 |
| Tommy head (socket cap) | M3x10 | N° 32 | Draw. 157 |