## RF Amp
RF Amplifier | [7 empty] | E1100018-v7
No. | Serial | Frequency | Site | Location | Ifo | System | Box | Ship
1 | S1000593 | 21.5 | LHO | corner | H1 | PSL | 1 | 1
2 | S1000594 | 35.5 | LHO | corner | H1 | PSL | 1 | 1
3 | S1000595 | 71 | LHO | corner | H1 | PSL/ISC | 1 | 1
4 | S1000596 | 71 | LHO | X-end | H1 | ISC | 4 | 1
5 | S1000597 | 71 | LHO | Y-end | H1 | ISC | 4 | 1
6 | S1000598 | 80 | LHO | corner | H1 | PSL | 1 | 1
7 | S1000599 | 40 | LHO | corner | H1 | TCS | 1 | 1
8 | S1000600 | 24.0784 | LHO | corner | H1 | ISC | 1 | 1
9 | S1000601 | 9.0995 | LHO | corner | H1 | ISC | 2 | 1
10 | S1000602 | 9.0995 | LHO | HAM 1 | H1 | ISC | 3 | 1
11 | S1000603 | 9.0995 | LHO | HAM 6 | H1 | ISC | 3 | 1
12 | S1000604 | 2x harm. | LHO | corner | H1 | ISC | 2 | 1
13 | S1000605 | 3x harm. | LHO | corner | H1 | ISC | 2 | 1
14 | S1000606 | 4x harm. | LHO | corner | H1 | ISC | 2 | 1
15 | S1000607 | 4x harm. | LHO | HAM 6 | H1 | ISC | 3 | 1
16 | S1000608 | 5x harm. | LHO | corner | H1 | ISC | 2 | 1
17 | S1000609 | 5x harm. | LHO | HAM 1 | H1 | ISC | 3 | 1
18 | S1000610 | 5x harm. | LHO | HAM 6 | H1 | ISC | 3 | 1
19 | S1000611 | 10x harm. | LHO | corner | H1 | ISC | 3 | 1
20 | S1000612 | 15x harm. | LHO | corner | H1 | ISC | 2 | 1
21 | S1000613 | 24.4071 | LHO | X-end | H1 | ISC | 4 | 1
22 | S1000614 | 24.4407 | LHO | Y-end | H1 | ISC | 4 | 1
23 | S1000615 | 21.5 | LHO | corner | H2 | PSL | 5 | 1
24 | S1000616 | 35.5 | LHO | corner | H2 | PSL | 5 | 1
25 | S1000617 | 71 | LHO | corner | H2 | PSL/ISC | 5 | 1
26 | S1000618 | 71 | LHO | X-end | H2 | ISC | 8 | 1
27 | S1000619 | 71 | LHO | Y-end | H2 | ISC | 8 | 1
28 | S1000620 | 80 | LHO | corner | H2 | PSL | 5 | 1
29 | S1000621 | 40 | LHO | corner | H2 | TCS | 5 | 1
30 | S1000622 | 22.9931 | LHO | corner | H2 | ISC | 5 | 1
31 | S1000623 | 8.6844 | LHO | corner | H2 | ISC | 6 | 1
32 | S1000624 | 8.6844 | LHO | HAM 1 | H2 | ISC | 7 | 1
33 | S1000625 | 8.6844 | LHO | HAM 6 | H2 | ISC | 7 | 1
34 | S1000626 | 2x harm. | LHO | corner | H2 | ISC | 6 | 1
35 | S1000627 | 3x harm. | LHO | corner | H2 | ISC | 6 | 1
36 | S1000628 | 4x harm. | LHO | corner | H2 | ISC | 6 | 1
37 | S1000629 | 4x harm. | LHO | HAM 6 | H2 | ISC | 7 | 1
38 | S1000630 | 5x harm. | LHO | corner | H2 | ISC | 6 | 1
39 | S1000631 | 5x harm. | LHO | HAM 1 | H2 | ISC | 7 | 1
40 | S1000632 | 5x harm. | LHO | HAM 6 | H2 | ISC | 7 | 1
41 | S1000633 | 10x harm. | LHO | corner | H2 | ISC | 7 | 1
42 | S1000634 | 15x harm. | LHO | corner | H2 | ISC | 6 | 1
43 | S1000635 | 24.4821 | LHO | X-end | H2 | ISC | 8 | 1
44 | S1000636 | 24.5157 | LHO | Y-end | H2 | ISC | 8 | 1
45 | S1000637 | 10 | LHO | corner | H1 | ISC | 9 | 2
46 | S1000638 | 23.667 | LHO | corner | H1 | JAC | 9 | 2
47 | S1000639 | 71 | LHO | HAM 1 | H1 | ISC | 9 | 2
48 | S1000640 | 24.0784 | LHO | HAM 1 | H1 | ISC | 9 | 2
49 | S1000641 | CO2 | LHO | corner | H1 | TCS | 9 | 2
50 | S1000642 |  | LHO | spare | H1 |  | 9 | 2
51 | S1000643 | 10 | LHO | corner | H2 | ISC | 10 | 2
52 | S1000644 | 23.667 | LHO | corner | H2 | JAC | 10 | 2
53 | S1000645 | 71 | LHO | HAM 1 | H2 | ISC | 10 | 2
54 | S1000646 | 24.0784 | LHO | HAM 1 | H2 | ISC | 10 | 2
55 | S1000647 | CO2 | LHO | corner | H2 | TCS | 10 | 2
56 | S1000648 |  | LHO | spare | H2 |  | 10 | 2
57 | S1000649 | 21.5 | LLO | corner | L1 | PSL | 11 | 3
58 | S1000650 | 35.5 | LLO | corner | L1 | PSL | 11 | 3
59 | S1000651 | 71 | LLO | corner | L1 | PSL/ISC | 11 | 3
60 | S1000652 | 71 | LLO | X-end | L1 | ISC | 14 | 3
61 | S1000653 | 71 | LLO | Y-end | L1 | ISC | 14 | 3
62 | S1000654 | 80 | LLO | corner | L1 | PSL | 11 | 3
63 | S1000655 | 40 | LLO | corner | L1 | TCS | 11 | 3
64 | S1000656 | 24.0784 | LLO | corner | L1 | ISC | 11 | 3
65 | S1000657 | 9.0995 | LLO | corner | L1 | ISC | 12 | 3
66 | S1000658 | 9.0995 | LLO | HAM 1 | L1 | ISC | 13 | 3
67 | S1000659 | 9.0995 | LLO | HAM 6 | L1 | ISC | 13 | 3
68 | S1000660 | 2x harm. | LLO | corner | L1 | ISC | 12 | 3
69 | S1000661 | 3x harm. | LLO | corner | L1 | ISC | 12 | 3
70 | S1000662 | 4x harm. | LLO | corner | L1 | ISC | 12 | 3
71 | S1000663 | 4x harm. | LLO | HAM 6 | L1 | ISC | 13 | 3
72 | S1000664 | 5x harm. | LLO | corner | L1 | ISC | 12 | 3
73 | S1000665 | 5x harm. | LLO | HAM 1 | L1 | ISC | 13 | 3
74 | S1000666 | 5x harm. | LLO | HAM 6 | L1 | ISC | 13 | 3
75 | S1000667 | 10x harm. | LLO | corner | L1 | ISC | 13 | 3
76 | S1000668 | 15x harm. | LLO | corner | L1 | ISC | 12 | 3
77 | S1000669 | 24.4071 | LLO | X-end | L1 | ISC | 14 | 3
78 | S1000670 | 24.4407 | LLO | Y-end | L1 | ISC | 14 | 3
79 | S1000671 | 10 | LLO | corner | L1 | ISC | 15 | 3
80 | S1000672 | 23.667 | LLO | corner | L1 | JAC | 15 | 3
81 | S1000673 | 71 | LLO | HAM 1 | L1 | ISC | 15 | 3
82 | S1000674 | 24.0784 | LLO | HAM 1 | L1 | ISC | 15 | 3
83 | S1000675 | CO2 | LLO | corner | L1 | TCS | 15 | 3
84 | S1000676 |  | LLO | spare | L1 |  | 15 | 3
85 | S1000677 | 200 | LHO | spare | H1 | SQZ | 16 | 5
86 | S1000678 | 6.25 | LHO | spare | H1 | SQZ | 16 | 5
87 | S1000679 | 3.125 | LHO | spare | H1 | SQZ | 16 | 5
88 | S1000680 | 42.375 | LHO | spare | H1 | SQZ | 16 | 5
89 | S1000681 |  | LHO | spare | H2 |  | 17 | 5
90 | S1000682 |  | LHO | spare | H2 |  | 17 | 5
91 | S1000683 |  | LHO | spare | H2 |  | 17 | 5
92 | S1000684 |  | LHO | spare | H2 |  | 17 | 5
93 | S1000685 | 200 | LLO | spare | L1 | SQZ |  | 4
94 | S1000686 | 6.25 | LLO | spare | L1 | SQZ |  | 4
95 | S1000687 | 3.125 | LLO | spare | L1 | SQZ |  | 4
96 | S1000688 | 42.375 | LLO | spare | L1 | SQZ |  | 4
97 | S1000689 | 21.5 | CIT | PSL test stand |  | PSL | 18 | 5
98 | S1000690 | 35.5 | CIT | PSL test stand |  | PSL | 18 | 5
99 | S1000691 | 21.5 | AEI | PSL test stand |  | PSL | 18 | 5
100 | S1000692 | 35.5 | AEI | PSL test stand |  | PSL | 18 | 5
101 | S1700233 | 3.125 | LHO | corner | H1 | SQZ
102 | S1700234 | 80 | LHO | corner | H1 | SQZ
103 | S1700231 | 3.125 | LLO | corner | L1 | SQZ
104 | S1700232 | 80 | LLO | corner | L1 | SQZ
105 | S2100124 |  | LHO | A+ | H1 | spare
106 | S2100125 |  | LHO | A+ | H1 | spare
107 | S2100126 |  | LHO | A+ | H1 | spare
108 | S2100127 |  | LHO | A+ | H1 | spare
109 | S2100128 |  | LHO | A+ | H1 | spare
110 | S2100129 |  | LLO | A+ | L1 | spare
111 | S2100130 |  | LLO | A+ | L1 | spare
112 | S2100131 |  | LLO | A+ | L1 | spare
113 | S2100132 |  | LLO | A+ | L1 | spare
114 | S2100133 |  | LLO | A+ | L1 | spare

## RF Preamp & Diplexer
RF Preamplifier | [7 empty] | E1100018-v7
No. | Serial | Frequency | Site | Location | Ifo | System | Box | Ship
1 | S1203932 |  | LHO | EX | H1 | ISC | 1 | 1
2 | S1203933 |  | LHO | EY | H1 | ISC | 1 | 1
3 | S1203934 |  | LHO | EX | H2 | ISC | 1 | 1
4 | S1203935 |  | LHO | EY | H2 | ISC | 1 | 1
5 | S1203936 |  | LHO | spare |  | ISC | 1 | 1
6 | S1203937 |  | LLO | EX | L1 | ISC | 2 | 1
7 | S1203938 |  | LLO | EY | L1 | ISC | 2 | 1
8 | S1203939 |  | LLO | spare | L1 | ISC | 2 | 1
RF Diplexer
No. | Serial | Frequency | Site | Location | Ifo | System | Box | Ship
1 | S1400079 |  | LHO | corner | H1 | ISC | 1 | 1
2 | S1400080 |  | LHO | corner | H2 | ISC | 1 | 1
3 | S1400081 |  | LHO | spare |  | ISC | 1 | 1
4 | S1400082 |  | LLO | corner | L1 | ISC | 2 | 1
5 | S1400083 |  | LLO | spare |  | ISC | 2 | 1
RF 2W Amplifier
No. | Serial | Frequency | Site | Location | Ifo | System | Box | Ship
1 | S1700247 | 80 | LHO | corner | H1 | SQZ/FC
2 | S1700248 | 203.125 | LHO | corner | H1 | SQZ
3 | S1700249 | 79.4 | LHO | corner | H1 | SQZ/FC
4 | S1700250 | 80 | LLO | corner | L1 | SQZ/FC
5 | S1700251 | 203.125 | LLO | corner | L1 | SQZ
6 | S1700252 | 79.4 | LLO | corner | L1 | SQZ/FC
7 | S21 |  | LHO | spare |  | SQZ
8 | S21 |  | LLO | spare |  | SQZ
RF Amplifier Output Monitor
No. | Serial | Frequency | Site | Location | Ifo | System | Box | Ship
1 | S1700253 | 80 | LHO | corner | H1 | SQZ/FC
2 | S1700254 | 203.125 | LHO | corner | H1 | SQZ
3 | S1700255 | 79.4 | LHO | spare | H1 | SQZ/FC
4 | S1700256 | 80 | LLO | corner | L1 | SQZ/FC
5 | S1700257 | 203.125 | LLO | corner | L1 | SQZ
6 | S1700258 | 79.4 | LLO | spare | L1 | SQZ/FC
7 | S21 |  | LHO | corner |  | SQZ
8 | S21 |  | LLO | corner |  | SQZ
RF Combiner Amplifier
No. | Serial | Frequency | Site | Location | Ifo | System | Box | Ship
1 | S1800701 |  | LHO | corner | H1 | ISC
2 | S1800702 |  | LHO | spare |  | ISC
3 | S1800703 |  | LLO | corner | L1 | ISC
4 | S1800704 |  | LLO | spare |  | ISC