## Slide 1: Thermal defocus of Hartmann telescope: AdvLIGO
AOS Teleconference
Thurs 13th Sept 2007
Aidan Brooks

## Slide 2: HWS probe beam schematic
Hartmann wavefront sensor (HWS)
ITM
R = 2070m
R2 = 3048 mm
R1 = -187.0 mm
(R1 + R2)/2
Zerodur
Zerodur
Input WF - flat
Reference WF – curved due to ITM
x
z
Aluminium mount
1
2
3
4

## Slide 3: -ium: for interested parties …
Spelling
Etymology and nomenclature history
The earliest citation given in the Oxford English Dictionary for any word used as a name for this element is alumium, which Humphry Davy employed in 1808 for the metal he was trying to isolate electrolytically from the mineral alumina. The citation is from his journal Philosophical Transactions: "Had I been so fortunate as..to have procured the metallic substances I was in search of, I should have proposed for them the names of silicium, alumium, zirconium, and glucium."[19]
By 1812, Davy had settled on aluminum, which, as other sources note,[citation needed] matches its Latin root. He wrote in the journal Chemical Philosophy: "As yet Aluminum has not been obtained in a perfectly free state."[20] But the same year, an anonymous contributor to the Quarterly Review, a British political-literary journal, objected to aluminum and proposed the name aluminium, "for so we shall take the liberty of writing the word, in preference to aluminum, which has a less classical sound."[21]
The -ium suffix had the advantage of conforming to the precedent set in other newly discovered elements of the time: potassium, sodium, magnesium, calcium, and strontium (all of which Davy had isolated himself). Nevertheless, -um spellings for elements were not unknown at the time, as for example platinum, known to Europeans since the sixteenth century, molybdenum, discovered in 1778, and tantalum, discovered in 1802.
Americans adopted -ium for most of the nineteenth century, with aluminium appearing in Webster's Dictionary of 1828. In 1892, however, Charles Martin Hall used the -um spelling in an advertising handbill for his new electrolytic method of producing the metal, despite his constant use of the -ium spelling in all the patents he filed between 1886 and 1903.[22] It has consequently been suggested that the spelling reflects an easier to pronounce word with one fewer syllable, or that the spelling on the flier was a spelling mistake. Hall's domination of production of the metal ensured that the spelling aluminum became the standard in North America; the Webster Unabridged Dictionary of 1913, though, continued to use the -ium version.
In 1926, the American Chemical Society officially decided to use aluminum in its publications; American dictionaries typically label the spelling aluminium as a British variant.
[edit] Present-day spelling
In the UK and other countries using British spelling, only aluminium is used. In the United States, the spelling aluminium is largely unknown, and the spelling aluminum predominates.[23][24] The Canadian Oxford Dictionary prefers aluminum, whereas the Australian Macquarie Dictionary prefers aluminium.
In other English-speaking countries, the spellings (and associated pronunciations) aluminium and aluminum are both in common use in scientific and non-scientific contexts.[25] The spelling in virtually all other languages is analogous to the -ium ending.
The International Union of Pure and Applied Chemistry (IUPAC) adopted aluminium as the standard international name for the element in 1990, but three years later recognized aluminum as an acceptable variant. Hence their periodic table includes both, but places aluminium first.[26] IUPAC officially prefers the use of aluminium in its internal publications, although several IUPAC publications use the spelling aluminum.[27]

## Slide 4: Thermal expansion of glass Temperature change: ∆T
ITM
R = 2070m
R2’
R1’ (-ve)
(R1 + R2) (1 + αmount ∆T)/2
Zerodur
Zerodur
R1’ = R1 (1 + αmirror ∆T)
R2’ = R2 (1 + αmirror ∆T)

## Slide 5: Some values of defocus
Current design
∆T = 1K
Mirrors are Zerodur: αmirror= 0.05*10-6 K-1
αmount= 23*10-6 K-1
Defocus (at ITM) = 3*10-5 m-1
Sensitivity limits
Need better than λ/467 = 1.3 nm (T060083-00)
Defocus due to 1.3nm Gaussian bump with a width of 60 mm = 7*10-7 m-1

## Slide 6: Defocus more generally …