## NOTES
D1100291, aLIGO Monuments
The intent is that this document (to include an Excel spreadsheet of coordinates AND a drawing) cover all monuments for use in aLIGO Initial Alignment.
Sources:
D970210-v1 | Initial LIGO monuments BTVE, IAM and PSI. Updated/re-surveyed list/drawing, but not a complete set for all of iLIGO
D970210-v2 | update to drawing for aLIGO, including LV monuments (to be developed/posted)
LVEA 15Nov2011 | LV1 thru LV16. Jason Oberling & Doug Cook, 15 Nov 2011 (prepared earlier in the year)
D1100291-v1 | Dennis Coyne added monument LV17 for aLIGO H2 ITMy alignment
D1100291-v2 | Doug Cook added monument LV18 for aLIGO H1 ITMy alignment

## All LHO LVEA Monuments List
designation | X | Y | Z | building
BTVE-1 | 0 | 46000 | -1061.2
BTVE-5 | 46000 | 0 | -1061.2
IAM-1 | 2362.3 | 3251.2
IAM-2 | 11543 | 3251.2
IAM-3 | 213360 | 3251.2
IAM-4 | 2362.3 | 212.9
IAM-5 | 11543.1 | -200
IAM-6 | 3251.2 | 2362.2
IAM-7 | -200 | 2362.2
IAM-8 | 11543 | 9060
IAM-9 | 3251.2 | 11428
IAM-10 | 200 | 11428
IAM-11 | 9163.1 | 11428
IAM-12 | 3251.2 | 213360
PSI-1 | 2362.3 | 44643.1 | -1854.2
PSI-2 | 9219.6 | 31601.7 | -1855.5
PSI-3 | -2362.2 | 9219.6 | -1849.6
PSI-4 | -22382.7 | 2362.2 | -1855.2
PSI-5 | -22382.7 | 0 | -1852.2
PSI-6 | 2362.2 | 2362.2 | -1850.4
PSI-7 | 0 | -22382.7 | -1858
PSI-8 | 2362.1 | -22382.7 | -1855.5
PSI-9 | 2362.2 | -2362.2 | -1858
PSI-10 | 9219.6 | -2362.2 | -1856.5
PSI-11 | 31601.1 | 9219.6 | -1855.7
PSI-12 | 44642.6 | 2362.2 | -1853.4
LV1 | -2132.9 | 11428
LV2 | -2133.6 | 2362.2
LV3 | -2131.6 | 38158.1
LV4
LV5 | -2133.6 | -1930.7
LV6 | 11543 | -1930.7
LV7 | 38155 | -1930.7
LV8
LV9 | 11543 | 11428
LV10 | 27340.1 | 11428
LV11 | 11543 | 27306.3
LV12 | -2132.2 | 25171.9
LV13 | -2131.9 | 31415.1
LV14 | 1375.2 | -1930.7
LV15 | 31426.7 | -1930.7
LV16 | 33967.1 | -1930.7
LV17 | 200 | 38158.1
LV18 | -200 | 38158.1

## All LHO End-Y Monuments List
designation | X | Y | Z | building
BTVE-4 | 0 | 3988503.6 | -1056.9
IAM-22 | 3048 | 3776167.2
IAM-23 | 3046.9 | 4002371.75
IAM-24 | 200 | 4002371.75
IAM-25 | 3047 | 4008691.75
IAM-26 | 0 | 4008691.85
IAM-27 | -200 | 4008691.85
IAM-EY-B1 | 3048 | 3993835
IAM-EY-T1 | -199.4 | 3993835

## LHO D970210-v2
designation | X | Y | Z | building
BTVE-1 | 0 | 46000 | -1061.2
BTVE-4 | 0 | 3988503.6 | -1056.9
BTVE-5 | 46000 | 0 | -1061.2
IAM-1 | 2362.3 | 3251.2
IAM-2 | 11543 | 3251.2
IAM-3 | 213360 | 3251.2
IAM-4 | 2362.3 | 212.9
IAM-5 | 11543.1 | -200
IAM-6 | 3251.2 | 2362.2
IAM-7 | -200 | 2362.2
IAM-8 | 11543 | 9060
IAM-9 | 3251.2 | 11428
IAM-10 | 200 | 11428
IAM-11 | 9163.1 | 11428
IAM-12 | 3251.2 | 213360
PSI-1 | 2362.3 | 44643.1 | -1854.2
PSI-2 | 9219.6 | 31601.7 | -1855.5
PSI-3 | -2362.2 | 9219.6 | -1849.6
PSI-4 | -22382.7 | 2362.2 | -1855.2
PSI-5 | -22382.7 | 0 | -1852.2
PSI-6 | 2362.2 | 2362.2 | -1850.4
PSI-7 | 0 | -22382.7 | -1858
PSI-8 | 2362.1 | -22382.7 | -1855.5
PSI-9 | 2362.2 | -2362.2 | -1858
PSI-10 | 9219.6 | -2362.2 | -1856.5
PSI-11 | 31601.1 | 9219.6 | -1855.7
PSI-12 | 44642.6 | 2362.2 | -1853.4

## LHO LVEA 15nov2011
designation | LV Coordinates |  | LV Location | Visually Identified LV? | Coordinate Information Source
| X | Y
LV1 | -2132.9 | 11428 | LVEA | Y | LIGO ISC Initial Alignment Logbook from Hugh, start date 1-12-99, page 101; coord verified by S. Lorimer & E. Prieto 9/12/11
LV2 | -2133.6 | 2362.2 | LVEA | Y | LIGO ISC Initial Alignment Logbook from Hugh, start date 1-12-99, page 101; coord verified by S. Lorimer & E. Prieto 9/12/11
LV3 | -2131.6 | 38158.1 | LVEA | Y | LIGO ISC Initial Alignment Logbook from Hugh, start date 1-12-99, page 101; coord verified by S. Lorimer & E. Prieto 9/12/11
LV4 | UNK | UNK | LVEA | Y | Monument set by D. Cook, J. Oberling, S. Lorimer, and E. Prieto 8/3/11 - 8/8/11; Mark on W wall, coords unk
LV5 | -2133.6 | -1930.7 | LVEA | Y | Monument set by D. Cook, J. Oberling, S. Lorimer, and E. Prieto 8/3/11 - 8/8/11; coords verified by S. Lorimer & E. Prieto 9/12/11
LV6 | 11543 | -1930.7 | LVEA | Y | Monument set by D. Cook, J. Oberling, S. Lorimer, and E. Prieto 8/3/11 - 8/8/11; coords verified by S. Lorimer & E. Prieto 9/12/11
LV7 | 38155 | -1930.7 | LVEA | Y | Monument set by D. Cook, J. Oberling, S. Lorimer, and E. Prieto 8/3/11 - 8/8/11; coords verified by S. Lorimer & E. Prieto 9/12/11
LV8 | UNK | -1930.7 | LVEA | Y | Monument set by D. Cook, J. Oberling, S. Lorimer, and E. Prieto 8/3/11 - 8/8/11; Mark on N wall, x coord unk
LV9 | 11543 | 11428 | LVEA | Y | Monument set by D. Cook, J. Oberling, S. Lorimer, and E. Prieto 8/3/11 - 8/8/11; coords verified by S. Lorimer & E. Prieto 9/12/11
LV10 | 27340.1 | 11428 | LVEA | Y | Monument set by D. Cook, J. Oberling, S. Lorimer, and E. Prieto 8/3/11 - 8/8/11; coords verified by S. Lorimer & E. Prieto 9/12/11
LV11 | 11543 | 27306.3 | LVEA | Y | Monument set by D. Cook, J. Oberling, S. Lorimer, and E. Prieto 8/3/11 - 8/8/11; coords verified by S. Lorimer & E. Prieto 9/12/11
LV12 | -2132.2 | 25171.9 | LVEA | Y | Monument set by D. Cook, J. Oberling, S. Lorimer, and E. Prieto 8/3/11 - 8/8/11; coords verified by S. Lorimer & E. Prieto 9/12/11
LV13 | -2131.9 | 31415.1 | LVEA | Y | Monument set by D. Cook, J. Oberling, S. Lorimer, and E. Prieto 8/3/11 - 8/8/11; coords verified by S. Lorimer & E. Prieto 9/12/11
LV14 | 1375.2 | -1930.7 | LVEA | Y | Monument set by D. Cook, J. Oberling, S. Lorimer, and E. Prieto 8/3/11 - 8/8/11; coords verified by S. Lorimer & E. Prieto 9/12/11
LV15 | 31426.7 | -1930.7 | LVEA | Y | Monument set by D. Cook, J. Oberling, S. Lorimer, and E. Prieto 8/3/11 - 8/8/11; coords verified by S. Lorimer & E. Prieto 9/12/11
LV16 | 33967.1 | -1930.7 | LVEA | Y | Monument set by D. Cook, J. Oberling, S. Lorimer, and E. Prieto 8/3/11 - 8/8/11; coords verified by S. Lorimer & E. Prieto 9/12/11
LV17 | 200 | 38158.1 | LVEA |  | Monument requested by D. Coyne for H2 ITMy alignment
LV18 | -200 | 38158.1 | LVEA |  | Monument requested by D. Cook for H1 ITMy alignment

## LHO End Y 12Jan2012
IAM Number | IAM Coordinates |  | IAM Location | Visually Identified IAM? | Coordinate Information Source
| X | Y
22 | 3048 | 3776167.2 | End Y | Y | D970210, page 5
23 | 3046.9 | 4002371.75 | End Y | Y | D970210, page 5
24 | 200 | 4002371.75 | End Y | Y | LIGO ISC Initial Alignment Logbook from Hugh, start date 1-12-99, page 138; D970210
25 | 3047 | 4008691.75 | End Y | Y | Monument set by D. Cook, J. Oberling, and S. Lorimer on 1-4-12
26 | 0 | 4008691.85 | End Y | Y | Monument set by D. Cook, J. Oberling, and S. Lorimer on 1-4-12
27 | -200 | 4008691.85 | End Y | Y | Monument set by D. Cook, J. Oberling, and S. Lorimer on 1-4-12
EY-B1 | 3048 | 3993835 | End Y | Y | LIGO ISC Initial Alignment Logbook from Hugh, start date 1-12-99, page 100
EY-T1 | -199.4 | 3993835 | End Y | Y | LIGO ISC Initial Alignment Logbook from Hugh, start date 1-12-99, page 100