| AUTHOR(S) | DATE | Document Change Notice, Release or Approval |
| --- | --- | --- |
| Jeff Lewis, Bob Anderson | 2/11/2011 | see LIGO DCC record Status |

# Scope

This document defines the number of components to be 100% inspected from a manufacturing lot of a particular size based on a specified AQL number.

# Definition

The maximum percent defective (or the maximum number of defects per 100 units) that, for the purposes of sampling inspection, can be considered satisfactory as a process average.

# Procedure

AQL Number

| Lot Size | 0.25 | 0.4 | 0.65 | 1.0 | 1.5 | 2.5 | 4.0 | 6.5 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 to 8 | * | * | * | * | * | 5 | 3 | 2 | 2 |
| 9 to 15 | * | * | * | 13 | 8 | 5 | 3 | 2 | 2 |
| 16 to 25 | * | * | 20 | 13 | 8 | 5 | 3 | 3 | 2 |
| 26 to 50 | * | 32 | 20 | 13 | 8 | 5 | 5 | 5 | 3 |
| 51 to 90 | 50 | 32 | 20 | 13 | 8 | 7 | 6 | 5 | 4 |
| 91 to 150 | 50 | 32 | 20 | 13 | 12 | 11 | 7 | 6 | 5 |
| 151 to 280 | 50 | 32 | 20 | 20 | 19 | 13 | 10 | 7 | 6 |
| 281 to 500 | 50 | 48 | 47 | 29 | 21 | 16 | 11 | 9 | 7 |
| 501 to 1200 | 75 | 73 | 47 | 34 | 27 | 19 | 15 | 11 | 8 |
| 1201 to 3200 | 116 | 73 | 53 | 42 | 35 | 23 | 18 | 13 | 9 |
| 3201 to 10,000 | 116 | 86 | 68 | 50 | 38 | 29 | 22 | 15 | 9 |

* Denotes inspection of entire lot.  Acceptance Criteria (C) = 0

Table 1. AQL Inspection Frequency.

Use Table 1. to determine the number of pieces from a manufacturing lot to 100% inspect for a specified AQL number.  For example: a lot of 100 parts with an AQL number of 1.0 signifies that 13 parts shall be 100% inspected.  With the Acceptance Criteria (C) = 0, then if one feature on one part is found to be non-conforming then the entire lot shall have that feature inspected.

The first and last part of a manufacturing lot must always be inspected.