## Calibration
Gauge thickness (nom) | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Thick Act | Mean | Std. Dev. | Error | Max Variation
0 | 0 | -0.0001 | -0.0001 | -0.0001 | -0.0001 | 0 | -8e-05 | 4.4721e-05 | -8e-05 | 0.0001
0.005 | 0.00525 | 0.0052 | 0.0051 | 0.0051 | 0.0051 | 0.00505 | 0.00515 | 7.0711e-05 | 0.0001 | 0.00015
0.011 | 0.0111 | 0.01105 | 0.011 | 0.011 | 0.01105 | 0.011 | 0.01104 | 4.1833e-05 | 4e-05 | 0.0001
0.012 | 0.01205 | 0.01195 | 0.01195 | 0.0119 | 0.0119 | 0.01215 | 0.01195 | 6.1237e-05 | -0.0002 | 0.00015
0.014 | 0.0138 | 0.0137 | 0.0137 | 0.0137 | 0.0137 | 0.0137 | 0.01372 | 4.4721e-05 | 2e-05 | 0.0001
0.016 | 0.01565 | 0.01565 | 0.0156 | 0.01555 | 0.01565 | 0.01565 | 0.01562 | 4.4721e-05 | -3e-05 | 0.0001
0.025 | 0.0249 | 0.0248 | 0.0248 | 0.0248 | 0.02485 | 0.0249 | 0.02483 | 4.4721e-05 | -7e-05 | 0.0001
[8 empty] | 5.0381e-05 | -3.1429e-05 | 0.00011429
9.7712e-05
Gage Blocks | Measured | Micrometer |  | Error
0.10025 | 0.1002 | 0.09995 | -0.0003 | -5e-05
0.107 | 0.1071 | 0.10705 | 5e-05 | 0.0001
0.134 | 0.13405 | 0.1341 | 0.0001 | 5e-05
0.143 | 0.1431 | 0.14305 | 5e-05 | 0.0001
0.128 | 0.1281 | 0.128 | 0 | 0.0001
|  | Average error | -2e-05 | 6e-05 | 2.9155e-05
|  | Std Dev | 0.00016047 | 6.5192e-05

## Flexure Measurements
Flexure # | Short web | Long web | User | comments
1 | 0.00505 | 0.00445 | GSA
1 | 0.0051 | 0.00445 | GSA
1 | 0.00505 | 0.00445 | GSA
1 | 0.005 | 0.0044 | GSA
1 | 0.005 | 0.00435 | GSA
1 | 0.0049 | 0.00465 | DC | long was flipped relative to GSA
1 |  | 0.0043 | DC
1 | 0.005 | 0.0048 | VH
1 | 0.0049 | 0.00475 | VH | long was flipped relative to GSA
1 | 0.005 | 0.00475 | GSA | right side up
1 | 0.00525 | 0.00435 | GSA | right side down
Averages | 0.005025 | 0.0045182
Std Dev | 0.00010069 | 0.0001834
2 | 0.0047 |  | GSA
2 | 0.00465 |  | GSA
2 | 0.0047 |  | GSA
2 | 0.0047 |  | GSA
2 | 0.00465 |  | GSA
2 | 0.0045 |  | VH
2 | 0.00445 |  | VH
2 | 0.0046 |  | DC
2 | 0.00465 |  | GSA | right side up
2 | 0.0042 |  | GSA | wrong side up
Averages | 0.00458
Std Dev | 0.00015846
CMM | 0.0042016
3 | 0.005 | 0.0047 | GSA
3 | 0.005 | 0.0047 | GSA
3 | 0.005 | 0.00465 | GSA
3 | 0.005 | 0.0047 | GSA
3 | 0.005 | 0.0047 | GSA
3 | 0.00495 | 0.00465 | DC | long was flipped relative to GSA
|  | 0.00465 | DC
3 | 0.0049 | 0.00475 | VH | long flipped relative to GSA
3 | 0.00495 | 0.00465 | VH | long flipped relative to GSA
3 | 0.005 | 0.00475 | GSA | right side up
3 | 0.00505 | 0.0047 | GSA | downside up
Averages | 0.004985 | 0.0046909
Std Dev | 4.1164e-05 | 3.7538e-05
CMM | 0.0048937 | 0.00476

## CMM Measurements
Fitting cylinders for Flexure1LongTop | Fitting cylinders for Flexure2ShortTop
Iteration #1 Cylinder radius = 0.25 in. Residual rms = 0.0021131 mm [Exit flag = 0 | Iteration #0 Cylinder radius = 0.25 in Residual rms = 0.0016468 mm
Iteration #2 Cylinder radius = 0.24953 in. Residual rms = 0.0017796 mm [Exit flag = 0 | Fitting cylinders for Flexure2ShortBottom
Iteration #3 Cylinder radius = 0.24953 in. Residual rms = 0.0017794 mm [Exit flag = 0 | Iteration #0 Cylinder radius = 0.25 in Residual rms = 0.0017012 mm
Iteration #4 Cylinder radius = 0.24956 in. Residual rms = 0.0018009 mm [Exit flag = 0 | Thickness of Flexure2 -- Short
Iteration #5 Cylinder radius = 0.24953 in. Residual rms = 0.0017794 mm [Exit flag = 0 | Angle between cylinders = 0.007668 rad, (0.43934 deg)
Iteration #6 Cylinder radius = 0.24953 in. Residual rms = 0.0017794 mm [Exit flag = 4 | Minimum = 0.0034896 in
Fitting cylinders for Flexure1LongBottom | Maximum = 0.0049141 in
Iteration #1 Cylinder radius = 0.25 in. Residual rms = 0.0049316 mm [Exit flag = 0 | Nominal = 0.0042014 in
Iteration #2 Cylinder radius = 0.2519 in. Residual rms = 0.024761 mm [Exit flag = 0
Iteration #3 Cylinder radius = 0.25675 in. Residual rms = 0.0027422 mm [Exit flag = 0
Iteration #4 Cylinder radius = 0.25139 in. Residual rms = 0.006494 mm [Exit flag = 0
Iteration #5 Cylinder radius = 0.25606 in. Residual rms = 0.0034375 mm [Exit flag = 0
Iteration #6 Cylinder radius = 0.25557 in. Residual rms = 0.0027966 mm [Exit flag = 0
Iteration #7 Cylinder radius = 0.25674 in. Residual rms = 0.0027422 mm [Exit flag = 4
Thickness of Flexure1 -- Long
Angle between cylinders = 0.014921 rad, (0.85492 deg)
Minimum = 0.0028897 in
Maximum = 0.0050807 in
Nominal = 0.0039829 in
Thickness of Flexure1 -- Short
Angle between cylinders = 0.010282 rad, (0.58912 deg)
Minimum = 0.0041973 in
Maximum = 0.0053819 in
Nominal = 0.0047883 in

## Angle test
angle test
shim | 0.041
Nominal | 0.121
Height | 0.268
Height change | 0.108
label up | 0.00475
label down | 0.00405
Angle | 0.0064815

## Stiffness Repeatability
Flexure frequency = 87.1424 +- 0.025839
Std. Dev. = 0.085698
Fractional Std. Dev. = 0.00098343
Flexure stiffness = 0.090126 +- 5.3434e-005
Std. Dev. = 0.00017722
Fractional Std. Dev. = 0.0019664

## HPD Flexures
Flexure 1 | Long | Short
Top | 0.0047 | 0.00495
Bottom | 0.0043 | 0.0052
Resonance | HPD_1L.csv | HPD_1S.csv
Frequency | 72.52 | 106.4 | Hz
Prev. Freq | 73.87 | 108.4 | Hz
Flexure 2 | Long | Short | was previously labeled as Flexure #3
Top | 0.0047 | 0.00505
Bottom | 0.00475 | 0.0051
Top | 0.0047 | 0.00505
| HPD_3L.csv | HPD_3S.csv
Frequency | 76.89 | 105.4 | Hz
Prev. Freq | 78.06 | 106.8 | Hz