## Slide 1: Advanced LIGO ISC optics for in vacuum use
L. Barsotti
Mar 1, 2011

## Slide 2: ISC optics (1” and 2”)
For use in HAM1, HAM3, HAM6, TRANSMON (needed in April)
About 110 (+ spares) optics for each IFO
All super-polished optics, except Precision Photonics ones
IBS coating

## Slide 3: Optics from Different Vendors (sometime different vendors for each optic)
ATFilms
G&H (former General Optics)
Precision Photonics
Laseroptik / Photon Laseroptik (Germany)

## Slide 4: Procedures?
Cleaning and baking procedures for these optics?
Need to have about 30 optics (+ spares) ready
in April for assembling the first TRANSMON for the H2 One Arm Test

## Slide 5: Some optics already received
ATF
G&H
Precision Photonics

## Slide 6: First Inspection
Dust particles clearly visible on all of them
Problems with holders
Specifications for the
optic barrel not included in
the spec document
 some are polished
some are not
ATF
G&H
Precision Photonics