## Slide 1
J. Berliner1, R. Savage1,
R. Grosso2 , A. Sottile3, G. Mendell1, K. Kawabe1, I. Bartos4, H. Daveloza5, R. DeRosa6, G. Menichetti3, M. West7
1LIGO Hanford Observatory, 2Universität Erlangen-Nürnberg, 3Università di Pisa, 4Columbia University, 5University of Texas at Brownsville, 6Louisiana State University , 7Syracuse University
Photon Calibrator Investigations During S6
(1) | Long-Term Stability of Voice-Coil Actuators | 
Principle of Photon Calibrator Operation
(2) | Photon Calibrator Swept-Sine Calibrations | 
Radiation Force of a Power-Modulated Beam On a Mirror :
= radiation force
= reflected light power on Test Mass
c = speed of light
= frequency of laser power modulation
Radiation-Induced Displacement of End Test Mass:
= displacement of the ETM
M = mass of Test Mass
Displacement of ETM with Other Factors
= unit vector that is normal to the HR surface of the Test Mass
= incident angle of beam on Test Mass
Photon Calibrator Formula
H1 | Procedure Actuation Calibration Formula: Box Calibration: Line Studies: During S6, coil and Pcal modulations were maintained at ~400 Hz in H1 and L1. We analyzed the heights of these lines in 60-second DFT’s using PcalMon (R. Grosso) and LineAmpFinder (G. Mendell and J. Berliner) on LDAS: Alberto Sottile, Greg Mendell, and Guido Menichetti analyzed the line heights and accounted for outliers in the data. You can see their results in LIGO-P1100013. See Greg Mendell’s Talk (LIGO-G1100197)! NOTE: These studies ignore the uncertainty in the Box Calibration. The Swept-Sine studies consider these errors. | L1
H1 |  | L1
Actuation Coefficient
Line Studies
Box Calibration
LSC-ETMX_CAL ≡ Pcal Read-Back; LSC-DARM_CTRL_EXC ≡ Coil Excitation
H1 | Procedure Response Function Formula: After locking the interferometer, we ran swept-sine measurements on the interferometer using the Photon Calibrator’s EPICS system. Actuation Function Formula: After finding the response function, we swept sines across the interferometer using the End Test Mass voice-coil actuators, and compared the response in DARM_ERR. The entire response and actuation calibration takes only ~1 hour! | L1
H1 |  | L1
Response Function
Pcal Box Calibration
Swept-Sines via EPICS
Free Mass Transfer Function
Swept-Sines via EPICS
Response Function (see above)
*** ≡ DARM, ETMX, ETMY
Out of 305,610 minutes of science mode, we deleted 1,043 outliers, or ~0.34% of the data, for this investigation.
When considering the daily averages of the actuation coefficient, we learned that the actuators were stable to ±1%, but slowly losing sensitivity with time, since day ~250.
This is every minute of science mode in S6. Some visible outliers clearly stand out here. Overall, the actuators seem stable to within ~10% as visible on this plot.
When considering more than 99% of science time and detrending the slight trend in the points, µ ± 2σ is only ± ~2%.
L1’s Pcal photodetector developed a short-circuit at the beginning of the run. Otherwise, this plot shows overall stability to ±~15%.
Out of 268,997 minutes of science mode (with a working Pcal photodetector), we pruned off just ~0.74% of the times for this investigation.
When considering daily averages, the L1 actuators are shown to be very stable to ±~0.75%.
Overall, H1’s calibration shows <~5%, 5° systematic discrepancy in magnitude and phase for response and actuation.
In L1, a ~10-30% systematic discrepancy is evident in the magnitude of both response and actuation.
In phase, a large discrepancy is evident below 300 Hz in response. Bartos’s timing verification study (T1000638) confirms this.
H1 | Pcal: An Ideal Timing Calibrator | L1
When considering more than 99% of science time, µ ± 2σ is only ± ~1%.
(3) | Accuracy of Interferometer Timing | 
LIGO-G1100189-v13
Gold Standard
(NIST↔LHO)
Working Standard
(LHO↔LLO)
↓
End Station
Box Photo
Detector
(Inside Pcal Box)
Pcal Laser
(Inside Pcal Box)
Interferometer
→→→Calibration Chain→→→
Measuring the interferometer timing over the course of the entire science run. The green line is the official timing, and the blue points are the measured timing.
Characterizing the timing of the system electronics to account for systematic errors.
In July 2010, Imre Bartos used Pcal to verify the timing of H1’s h(t) generation. He noticed an anomalous downward drift in h(t)’s phase generation, as evident in the left plot. The other two plots are the time-dependent calibration factor for this period, which correlate with this drift.
Measuring the interferometer timing over the course of the entire science run. The green line is the official timing, and the blue points are the measured timing. L1’s timing jumps erratically over the course of the run.
Characterizing the timing of the system electronics to account for systematic errors.
Imre Bartos used Pcal to verify the timing of h(t)generation at 110 Hz. In L1, he found a ~100 µs (4°) systematic discrepancy in July 2010, as evident in the top and bottom plots.
The actuation of the Photon Calibrator has two important features that make it a crucial player in assessing the timing of the interferometer response:
It is simple and well-understood: as soon as its effects are sensed, we can be sure that it alone was the stimulus for the response.
It’s effect is virtually instantaneous: once we compensate for the transfer functions of its components, the Photon Calibrator’s radiation force is only nanoseconds away from the Test Mass.
Imre Bartos and the Columbia timing group have studied this topic extensively (LIGO-T1000638). Also, Greg Mendell’s talk (LIGO-G1100197) addresses timing.