## Staging building
BSC-ISI - Testing spreadsheets - Staging building
Step II.2 - Actuator Inventory
Stage 1 |  |  |  | Stage 2
Actuator | Actuator S/N |  |  | Actuator | Actuator S/N
ST1 - H1 | 106 |  |  | ST2 - H1 | 050
ST1 - H2 | 103 |  |  | ST2 - H2 | 043
ST1 - H3 | 119 |  |  | ST2 - H3 | 040
ST1 - V1 | 101 |  |  | ST2 - V1 | 049
ST1 - V2 | 120 |  |  | ST2 - V2 | 039
ST1 - V3 | 104 |  |  | ST2 - V3 | 047
Step II.3 - Sensors inventory
CPS Stage 1 | CPS S/N | Mount S/N | ADE board serial #
H1
H2
H3
V1
V2
V3
CPS Stage 2 | CPS S/N | Mount S/N | ADE board serial #
H1
H2
H3
V1
V2
V3
Geophones GS13 | Serial Number | POD ("top hat") | Comments
H1 | 816 | 14 | Not-vacuum ready
H2 | 837 | 27 | Not-vacuum ready
H3 | 777 | 37 | Not-vacuum ready
V1 | 689 | 88 | Not-vacuum ready
V2 | 723 | 52 | Not-vacuum ready
V3 | 745 | 48 | Not-vacuum ready
Geophones L4C | Serial Number | POD
H1
H2
H3
V1
V2
V3
Geophones T240 | Serial Number | POD
1
2
3
Step II.4 - Electronics Inventory
Hardware |  | Rack | Ligo reference | S/N
Interface Chassis - Corner 1
Interface Chassis - Corner 2
Interface Chassis - Corner 3
Anti-Alliasing Chassis - Corner 1
Anti-Alliasing Chassis - Corner 2
Anti-Alliasing Chassis - Corner 3
Anti-image Chassis
Binary Input Chassis
Binary Input Chassis
Binary Output Chassis
T240 Interface - Corner 1
T240 Interface - Corner 2
T240 Interface - Corner 3
I/O Chassis
Coil driver Pod 1
Coil driver Pod 2
Coil driver Pod 3
Step II.7 - Locker Shim thickness
Stage 0-1 |  | Stage 1-2
Lockers | Shim thickness (mil) | Lockers | Shim thickness (mil)
Corner 1 | 0.127 | Corner 1 | 0.121
Corner 2 | 0.12 | Corner 2 | 0.125
Corner 3 | 0.116 | Corner 3 | 0.128 + 0.003" Aloma shim
Step II.10 - Mass budget
Stage 1
Mass Budget
D0902612 | 12 | lb
D0902614 | 10 | lb
D0902615 | 10 | lb
Stage 1
Location | Weight (lb)
C1-1
C1-2
C2-1
C2-2
C3-1
C3-2
| Thickness " | Weight (lb)
D0902616-1 | 0.5 | 3
D0902616-2 | 0.14 | 1
D0902616-3 | 0.28 | 2
D0902616-4 | 0.72 | 5
D0902616-5 | 0.07 | 0.5
Stage 2
Mass Budget | Quantity | Weight | Unit
| 3 | 600 | lb
| 2 | 200 | lb
Kg
Kg
Kg
Kg
| Quantity | Weight |  | Unit |  |  | Quantity | Weight |  | Unit
|  |  |  | Kg | [5 empty] | lb
|  |  |  | Kg | [5 empty] | lb
|  |  |  | Kg | [5 empty] | lb
|  |  |  | Kg | [5 empty] | lb
|  |  |  | Kg | [5 empty] | lb
|  |  |  | Kg | [5 empty] | lb
|  |  | 0 | Kg |  |  |  |  | 0 | lb
Step II.11 - Lockers adjustments
| Stage 1 |  | Stage 2
D.I at Lockers | Dial indicators V | Dial indicators H | Dial indicators V | Dial indicators H
A
B
C
Step III.1 - Geophones Pressure readout
Pressure (count)
| Sensors | Day 1 | Day 2 | Day 3 | Day 4
Corner 1 | ST1_L4C_P
ST1_L4C_DIFF
ST2_GS13_P
ST2_GS13_DIFF
ST1_T240_P
Corner 2 | ST1_L4C_P
ST1_L4C_DIFF
ST2_GS13_P
ST2_GS13_DIFF
ST1_T240_P
Corner 3 | ST1_L4C_P
ST1_L4C_DIFF
ST2_GS13_P
ST2_GS13_DIFF
ST1_T240_P
Step III.2 - Locked vs Unlocked
| Table locked |  | Table unlocked |  | Difference locked - unlocked
Sensors | Offset (Mean) | Std deviation | Offset (Mean) | Std deviation | Offset (Mean) | mil
ST1 - H1 |  |  |  |  | 0 | 0
ST1 - H2 |  |  |  |  | 0 | 0
ST1 - H3 |  |  |  |  | 0 | 0
ST1 - V1 |  |  |  |  | 0 | 0
ST1 - V2 |  |  |  |  | 0 | 0
ST1 - V3 |  |  |  |  | 0 | 0
ST2 - H1 |  |  |  |  | 0 | 0
ST2 - H2 |  |  |  |  | 0 | 0
ST2 - H3 |  |  |  |  | 0 | 0
ST2 - V1 |  |  |  |  | 0 | 0
ST2 - V2 |  |  |  |  | 0 | 0
ST2 - V3 |  |  |  |  | 0 | 0
Step III.3 - Sensor gap measurement
Sensors | Gap measured on the Jig | Gap measured on the table | % of change | Offset sensors (counts)
ST1 - H1
ST1 - H2
ST1 - H3
ST1 - V1
ST1 - V2
ST1 - V3
ST2 - H1
ST2 - H2
ST2 - H3
ST2 - V1
ST2 - V2
ST2 - V3
Step III.4 - Performance of the limiters
| CPS read out |  | Calculated after calibration
Sensors | "-Z" (Counts) | "+Z" (Counts) | "-Z" (mil) | "+Z" (mil)
ST1 - V1 - ST2 LCK
ST1 - V2 - ST2 LCK
ST1 - V3 - ST2 LCK
ST2 - V1 - ST1 LCK
ST2 - V2 - ST1 LCK
ST2 - V3 - ST1 LCK
| CPS read out |  | Calculated after calibration
Sensors | "-RZ" (Counts) | "+RZ" (Counts) | "-RZ" (mil) | "+RZ" (mil)
ST1 - H1 - ST2 LCK
ST1 - H2 - ST2 LCK
ST1 - H3 - ST2 LCK
ST2 - H1 - ST1 LCK
ST2 - H2 - ST1 LCK
ST2 - H3 - ST1 LCK
Sensors | Push in positive direction | Push in negative direction | Mil (positive) | Mil (negative) | Railing | Actuator Gap Check
ST1 - H1
ST1 - H2
ST1 - H3
ST1 - V1
ST1 - V2
ST1 - V3
ST2 - H1
ST2 - H2
ST2 - H3
ST2 - V1
ST2 - V2
ST2 - V3
Step III.5 - Sensors Powerspectra
Measuremets | Configuration | Mass location | GPS TIME
1
2
3
4
5
6
7
8
9
10
Step 6 - Coil Driver resistance check
Actuator | Coil driver name | Resistance (Ω)
ST1 H1 | Coil1 Coarse 1
ST2 H1 | Coil 1 Fine 1
ST2 V1 | Coil 1 Fine 2
ST1 V1 | Coil 1 Coarse 2
ST1 H2 | Coil 2 Coarse 2
ST2 H2 | Coil 2 Fine 1
ST2 V2 | Coil 2 Fine 2
ST1 V2 | Coil 2 Coarse 2
ST1 H3 | Coil 3 Coarse 1
ST2 H3 | Coil 3 Fine 1
ST2 V3 | Coil 3 Fine 2
ST1 V3 | Coil 3 Coarse 2
POD 1
Actuators | ST1 - H1 | ST2 - H1 | ST1 - V1 | ST2 - V1
Anti image pin #
Cable #
Resistance (Ohm)
CD Voltage for 1000 cts offset
POD 2
Actuators | ST1 - H2 | ST2 - H2 | ST1 - V2 | ST2 - V2
Anti image pin #
Cable #
Resistance (Ohm)
CD Voltage for 1000 cts offset
POD 3
Actuators | ST1 - H3 | ST2 - H3 | ST1 - V3 | ST2 - V3
Anti image pin #
Cable #
Resistance (Ohm)
CD Voltage for 1000 cts offset
Step III.7.2 - Range of motion
Sensor readout (counts) | Negative drive | no drive | Positive drive | Amplitude count | mil
ST1 - H1 |  |  |  |  | 0
ST1 - H2 |  |  |  |  | 0
ST1 - H3 |  |  |  |  | 0
ST1 - V1 |  |  |  |  | 0
ST1 - V2 |  |  |  |  | 0
ST1 - V3 |  |  |  |  | 0
ST2 - H1 |  |  |  |  | 0
ST2 - H2 |  |  |  |  | 0
ST2 - H3 |  |  |  |  | 0
ST2 - V1 |  |  |  |  | 0
ST2 - V2 |  |  |  |  | 0
ST2 - V3 |  |  |  |  | 0
Step III.8 - Vertical sensor calibration
| Lockers | D.I readout with for a negative drive | D.I readout with for a positive drive
Stage 1 | A
B
C
| Average | #DIV/0! | #DIV/0! | #DIV/0!
| Sensors | Counts | Counts | Difference (Counts)
Stage 1 | V1 |  |  | 0
| V2 |  |  | 0
| V3 |  |  | 0
|  |  | Average | 0
| Lockers | D.I readout with for a negative drive | D.I readout with for a positive drive
Stage 2 | A
B
C
| Average | #DIV/0! | #DIV/0! | #DIV/0!
| Sensors | Counts | Counts | Difference (Counts)
Stage 2 | V1 |  |  | 0
| V2 |  |  | 0
| V3 |  |  | 0
|  |  | Average | 0
Step III.9 - Versical spring constant
ST1 locked - ST2 unlocked |  | No load | Load | Diff
3x5Kg | V1 |  |  |  |  | 9
V2
V3
|  |  |  | #DIV/0! | count |  |  | #DIV/0! | Cout/mil
|  |  |  | #DIV/0! | mil
|  |  |  | #DIV/0! | lb/in |  |  | 131072 | Ct/m
|  |  |  | #DIV/0! | % |  |  | 1465 | lb/in | Reference value stage 2
Step III.9 - Versical spring constant
ST1 unlocked - ST2 locked |  | No load | Load 15 Kg | Load 30Kg | Diff 1 | Diff 2
| V1 |  |  |  | 0 | 0
| V2 |  |  |  | 0 | 0
| V3 |  |  |  | 0 | 0
[5 empty] | 0 | 0 | count | 0 | Ct/mil
[5 empty] | #DIV/0! | #DIV/0! | mil | 1241 | lb/in | Reference value stage 1
[5 empty] | #DIV/0! | #DIV/0! |  |  | KN/m
[6 empty] | #DIV/0! | %
Step III.10 - Static Test in the Local basis
Sensors
|  |  | ST1 - H1 | ST1 - H2 | ST1 - H3 | ST1 - V1 | ST1 - V2 | ST1 - V3
| Actuators | ST1 - H1
ST1 - H2
ST1 - H3
ST1 - V1
ST1 - V2
ST1 - V3
Sensors
|  |  | ST2 - H1 | ST2 - H2 | ST2 - H3 | ST2 - V1 | ST2 - V2 | ST2 - V3
| Actuators | ST2 - H1
ST2 - H2
ST2 - H3
ST2 - V1
ST2 - V2
ST2 - V3
Step III.11 - Static Test in the general coordinate basis
Sensors
|  |  | ST1 - X | ST1 - Y | ST1 - Z | ST1 - RY | ST1 - RY | ST1 - RZ
| Actuators | ST1 - X
ST1 - Y
ST1 - Z
ST1 - RX
ST1 - RY
ST1 - RZ
Sensors
|  |  | ST2 - X | ST2 - Y | ST2 - Z | ST2 - RY | ST2 - RY | ST2 - RZ
| Actuators | ST2 - X
ST2 - Y
ST2 - Z
ST2 - RX
ST2 - RY
ST2 - RZ
Sensors
|  |  | ST1 - H1 | ST1 - H2 | ST1 - H3 | ST1 - V1 | ST1 - V2 | ST1 - V3
| Actuators | ST1 - X
ST1 - Y
ST1 - Z
ST1 - RX
ST1 - RY
ST1 - RZ
Sensors
|  |  | ST2 - H1 | ST2 - H2 | ST2 - H3 | ST2 - V1 | ST2 - V2 | ST2 - V3
| Actuators | ST2 - X
ST2 - Y
ST2 - Z
ST2 - RX
ST2 - RY
ST2 - RZ
Step III.12 - Linearity test
|  | Slope | Offset | Average slope | Variation from average(%)
Stage 1 | ST1 - H1 |  |  | #DIV/0! | #DIV/0!
| ST1 - H2 |  |  |  | #DIV/0!
| ST1 - H3 |  |  |  | #DIV/0!
| ST1 - V1 |  |  | #DIV/0! | #DIV/0!
| ST1 - V2 |  |  |  | #DIV/0!
| ST1 - V3 |  |  |  | #DIV/0!
Stage 2 | ST2 - H1 |  |  | #DIV/0! | #DIV/0!
| ST2 - H2 |  |  |  | #DIV/0!
| ST2 - H3 |  |  |  | #DIV/0!
| ST2 - V1 |  |  | #DIV/0! | #DIV/0!
| ST2 - V2 |  |  |  | #DIV/0!
| ST2 - V3 |  |  |  | #DIV/0!
Step XXX - Extra tables
| Stages locked/unlocked | Stage tilted
F resolution
Average
Overlap
|  | Stages locked |  | Stages unlocked
|  | at 0.1 Hz | at 1 Hz | at 0.1 Hz | at 1 Hz
Stage 1 | Horizontal CPS
Vertical CPS
Stage 2 | Horizontal CPS
Vertical CPS
| Stages locked |  |  | Stages unlocked
| at 0.1 Hz | at 1 Hz | at 10Hz | at 0.1 Hz | at 1 Hz | at 10Hz
Horizontal L4C
Vertical L4C
T240 X
T240 Y
T240 Z
Horizontal GS13
Vertical GS13
Stages tilted
| at 0.1 Hz | at 1 Hz | at 10Hz
Horizontal L4C
Vertical L4C
T240 X
T240 Y
T240 Z
Horizontal GS13
Vertical GS13
Watchdog | Limits (counts) | Safe Limit (counts)
CPS | 30000 | 30000
L4C | 30000 | 30000
T240 | 40000 | 30000
GS13 | 40000 | 30000
Actuators | 30000 | 30000
Stage 1 - Platform move for 32K counts | 12.6263 | mil | coef*U/(K*R)
Stage 2 - Platform move for 32K counts | 3.5938 | mil