## Sheet1
replacement p/n per stephany | function | female thread material | p/n | desc |  | qty per bsc isi | holokrome 95 kpsi tensile | cost ea | A286 mcmaster 140 kpsi tensile | cost ea | 17-4 ph mcmaster 140 kpsi tensile 1/2 cost of a286 | cost ea | bumax mcmaster 116 kpsi tensile 1/4 cost of ocean state | cost ea | ocean state | delivery | cost ea | Fastening products | delivery | cost ea | comments
MSC_82272881 |  |  | MCMASTER_92196A106 | SHCS, #4-40x.25" | AISI 304 | 24 | 78010 | 2.04 | 92423a430 | 1.84 |  |  |  |  | 286sh0404 | stk | 0.91 |  | 3-4 wk | advise
MSC_05664073 |  |  | MCMASTER_92196A113 | SCREW, SHCS 4-40 X .75 LG. | 18-8 SSTL | 48 |  |  | 92423a442 | 1.83 |  |  |  |  | 286sh0412 | stk | 3.81 |  | 3-4 wk | advise
MSC_05667043 |  |  | McMASTER_92196A192 | SCREW SHCS, 8-32 X 3/8 LG | 18-8 SSTL | 12 | 78026 | 2.52 | 92423a480 | 2.12 |  |  |  |  | 286sh0806 | stk | 1.12 |  | 3-4 wk | 7.25
MSC_05667076 |  |  | McMASTER_92196A197 | SCREW SHCS, 8-32 X 3/4 LG | 18-8 SSTL | 60 | 78032 | 3.54 | 92423a489 | 2.16 |  |  |  |  | 286sh0812 | stk | 1.4 |  | 3-4 wk | 7.5
MSC_05678065 |  |  | McMaster_92196A271 | Screw 10-32 x .62 lg. | 18-8 SSTL | 24 | 79022 |  | 92423a508 | 2.26 |  |  |  |  | 286sh1110 | stk | 1.65 |  | 3-4 wk | 7
MSC_04214292 | stg 0-1 actuator |  | McMaster_92196A291 | Screw SHCS, 10-32 x 1.375 lg. | 18-8 SSTL | 24 | [8 empty] | 286sh1122 | stk | 2.7 |  | 3-4 wk | 7.6
MSC_05680350 |  |  | McMASTER_92196A556 | SCREW SHCS, 1/4"-20 x 3.50L THD LG 1"-3" | 18-8 SS | 6 | [8 empty] | 286sh2556 | ? | ? |  | 3-4 wk | 12
| attach lg actuators to stage | nitronic 60 helicoils | McMaster_92196A584 | Screw, SHCS, 5/16-18 x 1 1/8 lg. | 18-8 SSTL | 24 | [6 empty] | 92488A267 | 1.98 | 286sh3118 | stk | 7.8 |  | 3-4 wk | 9 | can change to screw 1/8 longer bumax 88 p/n with .133 in clearance remaining
| stage lockers | 2024-t351 al tapped holes | McMASTER_92196A627 | SCREW SHCS, 3/8-16 X 1.38 LG. | 18-8 SSTL | 24 | [6 empty] | 92488A295 | 3.23 | 286sh3722 | stk | 10.4 |  | 3-4 wk | 8.5 | can change to screw 1/8 shorter bumax 88 with .718 in of engagement
MSC_05682224 | stg 0-1 hor stg actuator | 6061-t6 al tapped hole | MCMASTER_92196A633 | SHCS, 3/8"-16x2.25" | 18-8 SS | 6 | [6 empty] | 92488A302 | 4.1 | 286sh3736 | stk | 19.5 |  | 3-4 wk | 9.75 | can change to screw .25 shorter bumax 88 with .650 in engement
MSC_05682273 | stage lockers replace with hex hd 2.5 lg | nitronic 60 helicoil holes | MCMASTER_92196A635 | SHCS, 3/8"-16x2.75" | 18-8 SS | 24 | [8 empty] | 286sh3744 | 11 wks | 15.6 |  | 3-4 wk | 10 | can replace with hex head x 2.50 lg with .875 in engagement. Socket size for this is .870 dia and it is < the washer size. Lised below line 24
MSC_05682307 | stg 1, lockers, tooling standoff | 6061 al tapped holes | MCMASTER_92196A636 | SHCS, 3/8"-16x3.0" | 18-8 SS | 30 | [8 empty] | 286sh3748 | stk | 13 |  | 3-4 wk | 10
MSC_74051681 | stage 1 trim masses |  | McMASTER_92196A637 | SHCS, 3/8"-16 X 3.25" (PARTIAL THREAD 1.25"-3") | 18-8 SSTL | 12 | [8 empty] | 286sh3752 | 11 wks |  |  | 3-4 wk | 11
MSC_05682406 | stg 1 trim masses , L4C vert |  | MCMASTER_92196A639 | SHCS, 3/8"-16x3.75" | 18-8 SS | 15 | [8 empty] | 286sh3760 | 11 wks |  |  | 3-4 wk | 12.6
MSC_05684220 | trillium, flex rod bracketry | 6061 al tapped hole | McMaster_92196A721 | Screw 1/2-13 x 2.25 lg. SHCS | 18-8 SS | 6 | [8 empty] | 174sh5036 | 8 wks | 7.28 |  | 3-4 wk | 11.9 | can replace with hex head 1/2-13 x 2.5 lg, head in shorter x .27 in c-bore two small at 1.062" need 1.120 for socket, add 1-2 additional washers so screw does not bottom out
MSC_05684253 | blade spring safety restaint |  | MCMASTER_92196A722 | SHCS, 1/2"-13x2.5" | 18-8 SSTL | 12 | [8 empty] | 174sh2040 | 8 wks | 7.39 |  | 3-4 wk | 10.5 | can swap with hex head same length might not be as easy to remove
MSC_05684303 | stage 0 bolts. Flex rod bracket | 6061 al tapped hole | McMASTER_92196A724 | SCREW SHSC, 1/2-13 x 3" SHCS 1 1/2"- FULL THD | 18-8 SS | 142 | [6 empty] | 92488A334 | 8.5 | 174sh5048 | 8 wks | 7.64 |  | 3-4 wk | 10
| Flex rod bracket | 6061 al tapped hole | McMASTER_92196A725 | SCREW SHCS 1/2-13 X 3.5 LG, 1.5" MIN TO FULLY THREADED | 18-8 SSTL | 12 | [8 empty] | 174sh5056 | 8 wks | 8.12 |  | 3-4 wk | 12.15 | can change to 1/2-13 x 3" lg and modify the blocc by increasing the depth of c'bore x 1/2"
MSC_05684402 | flex rod bracket | 6061 al tapped hole | McMASTER_92196A728 | SCREW SHCS 1/2-13 X 4" LG 1.5"-FULL THD | 18-8 SSTL | 6 | [8 empty] | 174sh5064 | 8 wks | 8.34 |  | 3-4 wk | 12.6 | may not need to replace this one
MSC_04736195 | stage alignment pin, L4C | 6061 al tapped hole | McMaster_92196A736 | Screw SCHS 1/2-13 x 6" Lg, 1.5" threaded | 18-8 SSTL | 3 | [8 empty] | 174sh5096 | 8 wks | 9.82 |  | 3-4 wk | 18 | keep or change c'bore 3" deeper and change to a 3" lg bolt
MSC_68049444 | spring post blade base | nitronic 60 helicoil | MCMASTER_92196A804 | SHCS, 5/8"-11x2.5" | 18-8 SS | 12 | [9 empty] | 8 wks |  |  | 3-4 wk | 12.6
MSC_67336925 | Position sensor assy |  | McMASTER_92240A632 | SCREW HEX HEAD 3/8-16 X 2"LG | 18-8 SSTL | 12 |  |  | 98253A459 | 14.56 | 96870A262 | 7.56 |  |  | 174hh3732 | 8 wks | 8.14 |  | 3-4 wk | 14
MSC_67337089 | stg 1-2 actuatos, actuator post | 6061 al tapped hole | McMASTER_92240A722 | SCREW HEX HEAD, 1/2-13 X 2.5 FULL THD | 18-8 SSTL | 24 |  |  | 98253A492 | 20.58 | 96870A292 | 9.96 |  |  | 174hh5040ft | 8 wks | 6.83 |  | 3-4 wk | 10.15
MSC_67337204 | lower and uper outer walls |  | MCMASTER_92240A728 | HHCS, 1/2"-13x4.0" | 18-8 SS | 18 | [8 empty] | 174hh5064 | 8 wks | 7.58 |  | 3-4 wk | 17.55
| blade spring | barrel nut nitronic 60 |  | shcs 1/2-13 x 3.75 |  | 15 | [8 empty] | 174sh5060 | 8 wks | 8.23 |  | 3-4 wk | 12.6
| blade spring | barrel nut nitronic 60 |  | shcs 1/2-13 x 5.5 |  | 12 | [8 empty] | 174sh5088 | 8 wks | 9.38 |  | 3-4 wk | 14.4
critical application