## T240
T240 Installation location
Site | Unit | location T240 | Serial Number | POD | Cleaning status | Comments
LHO | BSC8 | Corner 1 | 112 | 32 | Class A | Initially installed - POD 12 - S/N 138 - Replacement on September 30, 2011
LHO | BSC8 | Corner 2 | 118 | 20 | Class A | Initially installed - POD 26 - S/N 133 - Replacement on September 30, 2011
LHO | BSC8 | Corner 3 | 101 | 19 | Class A | Initially installed - POD 36 - S/N 109 - Replacement on September 30, 2011
LHO | BSC6 | Corner 1 | 131 | 41 | Class A | Initially installed - POD 1 - S/N 111 - Replacement on , 2011
LHO | BSC6 | Corner 2 | 110 | 22 | Class A | Initially installed - POD 24 - S/N 104 - Replacement on , 2011
LHO | BSC6 | Corner 3 | 127 | 18 | Class A | Initially installed - POD 15 - S/N 117 - Replacement on , 2011
Corner 1
Corner 2
Corner 3
Corner 1
Corner 2
Corner 3
Corner 1
Corner 2
Corner 3
Corner 1
Corner 2
Corner 3
Corner 1
Corner 2
Corner 3
Corner 1
Corner 2
Corner 3
Corner 1
Corner 2
Corner 3
Corner 1
Corner 2
Corner 3
Corner 1
Corner 2
Corner 3
Corner 1
Corner 2
Corner 3
Corner 1
Corner 2
Corner 3
Corner 1
Corner 2
Corner 3
Corner 1
Corner 2
Corner 3

## L4C
L4C Installation location
Site | Unit | L4C location | Serial Number | POD | Cleaning status | Comments
LHO | BSC 1 | H1 | 1104 | 96 | Class A | S/N 815 - POD 22 initialy installed - Replaced on Decenber 3, 2012
LHO | BSC 2 | H2 | 961 | 46 | Class A | S/N 1094 - POD 152 initialy installed - Replaced on Decenber 3, 2012
LHO | BSC 3 | H3 | 1120 | 94 | Class A | S/N 968 - POD 150 initialy installed - Replaced on Decenber 3, 2012
LHO | BSC 4 | V1 | 805 | 91 | Class A | S/N 1068 - POD 155 initialy installed - Replaced on Decenber 3, 2012
LHO | BSC 5 | V2 | 801 | 42 | Class A | S/N 1070 - POD 151 initialy installed - Replaced on Decenber 3, 2012
LHO | BSC 6 | V3 | 1078 | 62 | Class A | S/N 811 - POD 153 initialy installed - Replaced on Decenber 3, 2012
LHO | BSC6 | H1 | 1105 | 76 | Class A | POD 34 initialy (non vacuum compatible) installed replaced on September 1, 2011
LHO | BSC6 | H2 | 970 | 30 | Class A
LHO | BSC6 | H3 | 819 | 129 | Class A | POD 10 initialy (Non working pressure sensor) installed replaced on September 7, 2011 | 129
LHO | BSC6 | V1 | 1085 | 37 | Class A
LHO | BSC6 | V2 | 1089 | 127 | Class A
LHO | BSC6 | V3 | 929 | 17 | Class A
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3

## GS13
GS13 Installation location
Site | Unit | location GS13 | Serial Number | POD | Cleaning status | Comments
LHO | BSC8 | H1 | Not noted at LLO | 33 | Class A | Initially installed - POD 68 - S/N 822 - Replacement on September 30, 2011
LHO | BSC8 | H2 | 801 | 31 | Class A | Initially installed - POD 85 - S/N 842 - Replacement on September 30, 2011
LHO | BSC8 | H3 | 783 | 16 | Class A | Initially installed - POD 89 - S/N 841 - Replacement on September 30, 2011
LHO | BSC8 | V1 | 740 | 79 | Class A | Initially installed - POD 76 - S/N 76 - Replacement on September 30, 2011
LHO | BSC8 | V2 | 739 | 94 | Class A | Initially installed - POD 703 - S/N 84 - Replacement on September 30, 2011
LHO | BSC8 | V3 | 677 | 26 | Class A | Initially installed - POD 98 - S/N 719 - Replacement by the 26 on August 11, 2011
LHO | BSC6 | H1 | 711 | 95 | Class A | Initially installed - POD 37 - S/N 777
LHO | BSC6 | H2 | 839 | 101 | Class A | Initially installed - POD 14 - S/N 816
LHO | BSC6 | H3 | 846 | 83 | Class A | Initially installed - POD 27 - S/N 837
LHO | BSC6 | V1 | 746 | 100 | Class A | Initially installed - POD 88 - S/N 689
LHO | BSC6 | V2 | 734 | 75 | Class A | Initially installed - POD 52 - S/N 723- HAM?
LHO | BSC6 | V3 | 743 | 102 | Class A | Initially installed - POD 48 - S/N 745
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3
H1
H2
H3
V1
V2
V3