## H1-BSC1
aLIGO SLC ARM CAVITY BAFFLE
D1002384 - BALANCING, INSTALLATION & SERVICING KIT FOR H1-BSC1
CLASS A PARTS
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
90945A740 | #10 FLAT WASHER | 3
92200A541 | ¼-20 X 7/8”, SHCS | 4
92200A694 | 3/8-16 X 2.5” SCREW | 2
92240A632 | HH 3/8-16 X 2” SCREW | 4
92240A634 | HH 3/8-16 X 2.5” SCREW | 3
98019A399 | 3/8 FLAT WASHERS | 9
D1000600 | CABLE CLAMP | 3
D1001700 | MOUNTING CLAMP | 4
D1003117-X | CABLE | 1
D1101293 | SHOULDER SCREW | 1
D1201366-01 | DOG CLAMPS | 2
N-1024-A | #10 SILVER PLATED NUT | 1
CLASS B PARTS FOR BALANCING & INSTALLATION
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
98019A355 | ¼ WASHERS | 2
C-2016-NA | ¼-20 X 1” SCHS, SILVER PLATED | 2
D1101184 | BEND FIXTURE PLATE (aka - TOUGUE DEPRESSOR) | 1 |  | Comes with assembly
D1101622 | END CLAMP | 1
D1101610 | GUIDE BLOCK | 1
D1101700 | MOVER WITH TEFLON PADS | 1
D1200308 | CAPTIVE SCREWS | 5
D1201369 | PUSHER SCREWS | 2
WF-38 | 3/8 WASHERS | 5
CLASS B PARTS FOR SERVICING, LOCKING AND SWINGBACK
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
D1201251 | VARIABLE HEIGHT BRACKET, 9 DEGREE | 1 |  | Comes with assembly
98019A355 | ¼ FLAT WASHER | 6 |  | Comes with assembly
92200A540 | SHCS ¼-20 X ¾” LONG | 6 |  | Comes with assembly
3585-4EN375 | HELICOIL, 1/4-20 X .38 LG. for D1300528 | 4
33045T770 | EYEBOLT, 1/4-20 x 1.0 LG. for D1300528 | 1
D1300528 | SWINGBACK WEDGE | 1
D1300527-101 | CHAIN, TWISTED LINK for D1300527 | 2
3712T21 | THREADED CONNECTORS for D1300527 | 2
ALL CLASS B PARTS MUST BE REMOVED!

## L1-BSC1
aLIGO SLC ARM CAVITY BAFFLE
D1003374 - BALANCING, INSTALLATION & SERVICING KIT FOR L1-BSC1
CLASS A PARTS
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
90945A740 | #10 FLAT WASHER | 3
92200A541 | ¼-20 X 7/8”, SHCS | 4
92200A694 | 3/8-16 X 2.5” SCREW | 2
92240A632 | HH 3/8-16 X 2” SCREW | 4
92240A634 | HH 3/8-16 X 2.5” SCREW | 3
98019A399 | 3/8 FLAT WASHERS | 9
D1000600 | CABLE CLAMP | 3
D1001700 | MOUNTING CLAMP | 4
D1003117-X | CABLE | 1
D1101293 | SHOULDER SCREW | 1
D1201366-01 | DOG CLAMPS | 2
N-1024-A | #10 SILVER PLATED NUT | 1
CLASS B PARTS FOR BALANCING & INSTALLATION
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
98019A355 | ¼ WASHERS | 2
C-2016-NA | ¼-20 X 1” SCHS, SILVER PLATED | 2
D1101184 | BEND FIXTURE PLATE (aka - TOUGUE DEPRESSOR) | 1 |  | Comes with assembly
D1101622 | END CLAMP | 1
D1101610 | GUIDE BLOCK | 1
D1101700 | MOVER WITH TEFLON PADS | 1
D1200308 | CAPTIVE SCREWS | 5
D1201369 | PUSHER SCREWS | 2
WF-38 | 3/8 WASHERS | 5
CLASS B PARTS FOR SERVICING, LOCKING AND SWINGBACK
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
D1201251 | VARIABLE HEIGHT BRACKET, 9 DEGREE | 1 |  | Comes with assembly
98019A355 | ¼ FLAT WASHER | 6 |  | Comes with assembly
92200A540 | SHCS ¼-20 X ¾” LONG | 6 |  | Comes with assembly
3585-4EN375 | HELICOIL, 1/4-20 X .38 LG. for D1300528 | 4
33045T770 | EYEBOLT, 1/4-20 x 1.0 LG. for D1300528 | 1
D1300528 | SWINGBACK WEDGE | 1
D1300527-101 | CHAIN, TWISTED LINK for D1300527 | 2
3712T21 | THREADED CONNECTORS for D1300527 | 2
ALL CLASS B PARTS MUST BE REMOVED!

## H1-BSC3
aLIGO SLC ARM CAVITY BAFFLE
D1002382 - BALANCING, INSTALLATION & SERVICING KIT FOR H1-BSC3
CLASS A PARTS
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
90945A740 | #10 FLAT WASHER | 3
92200A541 | ¼-20 X 7/8”, SHCS | 4
92200A694 | 3/8-16 X 2.5” SCREW | 2
92240A632 | HH 3/8-16 X 2” SCREW | 4
92240A634 | HH 3/8-16 X 2.5” SCREW | 3
98019A399 | 3/8 FLAT WASHERS | 9
D1000600 | CABLE CLAMP | 3
D1001700 | MOUNTING CLAMP | 4
D1003117-X | CABLE | 1
D1101293 | SHOULDER SCREW | 1
D1201366-01 | DOG CLAMPS | 1
D1201366-03 | DOG CLAMPS | 1
N-1024-A | #10 SILVER PLATED NUT | 1
CLASS B PARTS FOR BALANCING & INSTALLATION
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
98019A355 | ¼ WASHERS | 2
C-2016-NA | ¼-20 X 1” SCHS, SILVER PLATED | 2
D1101184 | BEND FIXTURE PLATE (aka - TOUGUE DEPRESSOR) | 1 |  | Comes with assembly
D1201454 | END CLAMP | 1
D1101609 | GUIDE BLOCK | 1
D1101700 | MOVER WITH TEFLON PADS | 1
D1200308 | CAPTIVE SCREWS | 5
D1201369 | PUSHER SCREWS | 2
WF-38 | 3/8 WASHERS | 5
CLASS B PARTS FOR SERVICING, LOCKING AND SWINGBACK
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
D1201251 | VARIABLE HEIGHT BRACKET, 9 DEGREE | 1 |  | Comes with assembly
98019A355 | ¼ FLAT WASHER | 6 |  | Comes with assembly
92200A540 | SHCS ¼-20 X ¾” LONG | 6 |  | Comes with assembly
3585-4EN375 | HELICOIL, 1/4-20 X .38 LG. for D1300528 | 4
33045T770 | EYEBOLT, 1/4-20 x 1.0 LG. for D1300528 | 1
D1300528 | SWINGBACK WEDGE | 1
D1300527-101 | CHAIN, TWISTED LINK for D1300527 | 2
3712T21 | THREADED CONNECTORS for D1300527 | 2
ALL CLASS B PARTS MUST BE REMOVED!

## L1-BSC3
aLIGO SLC ARM CAVITY BAFFLE
D1003371 - BALANCING, INSTALLATION & SERVICING KIT FOR L1-BSC3
CLASS A PARTS
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
90945A740 | #10 FLAT WASHER | 3
92200A541 | ¼-20 X 7/8”, SHCS | 4
92200A694 | 3/8-16 X 2.5” SCREW | 2
92240A632 | HH 3/8-16 X 2” SCREW | 4
92240A634 | HH 3/8-16 X 2.5” SCREW | 3
98019A399 | 3/8 FLAT WASHERS | 9
D1000600 | CABLE CLAMP | 3
D1001700 | MOUNTING CLAMP | 4
D1003117-X | CABLE | 1
D1101293 | SHOULDER SCREW | 1
D1201366-01 | DOG CLAMPS | 1
D1201366-03 | DOG CLAMPS | 1
N-1024-A | #10 SILVER PLATED NUT | 1
CLASS B PARTS FOR BALANCING & INSTALLATION
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
98019A355 | ¼ WASHERS | 2
C-2016-NA | ¼-20 X 1” SCHS, SILVER PLATED | 2
D1101184 | BEND FIXTURE PLATE (aka - TOUGUE DEPRESSOR) | 1 |  | Comes with assembly
D1201454 | END CLAMP | 1
D1101609 | GUIDE BLOCK | 1
D1101700 | MOVER WITH TEFLON PADS | 1
D1200308 | CAPTIVE SCREWS | 4
D1201369 | PUSHER SCREWS | 2
WF-38 | 3/8 WASHERS | 4
CLASS B PARTS FOR SERVICING, LOCKING AND SWINGBACK
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
D1201251 | VARIABLE HEIGHT BRACKET, 9 DEGREE | 1 |  | Comes with assembly
98019A355 | ¼ FLAT WASHER | 6 |  | Comes with assembly
92200A540 | SHCS ¼-20 X ¾” LONG | 6 |  | Comes with assembly
3585-4EN375 | HELICOIL, 1/4-20 X .38 LG. for D1300528 | 4
33045T770 | EYEBOLT, 1/4-20 x 1.0 LG. for D1300528 | 1
D1300528 | SWINGBACK WEDGE | 1
D1300527-101 | CHAIN, TWISTED LINK for D1300527 | 2
3712T21 | THREADED CONNECTORS for D1300527 | 2
ALL CLASS B PARTS MUST BE REMOVED!

## L1-BSC4
aLIGO SLC ARM CAVITY BAFFLE
D1100476 - BALANCING, INSTALLATION & SERVICING KIT FOR L1-BSC4
CLASS A PARTS
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
90945A740 | #10 FLAT WASHER | 3
92200A694 | 3/8-16 X 2.5” SCREW | 2
92240A632 | HH 3/8-16 X 2” SCREW | 4
92240A634 | HH 3/8-16 X 2.5” SCREW | 3
98019A399 | 3/8 FLAT WASHERS | 9
D1000600 | CABLE CLAMP | 3
D1001700 | MOUNTING CLAMP | 4
D1003117-X | CABLE | 1
D1101293 | SHOULDER SCREW | 1
D1201366-01 | DOG CLAMPS | 2
N-1024-A | #10 SILVER PLATED NUT | 1
CLASS B PARTS FOR BALANCING & INSTALLATION
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
98019A355 | ¼ WASHERS | 2
C-2016-NA | ¼-20 X 1” SCHS, SILVER PLATED | 2
D1101184 | BEND FIXTURE PLATE (aka - TOUGUE DEPRESSOR) | 1 |  | Comes with assembly
D1101619 | END CLAMP | 1
D1101673 | GUIDE BLOCK | 1
D1101700 | MOVER WITH TEFLON PADS | 1
D1200308 | CAPTIVE SCREWS | 4
D1201369 | PUSHER SCREWS | 2
WF-38 | 3/8 WASHERS | 4
CLASS B PARTS FOR SERVICING, LOCKING AND SWINGBACK
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
D1102323 | VARIABLE HEIGHT BRACKET, FLAT | 1 |  | Comes with assembly
98019A355 | ¼ FLAT WASHER | 6 |  | Comes with assembly
92200A540 | SHCS ¼-20 X ¾” LONG | 6 |  | Comes with assembly
D1101597 | SWING BACK PLATE | 1
98019A355 | ¼ FLAT WASHER | 3
92200A540 | SHCS ¼-20 X ¾” LONG | 3
3712T31 | PEAR-SHAPED CONNECTOR for D1201124 | 2
3602T13 | CHAIN for D1201124 | 1
33045T770 | EYE BOLT for D1101597 | 1
ALL CLASS B PARTS MUST BE REMOVED!

## L1-BSC5
aLIGO SLC ARM CAVITY BAFFLE
D1200677 - BALANCING, INSTALLATION & SERVICING KIT FOR L1-BSC5
CLASS A PARTS
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
90945A740 | #10 FLAT WASHER | 3
92200A694 | 3/8-16 X 2.5” SCREW | 2
92240A632 | HH 3/8-16 X 2” SCREW | 4
92240A634 | HH 3/8-16 X 2.5” SCREW | 3
98019A399 | 3/8 FLAT WASHERS | 9
D1000600 | CABLE CLAMP | 3
D1001700 | MOUNTING CLAMP | 4
D1003117-X | CABLE | 1
D1101293 | SHOULDER SCREW | 1
D1201366-01 | DOG CLAMPS | 2
N-1024-A | #10 SILVER PLATED NUT | 1
CLASS B PARTS FOR BALANCING & INSTALLATION
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
98019A355 | ¼ WASHERS | 2
C-2016-NA | ¼-20 X 1” SCHS, SILVER PLATED | 2
D1101184 | BEND FIXTURE PLATE (aka - TOUGUE DEPRESSOR) | 1 |  | Comes with assembly
D1101613 | END CLAMP | 1
D1101595 | GUIDE BLOCK | 1
D1101700 | MOVER WITH TEFLON PADS | 1
D1200308 | CAPTIVE SCREWS | 4
D1201369 | PUSHER SCREWS | 2
WF-38 | 3/8 WASHERS | 4
CLASS B PARTS FOR SERVICING, LOCKING AND SWINGBACK
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
D1102323 | VARIABLE HEIGHT BRACKET, FLAT | 1 |  | Comes with assembly
98019A355 | ¼ FLAT WASHER | 6 |  | Comes with assembly
92200A540 | SHCS ¼-20 X ¾” LONG | 6 |  | Comes with assembly
D1101597 | SWING BACK PLATE | 1
98019A355 | ¼ FLAT WASHER | 3
92200A540 | SHCS ¼-20 X ¾” LONG | 3
3712T31 | PEAR-SHAPED CONNECTOR for D1201124 | 2
3602T13 | CHAIN for D1201124 | 1
33045T770 | EYE BOLT for D1101597 | 1
ALL CLASS B PARTS MUST BE REMOVED!

## H1-BSC9
aLIGO SLC ARM CAVITY BAFFLE
D1002383 - BALANCING, INSTALLATION & SERVICING KIT FOR H1-BSC9
CLASS A PARTS
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
90945A740 | #10 FLAT WASHER | 3
92200A694 | 3/8-16 X 2.5” SCREW | 2
92240A632 | HH 3/8-16 X 2” SCREW | 4
92240A634 | HH 3/8-16 X 2.5” SCREW | 3
98019A399 | 3/8 FLAT WASHERS | 9
D1000600 | CABLE CLAMP | 3
D1001700 | MOUNTING CLAMP | 4
D1003117-X | CABLE | 1
D1101293 | SHOULDER SCREW | 1
D1201366-01 | DOG CLAMPS | 2
N-1024-A | #10 SILVER PLATED NUT | 1
CLASS B PARTS FOR BALANCING & INSTALLATION
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
98019A355 | ¼ WASHERS | 2
C-2016-NA | ¼-20 X 1” SCHS, SILVER PLATED | 2
D1101184 | BEND FIXTURE PLATE (aka - TOUGUE DEPRESSOR) | 1 |  | Comes with assembly
D1101619 | END CLAMP | 1
D1101673 | GUIDE BLOCK | 1
D1101700 | MOVER WITH TEFLON PADS | 1
D1200308 | CAPTIVE SCREWS | 4
D1201369 | PUSHER SCREWS | 2
WF-38 | 3/8 WASHERS | 4
CLASS B PARTS FOR SERVICING, LOCKING AND SWINGBACK
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
D1102323 | VARIABLE HEIGHT BRACKET, FLAT | 1 |  | Comes with assembly
98019A355 | ¼ FLAT WASHER | 6 |  | Comes with assembly
92200A540 | SHCS ¼-20 X ¾” LONG | 6 |  | Comes with assembly
D1101597 | SWING BACK PLATE | 1
98019A355 | ¼ FLAT WASHER | 3
92200A540 | SHCS ¼-20 X ¾” LONG | 3
3712T31 | PEAR-SHAPED CONNECTOR for D1201124 | 2
3602T13 | CHAIN for D1201124 | 1
33045T770 | EYE BOLT for D1101597 | 1
ALL CLASS B PARTS MUST BE REMOVED!

## H1-BSC10
aLIGO SLC ARM CAVITY BAFFLE
D1002277 - BALANCING, INSTALLATION & SERVICING KIT FOR H1-BSC10
CLASS A PARTS
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
90945A740 | #10 FLAT WASHER | 3
92200A694 | 3/8-16 X 2.5” SCREW | 2
92240A632 | HH 3/8-16 X 2” SCREW | 4
92240A634 | HH 3/8-16 X 2.5” SCREW | 3
98019A399 | 3/8 FLAT WASHERS | 9
D1000600 | CABLE CLAMP | 3
D1001700 | MOUNTING CLAMP | 4
D1003117-X | CABLE | 1
D1101293 | SHOULDER SCREW | 1
D1201366-01 | DOG CLAMPS | 2
N-1024-A | #10 SILVER PLATED NUT | 1
CLASS B PARTS FOR BALANCING & INSTALLATION
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
98019A355 | ¼ WASHERS | 2
C-2016-NA | ¼-20 X 1” SCHS, SILVER PLATED | 2
D1101184 | BEND FIXTURE PLATE (aka - TOUGUE DEPRESSOR) | 1 |  | Comes with assembly
D1101613 | END CLAMP | 1
D1101595 | GUIDE BLOCK | 1
D1101700 | MOVER WITH TEFLON PADS | 1
D1200308 | CAPTIVE SCREWS | 4
D1201369 | PUSHER SCREWS | 2
WF-38 | 3/8 WASHERS | 4
CLASS B PARTS FOR SERVICING, LOCKING AND SWINGBACK
PART NUMBER | DESCRIPTION | QTY NEEDED | SERIAL NUMBER(S) | QTY ENCLOSED
D1102323 | VARIABLE HEIGHT BRACKET, FLAT | 1 |  | Comes with assembly
98019A355 | ¼ FLAT WASHER | 6 |  | Comes with assembly
92200A540 | SHCS ¼-20 X ¾” LONG | 6 |  | Comes with assembly
D1101597 | SWING BACK PLATE | 1
98019A355 | ¼ FLAT WASHER | 3
92200A540 | SHCS ¼-20 X ¾” LONG | 3
3712T31 | PEAR-SHAPED CONNECTOR for D1201124 | 2
3602T13 | CHAIN for D1201124 | 1
33045T770 | EYE BOLT for D1101597 | 1
ALL CLASS B PARTS MUST BE REMOVED!