{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["E1101013-v1"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":11,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"E1101013-v1","index":0,"n_rows":107,"n_cols":29,"rows_kept":107,"cut":false,"hidden":false,"merged":[[10,2,10,4],[13,2,13,4],[11,2,11,4],[16,2,16,5],[37,3,37,9],[38,21,38,22],[39,0,39,31],[37,17,37,18],[29,24,36,24],[29,25,36,25],[29,27,36,27],[31,28,34,31],[36,10,36,13],[29,26,35,26]]}
[]
[null,"CALIFORNIA INSTITUTE OF TECHNOLOGY"]
[]
[]
[]
[null,"FORMAL DRAWING TREE REFERENCE DOCUMENT"]
[]
[null,"TITLE: ","aLIGO TCS CO2P Steering Mirror 1 Assembly, H1/L1"]
[null,null,"for full production lot"]
[]
[null,"DOCUMENT CONTROL NO.:","E1101044",null,null,"-v3"]
[null,"RELATED DOC. CHANGE NO.: ","E1200830",null,null,"-v1"]
[]
[null,"CONTAINING ASSEMBLIES:","D1101013",null,null,"-v1"]
[]
[null,"AUTHOR: ","M. JACOBSON"]
[null,"DATE: ","2012-09-12"]
[]
[null,"PURPOSE: ","This document is the formal reference for necessary revisions of each child of the stated assemblies, and the total necessary quantities for all items."]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Subsystem:","RH",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"PDR","delta-PDR","FDR","XXX"]
["Reporter:","Mindy Jacobson"]
["Date:","2010-08-09",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"RESERVED for\nPROCUREMENT TRACKING"]
[]
[null,"Total No. Dwgs = ",{"$f":"COUNT(#REF!,W41:W107)","v":14}]
[null,"Aggregate %-complete = ",{"$f":"SUM(#REF!,W41:W107)/C34","v":{"$error":"#REF!"}}]
[]
[null,null,null,null,null,null,null,null,null,null,"QUANTITY"]
["DCN","NOTES","Level","INDENTURE CHART",null,null,null,null,null,null,"REQ'd","SPARE","TOT.","UNITS","DWG TREE REF. NO.","MATERIAL","DCC No.","TYPE\n[config.]",null,"NAME","TYPE","MODEL STATUS","DWG STATUS","SOURCE","REV.","REV.","REV.","REV."]
["No.",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"% COMPLETE"]
["                     INTERNAL TO VACUUM"]
["E1101043-v1","BSC1 = mirror BSC3",0,{"$f":"$C41","v":0},0,0,0,0,0,0,3,0,{"$f":"L41+K41","v":3},"EA","E1101044",null,"D1101013","-01","-02","aLIGO TCS CO2P STEERING MIRROR 1 ASSY, H1/L1","TopAssy",100,90,"MTS","N/A","N/A","v1"]
[null,null,1,1,1,1,1,1,1,1,1,0,{"$f":"L42+K42","v":1},"EA",null,"Al, Au-coated","D1001605",null,null,"CO2P ITMX M1 ASSEMBLY ENVELOPE, BSC1","PRT",100,90,"MTS","N/A","N/A",null,null,{"$f":"3000*15","v":45000}]
[null,null,1,1,1,1,1,1,1,1,1,0,{"$f":"L43+K43","v":1},"EA",null,"Cu","D1001604",null,null,"CO2P ITMX M1 ASSEMBLY ENVELOPE, BSC3","PRT",100,100,"MTS","N/A","V1"]
["E1101043-v1",null,1,1,1,1,1,1,1,1,1,0,1,"EA",null,null,"D1102029","-01",null,"aLIGO TCS MIRROR ASSY","ASSY",0,0,"MTS","N/A",null,"v2"]
[null,"KUGLER",2,2,2,2,2,2,2,2,1,0,1,"EA",null,"Cu","D1101014",null,null,"aLIGO TCS CO2P STEERING MIRROR 1, H1-L1","PRT",100,90,"MTS","N/A","N/A","v1"]
[null,"Olander or AirHardware",3,3,3,3,3,3,3,3,2,2,4,"EA",null,"N60","1185-2EN 410",null,null,"HELICOIL [N60, 8-32 X 2.5D LONG]","HW",100,90,"OTS","N/A","N/A"]
["E1101043-v1","ReSource Production",2,2,2,2,2,2,2,2,1,0,1,"EA",null,"Al 6061","D1101295",null,null,"H1-L1 STEER M1 SUPPORT","PRT",100,100,"MTS","N/A","N/A","v1","V1"]
[null,"Olander or AirHardware",3,3,3,3,3,3,3,3,2,2,4,"EA",null,"N60","1185-2EN 410",null,null,"HELICOIL [N60, 8-32 X 2.5D LONG]","HW",null,null,"OTS"]
[null,"Olander or AirHardware",3,3,3,3,3,3,3,3,8,2,10,"EA",null,"N60","1185-06EN 345",null,null,"HELICOIL [N60, 6-32 X 2.5D LONG]","HW",100,90,"OTS","N/A","N/A"]
["E1200830-v1","ReSource Production",2,2,2,2,2,2,2,2,2,0,2,"EA",null,"Al 6061","D1101294",null,null,"H1-L1 STEER M1 AZ BRACKET","PRT",100,90,"MTS","N/A","N/A","v2"]
[null,"Olander or AirHardware",3,3,3,3,3,3,3,3,1,1,2,"EA",null,"N60","1185-2EN164",null,null,"HELICOIL [N60, 8-32 X 1D LONG]","HW",100,0,"OTS","N/A","N/A"]
[null,"UC Components",2,2,2,2,2,2,2,2,8,2,10,"EA",null,"SSTL","C-607",null,null,"SHCS 6-32 X .438 LONG, VENTED","HW",100,0,"OTS","N/A","N/A"]
[null,"UC Components",2,2,2,2,2,2,2,2,8,2,10,"EA",null,"SSTL, Au PLT","WF-06-A",null,null,"FLAT WASHER, #6, Au PLATED","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,2,2,4,"EA",null,"SSTL, Au PLT","C-824-NA",null,null,"SHCS 8-32 X 1.5 LONG, Ag PLATED","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,4,1,5,"EA",null,"SSTL","WF-08",null,null,"FLAT WASHER, #8","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,2,2,4,"EA",null,"SSTL, Au PLT","N-832-A",null,null,"HEX NUT, #8, Au PLTD","HW",100,90,"OTS"]
[null,"UC Components",2,{"$f":"$C57","v":2},2,2,2,2,2,2,2,1,3,"EA",null,"SSTL","SHCV-4423",null,null,"SHLDR SCREW, 1 IN, HEX HD, 8-32, VENTED, 303 SS","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,2,1,3,"EA",null,"SSTL","WFV-10",null,null,"FLAT WASHER, .1875 SHLDR SHANK","HW",100,90,"OTS"]
["E1101043-v2",null,1,{"$f":"$C59","v":1},1,1,1,1,1,1,1,0,{"$f":"L59+K59","v":1},"EA",null,null,"D1102029",null,"-02","aLIGO TCS MIRROR ASSY","ASSY",0,0,"MTS","N/A",null,"v2"]
["E1101043-v2",null,2,2,{"$f":"$C60","v":2},2,2,2,2,2,1,0,1,"EA",null,"316 SSTL","D1200755",null,null,"HANDLE, aLIGO TCS STEERING MIRROR 1, H1-L1","PRT",null,null,"MTS",null,null,"v1"]
["E1101043-v2",null,2,{"$f":"$C61","v":2},2,2,2,2,2,2,2,0,{"$f":"L61+K61","v":2},"EA",null,"Al 6061","D1200754",null,null,"HANDLE GUSSET, aLIGO TCS STEERING MIRROR 1, H1-L1","PRT",null,null,"MTS",null,null,"v1"]
["E1101043-v2","COAST PLASTICS",2,2,2,2,2,2,2,2,1,0,1,"EA",null,"TEFLON PFA 440","D1200756",null,null,"TCS H1-L1 SM1 SPLASH COVER","PRT",null,null,"MTS",null,null,"v1"]
[null,"UC Components",2,2,2,2,2,2,2,2,2,2,4,"EA",null,"SSTL","WF-06",null,null,"FLAT WASHER, #6","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,2,2,{"$f":"L64+K64","v":4},"EA",null,"SSTL","C-614-N",null,null,"SHCS 6-32 X .875 LONG","HW",null,null,"OTS"]
[null,"UC Components",1,{"$f":"$C65","v":1},1,1,1,1,1,1,1,1,{"$f":"L65+K65","v":2},"EA",null,"SSTL","SHCV-4436",null,null,"SHLDR SCREW, 1.5 IN, HEX HD, 10-32, VENTED, 303 SS","HW",null,null,"OTS"]
["E1101043-v1",null,1,1,1,1,1,1,1,1,1,0,1,"EA",null,null,"D1102078","-01","-02","aLIGO MOUNT ASSY, TCS STEERING MIRROR 1","ASSY",null,null,"MTS",null,null,"v1"]
["E1200830-v1","ReSource Production",2,2,2,2,2,2,2,2,1,0,1,"EA",null,"SSTL","D1101292",null,null,"H1-L1 SM1 AZ SUPPORT BRACKET","PRT",null,null,"MTS",null,null,"v2"]
[null,"Olander or AirHardware",3,3,3,3,3,3,3,3,1,1,2,"EA",null,"N60","1191-3EN 285",null,null,"HELICOIL [N60, 10-32 X 1.5D LONG]","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,2,2,4,"EA",null,"SSTL","C-812",null,null,"SHCS 8-32 X .75 LONG, VENTED","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,2,2,4,"EA",null,"SSTL","C-808-N",null,null,"SHCS 8-32 X .5 LONG","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,2,2,4,"EA",null,"SSTL","C-814-N",null,null,"SHCS 8-32 X .875 LONG","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,29,6,35,"EA",null,"SSTL, Ag PLT","WF-08-A",null,null,"FLAT WASHER, #8, Ag PLTD","HW",null,null,"OTS"]
["E1101043-v1","ReSource Production",2,2,2,2,2,2,2,2,1,0,1,"EA",null,"Al 6061","D1101291","-01","-02","H1-L1 STEER M1 BRACKET","PRT",null,null,"MTS",null,null,"v1"]
[null,"Olander or AirHardware",3,3,3,3,3,3,3,3,19,3,22,"EA",null,"N60","1185-4EN 500",null,null,"HELICOIL [N60, 1/4-20 X 2D LONG]","HW",null,null,"OTS"]
[null,"Olander or AirHardware",3,3,3,3,3,3,3,3,4,1,5,"EA",null,"N60","1185-2EN 410",null,null,"HELICOIL [N60, 8-32 X 2.5D LONG]","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,7,1,8,"EA",null,"SSTL","C-2018-N",null,null,"SHCS 1/4-20 X 1.125 LONG","HW",null,null,"OTS"]
["E1101043-v1",null,2,2,2,2,2,2,2,2,2,2,{"$f":"L77+K77","v":4},"EA",null,"VITON","D1101395",null,null,"TCS SM1 H1-L1 INTERFACE DAMPER","PRT",null,null,"MTS",null,null,"v1"]
["E1101043-v1","ReSource Production",2,2,2,2,2,2,2,2,2,0,2,"EA",null,"SSTL","D1101287","-01","-01","STANDARD T SECTION, SS 304, 2 X 2 X .25","PRT",null,null,"MTS",null,null,"v1"]
[null,"UC Components",2,2,2,2,2,2,2,2,14,6,20,"EA",null,"SSTL","C-812-N",null,null,"SHCS 8-32 X .75 LONG","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,11,4,15,"EA",null,"SSTL","N-832",null,null,"HEX NUT, #8","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,4,1,5,"EA",null,"SSTL","C-2028-N",null,null,"SHCS 1/4-20 X 1.75 LONG","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,4,1,5,"EA",null,"SSTL, Ag PLT","N-2520-A",null,null,"SS NUT, HEX HD, 1/4-20, Ag PLTD","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,4,1,5,"EA",null,"SSTL","NJ-2520",null,null,"SS HEX JAM NUT, 1/4-20","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,22,3,25,"EA",null,"SSTL, Ag PLT","WF-25-A",null,null,"FLAT WASHER, .25, Ag PLTD","HW",null,null,"OTS"]
["E1101043-v1","ReSource Production",2,2,2,2,2,2,2,2,1,0,1,"EA",null,"Al 6061","D1101437",null,null,"TCS SM1 H1-L1 STRONG BACK","PRT",null,null,"MTS",null,null,"v1"]
[null,"Olander or AirHardware",3,3,3,3,3,3,3,3,3,2,5,"EA",null,"N60","1185-2EN 410",null,null,"HELICOIL [N60, 8-32 X 2.5D LONG]","HW",null,null,"OTS"]
["E1101043-v1","ReSource Production",2,2,2,2,2,2,2,2,1,0,1,"EA",null,"SSTL","D1101438",null,null,"STANDARD ANGLE SECTION, SS 316, 1.25 X 1.25 X .25","PRT",null,null,"MTS",null,null,"v1"]
[null,"UC Components",2,2,2,2,2,2,2,2,7,1,8,"EA",null,"SSTL","C-2012-N",null,null,"SHCS 1/4-20 X .75 LONG","HW",null,null,"OTS"]
[null,null,1,1,1,1,1,1,1,1,2,0,2,"EA",null,"VITON","D1101395",null,null,"TCS SM1 H1-L1 INTERFACE DAMPER","PRT",null,null,"MTS",null,null,"v1"]
[null,"UC Components",1,{"$f":"$C90","v":1},1,1,1,1,1,1,4,1,{"$f":"L90+K90","v":5},"EA",null,"SSTL","C-2012-N",null,null,"SHCS 1/4-20 X .75 LONG","HW",null,null,"OTS"]
[null,"UC Components",1,1,1,1,1,1,1,1,4,1,{"$f":"L91+K91","v":5},"EA",null,"SSTL","C-2024-N",null,null,"SHCS 1/4-20 X 1.5 LONG","HW",null,null,"OTS"]
[null,"UC Components",1,{"$f":"$C92","v":1},1,1,1,1,1,1,8,2,{"$f":"L92+K92","v":10},"EA",null,"SSTL","NJ-2520",null,null,"SS HEX JAM NUT, 1/4-20","HW",null,null,"OTS"]
[null,"UC Components",1,1,1,1,1,1,1,1,8,2,10,"EA",null,"SSTL, Ag PLT","N-2520-A",null,null,"SS NUT, HEX HD, 1/4-20, Ag PLTD","HW",null,null,"OTS"]
[null,"UC Components",1,1,1,1,1,1,1,1,21,4,25,"EA",null,"SSTL, Ag PLT","WF-25-A",null,null,"FLAT WASHER, .25, Ag PLTD","HW",null,null,"OTS"]
[null,"UC Components",1,{"$f":"$C95","v":1},1,1,1,1,1,1,4,1,{"$f":"L95+K95","v":5},"EA",null,"SSTL","C-2028-N",null,null,"SHCS 1/4-20 X 1.75 LONG","HW",null,null,"OTS"]
[null,"UC Components",1,1,1,1,1,1,1,1,2,1,{"$f":"L96+K96","v":3},"EA",null,"SSTL, Ag PLT","C-812-A",null,null,"SHCS 8-32 X .75 LONG, Ag PLTD","HW",null,null,"OTS"]
[null,"UC Components",1,1,1,1,1,1,1,1,2,1,3,"EA",null,"SSTL","WF-08",null,null,"FLAT WASHER, #8","HW",null,null,"OTS"]
["E1101043-v1",null,1,1,1,1,1,1,1,1,1,0,1,"EA",null,null,"D1102088","-01","-02","aLIGO WEDGE SUPPORT ASSY, TCS STEER MIRROR 1","ASSY",null,null,"MTS",null,null,"v1"]
["E1101043-v1","ReSource Production",2,2,2,2,2,2,2,2,1,0,1,"EA",null,"Al 6061","D1101771","-01","-02","WEDGE SUPPORT, H1-L1, aLIGO TCS CO2P SM1","PRT",null,null,"MTS",null,null,"v1"]
[null,"UC Components",2,2,2,2,2,2,2,2,4,1,5,"EA",null,"SSTL","C-2016-N",null,null,"SHCS 1/4-20 X 1 LONG","HW",null,null,"OTS"]
["E1101043-v1","ReSource Production",2,2,2,2,2,2,2,2,2,0,2,"EA",null,"SSTL","D1101287","-02","-02","STANDARD T SECTION, SS 304, 2 X 2 X .25","PRT",null,null,"MTS",null,null,"v1"]
[null,"UC Components",2,2,2,2,2,2,2,2,8,2,10,"EA",null,"SSTL","C-812-N",null,null,"SHCS 8-32 X .75 LONG","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,16,4,20,"EA",null,"SSTL, Ag PLT","WF-08-A",null,null,"FLAT WASHER, #8, Ag PLTD","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,8,2,10,"EA",null,"SSTL","N-832",null,null,"HEX NUT, #8","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,{"$f":"$C105","v":2},2,2,2,4,1,5,"EA",null,"SSTL, Ag PLT","N-2520-A",null,null,"SS NUT, HEX HD, 1/4-20, Ag PLTD","HW",null,null,"OTS"]
[null,"UC Components",2,{"$f":"$C106","v":2},2,2,2,2,2,2,4,1,5,"EA",null,"SSTL","NJ-2520",null,null,"SS HEX JAM NUT, 1/4-20","HW",null,null,"OTS"]
[null,"UC Components",2,2,2,2,2,2,2,2,8,2,10,"EA",null,"SSTL, Ag PLT","WF-25-A",null,null,"FLAT WASHER, .25, Ag PLTD","HW",null,null,"OTS"]