PR303 Mass measurement at Caltech

November 17, 2011

GariLynn Billingsley

PR303 on fixture 19.812 Kg

Fixture alone -7.667 Kg

PR303 Mass 12.145 Kg

For measurement accuracy please refer to the excel file found

at LIGO-T1100174-v4

Look for the tab:

A&D GP 60K Page 83

Our vendor uses the scale GP 60K, absolute accuracy after calibration by

internal mass (as found in the above file) is 5g.