## HEPI Pier Components
E1101149 |  |  |  |  | Horizontal |  |  |  |  | Vertical
Location | Orientation | Side | Housing | Pier interface Module | Sercel L4C | HEPI Actuator | Kaman DIT5200 | Modified DYP2S Parker Control Valve | Comments | Sercel L4C | HEPI Actuator | Kaman DIT5200 | Modified DYP2S Parker Control Valve | Comments
BSC1 | NW | right | 055 | S1202916 | L41503 | 287 | S0812221-03-01 X | L104 |  | L41353 | 301 | S0812221-03-01 Y | L213
BSC1 | NE | left | 062 | S1202917 | L41509 | 361 | S0812221-03-10 X | L135 |  | L41439 | 285 | S0812221-03-10 Y | L111
BSC1 | SE | r | 061 | S1202918 | L41500 | 392 | S0812221-06-05 X | L220 |  | NR | 368 | S0812221-06-05 Y | L174
BSC1 | SW | l | 056 | S1202919 | L41496 | 386 | S0812221-06-09 X | L103 |  | NR | 388 | S0812221-06-09 Y | L092
BSC2 | NW | l | 045 | S1202910 | L41506 | 303 | S0812221-06-25 X | L088 |  | L41335 | 305 | S0812221-06-25 Y | L067
BSC2 | NE | r | 077 | S1202913 | L41694 | 345 | S0812221-05-04 X | L097 |  | L41446 | 346 | S0812221-05-04 Y | L080
BSC2 | SE | l | 051 | S1202914 | L41363 | 264 | S0812221-06-22X | L115 |  | L41350 | 308 | S0812221-06-22 Y | L061
BSC2 | SW | r | 054 | S1202915 | L41377 | 275 | S0812221-02-11 X | L089 |  | L41352 | 349 | S0812221-02-11 Y | L071
BSC3 | NW | l | 064 |  | L41508 | 385 | S0812221-06-15 X | L195 |  |  | 376 | S0812221-06-15 Y | L121
BSC3 | NE | r | 069 |  | L41498 | 357 | S0812221-06-10 X | L106 |  |  | 378 | S0812221-06-10 Y | L077
BSC3 | SE | l | 076 |  | L41502 | 383 | S0812221-06-08 X | L138 |  |  | 390 | S0812221-06-08 Y | L222
BSC3 | SW | r | 072 |  | L41373 | 381 | S0812221-06-16 X | L223 |  |  | 366 | S0812221-06-16 Y | L172
BSC6 | NW | l | 080 | S0900236 | L41497 | 395 | S0812221-01-02 X | L105 |  | L41650 | 374 | S0812221-01-02 Y | L225
BSC6 | NE | r | 083 | S0900202 | L41495 | 379 | S0812221-06-36 X | L102 |  | L41349 | 371 | S0812221-06-36 Y | L136
BSC6 | SE | l | 046 | S0900178 | L41364 | 391 | S0812221-06-14 X | L208 |  | L41341 | 364 | S0812221-06-14 Y | L207
BSC6 | SW | r | 063 | S0900234 | L41507 | 396 | S0812221-06-02 X | L133 |  | L41339 | 389 | S0812221-06-02 Y | L120
BSC8 | NW | l | [6 empty] | JAN 9, 2012 replaced L4C - L41375 with L41499. Actuator Control Valve L119 was removed and replaced with L195 on FEB 7, 2012. Actuator SN 385.
BSC8 | NE | r | [6 empty] | Removed BSC8 Kaman electronic boxes after single arm work from BSC8 HEPI pier interface module SN's S0900229, S0900233, S0900152, S0900199.
BSC8 | SE | l
BSC8 | SW | r
BSC9 | NW | r | 081 | S0900153 | L41362 | 271 | S0812221-05-09 X | L167 |  |  | 289 | S0812221-05-09 Y | L063
BSC9 | NE | l | 50 | S0900154 | L41504 | 354 | S0812221-05-24 X | L175 |  |  | 342 | S0812221-05-24 X | L073
BSC9 | SE | r | 059 | S0900158 | L41378 | 307 | S0812221-02-16 X | L098 |  |  | 270 | S0812221-02-16 X | L194
BSC9 | SW | l | 60 | S0900161 | L41374 | 293 | S0812221-05-16 X | L176 |  |  | 328 | S0812221-05-16 Y | L094
BSC10 | NW |  | 84 |  | L41499 |  |  |  |  | L41609
BSC10 | NE |  | 87 |  | L41511 |  |  |  |  | L41448
BSC10 | SE |  | 52 |  | L41510 |  |  |  |  | L41649
BSC10 | SW |  | 47 |  | L41376 |  |  |  |  | L41421
HAM1 | NW | r | 008 | S0900229 | L41505 | 393 | S0812221-06-01 X | L087 |  | L41442 | 377 | S0812221-06-01 Y | L180
HAM1 | NE | l | 048 | S0900233 | L41689 | 276 | S0812221-05-06 X | L184 |  | L41344 | 280 | S0812221-05-06 Y | L182
HAM1 | SE | r | 004 | S0900152 | L41662 | 255 | S0812221-02-02 X | L145 |  | L41346 | 310 | S0812221-02-02 Y | L139
HAM1 | SW | l | 007 | S0900199 | L41367 | 277 | S0812221-02-23 X | L200 |  | L41342 | 335 | S0812221-02-23 Y | L163
HAM2 | NW | r | 025 | S1000030 | L41523 | 306 | S0812221-02-18 X | L070 |  | L41422 | 260 | S0812221-02-18 Y | L143
HAM2 | NE | l | 028 | S1202911 | L41370 | 281 | S0812221-02-29 X | L181 |  | L41420 | 352 | S0812221-02-29 Y | L082
HAM2 | SE | r | 037 | S1202921 | L41524 | 254 | S0812221-02-12 X | L144 |  | L41449 | 262 | S0812221-02-12 Y | L062
HAM2 | SW | l | 038 | S1202922 | L41527 | 326 | S0812221-05-13 X | L211 |  | L41440 | 323 | S0812221-05-13 Y | L056
HAM3 | NW | r | 043 | S1202923 | L41358 | 261 | S0812221-02-15 X | L108 |  | L41647 | 274 | S0812221-02-15 Y | L113
HAM3 | NE | l | 011 | S1202924 | L41693 | 355 | S0812221-05-25 X | L173 |  | L41441 | 336 | S0812221-05-25 Y | L165
HAM3 | SE | r | 067 | S1202925 | L41681 | 279 | S0812221-02-34 X | L095 |  | L41430 | 339 | S0812221-02-34 Y | L179
HAM3 | SW | l | 082 | S1202926 |  | 286 | S0812221-06-19 X | L091 |  | L41447 | 387 | S0812221-06-19 Y | L117
HAM4 | NW | l | 040 | S0900227 | L41372 | 296 | S0812221-06-18 X | L196 |  |  | 291 | S0812221-06-18 Y | L069
HAM4 | NE | r | 031 | S1000028 | L41359 | 365 | S0812221-02-24 X | L197 |  |  | 290 | S0812221-02-24 Y | L072
HAM4 | SE | l | 036 | S1000027 | L41360 | 362 | S0812221-02-26 X | L055 |  |  | 320 | S0812221-02-26 Y | L054
HAM4 | SW | r | 049 | S0900230 | L41512 | 350 | S0812221-06-07 X | L076 |  |  | 397 | S0812221-06-07 Y | L188
HAM5 | NW | l | 034 | S1000029 | L41516 | 332 | S0812221-06-24 X | L057 |  |  | 360 | S0812221-06-24 Y | L215
HAM5 | NE | r | 029 | S1202909 | L41368 | 334 | S0812221-02-10 X | L160 |  |  | 356 | S0812221-02-10 Y | L086
HAM5 | SE | l | 044 | S1202908 | L41517 | 331 | S0812221-06-32 X | L162 |  |  | 253 | S0812221-06-32 Y | L090
HAM5 | SW | r | 012 | S1202907 | L41361 | 325 | S0812221-05-02 X | L161 |  |  | 297 | S0812221-05-02 Y | L085
HAM6 | NW | l | 09 | S1202929 | L41531 | 324 | S0812221-06-29 X | L046 |  |  | 382 | S0812221-06-29 Y | L170
HAM6 | NE | r | 39 | S1202932 | L41668 | 367 | S0812221-02-31 X | L191 |  |  | 344 | S0812221-02-31 Y | L096
HAM6 | SE | l | 58 | S1202934 | L41525 | 330 | S0812221-05-07 X | L209 |  |  | 257 | S0812221-05-07 Y | L116
HAM6 | SW | r | 75 | S1202935 | L41691 | 316 | S0812221-06-35 X | L075 |  |  | 370 | S0812221-06-35 Y | L212
HAM7 | NW | r | 065 |  | L41520
HAM7 | NE | l | 70 |  | L41680
HAM7 | SE | r | 033 |  | L41513
HAM7 | SW | l | 066 |  | L41518
HAM8 | NW | r | 041 |  | L41519
HAM8 | NE | l | 078 |  | L41522
HAM8 | SE | r | 079 |  | L41655
HAM8 | SW | l | 074 |  | L41521
HAM9 | NW | r | 006 |  | L41665
HAM9 | NE | l | 005 |  | L41356
HAM9 | SE | r | 010 |  | L41692
HAM9 | SW | l | 003 |  | L41530
HAM10 | NW | l | 030 |  | L41371
HAM10 | NE | r | 073 |  | L41515
HAM10 | SE | l | 001 |  | L41369
HAM10 | SW | r | 027 |  | L41526
S0900179
[7 empty] | S0812221-06-04 X |  |  |  |  | S0812221-06-04 Y |  | Removed from BSC2 5/10/13
Not yet verified
tracking descepancy
Unable to verify
| verified |  | unless noted all parts have been verified.
Issues
not yet installed
EE Lab
Actuators in ICS as of 5/28/13 Parts not yet verified were still put in ICS
Housings in ICS as of 5/29/13 Parts not yet verified were still put in ICS
Vert and Horz L4-C's in ICS as of 5/29/13 Parts not yet verified were still put in ICS.
Parker valve in ICS as of 5/29/13 Parts not yet verified were still put in ICS
Note on D2: mitchell.robinson: D020004
Note on F2: mitchell.robinson: D080521
Note on G2: mitchell.robinson: 006177.010
Note on H2: mitchell.robinson: D020284
Note on O3: mitchell.robinson: originally L013
Note on I9: mitchell.robinson: hugh.radkins@LIGO.ORG - 16:28, Friday 10 May 2013 (6334) Alog.
Note on N9: mitchell.robinson: hugh.radkins@LIGO.ORG - 16:28, Friday 10 May 2013 (6334) Alog.
Note on D11: mitchell.robinson: used to be 084
Note on D12: mitchell.robinson: used to be 057
Note on D13: mitchell.robinson: used to be 52
Note on D14: mitchell.robinson: used to be 047
Note on D28: mitchell.robinson: 57? Based on V8 BSC8
Note on L33: mitchell.robinson: L41330 original actual L41346
Note on F71: mitchell.robinson: Not tied to anything as of 6/4/13
Note on I74: mitchell.robinson: hugh.radkins@LIGO.ORG - 16:28, Friday 10 May 2013 (6334) Alog.
Note on N74: mitchell.robinson: hugh.radkins@LIGO.ORG - 16:28, Friday 10 May 2013 (6334) Alog.
Note on D87: mitchell.robinson: shipment 6298 corrected 6 L4Cs from LLO to LHO shipment 6299 corrected 10 L4Cs from LLO to LHO.

## 3rd IFO
Horizontal | [5 empty] | Vertical
Location | Location | HEPI Actuator | Kaman DIT5200 | Modified DYP2S Parker Control Valve | Comments | Sercel L4C | HEPI Actuator | Kaman DIT-5200 20N | Modified DYP2S Parker Control Valve | Comments
D-0L R1 | Mech bldg D-0-L Pallet 1 | C-312 | S0812221-05-01 X | L193 |  |  | C-314 | S0812221-05-01 Y | L218
|  | C-273 | S0812221-02-04 X+ | L119 | Missing Parker drip catch |  | C-263 | S0812221-02-04 | L146 | Missing Parker drip catch
|  | C-309 | S0812221-06-03 X | L060 |  |  | C-351 | S0812221-06-03 Y | L068
|  | C-313 | S0812221-01-01 X | L205 |  |  | C-288 | S0812221-01-01 Y | L002 | Missing Parker drip catch
|  | C-298 | S0812221-03-02 X | L066 |  |  | C-304 | S0812221-03-04 Y | L058
|  | C-373 | S0812221-06-28 X | L093 |  |  | C-384 | S0812221-06-28 Y | L171
|  | C-359 | S0812221-02-30 X | L199 |  |  | C-337 | S0812221-02-30 Y | L045
|  | C-278 | S0812221-05-08 X | L185 |  |  | C-283 | S0812221-05-08 | L183
| Mech bldg D-0-R Pallet 2 | C-394 | S0812221-05-26 X | L224 |  |  | C-294 | S0812221-05-26 Y | L192
|  | C-258 | S0812221-05-19 X | L130 |  |  | C-266 | S0812221-05-19 Y | L129
|  | C-315 | S0812221-02-14 X | L216 |  |  | C-300 | S0812221-02-14 Y | L-198
|  | C-272 | S0812221-02-20 X | L148 |  |  | C-267 | S0812221-02-20 Y | L053
|  | C-256 | S0812221-02-09 X | L112 |  |  | C-268 | S0812221-02-09 Y | L131
|  | C-348 | S0812221-02-08 X | L110 |  |  | C-311 | S0812221-02-08 Y | L140
|  | C-299 | S0812221-02-07 X | L214 |  |  | C-369 | S0812221-02-07 Y | L219
|  | C-353 | S0812221-02-25 X | L178 | Missing Parker drip catch |  | C-318 | S0812221-02-25 Y | L114
| Mech bldg C-0-L Pallet 3 | C-295 | S0812221-05-23 X | L132 |  |  | C-302 | S0812221-05-23 Y | L100
|  | C-347 | S0812221-02-35 X | L079 |  |  | C-341 | S0812221-02-35 Y | L124
|  | C-292 | S0812221-05-12 X | L059 |  |  | C-269 | S0812221-05-12 Y | L099
|  | C-282 | S0812221-05-14 X | L187 |  |  | C-284 | S0812221-05-14 Y | L186
|  | C-259 | S0812221-02-13 X | L052 |  |  | C-251 | S0812221-02-13 Y | L149 | Missing Parker drip catch
|  | C-363 | S0812221-02-32 X | L190 |  |  | See not complete section line 39
|  | C-358 | S0812221-03-06 X | L189 |  |  | C-319 | S0812221-03-06 Y | L168
| Mech bldg D-1-L Pallet 4 | C-327 | S0812221-06-23 X | L081 |  |  | C-321 | S0812221-06-23 Y | L064
|  | C-333 | S0812221-06-13 X | L166 |  |  | C-322 | S0812221-06-13 Y | L065 | Parker valve has dent in face
|  | C-380 | S0812221-06-26 X | L137 |  |  | C-372 | S0812221-06-26 Y | L118
|  | C-252 | S0812221-06-34 X | L217 |  |  | C-265 | S0812221-06-34 Y | L128
|  | C-338 | S0812221-05-17 X | L210 |  |  | C-317 | S0812221-05-17 Y | L164
Actuators not complete, missing Kaman, or unattached tripod assembly
| Mech bldg C-0-R Pallet 5 | B-048 |  | L203 | Missing a Kaman |  | B-028 |  | 22969 | Missing a Kaman
|  | B-030 |  | 23023 | Missing a Kaman |  | B-058 |  | 23003 | Missing a Kaman
|  | B-074 |  | 23042 | Missing a Kaman |  | B-039 |  | 23048 | Missing a Kaman
|  | C-343 |  | L109 | Missing Kaman, Parker drip catch |  | B-032 |  | L019 | Missing a Kaman
|  | C-329 |  | L074 | Missing Kaman, Parker drip catch, and tripod assy |  | B-023 |  | 23029
|  | C-375 |  |  | Missing Kaman, Parker valve, and drip catch, and tripod assy
[7 empty] | C-340 | S0812221-02-32 Y | L177 | Shell falling apart
Unassigned Parker Valve DYP2SCD1359
24109
L206
L221
L204
Unused Kamans (Pair) DIT-5200 20N
|  | Unused Box 1 Mech bldg A-2-R | S0812221-05-03
S0812221-06-11
S08012221-06-31
S08012221-06-30
S08012221-05-20
|  | Unsused Box 2 Mech bldg A-2-R | S08012221-05-22
S08012221-03-08
S08012221-02-27
S08012221-06-17
S08012221-05-18
Unsused Box 3 Mech bldg A-2-R
S08012221-02-17
S08012221-03-03
Note on C2: mitchell.robinson: D020284
Note on K2: mitchell.robinson: DYP2SCD1359
Note on K3: mitchell.robinson: originally L013
Note on C4: mitchell.robinson: check that I didn't reverse the act orientation.
Note on C36: mitchell.robinson: Orientation undecided
Note on E48: mitchell.robinson: may not be in ICS 5/31/13
Note on E49: mitchell.robinson: May not be in ICS 5/31/13
Note on E50: mitchell.robinson: May not be in ICS 5/31/13

## L4C
Hepi L4-C
Location | Vertical | Comments | Location | Horizontal | Comments
Box 1 Verts only. | L41433
L41423
L41334
L41426
L41444
L41443
L41419
L41416
L41417
L41435
L41432
L41428
L41434
L41437
L41438
L41337
L41354
L41622
Box 2 Verts Only | L41429
L41633
L41623
L41651
L41642
L41348
L41644
L41643
L41445
L41648
L41436
L41415
L41431
L41424
L41418
L41645
L41351
L41646
Box 3 Mixed | L41427
L41450
L41451
L41333
L41345
L41667
L41365
L41501
L4-C's that need to be returned for rework
|  |  |  | L41659 | Bad, Hugh's office for return has one cable attached and one extra in office.
|  |  |  | L41375 | Bad, Hugh's office for return
Note on E2: mitchell.robinson: See first tab for installed Horizontal HAM L4-C's.

## Offsite
E1101149 |  |  |  | Horizontal |  |  |  | Vertical
Location | Orientation | Side | Housing | Sercel L4C | HEPI Actuator | Modified DYP2S Parker Control Valve | Comments | Sercel L4C | HEPI Actuator | Modified DYP2S Parker Control Valve | Comments
East side of warehouse |  |  | 35 | L41679
|  |  | 42 | L41357
|  |  | 68 | L41528
|  |  | 32 | L41355
|  |  | 26 | L41514
|  |  | 71 | L41688
|  |  | 53 | L41673
West side |  |  | 312 | 3669 | no |  |  | 3650
|  |  | 313 | 3656 |  |  |  | 3641
|  |  | 314 | 3670 |  |  |  | 3648
|  |  | 315 | 3613 |  |  |  | 3631
Crate 1 |  |  | 300 | 3659 | B-065 | 22954 |  |  | B-44 | 23026 | No load cell
Crate 1 |  |  | 301 | 3605 | B-38 | 23105 |  |  | B-41 | 23041 | No load cell
Crate 2 |  |  | 302 | 3664 | B-049 | 23051 |  | 3592 | B-046 | 23010 | No load cell
|  |  | 303 | 3652 | B-052 | 23017 |  |  | B-064 | 22834 | No load cell
Crate 3 |  |  | 304 | 3654 | B-072 | 22825 |  |  | B-075 | 22831 | No load cell
|  |  | 305 | 3616 | B-071 | 23038 |  |  | B-061 | 23004 | No load cell
Crate 4 |  |  | 306 | 3618 | B-066 | 23102 |  |  | B-069 | 22955 | No load cell
|  |  | 307 | 3668 | B-059 | 23040 |  |  | B-73 | 23104 | No load cell
Crate 5 |  |  | 308 | 3619 | B-068 | 23107 |  | 3634 | B-051 | 22827 | No load cell
|  |  | 309 | 3607 | B-040 | 23096 |  |  | B-045 | 22992 | No load cell
Crate 6 |  |  | 310 | 3655 | B-013 | L033 |  | 3594 | B-036 | 22949 | No load cell
|  |  | 311 | 3662 | B-34 | 23039 |  | 3589 | B-033 | 23050 | No load cell
Note on D2: mitchell.robinson: D020004
Note on E2: mitchell.robinson: 006177.010
Note on F2: mitchell.robinson: D020284
Note on J17: mitchell.robinson: Comment from Jeremy Birch says there are no bushings.