## Key
Fully Chacterised Data Key:-
PY = | Sensor & actuator coil Parameters measured at CIT, Yes.
PN = | Sensor & actuator coil Parameters measured at CIT, No.
NY = | Sensor Noise mesaured at LHO, Yes.
NN = | Sensor Noise mesaured at LHO, No.
Key Colour Scheme:-
Green = | Go for installation.
Amber = | Incomplete AOSEM Test Data, proceed with caution.
Red = | No AOSEM test data, stop and replace/test unit.
OSEM Open-light goal:- |  | 25k - 31k counts

## Quad
Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. [mH] | Open Light Value [counts] | Offset [counts] | Gain | Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. [mH] | Open Light Value [counts] | Offset [counts] | Gain | Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. [mH] | Open Light Value [counts] | Offset [counts] | Gain
L1-ITMX | M0 - BOSEM | Face 1 (F1) | 676 | X | 39.6 |  | 29280 | -14640 | 1.0246 | H1-ITMX | M0 - BOSEM | Face 1 (F1) | 91 |  |  |  | 22070 | -11035 | 1.3593 | I1-ITMX | M0 - BOSEM | Face 1 (F1) | 26 |  |  |  | 29723 | -14861.5 | 1.0093
|  | Face 2 (F2) | 519 |  | 39.8 |  | 31270 | -15635 | 0.95939 |  |  | Face 2 (F2) | 494 |  |  |  | 24726 | -12363 | 1.2133 |  |  | Face 2 (F2) | 195 |  |  |  | 29212 | -14606 | 1.027
|  | Face 3 (F3) | 334 |  |  |  | 27314 | -13657 | 1.0983 |  |  | Face 3 (F3) | 482 |  |  |  | 25138 | -12569 | 1.1934 |  |  | Face 3 (F3) | 15 |  |  |  | 28998 | -14499 | 1.0346
|  | Left (LF) | 450 |  | 39.7 |  | 27503 | -13751.5 | 1.0908 |  |  | Left (LF) | 509 |  |  |  | 24492 | -12246 | 1.2249 |  |  | Left (LF) | 302 |  |  |  | 27100 | -13550 | 1.107
|  | Right (RT) | 524 |  | 39.4 |  | 29711 | -14855.5 | 1.0097 |  |  | Right (RT) | 490 |  |  |  | 24202 | -12101 | 1.2396 |  |  | Right (RT) | 102 |  |  |  | 29422 | -14711 | 1.0196
|  | Side (SD) | 449 |  | 39.4 |  | 28832 | -14416 | 1.0405 |  |  | Side (SD) | 111 |  |  |  | 23176 | -11588 | 1.2944 |  |  | Side (SD) | 294 |  |  |  | 29032 | -14516 | 1.0333
| R0 - BOSEM | Face 1 (F1) | 353 |  |  |  | 25870 | -12935 | 1.1596 |  | R0 - BOSEM | Face 1 (F1) | 470 |  |  |  | 24614 | -12307 | 1.2188 |  | R0 - BOSEM | Face 1 (F1) | 310 |  |  |  | 26949 | -13474.5 | 1.1132
|  | Face 2 (F2) | 514 |  | 39.7 |  | 29718 | -14859 | 1.0095 |  |  | Face 2 (F2) | 77 |  |  |  | 29916 | -14958 | 1.0028 |  |  | Face 2 (F2) | 292 |  |  |  | 28436 | -14218 | 1.055
|  | Face 3 (F3) | 516 |  | 39.7 |  | 26149 | -13074.5 | 1.1473 |  |  | Face 3 (F3) | 147 |  |  |  | 28228 | -14114 | 1.0628 |  |  | Face 3 (F3) | 85 |  |  |  | 27950 | -13975 | 1.0733
|  | Left (LF) | 515 |  | 39.6 |  | 29658 | -14829 | 1.0115 |  |  | Left (LF) | 115 |  |  |  | 28380 | -14190 | 1.0571 |  |  | Left (LF) | 29 |  |  |  | 29804 | -14902 | 1.0066
|  | Right (RT) | 523 |  | 39.3 |  | 27752 | -13876 | 1.081 |  |  | Right (RT) | 664 | X |  |  | 26886 | -13443 | 1.1158 |  |  | Right (RT) | 574 | X |  |  | 27786 | -13893 | 1.0797
|  | Side (SD) | 525 |  | 39.5 |  | 29986 | -14993 | 1.0005 |  |  | Side (SD) | 80 |  |  |  | 26620 | -13310 | 1.127 |  |  | Side (SD) | 437 |  |  |  | 26947 | -13473.5 | 1.1133
| L1 - BOSEM | Upper Left (UL) | 464 |  |  |  | 25604 | -12802 | 1.1717 |  | L1 - BOSEM | Upper Left (UL) | 439 |  |  |  | 31509 | -15754.5 | 0.95211 |  | L1 - BOSEM | Upper Left (UL) | 575 | X |  |  | 28826 | -14413 | 1.0407
|  | Lower Left (LL) | 457 |  |  |  | 23046 | -11523 | 1.3017 |  |  | Lower Left (LL) | 510 |  |  |  | 29214 | -14607 | 1.0269 |  |  | Lower Left (LL) | 491 |  |  |  | 27412 | -13706 | 1.0944
|  | Upper Right (UR) | 459 |  |  |  | 30067 | -15033.5 | 0.99777 |  |  | Upper Right (UR) | 474 |  |  |  | 26506 | -13253 | 1.1318 |  |  | Upper Right (UR) | 489 |  |  |  | 24370 | -12185 | 1.231
|  | Lower Right (LR) | 511 |  |  |  | 29682 | -14841 | 1.0107 |  |  | Lower Right (LR) | 487 |  |  |  | 27979 | -13989.5 | 1.0722 |  |  | Lower Right (LR) | 427 |  |  |  | 23612 | -11806 | 1.2705
| L2 - AOSEM | Upper Left (UL) | 298 | PY-NN |  |  | 27122 | -13561 | 1.1061 |  | L2 - AOSEM | Upper Left (UL) | 146 |  |  |  | 21877 | -10938.5 | 1.3713 |  | L2 - AOSEM | Upper Left (UL) | 153 |  |  |  | 22949 | -11474.5 | 1.3072
|  | Lower Left (LL) | 326 | PY-NN |  |  | 26903 | -13451.5 | 1.1151 |  |  | Lower Left (LL) | 263 |  |  |  | 22829 | -11414.5 | 1.3141 |  |  | Lower Left (LL) | 133 |  |  |  | 24546 | -12273 | 1.2222
|  | Upper Right (UR) | 603 | PY-NN |  |  | 28398 | -14199 | 1.0564 |  |  | Upper Right (UR) | 112 |  |  |  | 24994 | -12497 | 1.2003 |  |  | Upper Right (UR) | 216 |  |  |  | 24855 | -12427.5 | 1.207
|  | Lower Right (LR) | 362 | PY-NN |  |  | 27045 | -13522.5 | 1.1093 |  |  | Lower Right (LR) | 463 |  |  |  | 22583 | -11291.5 | 1.3284 |  |  | Lower Right (LR) | 145 |  |  |  | 23608 | -11804 | 1.2708
L1-ITMY | M0 - BOSEM | Face 1 (F1) | 348 |  |  |  | 28880 | -14440 | 1.0388 | H1-ITMY | M0 - BOSEM | Face 1 (F1) | 481 |  |  |  | 30805 | -15402.5 | 0.97387 | I1-ITMY | M0 - BOSEM | Face 1 (F1) | 288 |  |  |  | 25650 | -12825 | 1.1696
|  | Face 2 (F2) | 332 |  |  |  | 27438 | -13719 | 1.0934 |  |  | Face 2 (F2) | 261 |  |  |  | 30164 | -15082 | 0.99456 |  |  | Face 2 (F2) | 99 |  |  |  | 26200 | -13100 | 1.145
|  | Face 3 (F3) | 461 |  |  |  | 25638 | -12819 | 1.1701 |  |  | Face 3 (F3) | 501 |  |  |  | 30160 | -15080 | 0.99469 |  |  | Face 3 (F3) | 244 |  |  |  | 25170 | -12585 | 1.1919
|  | Left (LF) | 323 |  |  |  | 27760 | -13880 | 1.0807 |  |  | Left (LF) | 496 |  |  |  | 28050 | -14025 | 1.0695 |  |  | Left (LF) | 82 |  |  |  | 25300 | -12650 | 1.1858
|  | Right (RT) | 365 |  |  |  | 30382 | -15191 | 0.98743 |  |  | Right (RT) | 499 |  |  |  | 26205 | -13102.5 | 1.1448 |  |  | Right (RT) | 576 | X |  |  | 25600 | -12800 | 1.1719
|  | Side (SD) | 322 |  |  |  | 28388 | -14194 | 1.0568 |  |  | Side (SD) | 445 |  |  |  | 31046 | -15523 | 0.96631 |  |  | Side (SD) | 285 |  |  |  | 25510 | -12755 | 1.176
| R0 - BOSEM | Face 1 (F1) | 316 |  |  |  | 27656 | -13828 | 1.0848 |  | R0 - BOSEM | Face 1 (F1) | 471 |  |  |  | 25530 | -12765 | 1.1751 |  | R0 - BOSEM | Face 1 (F1) | 18 |  |  |  | 25174 | -12587 | 1.1917
|  | Face 2 (F2) | 319 |  |  |  | 27566 | -13783 | 1.0883 |  |  | Face 2 (F2) | 484 |  |  |  | 26272 | -13136 | 1.1419 |  |  | Face 2 (F2) | 577 |  |  |  | 24100 | -12050 | 1.2448
|  | Face 3 (F3) | 360 |  |  |  | 28958 | -14479 | 1.036 |  |  | Face 3 (F3) | 472 |  |  |  | 27538 | -13769 | 1.0894 |  |  | Face 3 (F3) | 467 | X |  |  | 28610 | -14305 | 1.0486
|  | Left (LF) | 364 |  |  |  | 27690 | -13845 | 1.0834 |  |  | Left (LF) | 630 | X |  |  | 29513 | -14756.5 | 1.0165 |  |  | Left (LF) | 62 |  |  |  | 25830 | -12915 | 1.1614
|  | Right (RT) | 359 |  |  |  | 27514 | -13757 | 1.0904 |  |  | Right (RT) | 466 |  |  |  | 25210 | -12605 | 1.19 |  |  | Right (RT) | 669 | X |  |  | 25090 | -12545 | 1.1957
|  | Side (SD) | 600 | X |  |  | 28626 | -14313 | 1.048 |  |  | Side (SD) | 415 |  |  |  | 27113 | -13556.5 | 1.1065 |  |  | Side (SD) | 274 |  |  |  | 26440 | -13220 | 1.1346
| L1 - BOSEM | Upper Left (UL) | 647 |  |  |  | 30410 | -15205 | 0.98652 |  | L1 - BOSEM | Upper Left (UL) | 427 |  |  |  | 27800 | -13900 | 1.0791 |  | L1 - BOSEM | Upper Left (UL) | 236 |  |  |  | 25783 | -12891.5 | 1.1636
|  | Lower Left (LL) | 648 |  |  |  | 28688 | -14344 | 1.0457 |  |  | Lower Left (LL) | 476 |  |  |  | 28750 | -14375 | 1.0435 |  |  | Lower Left (LL) | 267 |  |  |  | 24195 | -12097.5 | 1.2399
|  | Upper Right (UR) | 633 | X |  |  | 32401 | -16200.5 | 0.9259 |  |  | Upper Right (UR) | 489 |  |  |  | 27706 | -13853 | 1.0828 |  |  | Upper Right (UR) | 584 |  |  |  | 25214 | -12607 | 1.1898
|  | Lower Right (LR) | 649 |  |  |  | 30792 | -15396 | 0.97428 |  |  | Lower Right (LR) | 491 |  |  |  | 29654 | -14827 | 1.0117 |  |  | Lower Right (LR) | 567 |  |  |  | 26255 | -13127.5 | 1.1426
| L2 - AOSEM | Upper Left (UL) | 402 | PN-NN |  |  | 24772 | -12386 | 1.211 |  | L2 - AOSEM | Upper Left (UL) | 218 |  |  |  | 23978 | -11989 | 1.2511 |  | L2 - AOSEM | Upper Left (UL) | 225 |  |  |  | 26809 | -13404.5 | 1.119
|  | Lower Left (LL) | 235 | PY-NN |  |  | 25682 | -12841 | 1.1681 |  |  | Lower Left (LL) | 214 |  |  |  | 20272 | -10136 | 1.4799 |  |  | Lower Left (LL) | 388 |  |  |  | 27000 | -13500 | 1.1111
|  | Upper Right (UR) | 347 | PN-NY |  |  | 27435 | -13717.5 | 1.0935 |  |  | Upper Right (UR) | 424 |  |  |  | 16250 | -8125 | 1.8462 |  |  | Upper Right (UR) | 110 |  |  |  | 23315 | -11657.5 | 1.2867
|  | Lower Right (LR) | 364 | PY-NN |  |  | 30120 | -15060 | 0.99602 |  |  | Lower Right (LR) | 606 |  |  |  | 17254 | -8627 | 1.7387 |  |  | Lower Right (LR) | 160 |  |  |  | 21949 | -10974.5 | 1.3668
L1-ETMX | M0 - BOSEM | Face 1 (F1) | 593 |  |  |  | 24997 | -12498.5 | 1.2001 | H1-ETMX | M0 - BOSEM | Face 1 (F1) | 643 |  |  |  | 24018 | -12009 | 1.2491 | I1-ETMX | M0 - BOSEM | Face 1 (F1) | 20 |  |  |  | 27900 | -13950 | 1.0753
|  | Face 2 (F2) | 351 |  |  |  | 30063 | -15031.5 | 0.9979 |  |  | Face 2 (F2) | 486 |  |  |  | 29453 | -14726.5 | 1.0186 |  |  | Face 2 (F2) | 67 |  |  |  | 30240 | -15120 | 0.99206
|  | Face 3 (F3) | 354 |  |  |  | 24924 | -12462 | 1.2037 |  |  | Face 3 (F3) | 414 |  |  |  | 30661 | -15330.5 | 0.97844 |  |  | Face 3 (F3) | 275 |  |  |  | 28000 | -14000 | 1.0714
|  | Left (LF) | 381 |  |  |  | 24635 | -12317.5 | 1.2178 |  |  | Left (LF) | 580 | X |  |  | 24512 | -12256 | 1.2239 |  |  | Left (LF) | 502 |  |  |  | 25299 | -12649.5 | 1.1858
|  | Right (RT) | 352 |  |  |  | 24346 | -12173 | 1.2322 |  |  | Right (RT) | 507 |  |  |  | 24724 | -12362 | 1.2134 |  |  | Right (RT) | 96 |  |  |  | 29600 | -14800 | 1.0135
|  | Side (SD) | 367 |  |  |  | 30807 | -15403.5 | 0.9738 |  |  | Side (SD) | 563 | X |  |  | 28519 | -14259.5 | 1.0519 |  |  | Side (SD) | 570 | X |  |  | 28500 | -14250 | 1.0526
| R0 - BOSEM | Face 1 (F1) | 595 |  |  |  | 25878 | -12939 | 1.1593 |  | R0 - BOSEM | Face 1 (F1) | 426 |  |  |  | 28922 | -14461 | 1.0373 |  | R0 - BOSEM | Face 1 (F1) | 141 |  |  |  | 29200 | -14600 | 1.0274
|  | Face 2 (F2) | 403 |  |  |  | 24306 | -12153 | 1.2343 |  |  | Face 2 (F2) | 497 |  |  |  | 23013 | -11506.5 | 1.3036 |  |  | Face 2 (F2) | 293 |  |  |  | 27700 | -13850 | 1.083
|  | Face 3 (F3) | 350 |  |  |  | 28736 | -14368 | 1.044 |  |  | Face 3 (F3) | 504 |  |  |  | 25716 | -12858 | 1.1666 |  |  | Face 3 (F3) | 232 |  |  |  | 27500 | -13750 | 1.0909
|  | Left (LF) | 355 |  |  |  | 24796 | -12398 | 1.2099 |  |  | Left (LF) | 468 |  |  |  | 26662 | -13331 | 1.1252 |  |  | Left (LF) | 278 |  |  |  | 28200 | -14100 | 1.0638
|  | Right (RT) | 374 |  |  |  | 25315 | -12657.5 | 1.1851 |  |  | Right (RT) | 418 |  |  |  | 24388 | -12194 | 1.2301 |  |  | Right (RT) | 36 |  |  |  | 27200 | -13600 | 1.1029
|  | Side (SD) | 373 |  |  |  | 25643 | -12821.5 | 1.1699 |  |  | Side (SD) | 434 |  |  |  | 21961 | -10980.5 | 1.3661 |  |  | Side (SD) | 612 | X |  |  | 28600 | -14300 | 1.049
| L1 - BOSEM | Upper Left (UL) | 363 |  |  |  | 28609 | -14304.5 | 1.0486 |  | L1 - BOSEM | Upper Left (UL) | 660 | X |  |  | 24267 | -12133.5 | 1.2362 |  | L1 - BOSEM | Upper Left (UL) | 662 | X |  |  | 24100 | -12050 | 1.2448
|  | Lower Left (LL) | 358 |  |  |  | 24868 | -12434 | 1.2064 |  |  | Lower Left (LL) | 661 | X |  |  | 26538 | -13269 | 1.1305 |  |  | Lower Left (LL) | 187 |  |  |  | 29000 | -14500 | 1.0345
|  | Upper Right (UR) | 388 |  |  |  | 24225 | -12112.5 | 1.2384 |  |  | Upper Right (UR) | 667 | X |  |  | 24545 | -12272.5 | 1.2222 |  |  | Upper Right (UR) | 276 |  |  |  | 27900 | -13950 | 1.0753
|  | Lower Right (LR) | 387 |  |  |  | 24910 | -12455 | 1.2043 |  |  | Lower Right (LR) | 690 | X |  |  | 26259 | -13129.5 | 1.1425 |  |  | Lower Right (LR) | 679 | X |  |  | 28100 | -14050 | 1.0676
| L2 - AOSEM | Upper Left (UL) | 210 |  |  |  | 27064 | -13532 | 1.1085 |  | L2 - AOSEM | Upper Left (UL) | 270 |  |  |  | 17935 | -8967.5 | 1.6727 |  | L2 - AOSEM | Upper Left (UL) | 107 |  |  |  | 23304 | -11652 | 1.2873
|  | Lower Left (LL) | 291 |  |  |  | 27128 | -13564 | 1.1059 |  |  | Lower Left (LL) | 434 |  |  |  | 18726 | -9363 | 1.6021 |  |  | Lower Left (LL) | 430 |  |  |  | 22193 | -11096.5 | 1.3518
|  | Upper Right (UR) | 289 |  |  |  | 24669 | -12334.5 | 1.2161 |  |  | Upper Right (UR) | 478 |  |  |  | 25124 | -12562 | 1.1941 |  |  | Upper Right (UR) | 458 |  |  |  | 25182 | -12591 | 1.1913
|  | Lower Right (LR) | 479 |  |  |  | 25678 | -12839 | 1.1683 |  |  | Lower Right (LR) | 483 |  |  |  | 25518 | -12759 | 1.1756 |  |  | Lower Right (LR) | 392 |  |  |  | 25812 | -12906 | 1.1623
L1-ETMY | M0 - BOSEM | Face 1 (F1) | 315 |  |  |  | 28362 | -14181 | 1.0578 | H1-ETMY | M0 - BOSEM | Face 1 (F1) | 94 |  |  |  | 30218 | -15109 | 0.99279 | I1-ETMY | M0 - BOSEM | Face 1 (F1) | 19 |  |  |  | 22000 | -11000 | 1.3636
|  | Face 2 (F2) | 345 |  |  |  | 27528 | -13764 | 1.0898 |  |  | Face 2 (F2) | 588 | X |  |  | 29922 | -14961 | 1.0026 |  |  | Face 2 (F2) | 44 |  |  |  | 20300 | -10150 | 1.4778
|  | Face 3 (F3) | 375 |  |  |  | 25107 | -12553.5 | 1.1949 |  |  | Face 3 (F3) | 266 |  |  |  | 29480 | -14740 | 1.0176 |  |  | Face 3 (F3) | 133 |  |  |  | 18900 | -9450 | 1.5873
|  | Left (LF) | 317 |  |  |  | 25170 | -12585 | 1.1919 |  |  | Left (LF) | 58 |  |  |  | 31134 | -15567 | 0.96358 |  |  | Left (LF) | 420 |  |  |  | 20500 | -10250 | 1.4634
|  | Right (RT) | 341 |  |  |  | 29592 | -14796 | 1.0138 |  |  | Right (RT) | 41 |  |  |  | 30792 | -15396 | 0.97428 |  |  | Right (RT) | 588 | X |  |  | 21700 | -10850 | 1.3825
|  | Side (SD) | 597 | x |  |  | 30091 | -15045.5 | 0.99698 |  |  | Side (SD) | 95 |  |  |  | 31110 | -15555 | 0.96432 |  |  | Side (SD) | 615 | X |  |  | 19800 | -9900 | 1.5152
| R0 - BOSEM | Face 1 (F1) | 325 |  |  |  | 27433 | -13716.5 | 1.0936 |  | R0 - BOSEM | Face 1 (F1) | 50 |  |  |  | 31059 | -15529.5 | 0.9659 |  | R0 - BOSEM | Face 1 (F1) | 616 | X |  |  | 19040 | -9520 | 1.5756
|  | Face 2 (F2) | 342 |  |  |  | 28931 | -14465.5 | 1.0369 |  |  | Face 2 (F2) | 186 |  |  |  | 30058 | -15029 | 0.99807 |  |  | Face 2 (F2) | 639 |  |  |  | 20400 | -10200 | 1.4706
|  | Face 3 (F3) | 339 |  |  |  | 24871 | -12435.5 | 1.2062 |  |  | Face 3 (F3) | 422 |  |  |  | 29953 | -14976.5 | 1.0016 |  |  | Face 3 (F3) | 640 |  |  |  | 21080 | -10540 | 1.4231
|  | Left (LF) | 327 |  |  |  | 29792 | -14896 | 1.007 |  |  | Left (LF) | 180 |  |  |  | 30794 | -15397 | 0.97422 |  |  | Left (LF) | 656 | X |  |  | 19600 | -9800 | 1.5306
|  | Right (RT) | 347 |  |  |  | 24613 | -12306.5 | 1.2189 |  |  | Right (RT) | 56 |  |  |  | 31050 | -15525 | 0.96618 |  |  | Right (RT) | 692 | X |  |  | 19700 | -9850 | 1.5228
|  | Side (SD) | 599 | x |  |  | 30410 | -15205 | 0.98652 |  |  | Side (SD) | 83 |  |  |  | 30282 | -15141 | 0.99069 |  |  | Side (SD) | 696 | X |  |  | 19950 | -9975 | 1.5038
| L1 - BOSEM | Upper Left (UL) | 312 |  |  |  | 27821 | -13910.5 | 1.0783 |  | L1 - BOSEM | Upper Left (UL) | 477 |  |  |  | 29222 | -14611 | 1.0266 |  | L1 - BOSEM | Upper Left (UL) | 626 | X |  |  | 24152 | -12076 | 1.2421
|  | Lower Left (LL) | 338 |  |  |  | 29279 | -14639.5 | 1.0246 |  |  | Lower Left (LL) | 493 |  |  |  | 30117 | -15058.5 | 0.99612 |  |  | Lower Left (LL) | 572 | X |  |  | 21402 | -10701 | 1.4017
|  | Upper Right (UR) | 340 |  |  |  | 31159 | -15579.5 | 0.9628 |  |  | Upper Right (UR) | 485 |  |  |  | 25735 | -12867.5 | 1.1657 |  |  | Upper Right (UR) | 564 | X |  |  | 23498 | -11749 | 1.2767
|  | Lower Right (LR) | 336 |  |  |  | 29804 | -14902 | 1.0066 |  |  | Lower Right (LR) | 22 |  |  |  | 22721 | -11360.5 | 1.3204 |  |  | Lower Right (LR) | 289 |  |  |  | 18354 | -9177 | 1.6345
| L2 - AOSEM | Upper Left (UL) | 109 |  |  |  | 24465 | -12232.5 | 1.2262 |  | L2 - AOSEM | Upper Left (UL) | 473 |  |  |  | 21334 | -10667 | 1.4062 |  | L2 - AOSEM | Upper Left (UL) | 150 |  |  |  | 25800 | -12900 | 1.1628
|  | Lower Left (LL) | 420 |  |  |  | 21400 | -10700 | 1.4019 |  |  | Lower Left (LL) | 428 |  |  |  | 24582 | -12291 | 1.2204 |  |  | Lower Left (LL) | 433 |  |  |  | 25032 | -12516 | 1.1985
|  | Upper Right (UR) | 222 |  |  |  | 24368 | -12184 | 1.2311 |  |  | Upper Right (UR) | 332 |  |  |  | 21223 | -10611.5 | 1.4136 |  |  | Upper Right (UR) | 174 |  |  |  | 20346 | -10173 | 1.4745
|  | Lower Right (LR) | 192 |  |  |  | 23305 | -11652.5 | 1.2873 |  |  | Lower Right (LR) | 321 |  |  |  | 20325 | -10162.5 | 1.476 |  |  | Lower Right (LR) | 421 |  |  |  | 21146 | -10573 | 1.4187

## BSFM
Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. [mH] | Open Light Value [counts] | Offset [counts] | Gain
L1-BS | M1 - BOSEM | Face 1 (F1) | 532 |  |  |  | 28475.3 | -14237.65 | 1.0535
|  | Face 2 (F2) | 526 |  |  |  | 27112 | -13556 | 1.1065
|  | Face 3 (F3) | 677 | X |  |  | 22567.9 | -11283.95 | 1.3293
|  | Left (LF) | 529 |  |  |  | 26084 | -13042 | 1.1501
|  | Right (RT) | 531 |  |  |  | 26758 | -13379 | 1.1212
|  | Side (SD) | 452 |  |  |  | 21605 | -10802.5 | 1.3886
| M2 - BOSEM | Upper Left (UL) | 528 |  |  |  | 28739 | -14369.5 | 1.0439
|  | Lower Left (LL) | 530 |  |  |  | 27638 | -13819 | 1.0855
|  | Upper Right (UR) | 533 |  |  |  | 20775 | -10387.5 | 1.444
|  | Lower Right (LR) | 527 |  |  |  | 30590 | -15295 | 0.98071
H1-BS | M1 - BOSEM | Face 1 (F1) | 428 |  |  |  | 26954 | -13477 | 1.113
|  | Face 2 (F2) | 442 |  |  |  | 26906 | -13453 | 1.115
|  | Face 3 (F3) | 443 |  |  |  | 26548 | -13274 | 1.13
|  | Left (LF) | 430 |  |  |  | 26714 | -13357 | 1.123
|  | Right (RT) | 425 |  |  |  | 27248 | -13624 | 1.101
|  | Side (SD) | 438 |  |  |  | 25062 | -12531 | 1.197
| M2 - BOSEM | Upper Left (UL) | 446 |  |  |  | 24834 | -12417 | 1.208
|  | Lower Left (LL) | 417 |  |  |  | 24350 | -12175 | 1.232
|  | Upper Right (UR) | 429 |  |  |  | 24630 | -12315 | 1.218
|  | Lower Right (LR) | 446 |  |  |  | 21038 | -10519 | 1.426
I1-BS | M1 - BOSEM | Face 1 (F1) | [5 empty] | 0 | #DIV/0!
|  | Face 2 (F2) | [5 empty] | 0 | #DIV/0!
|  | Face 3 (F3) | [5 empty] | 0 | #DIV/0!
|  | Left (LF) | [5 empty] | 0 | #DIV/0!
|  | Right (RT) | [5 empty] | 0 | #DIV/0!
|  | Side (SD) | [5 empty] | 0 | #DIV/0!
| M2 - BOSEM | Upper Left (UL) | 0 |  |  |  |  | 0 | #DIV/0!
|  | Lower Left (LL) | 0 |  |  |  |  | 0 | #DIV/0!
|  | Upper Right (UR) | 0 |  |  |  |  | 0 | #DIV/0!
|  | Lower Right (LR) | 0 |  |  |  |  | 0 | #DIV/0!

## HLTS
Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. [mH] | Open Light Value [counts] | Offset [counts] | Gain | Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. [mH] | Open Light Value [counts] | Offset [counts] | Gain | Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. [mH] | Open Light Value [counts] | Offset [counts] | Gain
L1-PR3 | M1 - BOSEM | Top 1 (T1) | 559 |  |  |  | 25061 | -12530.5 | 1.1971 | H1-PR3 | M1 - BOSEM | Top 1 (T1) | 73 |  |  |  | 25834 | -12917 | 1.1613 | I1-PR3 | M1 - BOSEM | Top 1 (T1) | 42 |  |  |  | 25635.3 | -12817.65 | 1.1703
|  | Top 2 (T2) | 697 | X |  |  | 27906 | -13953 | 1.075 |  |  | Top 2 (T2) | 61 |  |  |  | 30072 | -15036 | 0.99761 |  |  | Top 2 (T2) | 68 |  |  |  | 25672.9 | -12836.45 | 1.1685
|  | Top 3 (T3) | 377 |  |  |  | 26262 | -13131 | 1.1423 |  |  | Top 3 (T3) | 64 |  |  |  | 28666 | -14333 | 1.0465 |  |  | Top 3 (T3) | 171 |  |  |  | 25420 | -12710 | 1.1802
|  | Left (LF) | 219 |  |  |  | 31090 | -15545 | 0.96494 |  |  | Left (LF) | 69 |  |  |  | 25624 | -12812 | 1.1708 |  |  | Left (LF) | 37 |  |  |  | 26762.8 | -13381.4 | 1.121
|  | Right (RT) | 558 |  |  |  | 29280 | -14640 | 1.0246 |  |  | Right (RT) | 63 |  |  |  | 25798 | -12899 | 1.1629 |  |  | Right (RT) | 495 |  |  |  | 29999.9 | -14999.95 | 1
|  | Side (SD) | 335 |  |  |  | 30034 | -15017 | 0.99887 |  |  | Side (SD) | 700 | X |  |  | 28238 | -14119 | 1.0624 |  |  | Side (SD) | 686 |  |  |  | 25589.6 | -12794.8 | 1.1724
| M2 - AOSEM | Upper Left (UL) | 368 | PY-NY |  |  | 23916.5 | -11958.25 | 1.2544 |  | M2 - AOSEM | Upper Left (UL) | 488 | PY-NY |  |  | 17706 | -8853 | 1.6943 |  | M2 - AOSEM | Upper Left (UL) | 288 |  |  |  | 28762.3 | -14381.15 | 1.043
|  | Lower Left (LL) | 264 | PY-NY |  |  | 24980.4 | -12490.2 | 1.2009 |  |  | Lower Left (LL) | 601 | PY-NN |  |  | 20284 | -10142 | 1.479 |  |  | Lower Left (LL) | 423 |  |  |  | 26012.5 | -13006.25 | 1.1533
|  | Upper Right (UR) | 370 | PY-NY |  |  | 26189.8 | -13094.9 | 1.1455 |  |  | Upper Right (UR) | 336 | PY-NN |  |  | 18746 | -9373 | 1.6003 |  |  | Upper Right (UR) | 339 |  |  |  | 26204.3 | -13102.15 | 1.1449
|  | Lower Right (LR) | 460 | PY-NY |  |  | 28640.2 | -14320.1 | 1.0475 |  |  | Lower Right (LR) | 413 | PY-NY |  |  | 17714 | -8857 | 1.6936 |  |  | Lower Right (LR) | 345 |  |  |  | 26307.3 | -13153.65 | 1.1404
| M3 - AOSEM | Upper Left (UL) | 277 | PY-NY |  |  | 26785.2 | -13392.6 | 1.12 |  | M3 - AOSEM | Upper Left (UL) | 489 | PY-NY |  |  | 17312 | -8656 | 1.7329 |  | M3 - AOSEM | Upper Left (UL) | 303 |  |  |  | 26562.8 | -13281.4 | 1.1294
|  | Lower Left (LL) | 324 | PY-NY |  |  | 26339.8 | -13169.9 | 1.139 |  |  | Lower Left (LL) | 269 | PY-NY |  |  | 22890 | -11445 | 1.3106 |  |  | Lower Left (LL) | 128 |  |  |  | 25727.1 | -12863.55 | 1.1661
|  | Upper Right (UR) | 600 | PY-NY |  |  | 27258.5 | -13629.25 | 1.1006 |  |  | Upper Right (UR) | 461 | PY-NY |  |  | 24376 | -12188 | 1.2307 |  |  | Upper Right (UR) | 282 |  |  |  | 27640.6 | -13820.3 | 1.0854
|  | Lower Right (LR) | 302 | PY-NY |  |  | 26080.8 | -13040.4 | 1.1503 |  |  | Lower Right (LR) | 287 | PY-NY |  |  | 17160 | -8580 | 1.7483 |  |  | Lower Right (LR) | 310 |  |  |  | 24742.2 | -12371.1 | 1.2125
L1-SR3 | M1 - BOSEM | Top 1 (T1) | 393 |  |  |  | 31002 | -15501 | 0.96768 | H1-SR3 | M1 - BOSEM | Top 1 (T1) | 55 |  |  |  | 20123.5 | -10061.75 | 1.4908 | I1-SR3 | M1 - BOSEM | Top 1 (T1) | 45 |  |  |  | 28457.2 | -14228.6 | 1.0542
|  | Top 2 (T2) | 590 | X |  |  | 27385 | -13692.5 | 1.0955 |  |  | Top 2 (T2) | 72 |  |  |  | 31413.2 | -15706.6 | 0.95501 |  |  | Top 2 (T2) | 144 |  |  |  | 26461.7 | -13230.85 | 1.1337
|  | Top 3 (T3) | 379 |  |  |  | 30918 | -15459 | 0.97031 |  |  | Top 3 (T3) | 39 |  |  |  | 31241.4 | -15620.7 | 0.96026 |  |  | Top 3 (T3) | 184 |  |  |  | 26536.6 | -13268.3 | 1.1305
|  | Left (LF) | 385 |  |  |  | 26784 | -13392 | 1.1201 |  |  | Left (LF) | 136 |  |  |  | 23018.6 | -11509.3 | 1.3033 |  |  | Left (LF) | 193 |  |  |  | 30762.8 | -15381.4 | 0.9752
|  | Right (RT) | 555 |  |  |  | 28622 | -14311 | 1.0481 |  |  | Right (RT) | 435 |  |  |  | 28071 | -14035.5 | 1.0687 |  |  | Right (RT) | 31 |  |  |  | 30158.3 | -15079.15 | 0.99475
|  | Side (SD) | 222 |  |  |  | 29589 | -14794.5 | 1.0139 |  |  | Side (SD) | 689 | X |  |  | 23469.8 | -11734.9 | 1.2782 |  |  | Side (SD) | 625 | X |  |  | 29402.8 | -14701.4 | 1.0203
| M2 - AOSEM | Upper Left (UL) | 459 | PY-NY |  |  | 24089 | -12044.5 | 1.2454 |  | M2 - AOSEM | Upper Left (UL) | 355 |  |  |  | 25624.4 | -12812.2 | 1.1708 |  | M2 - AOSEM | Upper Left (UL) | 275 |  |  |  | 30007.8 | -15003.9 | 0.99974
|  | Lower Left (LL) | 472 | PY-NY |  |  | 23381 | -11690.5 | 1.2831 |  |  | Lower Left (LL) | 387 |  |  |  | 24713.9 | -12356.95 | 1.2139 |  |  | Lower Left (LL) | 482 |  |  |  | 27113.4 | -13556.7 | 1.1065
|  | Upper Right (UR) | 422 | PY-NY |  |  | 23098 | -11549 | 1.2988 |  |  | Upper Right (UR) | 406 |  |  |  | 27586.9 | -13793.45 | 1.0875 |  |  | Upper Right (UR) | 484 |  |  |  | 26512 | -13256 | 1.1316
|  | Lower Right (LR) | 452 | PY-NY |  |  | 24775 | -12387.5 | 1.2109 |  |  | Lower Right (LR) | 444 |  |  |  | 26252.6 | -13126.3 | 1.1427 |  |  | Lower Right (LR) | 487 |  |  |  | 23963.5 | -11981.75 | 1.2519
| M3 - AOSEM | Upper Left (UL) | 191 | PY-NY |  |  | 23059 | -11529.5 | 1.301 |  | M3 - AOSEM | Upper Left (UL) | 350 |  |  |  | 25911.8 | -12955.9 | 1.1578 |  | M3 - AOSEM | Upper Left (UL) | 322 |  |  |  | 24998.2 | -12499.1 | 1.2001
|  | Lower Left (LL) | 271 | PY-NY |  |  | 23498 | -11749 | 1.2767 |  |  | Lower Left (LL) | 331 |  |  |  | 28339.7 | -14169.85 | 1.0586 |  |  | Lower Left (LL) | 286 |  |  |  | 26802.2 | -13401.1 | 1.1193
|  | Upper Right (UR) | 494 | PY-NY |  |  | 23070 | -11535 | 1.3004 |  |  | Upper Right (UR) | 206 |  |  |  | 25894.1 | -12947.05 | 1.1586 |  |  | Upper Right (UR) | 475 |  |  |  | 25949.6 | -12974.8 | 1.1561
|  | Lower Right (LR) | 416 | PY-NY |  |  | 23393 | -11696.5 | 1.2824 |  |  | Lower Right (LR) | 101 |  |  |  | 26057.9 | -13028.95 | 1.1513 |  |  | Lower Right (LR) | 411 |  |  |  | 25557.4 | -12778.7 | 1.1738

## HSTS
Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. (mH) | Open Light Value [counts] | Offset [counts] | Gain | Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. [mH] | Open Light Value [counts] | Offset [counts] | Gain | Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. [mH] | Open Light Value [counts] | Offset [counts] | Gain
L1-MC1 | M1 - BOSEM | Top 1 (T1) | 208 |  |  |  | 31950 | -15975 | 0.93897 | H1-MC1 | M1 - BOSEM | Top 1 (T1) | 578 |  |  |  | 25960 | -12980 | 1.1556 | I1-MC1 | M1 - BOSEM | Top 1 (T1) | 416 |  |  |  | 29357.8 | -14678.9 | 1.0219
|  | Top 2 (T2) | 592 | X |  |  | 25960 | -12980 | 1.1556 |  |  | Top 2 (T2) | 436 |  |  |  | 29277.9 | -14638.95 | 1.0247 |  |  | Top 2 (T2) | 441 |  |  |  | 25503.7 | -12751.85 | 1.1763
|  | Top 3 (T3) | 376 |  |  |  | 30563 | -15281.5 | 0.98158 |  |  | Top 3 (T3) | 440 |  |  |  | 27858.1 | -13929.05 | 1.0769 |  |  | Top 3 (T3) | 473 |  |  |  | 31260.6 | -15630.3 | 0.95967
|  | Left (LF) | 384 |  |  |  | 27553.3 | -13776.65 | 1.0888 |  |  | Left (LF) | 433 |  |  |  | 27758.7 | -13879.35 | 1.0807 |  |  | Left (LF) | 444 |  |  |  | 31563.2 | -15781.6 | 0.95047
|  | Right (RT) | 402 |  |  |  | 30757.9 | -15378.95 | 0.97536 |  |  | Right (RT) | 424 |  |  |  | 24529.4 | -12264.7 | 1.223 |  |  | Right (RT) | 447 |  |  |  | 31900.5 | -15950.25 | 0.94042
|  | Side (SD) | 535 |  |  |  | 28276 | -14138 | 1.061 |  |  | Side (SD) | 658 | X |  |  | 25139.5 | -12569.75 | 1.1933 |  |  | Side (SD) | 652 | X |  |  | 26982.8 | -13491.4 | 1.1118
| M2 - AOSEM | Upper Left (UL) | 318 | PY-NY |  |  | 27112.1 | -13556.05 | 1.1065 |  | M2 - AOSEM | Upper Left (UL) | 453 | PY-NY |  |  | 27359.6 | -13679.8 | 1.0965 |  | M2 - AOSEM | Upper Left (UL) | 251 |  |  |  | 26163.5 | -13081.75 | 1.1466
|  | Lower Left (LL) | 357 | PY-NY |  |  | 23647.3 | -11823.65 | 1.2686 |  |  | Lower Left (LL) | 320 | PY-NY |  |  | 24780.7 | -12390.35 | 1.2106 |  |  | Lower Left (LL) | 201 |  |  |  | 25059 | -12529.5 | 1.1972
|  | Upper Right (UR) | 325 | PN-NY | 20.2 | 3.09 | 28352.7 | -14176.35 | 1.0581 |  |  | Upper Right (UR) | 228 | PY-NY |  |  | 25117.9 | -12558.95 | 1.1944 |  |  | Upper Right (UR) | 157 |  |  |  | 27691.2 | -13845.6 | 1.0834
|  | Lower Right (LR) | 457 | PY-NY |  |  | 27492.6 | -13746.3 | 1.0912 |  |  | Lower Right (LR) | 438 | PY-NY |  |  | 25521.6 | -12760.8 | 1.1755 |  |  | Lower Right (LR) | 114 |  |  |  | 25538.9 | -12769.45 | 1.1747
| M3 - AOSEM | Upper Left (UL) | 113 | PY-NY |  |  | 26658.3 | -13329.15 | 1.1254 |  | M3 - AOSEM | Upper Left (UL) | 227 | PY-NY |  |  | 28354.2 | -14177.1 | 1.058 |  | M3 - AOSEM | Upper Left (UL) | 138 |  |  |  | 24790.9 | -12395.45 | 1.2101
|  | Lower Left (LL) | 317 | PY-NY |  |  | 25853.3 | -12926.65 | 1.1604 |  |  | Lower Left (LL) | 353 | PY-NY |  |  | 26509.5 | -13254.75 | 1.1317 |  |  | Lower Left (LL) | 165 |  |  |  | 30108.1 | -15054.05 | 0.99641
|  | Upper Right (UR) | 378 | PN-NY | 19.9 | 3.21 | 26637.5 | -13318.75 | 1.1262 |  |  | Upper Right (UR) | 276 | PY-NY |  |  | 27920.9 | -13960.45 | 1.0745 |  |  | Upper Right (UR) | 126 |  |  |  | 26371.6 | -13185.8 | 1.1376
|  | Lower Right (LR) | 196 | PY-NY |  |  | 26148.3 | -13074.15 | 1.1473 |  |  | Lower Right (LR) | 299 | PY-NY |  |  | 28435.2 | -14217.6 | 1.055 |  |  | Lower Right (LR) | 129 |  |  |  | 25052 | -12526 | 1.1975
L1-MC2 | M1 - BOSEM | Top 1 (T1) | 406 |  | 42 | 11.83 | 30307 | -15153.5 | 0.98987 | H1-MC2 | M1 - BOSEM | Top 1 (T1) | 92 |  |  |  | 27702.4 | -13851.2 | 1.0829 | I1-MC2 | M1 - BOSEM | Top 1 (T1) | 70 |  |  |  | 27828.4 | -13914.2 | 1.078
|  | Top 2 (T2) | 596 | X |  |  | 26652 | -13326 | 1.1256 |  |  | Top 2 (T2) | 43 |  |  |  | 22923.7 | -11461.85 | 1.3087 |  |  | Top 2 (T2) | 57 |  |  |  | 30706.5 | -15353.25 | 0.97699
|  | Top 3 (T3) | 273 |  |  |  | 31266 | -15633 | 0.95951 |  |  | Top 3 (T3) | 30 |  |  |  | 28098.7 | -14049.35 | 1.0677 |  |  | Top 3 (T3) | 11 |  |  |  | 30323.2 | -15161.6 | 0.98934
|  | Left (LF) | 221 |  | 43.3 | 11.9 | 30241 | -15120.5 | 0.99203 |  |  | Left (LF) | 23 |  |  |  | 26766.2 | -13383.1 | 1.1208 |  |  | Left (LF) | 65 |  |  |  | 28982.9 | -14491.45 | 1.0351
|  | Right (RT) | 551 |  |  |  | 29842 | -14921 | 1.0053 |  |  | Right (RT) | 86 |  |  |  | 27693.4 | -13846.7 | 1.0833 |  |  | Right (RT) | 29 |  |  |  | 28070.4 | -14035.2 | 1.0687
|  | Side (SD) | 209 |  | 43.8 | 11.9 | 29114 | -14557 | 1.0304 |  |  | Side (SD) | 613 | X |  |  | 30169.8 | -15084.9 | 0.99437 |  |  | Side (SD) | 680 | X |  |  | 27231.3 | -13615.65 | 1.1017
| M2 - AOSEM | Upper Left (UL) | 134 | PY-NY |  |  | 26424 | -13212 | 1.1353 |  | M2 - AOSEM | Upper Left (UL) | 307 | PY-NY |  |  | 24825 | -12412.5 | 1.2085 |  | M2 - AOSEM | Upper Left (UL) | 143 |  |  |  | 26770.3 | -13385.15 | 1.1206
|  | Lower Left (LL) | 283 | PY-NY | 20 | 3.04 | 28967 | -14483.5 | 1.0357 |  |  | Lower Left (LL) | 474 | PY-NY |  |  | 24060 | -12030 | 1.2469 |  |  | Lower Left (LL) | 156 |  |  |  | 26376.8 | -13188.4 | 1.1374
|  | Upper Right (UR) | 367 | PY-NY | 20.1 | 3.08 | 29043 | -14521.5 | 1.033 |  |  | Upper Right (UR) | 439 | PY-NY |  |  | 24304 | -12152 | 1.2344 |  |  | Upper Right (UR) | 493 |  |  |  | 27128.1 | -13564.05 | 1.1059
|  | Lower Right (LR) | 117 | PY-NY |  |  | 25961 | -12980.5 | 1.1556 |  |  | Lower Right (LR) | 305 | PY-NY |  |  | 25954 | -12977 | 1.1559 |  |  | Lower Right (LR) | 273 |  |  |  | 24980.7 | -12490.35 | 1.2009
| M3 - AOSEM | Upper Left (UL) | 496 | PY-NY | 19.5 | 3.19 | 24706 | -12353 | 1.2143 |  | M3 - AOSEM | Upper Left (UL) | 207 | PY-NY |  |  | 24822 | -12411 | 1.2086 |  | M3 - AOSEM | Upper Left (UL) | 481 |  |  |  | 25232.9 | -12616.45 | 1.1889
|  | Lower Left (LL) | 408 | PY-NY |  |  | 29293 | -14646.5 | 1.0241 |  |  | Lower Left (LL) | 311 | PY-NY |  |  | 23630 | -11815 | 1.2696 |  |  | Lower Left (LL) | 260 |  |  |  | 27287.8 | -13643.9 | 1.0994
|  | Upper Right (UR) | 124 | PY-NY |  |  | 28422 | -14211 | 1.0555 |  |  | Upper Right (UR) | 446 | PY-NY |  |  | 26177 | -13088.5 | 1.146 |  |  | Upper Right (UR) | 139 |  |  |  | 25201.6 | -12600.8 | 1.1904
|  | Lower Right (LR) | 135 | PY-NY | 19.6 | 3.22 | 26225 | -13112.5 | 1.1439 |  |  | Lower Right (LR) | 188 | PY-NY |  |  | 16687 | -8343.5 | 1.7978 |  |  | Lower Right (LR) | 328 |  |  |  | 25243.1 | -12621.55 | 1.1884
L1-MC3 | M1 - BOSEM | Top 1 (T1) | 395 |  |  |  | 26205 | -13102.5 | 1.1448 | H1-MC3 | M1 - BOSEM | Top 1 (T1) | 571 |  |  |  | 30360.8 | -15180.4 | 0.98812 | I1-MC3 | M1 - BOSEM | Top 1 (T1) | 488 |  |  |  | 27719.8 | -13859.9 | 1.0823
|  | Top 2 (T2) | 618 | X |  |  | 28545 | -14272.5 | 1.051 |  |  | Top 2 (T2) | 565 |  |  |  | 28718.9 | -14359.45 | 1.0446 |  |  | Top 2 (T2) | 492 |  |  |  | 30461.8 | -15230.9 | 0.98484
|  | Top 3 (T3) | 548 |  |  |  | 25117 | -12558.5 | 1.1944 |  |  | Top 3 (T3) | 312 |  |  |  | 30896.5 | -15448.25 | 0.97098 |  |  | Top 3 (T3) | 498 |  |  |  | 26278.9 | -13139.45 | 1.1416
|  | Left (LF) | 218 |  |  |  | 29979 | -14989.5 | 1.0007 |  |  | Left (LF) | 74 |  |  |  | 27143.9 | -13571.95 | 1.1052 |  |  | Left (LF) | 505 |  |  |  | 26470.7 | -13235.35 | 1.1333
|  | Right (RT) | 404 |  |  |  | 30305 | -15152.5 | 0.98994 |  |  | Right (RT) | 313 |  |  |  | 30112.7 | -15056.35 | 0.99626 |  |  | Right (RT) | 506 |  |  |  | 29147.7 | -14573.85 | 1.0292
|  | Side (SD) | 536 |  |  |  | 32105 | -16052.5 | 0.93443 |  |  | Side (SD) | 694 | X |  |  | 25573.4 | -12786.7 | 1.1731 |  |  | Side (SD) | 623 | X |  |  | 24190.6 | -12095.3 | 1.2402
| M2 - AOSEM | Upper Left (UL) | 327 | PY-NY |  |  | 26867.3 | -13433.65 | 1.1166 |  | M2 - AOSEM | Upper Left (UL) | 252 |  |  |  | 27239.3 | -13619.65 | 1.1013 |  | M2 - AOSEM | Upper Left (UL) | 147 |  |  |  | 27907.1 | -13953.55 | 1.075
|  | Lower Left (LL) | 602 | PY-NY |  |  | 25442.8 | -12721.4 | 1.1791 |  |  | Lower Left (LL) | 412 |  |  |  | 27451.2 | -13725.6 | 1.0928 |  |  | Lower Left (LL) | 163 |  |  |  | 26988.8 | -13494.4 | 1.1116
|  | Upper Right (UR) | 243 | PY-NY |  |  | 26222.2 | -13111.1 | 1.1441 |  |  | Upper Right (UR) | 205 |  |  |  | 25912.8 | -12956.4 | 1.1577 |  |  | Upper Right (UR) | 122 |  |  |  | 25236.6 | -12618.3 | 1.1887
|  | Lower Right (LR) | 217 | PY-NY |  |  | 26557 | -13278.5 | 1.1296 |  |  | Lower Right (LR) | 284 |  |  |  | 25128.2 | -12564.1 | 1.1939 |  |  | Lower Right (LR) | 178 |  |  |  | 26845.4 | -13422.7 | 1.1175
| M3 - AOSEM | Upper Left (UL) | 431 | PY-NY |  |  | 23980.5 | -11990.25 | 1.251 |  | M3 - AOSEM | Upper Left (UL) | 308 |  |  |  | 26301.3 | -13150.65 | 1.1406 |  | M3 - AOSEM | Upper Left (UL) | 169 |  |  |  | 25825.2 | -12912.6 | 1.1617
|  | Lower Left (LL) | 342 | PY-NY |  |  | 25861.9 | -12930.95 | 1.16 |  |  | Lower Left (LL) | 290 |  |  |  | 27520 | -13760 | 1.0901 |  |  | Lower Left (LL) | 167 |  |  |  | 28041.9 | -14020.95 | 1.0698
|  | Upper Right (UR) | 346 | PY-NY |  |  | 23755.6 | -11877.8 | 1.2629 |  |  | Upper Right (UR) | 162 |  |  |  | 25461.7 | -12730.85 | 1.1782 |  |  | Upper Right (UR) | 166 |  |  |  | 26546.7 | -13273.35 | 1.1301
|  | Lower Right (LR) | 373 | PY-NY |  |  | 25964.7 | -12982.35 | 1.1554 |  |  | Lower Right (LR) | 185 |  |  |  | 26232.7 | -13116.35 | 1.1436 |  |  | Lower Right (LR) | 125 |  |  |  | 26233.8 | -13116.9 | 1.1436
L1-PRM | M1 - BOSEM | Top 1 (T1) | 547 |  |  |  | 27156 | -13578 | 1.1047 | H1-PRM | M1 - BOSEM | Top 1 (T1) | 569 |  |  |  | 25291.2 | -12645.6 | 1.1862 | I1-PRM | M1 - BOSEM | Top 1 (T1) | 81 |  |  |  | 31280.1 | -15640.05 | 0.95908
|  | Top 2 (T2) | 598 | X |  |  | 31854 | -15927 | 0.9418 |  |  | Top 2 (T2) | 12 |  |  |  | 28022.7 | -14011.35 | 1.0706 |  |  | Top 2 (T2) | 309 |  |  |  | 28738.7 | -14369.35 | 1.0439
|  | Top 3 (T3) | 400 |  |  |  | 31403 | -15701.5 | 0.95532 |  |  | Top 3 (T3) | 40 |  |  |  | 27251.7 | -13625.85 | 1.1008 |  |  | Top 3 (T3) | 162 |  |  |  | 28471.7 | -14235.85 | 1.0537
|  | Left (LF) | 557 |  |  |  | 28352 | -14176 | 1.0581 |  |  | Left (LF) | 66 |  |  |  | 28020.2 | -14010.1 | 1.0707 |  |  | Left (LF) | 54 |  |  |  | 30398.5 | -15199.25 | 0.98689
|  | Right (RT) | 226 |  |  |  | 26037 | -13018.5 | 1.1522 |  |  | Right (RT) | 14 |  |  |  | 30290.4 | -15145.2 | 0.99041 |  |  | Right (RT) | 105 |  |  |  | 30157.9 | -15078.95 | 0.99476
|  | Side (SD) | 411 |  |  |  | 30530 | -15265 | 0.98264 |  |  | Side (SD) | 614 | X |  |  | 27229.7 | -13614.85 | 1.1017 |  |  | Side (SD) | 632 | X |  |  | 30377.4 | -15188.7 | 0.98758
| M2 - AOSEM | Upper Left (UL) | 490 | PY-NY |  |  | 25160 | -12580 | 1.1924 |  | M2 - AOSEM | Upper Left (UL) | 233 |  |  |  | 25221 | -12610.5 | 1.1895 |  | M2 - AOSEM | Upper Left (UL) | 175 |  |  |  | 26160.5 | -13080.25 | 1.1468
|  | Lower Left (LL) | 296 | PY-NY |  |  | 28730 | -14365 | 1.0442 |  |  | Lower Left (LL) | 485 |  |  |  | 26504.6 | -13252.3 | 1.1319 |  |  | Lower Left (LL) | 142 |  |  |  | 25702.3 | -12851.15 | 1.1672
|  | Upper Right (UR) | 257 | PY-NY |  |  | 24997 | -12498.5 | 1.2001 |  |  | Upper Right (UR) | 495 |  |  |  | 26713 | -13356.5 | 1.123 |  |  | Upper Right (UR) | 168 |  |  |  | 27877.1 | -13938.55 | 1.0762
|  | Lower Right (LR) | 278 | PY-NY |  |  | 23562 | -11781 | 1.2732 |  |  | Lower Right (LR) | 268 |  |  |  | 26766.5 | -13383.25 | 1.1208 |  |  | Lower Right (LR) | 127 |  |  |  | 26789.9 | -13394.95 | 1.1198
| M3 - AOSEM | Upper Left (UL) | 464 | PY-NY |  |  | 24360 | -12180 | 1.2315 |  | M3 - AOSEM | Upper Left (UL) | 246 |  |  |  | 25851 | -12925.5 | 1.1605 |  | M3 - AOSEM | Upper Left (UL) | 423 |  |  |  | 25865.7 | -12932.85 | 1.1598
|  | Lower Left (LL) | 226 | PY-NY |  |  | 28348 | -14174 | 1.0583 |  |  | Lower Left (LL) | 208 |  |  |  | 25623.2 | -12811.6 | 1.1708 |  |  | Lower Left (LL) | 119 |  |  |  | 27218 | -13609 | 1.1022
|  | Upper Right (UR) | 280 | PY-NY |  |  | 27465 | -13732.5 | 1.0923 |  |  | Upper Right (UR) | 300 |  |  |  | 27786.9 | -13893.45 | 1.0796 |  |  | Upper Right (UR) | 121 |  |  |  | 26020.9 | -13010.45 | 1.1529
|  | Lower Right (LR) | 360 | PY-NY |  |  | 27109 | -13554.5 | 1.1066 |  |  | Lower Right (LR) | 314 |  |  |  | 26341.7 | -13170.85 | 1.1389 |  |  | Lower Right (LR) | 182 |  |  |  | 25015.5 | -12507.75 | 1.1993
L1-PR2 | M1 - BOSEM | Top 1 (T1) | 408 |  | 42.2 | 11.89 | 27793 | -13896.5 | 1.0794 | H1-PR2 | M1 - BOSEM | Top 1 (T1) | 48 |  |  |  | 30234.4 | -15117.2 | 0.99225 | I1-PR2 | M1 - BOSEM | Top 1 (T1) | 412 |  |  |  | 25940 | -12970 | 1.1565
|  | Top 2 (T2) | 594 | X |  |  | 27637 | -13818.5 | 1.0855 |  |  | Top 2 (T2) | 97 |  |  |  | 28169 | -14084.5 | 1.065 |  |  | Top 2 (T2) | 413 |  |  |  | 28324 | -14162 | 1.0592
|  | Top 3 (T3) | 554 |  | 42.6 | 11.9 | 26482 | -13241 | 1.1328 |  |  | Top 3 (T3) | 60 |  |  |  | 28338 | -14169 | 1.0586 |  |  | Top 3 (T3) | 478 |  |  |  | 31125.7 | -15562.85 | 0.96383
|  | Left (LF) | 383 |  |  |  | 28906 | -14453 | 1.0378 |  |  | Left (LF) | 51 |  |  |  | 29158.1 | -14579.05 | 1.0289 |  |  | Left (LF) | 500 |  |  |  | 26572.2 | -13286.1 | 1.129
|  | Right (RT) | 549 |  |  |  | 25798 | -12899 | 1.1629 |  |  | Right (RT) | 87 |  |  |  | 31048.1 | -15524.05 | 0.96624 |  |  | Right (RT) | 508 |  |  |  | 27334.9 | -13667.45 | 1.0975
|  | Side (SD) | 556 |  | 42.1 | 11.92 | 26370 | -13185 | 1.1377 |  |  | Side (SD) | 653 | X |  |  | 27322.5 | -13661.25 | 1.098 |  |  | Side (SD) | 629 | X |  |  | 29323.7 | -14661.85 | 1.0231
| M2 - AOSEM | Upper Left (UL) | 241 | PY-NY |  |  | 27209 | -13604.5 | 1.1026 |  | M2 - AOSEM | Upper Left (UL) | 245 | PY-NY |  |  | 26789 | -13394.5 | 1.1199 |  | M2 - AOSEM | Upper Left (UL) | 137 |  |  |  | 26945.2 | -13472.6 | 1.1134
|  | Lower Left (LL) | 405 | PY-NY | 20.2 | 3.11 | 28824 | -14412 | 1.0408 |  |  | Lower Left (LL) | 238 | PY-NY |  |  | 29938.6 | -14969.3 | 1.0021 |  |  | Lower Left (LL) | 118 |  |  |  | 25280.1 | -12640.05 | 1.1867
|  | Upper Right (UR) | 456 | PY-NY | 20.1 | 3.13 | 27080 | -13540 | 1.1078 |  |  | Upper Right (UR) | 221 | PY-NY |  |  | 26124.4 | -13062.2 | 1.1484 |  |  | Upper Right (UR) | 414 |  |  |  | 26952.8 | -13476.4 | 1.1131
|  | Lower Right (LR) | 159 | PY-NY |  |  | 26590 | -13295 | 1.1282 |  |  | Lower Right (LR) | 234 | PY-NY |  |  | 25651.2 | -12825.6 | 1.1695 |  |  | Lower Right (LR) | 173 |  |  |  | 25271.8 | -12635.9 | 1.1871
| M3 - AOSEM | Upper Left (UL) | 409 | PN-NY | 19.7 | 3.24 | 27227 | -13613.5 | 1.1018 |  | M3 - AOSEM | Upper Left (UL) | 242 | PY-NY |  |  | 24033.7 | -12016.85 | 1.2482 |  | M3 - AOSEM | Upper Left (UL) | 202 |  |  |  | 26195 | -13097.5 | 1.1453
|  | Lower Left (LL) | 467 | PY-NY |  |  | 26424 | -13212 | 1.1353 |  |  | Lower Left (LL) | 215 | PY-NY |  |  | 25365 | -12682.5 | 1.1827 |  |  | Lower Left (LL) | 144 |  |  |  | 26546.5 | -13273.25 | 1.1301
|  | Upper Right (UR) | 604 | PY-NY |  |  | 29510 | -14755 | 1.0166 |  |  | Upper Right (UR) | 401 | PY-NY |  |  | 27214.8 | -13607.4 | 1.1023 |  |  | Upper Right (UR) | 181 |  |  |  | 28736.5 | -14368.25 | 1.044
|  | Lower Right (LR) | 265 | PY-NY | 19.5 | 3.25 | 29090 | -14545 | 1.0313 |  |  | Lower Right (LR) | 195 | PY-NY |  |  | 25800.2 | -12900.1 | 1.1628 |  |  | Lower Right (LR) | 172 |  |  |  | 28397.8 | -14198.9 | 1.0564
L1-SRM | M1 - BOSEM | Top 1 (T1) | 357 |  |  |  | 25872 | -12936 | 1.1596 | H1-SRM | M1 - BOSEM | Top 1 (T1) | 644 |  |  |  | 27421 | -13710.5 | 1.0941 | I1-SRM | M1 - BOSEM | Top 1 (T1) | 38 |  |  |  | 26396.2 | -13198.1 | 1.1365
|  | Top 2 (T2) | 621 | X |  |  | 28886 | -14443 | 1.0386 |  |  | Top 2 (T2) | 642 |  |  |  | 25821 | -12910.5 | 1.1618 |  |  | Top 2 (T2) | 59 |  |  |  | 29834.9 | -14917.45 | 1.0055
|  | Top 3 (T3) | 333 |  |  |  | 24751 | -12375.5 | 1.2121 |  |  | Top 3 (T3) | 431 |  |  |  | 29178 | -14589 | 1.0282 |  |  | Top 3 (T3) | 153 |  |  |  | 28856.9 | -14428.45 | 1.0396
|  | Left (LF) | 343 |  |  |  | 25683 | -12841.5 | 1.1681 |  |  | Left (LF) | 419 |  |  |  | 28371 | -14185.5 | 1.0574 |  |  | Left (LF) | 277 |  |  |  | 29027.6 | -14513.8 | 1.0335
|  | Right (RT) | 371 |  |  |  | 26140 | -13070 | 1.1477 |  |  | Right (RT) | 432 |  |  |  | 26593 | -13296.5 | 1.1281 |  |  | Right (RT) | 287 |  |  |  | 28343.8 | -14171.9 | 1.0584
|  | Side (SD) | 326 |  |  |  | 26539 | -13269.5 | 1.1304 |  |  | Side (SD) | 685 | X |  |  | 26239 | -13119.5 | 1.1433 |  |  | Side (SD) | 566 | X |  |  | 27429.2 | -13714.6 | 1.0937
| M2 - AOSEM | Upper Left (UL) | 340 |  |  |  | 25196 | -12598 | 1.1907 |  | M2 - AOSEM | Upper Left (UL) | 334 |  |  |  | 28808 | -14404 | 1.0414 |  | M2 - AOSEM | Upper Left (UL) | 133 |  |  |  | 24533.5 | -12266.75 | 1.2228
|  | Lower Left (LL) | 223 |  |  |  | 24166 | -12083 | 1.2414 |  |  | Lower Left (LL) | 341 |  |  |  | 26899 | -13449.5 | 1.1153 |  |  | Lower Left (LL) | 266 |  |  |  | 25324.5 | -12662.25 | 1.1846
|  | Upper Right (UR) | 272 |  |  |  | 26129 | -13064.5 | 1.1481 |  |  | Upper Right (UR) | 343 |  |  |  | 28198 | -14099 | 1.0639 |  |  | Upper Right (UR) | 123 |  |  |  | 26265.7 | -13132.85 | 1.1422
|  | Lower Right (LR) | 193 |  |  |  | 26807 | -13403.5 | 1.1191 |  |  | Lower Right (LR) | 383 |  |  |  | 25501 | -12750.5 | 1.1764 |  |  | Lower Right (LR) | 161 |  |  |  | 26036.6 | -13018.3 | 1.1522
| M3 - AOSEM | Upper Left (UL) | 120 |  |  |  | 24866 | -12433 | 1.2065 |  | M3 - AOSEM | Upper Left (UL) | 425 |  |  |  | 27664 | -13832 | 1.0844 |  | M3 - AOSEM | Upper Left (UL) | 455 |  |  |  | 27091.6 | -13545.8 | 1.1074
|  | Lower Left (LL) | 352 |  |  |  | 24570 | -12285 | 1.221 |  |  | Lower Left (LL) | 349 |  |  |  | 28342 | -14171 | 1.0585 |  |  | Lower Left (LL) | 131 |  |  |  | 27768.8 | -13884.4 | 1.0803
|  | Upper Right (UR) | 476 |  |  |  | 22098 | -11049 | 1.3576 |  |  | Upper Right (UR) | 323 |  |  |  | 26913 | -13456.5 | 1.1147 |  |  | Upper Right (UR) | 164 |  |  |  | 25567 | -12783.5 | 1.1734
|  | Lower Right (LR) | 333 |  |  |  | 27868 | -13934 | 1.0765 |  |  | Lower Right (LR) | 466 |  |  |  | 25444 | -12722 | 1.1791 |  |  | Lower Right (LR) | 171 |  |  |  | 25923.5 | -12961.75 | 1.1573
L1-SR2 | M1 - BOSEM | Top 1 (T1) | 394 |  |  |  | 26772 | -13386 | 1.1206 | H1-SR2 | M1 - BOSEM | Top 1 (T1) | 76 |  |  |  | 25373 | -12686.5 | 1.1824 | I1-SR2 | M1 - BOSEM | Top 1 (T1) | 62 |  |  |  | 30991 | -15495.5 | 0.96802
|  | Top 2 (T2) | 610 | X |  |  | 27545 | -13772.5 | 1.0891 |  |  | Top 2 (T2) | 423 |  |  |  | 26012 | -13006 | 1.1533 |  |  | Top 2 (T2) | 272 |  |  |  | 24826.8 | -12413.4 | 1.2084
|  | Top 3 (T3) | 399 |  |  |  | 26136 | -13068 | 1.1478 |  |  | Top 3 (T3) | 646 |  |  |  | 24840 | -12420 | 1.2077 |  |  | Top 3 (T3) | 286 |  |  |  | 29801.2 | -14900.6 | 1.0067
|  | Left (LF) | 382 |  |  |  | 26110 | -13055 | 1.149 |  |  | Left (LF) | 150 |  |  |  | 30482 | -15241 | 0.98419 |  |  | Left (LF) | 304 |  |  |  | 29092.1 | -14546.05 | 1.0312
|  | Right (RT) | 397 |  |  |  | 28531 | -14265.5 | 1.0515 |  |  | Right (RT) | 98 |  |  |  | 24731 | -12365.5 | 1.2131 |  |  | Right (RT) | 307 |  |  |  | 28284.7 | -14142.35 | 1.0606
|  | Side (SD) | 405 |  |  |  | 29859 | -14929.5 | 1.0047 |  |  | Side (SD) | 668 | X |  |  | 25027 | -12513.5 | 1.1987 |  |  | Side (SD) | 651 | X |  |  | 25362.5 | -12681.25 | 1.1828
| M2 - AOSEM | Upper Left (UL) | 140 | PY-NY |  |  | 23639 | -11819.5 | 1.2691 |  | M2 - AOSEM | Upper Left (UL) | 232 |  |  |  | 24112 | -12056 | 1.2442 |  | M2 - AOSEM | Upper Left (UL) | 149 |  |  |  | 27430.2 | -13715.1 | 1.0937
|  | Lower Left (LL) | 294 | PY-NY |  |  | 23174 | -11587 | 1.2946 |  |  | Lower Left (LL) | 213 |  |  |  | 26045 | -13022.5 | 1.1519 |  |  | Lower Left (LL) | 141 |  |  |  | 31448.1 | -15724.05 | 0.95395
|  | Upper Right (UR) | 372 | PY-NY |  |  | 22916 | -11458 | 1.3091 |  |  | Upper Right (UR) | 279 |  |  |  | 23920 | -11960 | 1.2542 |  |  | Upper Right (UR) | 158 |  |  |  | 25698.8 | -12849.4 | 1.1674
|  | Lower Right (LR) | 190 | PY-NY |  |  | 22846 | -11423 | 1.3131 |  |  | Lower Right (LR) | 366 |  |  |  | 25085 | -12542.5 | 1.1959 |  |  | Lower Right (LR) | 259 |  |  |  | 24949.5 | -12474.75 | 1.2024
| M3 - AOSEM | Upper Left (UL) | 354 | PY-NY |  |  | 23431 | -11715.5 | 1.2804 |  | M3 - AOSEM | Upper Left (UL) | 312 |  |  |  | 24821 | -12410.5 | 1.2087 |  | M3 - AOSEM | Upper Left (UL) | 198 |  |  |  | 27541.6 | -13770.8 | 1.0893
|  | Lower Left (LL) | 451 | PY-NN |  |  | 24650 | -12325 | 1.217 |  |  | Lower Left (LL) | 424 |  |  |  | 24674 | -12337 | 1.2159 |  |  | Lower Left (LL) | 136 |  |  |  | 25554.1 | -12777.05 | 1.174
|  | Upper Right (UR) | 437 | PY-NY |  |  | 29188 | -14594 | 1.0278 |  |  | Upper Right (UR) | 285 |  |  |  | 23869 | -11934.5 | 1.2569 |  |  | Upper Right (UR) | 180 |  |  |  | 28374.7 | -14187.35 | 1.0573
|  | Lower Right (LR) | 606 | PY-NN |  |  | 25618 | -12809 | 1.1711 |  |  | Lower Right (LR) | 304 |  |  |  | 23932 | -11966 | 1.2536 |  |  | Lower Right (LR) | 170 |  |  |  | 24631.6 | -12315.8 | 1.2179

## OMC
Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. [mH] | Open Light Value [counts] | Offset [counts] | Gain
L1-OMC | M1 - BOSEM | Top 1 (T1) | 329 |  |  |  | 23102 | -11551 | 1.2986
|  | Top 2 (T2) | 609 | X |  |  | 22698 | -11349 | 1.3217
|  | Top 3 (T3) | 330 |  |  |  | 22760 | -11380 | 1.3181
|  | Left (LF) | 349 |  |  |  | 23291 | -11645.5 | 1.2881
|  | Right (RT) | 366 |  |  |  | 22740 | -11370 | 1.3193
|  | Side (SD) | 369 |  |  |  | 23330 | -11665 | 1.2859
H1-OMC | M1 - BOSEM | Top 1 (T1) | 146 |  |  |  | 20997 | -10498.5 | 1.4288
|  | Top 2 (T2) | 308 |  |  |  | 21195 | -10597.5 | 1.4154
|  | Top 3 (T3) | 156 |  |  |  | 23620 | -11810 | 1.2701
|  | Left (LF) | 561 |  |  |  | 22733 | -11366.5 | 1.3197
|  | Right (RT) | 503 |  |  |  | 21724 | -10862 | 1.381
|  | Side (SD) | 573 | X |  |  | 22193 | -11096.5 | 1.3518
I1-OMC | M1 - BOSEM | Top 1 (T1) | 587 |  |  |  | 23491.8 | -11745.9 | 1.277
|  | Top 2 (T2) | 437 |  |  |  | 22756.8 | -11378.4 | 1.3183
|  | Top 3 (T3) | 420 |  |  |  | 23666.5 | -11833.25 | 1.2676
|  | Left (LF) | 93 |  |  |  | 22213 | -11106.5 | 1.3506
|  | Right (RT) | 41 |  |  |  | 23817.9 | -11908.95 | 1.2596
|  | Side (SD) | 582 | X |  |  | 22697.4 | -11348.7 | 1.3217

## TMTS
Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. [mH] | Open Light Value [counts] | Offset [counts] | Gain
L1-TMSX | M1 - BOSEM | Face 1 (F1) | 691 | X |  |  | 26243.4 | -13121.7 | 1.1431
|  | Face 2 (F2) | 517 |  |  |  | 22632.8 | -11316.4 | 1.3255
|  | Face 3 (F3) | 659 | X |  |  | 28289.9 | -14144.95 | 1.0604
|  | Left (LF) | 522 |  |  |  | 22671.6 | -11335.8 | 1.3232
|  | Right (RT) | 655 | X |  |  | 25339.8 | -12669.9 | 1.1839
|  | Side (SD) | 665 | X |  |  | 29658.6 | -14829.3 | 1.0115
L1-TMSY | M1 - BOSEM | Face 1 (F1) | 682 | X |  |  | 23102 | -11551 | 1.2986
|  | Face 2 (F2) | 663 | X |  |  | 25032 | -12516 | 1.1985
|  | Face 3 (F3) | 220 |  |  |  | 23119 | -11559.5 | 1.2976
|  | Left (LF) | 215 |  |  |  | 23452 | -11726 | 1.2792
|  | Right (RT) | 391 |  |  |  | 23164 | -11582 | 1.2951
|  | Side (SD) | 537 |  |  |  | 23177 | -11588.5 | 1.2944
H1-TMSX | M1 - BOSEM | Face 1 (F1) | [5 empty] | 0 | #DIV/0!
|  | Face 2 (F2) | [5 empty] | 0 | #DIV/0!
|  | Face 3 (F3) | [5 empty] | 0 | #DIV/0!
|  | Left (LF) | [5 empty] | 0 | #DIV/0!
|  | Right (RT) | [5 empty] | 0 | #DIV/0!
|  | Side (SD) | [5 empty] | 0 | #DIV/0!
H1-TMSY | M1 - BOSEM | Face 1 (F1) | [5 empty] | 0 | #DIV/0!
|  | Face 2 (F2) | [5 empty] | 0 | #DIV/0!
|  | Face 3 (F3) | [5 empty] | 0 | #DIV/0!
|  | Left (LF) | [5 empty] | 0 | #DIV/0!
|  | Right (RT) | [5 empty] | 0 | #DIV/0!
|  | Side (SD) | [5 empty] | 0 | #DIV/0!
I1-TMSX | M1 - BOSEM | Face 1 (F1) | [5 empty] | 0 | #DIV/0!
|  | Face 2 (F2) | [5 empty] | 0 | #DIV/0!
|  | Face 3 (F3) | [5 empty] | 0 | #DIV/0!
|  | Left (LF) | [5 empty] | 0 | #DIV/0!
|  | Right (RT) | [5 empty] | 0 | #DIV/0!
|  | Side (SD) | [5 empty] | 0 | #DIV/0!
I1-TMSY | M1 - BOSEM | Face 1 (F1) | [5 empty] | 0 | #DIV/0!
|  | Face 2 (F2) | [5 empty] | 0 | #DIV/0!
|  | Face 3 (F3) | [5 empty] | 0 | #DIV/0!
|  | Left (LF) | [5 empty] | 0 | #DIV/0!
|  | Right (RT) | [5 empty] | 0 | #DIV/0!
|  | Side (SD) | [5 empty] | 0 | #DIV/0!

## HAUX
Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. [mH] | Open Light Value [counts] | Offset [counts] | Gain | Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. [mH] | Open Light Value [counts] | Offset [counts] | Gain | Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. (Ω) | Coil Ind. (mH) | Open Light Value [counts] | Offset [counts] | Gain
L1 | M1 - AOSEM | Upper Left (UL) | 477 | PY-NY |  |  |  | 0 | #DIV/0! | H1 | M1 - AOSEM | Upper Left (UL) | [5 empty] | 0 | #DIV/0! | I1 | M1 - AOSEM | Upper Left (UL) | [5 empty] | 0 | #DIV/0!
S/N 001 |  | Lower Left (LL) | 429 | PN-NY |  |  |  | 0 | #DIV/0! | S/N 001 |  | Lower Left (LL) | [5 empty] | 0 | #DIV/0! | S/N 001 |  | Lower Left (LL) | [5 empty] | 0 | #DIV/0!
SM1 |  | Upper Right (UR) | 418 | PY-NY |  |  |  | 0 | #DIV/0! | SM1 |  | Upper Right (UR) | [5 empty] | 0 | #DIV/0! | SM1 |  | Upper Right (UR) | [5 empty] | 0 | #DIV/0!
IM1 |  | Lower Right (LR) | 247 | PY-NY |  |  |  | 0 | #DIV/0! | IM1 |  | Lower Right (LR) | [5 empty] | 0 | #DIV/0! | IM1 |  | Lower Right (LR) | [5 empty] | 0 | #DIV/0!
L1 | M1 - AOSEM | Upper Left (UL) | 274 | PY-NY |  |  |  | 0 | #DIV/0! | H1 | M1 - AOSEM | Upper Left (UL) | [5 empty] | 0 | #DIV/0! | I1 | M1 - AOSEM | Upper Left (UL) | [5 empty] | 0 | #DIV/0!
S/N 002 |  | Lower Left (LL) | 479 | PY-NY |  |  |  | 0 | #DIV/0! | S/N 002 |  | Lower Left (LL) | [5 empty] | 0 | #DIV/0! | S/N 002 |  | Lower Left (LL) | [5 empty] | 0 | #DIV/0!
SM2 |  | Upper Right (UR) | 255 | PY-NY |  |  |  | 0 | #DIV/0! | SM2 |  | Upper Right (UR) | [5 empty] | 0 | #DIV/0! | SM2 |  | Upper Right (UR) | [5 empty] | 0 | #DIV/0!
IM4 |  | Lower Right (LR) | 448 | PY-NY |  |  |  | 0 | #DIV/0! | IM4 |  | Lower Right (LR) | [5 empty] | 0 | #DIV/0! | IM4 |  | Lower Right (LR) | [5 empty] | 0 | #DIV/0!
L1 | M1 - AOSEM | Upper Left (UL) | 329 | PY-NY |  |  |  | 0 | #DIV/0! | H1 | M1 - AOSEM | Upper Left (UL) | [5 empty] | 0 | #DIV/0! | I1 | M1 - AOSEM | Upper Left (UL) | [5 empty] | 0 | #DIV/0!
S/N 003 |  | Lower Left (LL) | 603 | PY-NY |  |  |  | 0 | #DIV/0! | S/N 003 |  | Lower Left (LL) | [5 empty] | 0 | #DIV/0! | S/N 003 |  | Lower Left (LL) | [5 empty] | 0 | #DIV/0!
PMMT1 |  | Upper Right (UR) | 469 | PY-NY |  |  |  | 0 | #DIV/0! | PMMT1 |  | Upper Right (UR) | [5 empty] | 0 | #DIV/0! | PMMT1 |  | Upper Right (UR) | [5 empty] | 0 | #DIV/0!
IM2 |  | Lower Right (LR) | 315 | PY-NY |  |  |  | 0 | #DIV/0! | IM2 |  | Lower Right (LR) | [5 empty] | 0 | #DIV/0! | IM2 |  | Lower Right (LR) | [5 empty] | 0 | #DIV/0!
L1 | M1 - AOSEM | Upper Left (UL) | 435 | PY-NY |  |  |  | 0 | #DIV/0! | H1 | M1 - AOSEM | Upper Left (UL) | [5 empty] | 0 | #DIV/0! | I1 | M1 - AOSEM | Upper Left (UL) | [5 empty] | 0 | #DIV/0!
S/N 004 |  | Lower Left (LL) | 297 | PY-NY |  |  |  | 0 | #DIV/0! | S/N 004 |  | Lower Left (LL) | [5 empty] | 0 | #DIV/0! | S/N 004 |  | Lower Left (LL) | [5 empty] | 0 | #DIV/0!
PMMT2 |  | Upper Right (UR) | 462 | PY-NY |  |  |  | 0 | #DIV/0! | PMMT2 |  | Upper Right (UR) | [5 empty] | 0 | #DIV/0! | PMMT2 |  | Upper Right (UR) | [5 empty] | 0 | #DIV/0!
IM3 |  | Lower Right (LR) | 415 | PY-NY |  |  |  | 0 | #DIV/0! | IM3 |  | Lower Right (LR) | [5 empty] | 0 | #DIV/0! | IM3 |  | Lower Right (LR) | [5 empty] | 0 | #DIV/0!

## TipTilt
Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. [mH] | Open Light Value [counts] | Offset [counts] | Gain | Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. [mH] | Open Light Value [counts] | Offset [counts] | Gain | Suspension | Stage/Type | Location | Serial Number | Fully Charact. | Coil Res. [Ω] | Coil Ind. [mH] | Open Light Value [counts] | Offset [counts] | Gain
L1 | M1 - BOSEM | Upper Left (UL) | 173 |  |  |  | 32010 | -16005 | 0.93721 | H1 | M1 - BOSEM |  | 161 |  |  |  |  | 0 | #DIV/0! | I1 | M1 - BOSEM | [6 empty] | 0 | #DIV/0!
S/N 023 |  | Lower Left (LL) | 179 |  |  |  | 27000 | -13500 | 1.1111 | S/N 24 |  |  | 240 |  |  |  |  | 0 | #DIV/0! | [8 empty] | 0 | #DIV/0!
HAM1 |  | Upper Right (UR) | 126 |  |  |  | 27680 | -13840 | 1.0838 | HAM1 |  |  | 243 |  |  |  |  | 0 | #DIV/0! | [8 empty] | 0 | #DIV/0!
RM1 |  | Lower Right (LR) | 121 |  |  |  | 29300 | -14650 | 1.0239 | RM1 |  |  | 279 |  |  |  |  | 0 | #DIV/0! | [8 empty] | 0 | #DIV/0!
L1 | M1 - BOSEM | Upper Left (UL) | 247 |  |  |  | 28400 | -14200 | 1.0563 | H1 | M1 - BOSEM |  | 104 |  |  |  |  | 0 | #DIV/0! | I1 | M1 - BOSEM | [6 empty] | 0 | #DIV/0!
S/N 005 |  | Lower Left (LL) | 191 |  |  |  | 26300 | -13150 | 1.1407 | S/N 22 |  |  | 107 |  |  |  |  | 0 | #DIV/0! | [8 empty] | 0 | #DIV/0!
HAM1 |  | Upper Right (UR) | 299 |  |  |  | 22400 | -11200 | 1.3393 | HAM1 |  |  | 122 |  |  |  |  | 0 | #DIV/0! | [8 empty] | 0 | #DIV/0!
RM2 |  | Lower Right (LR) | 148 |  |  |  | 31834 | -15917 | 0.94239 | RM2 |  |  | 130 |  |  |  |  | 0 | #DIV/0! | [8 empty] | 0 | #DIV/0!
L1 | M1 - BOSEM | Upper Left (UL) | 185 |  |  |  | 32768 | -16384 | 0.91553 | H1 | M1 - BOSEM |  | 143 |  |  |  |  | 0 | #DIV/0! | I1 | M1 - BOSEM | [6 empty] | 0 | #DIV/0!
S/N 010 |  | Lower Left (LL) | 188 |  |  |  | 32650 | -16325 | 0.91884 | S/N 02 |  |  | 241 |  |  |  |  | 0 | #DIV/0! | [8 empty] | 0 | #DIV/0!
HAM6 |  | Upper Right (UR) | 151 |  |  |  | 31600 | -15800 | 0.94937 | HAM6 |  |  | 242 |  |  |  |  | 0 | #DIV/0! | [8 empty] | 0 | #DIV/0!
OM1 |  | Lower Right (LR) | 155 |  |  |  | 24050 | -12025 | 1.2474 | OM1 |  |  | 246 |  |  |  |  | 0 | #DIV/0! | [8 empty] | 0 | #DIV/0!
L1 | M1 - BOSEM | Upper Left (UL) | 230 |  |  |  | 25300 | -12650 | 1.1858 | H1 | M1 - BOSEM |  | 134 |  |  |  |  | 0 | #DIV/0! | I1 | M1 - BOSEM | [6 empty] | 0 | #DIV/0!
S/N 031 |  | Lower Left (LL) | 295 |  |  |  | 32768 | -16384 | 0.91553 | S/N 04 |  |  | 201 |  |  |  |  | 0 | #DIV/0! | [8 empty] | 0 | #DIV/0!
HAM6 |  | Upper Right (UR) | 257 |  |  |  | 32768 | -16384 | 0.91553 | HAM6 |  |  | 269 |  |  |  |  | 0 | #DIV/0! | [8 empty] | 0 | #DIV/0!
OM2 |  | Lower Right (LR) | 145 |  |  |  | 29000 | -14500 | 1.0345 |  |  |  | 282 |  |  |  |  | 0 | #DIV/0! | [8 empty] | 0 | #DIV/0!
L1 | M1 - BOSEM | Upper Left (UL) | 231 |  |  |  | 32768 | -16384 | 0.91553 | H1 | M1 - BOSEM |  | 131 |  |  |  |  | 0 | #DIV/0! | I1 | M1 - BOSEM | [6 empty] | 0 | #DIV/0!
S/N 011 |  | Lower Left (LL) | 239 |  |  |  | 32768 | -16384 | 0.91553 | S/N 33 |  |  | 158 |  |  |  |  | 0 | #DIV/0! | [8 empty] | 0 | #DIV/0!
HAM6 |  | Upper Right (UR) | 165 |  |  |  | 31800 | -15900 | 0.9434 | HAM6 |  |  | 168 |  |  |  |  | 0 | #DIV/0! | [8 empty] | 0 | #DIV/0!
OM3 |  | Lower Right (LR) | 249 |  |  |  | 32768 | -16384 | 0.91553 |  |  |  | 237 |  |  |  |  | 0 | #DIV/0! | [8 empty] | 0 | #DIV/0!
ASSY - D1001396 |  | S/N | BOSEM S/N |  |  | S/N | BOSEM S/N
| LHO | 01 | 100 |  | LLO | 03 | 121
|  |  | 162 |  |  |  | 126
|  |  | 170 |  |  |  | 179
|  |  | 197 |  |  |  | 191
|  | 06 | 253 |  | 40m as TT2 | 18 | 125
|  |  | 260 |  |  |  | 137
|  |  | 262 |  |  |  | 192
|  |  | 281 |  |  |  | 254
|  | 07 | 103 |  | LHO | 19 | no OSEMs
|  |  | 109 |  | 40m | 28 | 119
|  |  | 181 |  |  |  | 129
|  |  | 183 |  |  |  | 178
|  | 08 | 149 |  |  |  | 196
252
259
280
|  | 09 | 117
128
154
200
|  | 12 | 142
157
169
284
|  | 16 | 138
171
189
199
|  | 20 | 110
114
167
283
|  | 25 | 139
245
264
300
|  | 26 | 227
235
297
305
|  | 27 | 123
132
176
missing in ICS
|  | 32 | 108
118
159
194
|  | 34 | 228
229
250
258
|  | 36 | 152
238
251
306