*LIGO Laboratory / LIGO Scientific Collaboration*

LIGO- E200628-v1 Advanced LIGO 6/7/2012

TwinCAT Library for
PZT Mirrors

Alexa Staley, Daniel Sigg

Distribution of this document:

LIGO Scientific Collaboration

This is an internal working note
of the LIGO Laboratory.

|  |  |
| --- | --- |
| **California Institute of Technology****LIGO Project – MS 18-34****1200 E. California Blvd.****Pasadena, CA 91125**Phone (626) 395-2129Fax (626) 304-9834E-mail: info@ligo.caltech.edu | **Massachusetts Institute of Technology****LIGO Project – NW22-295****185 Albany St****Cambridge, MA 02139**Phone (617) 253-4824Fax (617) 253-7014E-mail: info@ligo.mit.edu |
| **LIGO Hanford Observatory****P.O. Box 159****Richland WA 99352**Phone 509-372-8106Fax 509-372-8137 | **LIGO Livingston Observatory****P.O. Box 940****Livingston, LA 70754**Phone 225-686-3100Fax 225-686-7189 |

http://www.ligo.caltech.edu/

|  |
| --- |
| **Library** |
| Title | PZTMirror |
| Version | 1 |
| TwinCAT version | 2.11 |
| Name space | – |
| Author | Alexa Staley, Daniel Sigg |
| Description | Controls PZT mirrors.  |
| Error codes | None |
| Library dependencies | Error |

|  |
| --- |
| **Hardware Input Type**TYPE PZTMirrorInStruct :STRUCT HV10MonitorPZTX: INT;PositionSensorPZTX: INT; HV10MonitorPZTY: INT;PositionSensorPZTY: INT;END\_STRUCTEND\_TYPE |
| Type name | PZTMirrorInStruct |
| Description | Structure of the hardware input that are wired up for the PZT mirrors |
| Definition | STRUCT |
| Element | Name: HV10MonitorPZTXType: INTDescription: HV10 input monitor of PZT mirror X |
| Element | Name: PositionSensorPZTXType: INTDescription: Position sensor input of PZT mirror X |
| Element | Name: HV10MonitorPZTYType: INTDescription: HV10 input monitor of PZT mirror Y |
| Element | Name: PositionSensorPZTXType: INTDescription: Position sensor input of PZT mirror Y |

|  |
| --- |
| **User Interface Type**TYPE PZTMirrorStruct :STRUCTHV10MonitorPZTX: LREAL;PositionSensorPZTX: LREAL; HV10MonitorPZTY: LREAL;PositionSensorPZTY: LREAL;END\_STRUCTEND\_TYPE |
| Type name | PZTMirrorStruct |
| Description | Structure of the user interface tags that are used to control the PZT mirrors |
| Definition | STRUCT |
| Output Tag | Name: HV10MonitorPZTXType: LREALDescription:  |
| Output Tag | Name: PositionSensorPZTXType: LREALDescription:  |
| Output Tag | Name: HV10MonitorPZTYType: LREALDescription:  |
| Output Tag | Name: PositionSensorPZTYType: LREALDescription:  |

|  |
| --- |
| **Function Block**FUNCTION\_BLOCK PZTMirrorFBVAR\_INPUTPZTMirrorIn: PZTMirrorInStruct;END\_VARVAR\_OUTPUTEND\_VARVAR\_IN\_OUT PZTMirror: PZTMirrorStruct;END\_VARVAREND\_VAR |
| Name | PZTMirrorFB |
| Description | Controls the PZT mirrors.  |
| Input argument | Name: PZTMirrorInType: PZTMirrorInStructDescription: Input hardware structure |
| In/out argument | Name: PZTMirrorType: PZTMirrorStructDescription: User Interface structure |

|  |
| --- |
| **Visual** |
| Name | PZTMirrorViz |
| Description | Displays monitors and sensors for the PZT mirrors |
| Placeholder | Name: PZTMirrorType: PZTMirrorStructDescription: PZT Mirror structure |