## Sheet1
OPTIC | ITM-04
DCC#: E1200706 B. Anderson, G. Billingsley 7-13-12
All dimensions in mm; all orientation references are relative to the D080657 print (arrow top)
Refer to Q1100083 for the detailed procedure
Measured Thickness
Top (↑) | 199.96
Bottom | 200.12
Left | 199.92
Right | 199.85
Diameter
Front | 340.1
Back | 340.12
Ave Dia | 340.11
Radius | 170.055
The barrel of the optic was rested on three strips of 2" wide Kapton tape directly on the granite plate.
The optic was "bookended" with granite 90's against the flats
Fiducial elevations
Elevations are relative to the BOTTOM of the optic (NOTE THAT THIS IS DIFFERENT THAN USUAL)
Front and Back are at the extents of the fidicials
Elevation measurements are to the center of the ~0.25 wide fiducials
|  | Measured | "Leveled" | Radius | Difference
Front (S1) Left |  | 170 | N/A | 170.055 | -0.055
Front (S1) Right |  | 169.95 | N/A | 170.055 | -0.105
Back (S2) Left |  | 170.06 | N/A | 170.055 | 0.005
Back (S2) Right |  | 170.07 | N/A | 170.055 | 0.015
Fiducials horizontal within:
Left | 0.06
Right | 0.12