## Sheet1
Subsystem | Drawing Number | Length | S/N | Location | Notes | Confirmed | ICS Notes | Key
ISC | D1000228 | V25N-10-5-10-5 | S1105225 | LVEA Cabinet C Shelf 1 | Tested/missing helicoils/Good Double Bonded | x |  | missing/issue
ISC | D1000228 | V25N-10-5-10-5 | S1105226 | LVEA Cabinet C Shelf 1 | Tested/missing helicoils/Good Double Bonded | x |  | new addition
ISC | D1000228 | V25N-10-5-10-5 | S1105227 | LVEA Cabinet C Shelf 1 | Tested/missing helicoils/Good Double Bonded | x |  | change
ISC | D1000228 | V25N-10-5-10-5 | S1105228 | LVEA Cabinet C Shelf 1 | Tested/missing helicoils/Good Double Bonded | x
ISC | D1000228 | V25N-10-5-10-5 | S1105233 | LVEA Cabinet C Shelf 1 | Tested/missing helicoils/Good Double Bonded | x
ISC | D1000228 | V25N-10-5-10-5 | S1105234 | LVEA Cabinet C Shelf 1 | Tested/missing helicoils/Good Double Bonded | x
ISC | D1000228 | V25N-10-5-10-5 | S1105235 | LVEA Cabinet C Shelf 1 | Tested/missing helicoils/Good Double Bonded | x
ISC | D1101516 | V25AC-69-84-77-67 | S1105243 | LVEA Cabinet C Shelf 1 | Tested/Hardware | x
ISC | D1101516 | V25-AC-69-84-77-67 | S1105244 | LVEA Cabinet C Shelf 1 |  | x
ISC | D1000237 | V25AB-36 | S1104103 | LVEA Cabinet C Shelf 2 | Good/Double Bonded tested missing captive screw | x
ISC | D1000237 | V25AB-36 | S1201166 | LVEA Cabinet C Shelf 2 | Has Helicoils/Missing Captive Screws/Tested/Good Double Bonded | x
ISC | D1000237 | V25AB-36 | S1201167 | LVEA Cabinet C Shelf 2 | Has Helicoils/Missing Captive Screws/Tested/Good Double Bonded | x
ISC | D1000238 | V25AC-36 | S1105049 | LVEA Cabinet C Shelf 2 |  | x
ISC | D1000238 | V25AC-36 | S1105050 | LVEA Cabinet C Shelf 2 |  | x
ISC | D1000238 | V25AC-36 | S1105051 | LVEA Cabinet C Shelf 2 |  | x
ISC | D1000238 | V25AC-36 | S1105052 | LVEA Cabinet C Shelf 2 |  | x
ISC | D1000238 | V25AC-36 | S1105216 | LVEA Cabinet C Shelf 2 |  | x
ISC | D1000238 | V25AC-36 | S1105217 | LVEA Cabinet C Shelf 2 | Has Helicoils/Missing Captive Screws/Tested/Good Double Bonded | x
ISC | D1000239 | V25N-48 | S1105075 | LVEA Cabinet C Shelf 2 |  | x
ISC | D1000568 | V25J-143 | S1104108 | LVEA Cabinet C Shelf 3 |  | x
ISC | D1101515 | V25AC-35-54-35-60 | S1105096 | LVEA Cabinet C Shelf 3 |  | x
ISC | D1101658 | V25A-108" | S1105088 | LVEA Cabinet C Shelf 3 |  | x
ISC | D1101658 | V25A-108" | S1105089 | LVEA Cabinet C Shelf 3 |  | x
SUS | D1000225 | 230" | S1104220 | LVEA Cabinet E Shelf 1 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 230" | S1104222 | LVEA Cabinet E Shelf 1 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 230" | S1104223 | LVEA Cabinet E Shelf 1 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 230" | S1104224 | LVEA Cabinet E Shelf 1 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 230" | S1104225 | LVEA Cabinet E Shelf 1 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 230" | S1104226 | LVEA Cabinet E Shelf 1 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 230" | S1104227 | LVEA Cabinet E Shelf 1 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 230" | S1104228 | LVEA Cabinet E Shelf 1 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 230" | S1104229 | LVEA Cabinet E Shelf 1 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 230" | S1104231 | LVEA Cabinet E Shelf 1 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 230" | S1104235 | LVEA Cabinet E Shelf 1 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 230" | S1104236 | LVEA Cabinet E Shelf 1 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 230" | S1104245 | LVEA Cabinet E Shelf 1 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000234 | 96" | 914 | LVEA Cabinet E Shelf 1 | Missing Screws and Helicoils/Tested/Good/Double Bonded | x
SUS | D1000234 | 55" | S1000698 | LVEA Cabinet E Shelf 1 | Golden | x
SUS | D1000234 | 55" | S1000699 | LVEA Cabinet E Shelf 1 | Golden | x
SUS | D1000234 | 55" | S1000702 | LVEA Cabinet E Shelf 1 | Golden | x
SUS | D1000234 | 55" | S1000703 | LVEA Cabinet E Shelf 1 | Golden | x
SUS | D1000234 | 78" | S1108001 | LVEA Cabinet E Shelf 1 | Golden | x
SUS | D1000234 | 78" | S1108010 | LVEA Cabinet E Shelf 1 | Golden | x
SUS | D1000234 | 78" | S1108012 | LVEA Cabinet E Shelf 1 | Golden | x
| D1000234 | 78" | S1108019 | LVEA Cabinet E Shelf 1 |  | x
SUS | D1000234 | 78" | S1108020 | LVEA Cabinet E Shelf 1 | Golden | x
SUS | D1000225 | 199" | S1106864 | LVEA Cabinet E Shelf 2 | Golden | x
SUS | D1000225 | 199" | S1106865 | LVEA Cabinet E Shelf 2 | Golden | x
SUS | D1000225 | 199" | S1106866 | LVEA Cabinet E Shelf 2 | Golden | x
SUS | D1000225 | 199" | S1106867 | LVEA Cabinet E Shelf 2 | Golden | x
SUS | D1000225 | 199" | S1106868 | LVEA Cabinet E Shelf 2 | Golden | x
SUS | D1000234 | 60" | S1106121 | LVEA Cabinet E Shelf 2 |  | x
SUS | D1000234 | 60" | S1106123 | LVEA Cabinet E Shelf 2 |  | x
SUS | D1000234 | 60" | S1107961 | LVEA Cabinet E Shelf 2 |  | x
SUS | D1000234 | 60" | S1107965 | LVEA Cabinet E Shelf 2 |  | x
SUS | D1000234 | 60" | S1107966 | LVEA Cabinet E Shelf 2 |  | x
SUS | D1000234 | 60" | S1107968 | LVEA Cabinet E Shelf 2 |  | x
SUS | D1000234 | 60" | S1107971 | LVEA Cabinet E Shelf 2 |  | x
SUS | D1000234 | 60" | S1107973 | LVEA Cabinet E Shelf 2 |  | x
SUS | D1000234 | 60" | S1107974 | LVEA Cabinet E Shelf 2 |  | x
SUS | D1000234 | 60" | S1107975 | LVEA Cabinet E Shelf 2 |  | x
SUS | D1002522 | 156" | 916 | LVEA Cabinet E Shelf 2 | Golden | x
SUS | D1002522 | 156" | 922 | LVEA Cabinet E Shelf 2 | Golden | x
SUS | D1002522 | 156" | 923 | LVEA Cabinet E Shelf 2 | Golden | x
SUS | D1002522 | 156" | 929 | LVEA Cabinet E Shelf 2 | Golden | x | should go to Quad 12
SUS | D1000225 | 209" | S1104102 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded |  | serial number does NOT match part number; serial number is at LHO
SUS | D1000225 | 209" | S1104185 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104186 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104187 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104188 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104189 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104190 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104191 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104192 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104193 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104194 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104195 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104196 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104197 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104198 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104199 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104200 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104201 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104202 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104203 | LVEA Cabinet E Shelf 3 |  | x
SUS | D1000225 | 209" | S1104204 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104205 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000225 | 209" | S1104467 | LVEA Cabinet E Shelf 3 | Missing 2 captive screws non-eared end */tested/good/double bonded | x
SUS | D1000234 | v6 66" | S1107979 | LVEA Cabinet E Shelf 3 | Spider Web cable for Kate to deal with | x | moved location
SUS | D1000234 | v6 66" | S1107980 | LVEA Cabinet E Shelf 3 | Spider Web cable for Kate to deal with | x | moved location
SUS | D1000234 | 66" | S1107988 | LVEA Cabinet E Shelf 3 |  | x
SUS | D1002522 | 110" | 901 | LVEA Cabinet E Shelf 3 | Golden | x
SUS | D1002522 | 110" | 902 | LVEA Cabinet E Shelf 3 | Golden | x
SUS | D1002522 | 110" | 903 | LVEA Cabinet E Shelf 3 | Golden | x
SUS | D1002522 | 110" | 905 | LVEA Cabinet E Shelf 3 | Golden | x
SUS | D1002522 | 110" | 906 | LVEA Cabinet E Shelf 3 | Golden | x | should go to Quad 12
SUS | D1002522 | 110" | 907 | LVEA Cabinet E Shelf 3 | Golden | x
SEI | D1000225 | 180" | S1106765 | LVEA Cabinet E Shelf 4 | Golden | x
SEI | D1000225 | 180" | S1106800 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106801 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106802 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106803 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106804 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106805 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106806 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106807 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106808 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106809 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106810 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106811 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106812 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106813 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106814 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106815 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106817 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106818 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106820 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106823 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106837 | LVEA Cabinet E Shelf 4 | Golden | x
SEI | D1000225 | 180" | S1106838 | LVEA Cabinet E Shelf 4 | Golden | x
SEI | D1000225 | 180" | S1106839 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106840 | LVEA Cabinet E Shelf 4 | Golden | x
SEI | D1000225 | 180" | S1106841 | LVEA Cabinet E Shelf 4 | Golden | x
SEI | D1000225 | 180" | S1106842 | LVEA Cabinet E Shelf 4 | Golden | x
SEI | D1000225 | 180" | S1106845 | LVEA Cabinet E Shelf 4 | Golden | x
SEI | D1000225 | 180" | S1106846 | LVEA Cabinet E Shelf 4 | Golden | x
SEI | D1000225 | 180" | S1106847 | LVEA Cabinet E Shelf 4 | Golden | x
SEI | D1000225 | 180" | S1106848 | LVEA Cabinet E Shelf 4 | Golden | x
SEI | D1000225 | 180" | S1106852 | LVEA Cabinet E Shelf 4 | Golden | x
SEI | D1000225 | 180" | S1106854 | LVEA Cabinet E Shelf 4 | Golden | x
SEI | D1000225 | 180" | S1106861 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106862 | LVEA Cabinet E Shelf 4 |  | x
SEI | D1000225 | 180" | S1106863 | LVEA Cabinet E Shelf 4 |  | x
SUS | D1002524 | V25AN-17-A | S1201174 | LVEA Cabinet E Shelf 4 |  | x
SUS | D1002524 | V25AN-17-A | S1201175 | LVEA Cabinet E Shelf 4 |  | x
SUS | D1002524 | V25AN-17-A | S1201176 | LVEA Cabinet E Shelf 4 |  | x | should go to Quad 12
SUS | D1002524 | V25AN-17-A | S1201177 | LVEA Cabinet E Shelf 4 |  | x
SUS | D1002524 | V25AN-17-A | S1201178 | LVEA Cabinet E Shelf 4 |  | x
SUS | D1002524 | V25AN-17-A | S1201179 | LVEA Cabinet E Shelf 4 |  | x
SUS | D1000234 | 125" | 905 | LVEA Cabinet E Shelf 5 | BSFM | x | moved location
SUS | D1000234 | 88" | S1108023 | LVEA Cabinet E Shelf 5 | Golden | x
SUS | D1000234 | 88" | S1108024 | LVEA Cabinet E Shelf 5 | Golden | x
SUS | D1000234 | 88" | S1108025 | LVEA Cabinet E Shelf 5 | Golden | x
SUS | D1000234 | 88" | S1108027 | LVEA Cabinet E Shelf 5 | Golden | x
SUS | D1000234 | 88" | S1108028 | LVEA Cabinet E Shelf 5 | Golden | x
SUS | D1000234 | 88" | S1108029 | LVEA Cabinet E Shelf 5 | Golden | x
SUS | D1000234 | 88" | S1108031 | LVEA Cabinet E Shelf 5 | Golden | x
SUS | D1000234 | 88" | S1108032 | LVEA Cabinet E Shelf 5 | Golden | x
SUS | D1000234 | 88" | S1108033 | LVEA Cabinet E Shelf 5 | Golden | x
SUS | D1000234 | 88" | S1108034 | LVEA Cabinet E Shelf 5 |  | x
SUS | D1000234 | 88" | S1108035 | LVEA Cabinet E Shelf 5 |  | x
SUS | D1000234 | 88" | S1108036 | LVEA Cabinet E Shelf 5 |  | x
SUS | D1000234 | 88" | S1108038 | LVEA Cabinet E Shelf 5 |  | x
SUS | D1000234 | 88" | S1108039 | LVEA Cabinet E Shelf 5 |  | x
SUS | D1002522 | 121" | 911 | LVEA Cabinet E Shelf 5 | Golden | x
SUS | D1002522 | 121" | 913 | LVEA Cabinet E Shelf 5 | Golden | x
SUS | D1002522 | 121" | S1108057 | LVEA Cabinet E Shelf 5 | Golden | x
SUS | D1002523 | V25AN-12-A | S1201168 | LVEA Cabinet E Shelf 5 |  | x
SUS | D1002523 | V25AN-12-A | S1201169 | LVEA Cabinet E Shelf 5 |  | x
SUS | D1002523 | V25AN-12-A | S1201170 | LVEA Cabinet E Shelf 5 |  | x
SUS | D1002523 | V25AN-12-A | S1201172 | LVEA Cabinet E Shelf 5 |  | x
SUS | D1002523 | V25AN-12-A | S1201173 | LVEA Cabinet E Shelf 5 |  | x
SEI | D1000918 | 70" | S1104472 | LVEA Cabinet F Shelf 1 | Has all hardware/tested/good/double bonded/golden | x
SEI | D1000918 | 70" | S1104474 | LVEA Cabinet F Shelf 1 |  | x
SEI | D1000918 | 70" | S1104476 | LVEA Cabinet F Shelf 1 | Has all hardware/tested/good/double bonded/golden | x
SEI | D1000918 | 70" | S1104477 | LVEA Cabinet F Shelf 1 | Has all hardware/tested/good/double bonded/golden | x
SEI | D1000918 | 70" | S1104478 | LVEA Cabinet F Shelf 1 | Has all hardware/tested/good/double bonded/golden | x
SEI | D1000918 | 70" | S1104481 | LVEA Cabinet F Shelf 1 | Has all hardware/tested/good/double bonded/golden | x
SEI | D1000918 | 70" | S1104484 | LVEA Cabinet F Shelf 1 | Has all hardware/tested/good/double bonded/golden | x
SEI | D1000919 |  | S1104737 | LVEA Cabinet F Shelf 1 | Has all hardware/ copper wire wrapped around J3/B/tested/double bonded | x
SEI | D1000919 |  | S1104738 | LVEA Cabinet F Shelf 1 | Has all hardware/ copper wire wrapped around J3/B/tested/double bonded | x
SEI | D1000919 |  | S1104739 | LVEA Cabinet F Shelf 1 | Has all hardware/ copper wire wrapped around J3/B/tested/double bonded | x
SEI | D1000919 |  | S1104740 | LVEA Cabinet F Shelf 1 | Has all hardware/ copper wire wrapped around J3/B/tested/double bonded | x
SEI | D1000919 |  | S1104743 | LVEA Cabinet F Shelf 1 | Has all hardware/ copper wire wrapped around J3/B/tested/double bonded | x
SEI | D1000919 |  | S1104745 | LVEA Cabinet F Shelf 1 | Has all hardware/ copper wire wrapped around J3/B/tested/double bonded | x
SEI | D1000919 |  | S1104747 | LVEA Cabinet F Shelf 1 | Has all hardware/ copper wire wrapped around J3/B/tested/double bonded | x
SEI | D1000919 |  | S1104754 | LVEA Cabinet F Shelf 1 | Has all hardware/ copper wire wrapped around J3/B/tested/double bonded | x
SEI | D1000221 | 100" | S1106671 | LVEA Cabinet F Shelf 2 |  | x
SEI | D1000227 | 25" | S1104649 | LVEA Cabinet F Shelf 2 | Missing Helicoils on DB25 connector/tested/only eight with double bond connections | x
SEI | D1000227 | 25" | S1104652 | LVEA Cabinet F Shelf 2 | Missing Helicoils on DB25 connector/tested/only eight with double bond connections | x
SEI | D1000227 | 25" | S1104653 | LVEA Cabinet F Shelf 2 | Missing Helicoils on DB25 connector/tested/only eight with double bond connections | x
SEI | D1000227 | 25" | S1104656 | LVEA Cabinet F Shelf 2 | Missing Helicoils on DB25 connector/tested/only eight with double bond connections | x
SEI | D1000227 | 25" | S1104658 | LVEA Cabinet F Shelf 2 | Missing Helicoils on DB25 connector/tested/only eight with double bond connections | x
SEI | D1000227 | 25" | S1104659 | LVEA Cabinet F Shelf 2 | Missing Helicoils on DB25 connector/tested/only eight with double bond connections | x
SEI | D1000227 | 25" | S1104669 | LVEA Cabinet F Shelf 2 | Missing Helicoils on DB25 connector/tested/only eight with double bond connections | x
SEI | D1000227 | 25" | S1104671 | LVEA Cabinet F Shelf 2 | Missing Helicoils on DB25 connector/tested/only eight with double bond connections | x
SEI | D1000227 | 25" | S1106637 | LVEA Cabinet F Shelf 2 |  | x
SEI | D1000920 | 135" | S1107753 | LVEA Cabinet F Shelf 2 | Golden | x
SEI | D1000920 | 135" | S1107754 | LVEA Cabinet F Shelf 2 | Golden | x
SEI | D1000920 | 135" | S1107755 | LVEA Cabinet F Shelf 2 | Golden | x
SEI | D1000920 | 135" | S1107756 | LVEA Cabinet F Shelf 2 | Golden | x
SEI | D1100151 | 60" | S1107157 | LVEA Cabinet F Shelf 2 |  | x | corrected part number
SEI | D1100151 | 60" | S1107174 | LVEA Cabinet F Shelf 2 |  | x | corrected part number
SEI | D1100151 | 60" | S1107180 | LVEA Cabinet F Shelf 2 | Golden | x | corrected part number
SEI | D1100151 | 60" | S1107203 | LVEA Cabinet F Shelf 2 | Golden | x | corrected part number
SEI | D1100151 | 60" | S1107214 | LVEA Cabinet F Shelf 2 | Golden | x | corrected part number
SEI | D1100151 | 60" | S1107216 | LVEA Cabinet F Shelf 2 |  | x | corrected part number
SEI | D1000218 |  | S1104715 | LVEA Cabinet F Shelf 3 | Good has all hardware/tested/double bonded | x | was changed from S1104115
SEI | D1000218 |  | S1104717 | LVEA Cabinet F Shelf 3 | Good has all hardware/tested/double bonded | x
SEI | D1000218 |  | S1104719 | LVEA Cabinet F Shelf 3 | Good has all hardware/tested/double bonded | x
SEI | D1000218 |  | S1104720 | LVEA Cabinet F Shelf 3 | Good has all hardware/tested/double bonded | x
SEI | D1000218 |  | S1104722 | LVEA Cabinet F Shelf 3 | Good has all hardware/tested/double bonded | x
SEI (SUS) | D1000225 | 230" | S1104219 | LVEA Cabinet F Shelf 3 | Missing captive screws and 1-2 flat head screws. Tested/Good Double Bonded | x
SEI (SUS) | D1000225 | 230" | S1104221 | LVEA Cabinet F Shelf 3 | Missing captive screws and 1-2 flat head screws. Tested/Good Double Bonded | x
SEI (SUS) | D1000225 | 230" | S1104230 | LVEA Cabinet F Shelf 3 | Missing captive screws and 1-2 flat head screws. Tested/Good Double Bonded | x
SEI (SUS) | D1000225 | 230" | S1104232 | LVEA Cabinet F Shelf 3 | Missing captive screws and 1-2 flat head screws. Tested/Good Double Bonded | x
SEI (SUS) | D1000225 | 230" | S1104233 | LVEA Cabinet F Shelf 3 | Missing captive screws and 1-2 flat head screws. Tested/Good Double Bonded | x
SEI (SUS) | D1000225 | 230" | S1104234 | LVEA Cabinet F Shelf 3 | Missing captive screws and 1-2 flat head screws. Tested/Good Double Bonded | x
SEI (SUS) | D1000225 | 230" | S1104237 | LVEA Cabinet F Shelf 3 | Missing captive screws and 1-2 flat head screws. Tested/Good Double Bonded | x
SEI (SUS) | D1000225 | 108" | S1104136 | LVEA Cabinet F Shelf 4 | m.v. added 4-40 captive screws on 7/5/12. Good Double Bonded/Tested | x
SEI (SUS) | D1000225 | 108" | S1104139 | LVEA Cabinet F Shelf 4 | m.v. added 4-40 captive screws on 7/5/12. Good Double Bonded/Tested | x
SEI (SUS) | D1000225 | 108" | S1104140 | LVEA Cabinet F Shelf 4 | m.v. added 4-40 captive screws on 7/5/12. Good Double Bonded/Tested | x
SEI (SUS) | D1000225 | 108" | S1104141 | LVEA Cabinet F Shelf 4 | m.v. added 4-40 captive screws on 7/5/12. Good Double Bonded/Tested | x
SEI (SUS) | D1000225 | 108" | S1104142 | LVEA Cabinet F Shelf 4 | m.v. added 4-40 captive screws on 7/5/12. Good Double Bonded/Tested | x
SEI (SUS) | D1000225 | 108" | S1104143 | LVEA Cabinet F Shelf 4 | m.v. added 4-40 captive screws on 7/5/12. Good Double Bonded/Tested | x
SEI (SUS) | D1000225 | 108" | S1104148 | LVEA Cabinet F Shelf 4 | m.v. added 4-40 captive screws on 7/5/12. Good Double Bonded/Tested | x
SEI (SUS) | D1000225 | 108" | S1104268 | LVEA Cabinet F Shelf 4 | m.v. added 4-40 captive screws on 7/5/12. Good Double Bonded/Tested | x
SEI (SUS) | D1000225 | 108" | S1104269 | LVEA Cabinet F Shelf 4 | m.v. added 4-40 captive screws on 7/5/12. Good Double Bonded/Tested | x
SEI (SUS) | D1000225 | 108" | S1104270 | LVEA Cabinet F Shelf 4 | m.v. added 4-40 captive screws on 7/5/12. Good Double Bonded/Tested | x
SEI (SUS) | D1000225 | 108" | S1104271 | LVEA Cabinet F Shelf 4 | m.v. added 4-40 captive screws on 7/5/12. Good Double Bonded/Tested | x
SEI (SUS) | D1000225 | 108" | S1104272 | LVEA Cabinet F Shelf 4 | m.v. added 4-40 captive screws on 7/5/12. Good Double Bonded/Tested | x
SEI (SUS) | D1000225 | 108" | S1104274 | LVEA Cabinet F Shelf 4 |  | x
SEI (SUS) | D1000225 | 108" | S1104275 | LVEA Cabinet F Shelf 4 | m.v. added 4-40 captive screws on 7/5/12. Good Double Bonded/Tested | x
SEI (SUS) | D1000225 | 108" | S1104276 | LVEA Cabinet F Shelf 4 | m.v. added 4-40 captive screws on 7/5/12. Good Double Bonded/Tested | x
SEI (SUS) | D1000225 | 108" | S1104277 | LVEA Cabinet F Shelf 4 | m.v. added 4-40 captive screws on 7/5/12. Good Double Bonded/Tested | x
SEI (SUS) | D1000225 | 108" | S1104279 | LVEA Cabinet F Shelf 4 | m.v. added 4-40 captive screws on 7/5/12. Good Double Bonded/Tested | x
SUS | D1000225 | 180" | S1104848 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104849 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104850 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104851 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104852 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104853 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104854 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104855 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104856 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104857 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104858 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104859 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104860 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104861 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104862 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104863 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104864 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1104865 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1106821 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1106822 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1106825 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000225 | 180" | S1106827 | LVEA Cabinet F Shelf 4 | Has all hardware/tested/good/double bonded/golden | x | moved location
SUS | D1000239 | 48" | S1105079 | LVEA Cabinet F Shelf 4 |  | x | moved location
SUS | D1000234 | 60" | 902 | LVEA Cabinet F Shelf 5 | Sus Quadtrapusses, use only when other cables are gone | x
SUS | D1000234 | 66" | 906 | LVEA Cabinet F Shelf 5 | Sus Quadtrapusses, use only when other cables are gone | x
SUS | D1000234 | 78" | 908 | LVEA Cabinet F Shelf 5 | Sus Quadtrapusses, part of over temperature bake, use only when other cables are gone | x
SUS | D1000234 | 78" | 909 | LVEA Cabinet F Shelf 5 | Sus Quadtrapusses, part of over temperature bake, use only when other cables are gone | x
SUS | D1000234 | 66" | 910 | LVEA Cabinet F Shelf 5 | Sus Quadtrapusses, use only when other cables are gone | x
SUS | Dwg 500-069-2-1 | For 12/17" | Jack Posts | LVEA Cabinet F Shelf 5 | Quadrapuss Spare | x
SUS | D1000225 | 108" | S1104137 | LVEA HSTS Cleanroom |  | x | revised length
SUS | D1000225 | 108" | S1104144 | LVEA HSTS Cleanroom |  | x | revised length
SUS | D1000225 | 108" | S1104266 | LVEA HSTS Cleanroom |  | x | revised length
SUS | D1000225 |  | S1106843 | LVEA HSTS Cleanroom |  | x
SUS | D1000234 |  | S1107981 | LVEA HSTS Cleanroom |  | x | revised S/N format
SEI | D1000225 | 180" | S1106844 | Quad 12 | Golden | x | moved location
SEI | D1000225 | 180" | S1106849 | Quad 12 | Golden | x | moved location
SEI | D1000225 | 180" | S1106850 | Quad 12 | Golden | x | moved location
SEI | D1000225 | 180" | S1106851 | Quad 12 | Golden | x | moved location
SEI | D1000225 | 180" | S1106853 | Quad 12 | Golden | x | moved location
SEI | D1000225 | 180" | S1106855 | Quad 12 | Golden | x | moved location
SUS | D1000234 | 88" | 909 | Quad 12 |  | x | moved location
SUS | D1000234 | 88" | S1108026 | Quad 12 | Golden | x | moved location
SUS | D1000234 | 88" | S1108030 | Quad 12 | Golden | x | moved location
SUS | D1002523 | V25AN-12-A | S1201171 | Quad 12 Garb Room |  | x | moved location