## Sheet1
Calculation of the test path transconductance and the test switch isolation
Magnitude with switch on (dB) | Magnitude with switch off (dB | Test Path Transconductance (mA/V) | Test Switch Isolation (dB)
18.9 | -10.5 | 21.0129 | 29.4
This is Mike Z's method for shot noise limited sensitivity as outlined in T010121 section 3.3.1, it takes into account the instrument noise
Observed (dBm/rtHz) on RF Spectrum Analyzer with no light (Sdark) | RF Preamp Gain (dB) | Actual (dBm/rtHz) | Vrms/rtHz | V^2/Hz (Sdark)
-128.1 | 20.4 | -148.5 | 8.404e-09 | 7.0627e-17
Observed (dBm/rtHz) on RF Spectrum Analyzer with 6mA to 10mA (Slamp) | RF Preamp Gain (dB) | Actual (dBm/rtHz) | Vrms/rtHz | V^2/Hz Slamp | Photocurrent (mA)
-118.8 | 20.4 | -139.2 | 2.4518e-08 | 6.0113e-16 | 9.43
Observed (dBm/rtHz) on RF Spectrum Analyzer with LNA terminated in 50 ohms (Sinst) | RF Preamp Gain (dB) | Actual (dBm/rtHz) | Vrms/rtHz | V^2/Hz Sinst
-142.5 | 20.4 | -162.9 | 1.6013e-09 | 2.5643e-18
V^2/Hz (S'dark) | V^2/Hz (S'lamp) | Shotnoise Limited Sensitivity (mA) | RF Transimpedance (ohms)
6.8063e-17 | 5.3051e-16 | 1.2098 | 419.2896