## Sheet1
Pressure Contribution from Flag Hydrocarbons
40M Lab RGA Scan Results
|  | Description: |  | EP1730-1 | Date: | 2012-11-06
EP1730-1 |  |  | Oven Used: | B
AMU 41 | 6.9e-13 | amps | from RGA scan listing
AMU 43 | 7.89e-12 | amps | from RGA scan listing
AMU 53 | 5.44e-14 | amps | from RGA scan listing
AMU 55 | 1.18e-13 | amps | from RGA scan listing
AMU 57 | 1.17e-13 | amps | from RGA scan listing
Sum Flag H/C AMUs | 8.8694e-12 | amps
Calib leak rate | 2.36e-10 | torr l/s | (Argon)
AMU 40 (w/leak open) | 4.81e-12 | amps
AMU 40 (background) | 9.22e-13 | amps
Calib leak contributes | 3.888e-12 | amps | = (w/leak open) - (background)
Flag H/C Outgassing | 5.3837e-10 | torr l/s | = (Sum Flag H/C AMUs) x (Calib leak rate)/(Calib leak contrib.)
Test item surf area | 7987.1 | cm^2
Normalized outgassing | 6.7405e-14 | torr l/s-cm2 |  | = Flag H/C Outgassing/Test item surf area
Full description: | two test strips 1/8" X 3" X 12" and one teststrip 1/8" X 3" X 8" of EP1730-1 = 7987cm^2 serface area.
Pre-scan bake: | 200C for 48 Hrs.