*LIGO Laboratory / LIGO Scientific Collaboration*

LIGO- T1200425-v1 *LIGO* 08/30/12

Wide Angle Scatter from ETM HR

Michael Smith

Distribution of this document:

LIGO Scientific Collaboration

This is an internal working note

of the LIGO Laboratory.

|  |  |
| --- | --- |
| **California Institute of Technology**  **LIGO Project – MS 18-34**  **1200 E. California Blvd.**  **Pasadena, CA 91125**  Phone (626) 395-2129  Fax (626) 304-9834  E-mail: info@ligo.caltech.edu | **Massachusetts Institute of Technology**  **LIGO Project – NW22-295**  **185 Albany St**  **Cambridge, MA 02139**  Phone (617) 253-4824  Fax (617) 253-7014  E-mail: info@ligo.mit.edu |
| **LIGO Hanford Observatory**  **P.O. Box 159**  **Richland WA 99352**  Phone 509-372-8106  Fax 509-372-8137 | **LIGO Livingston Observatory**  **P.O. Box 940**  **Livingston, LA 70754**  Phone 225-686-3100  Fax 225-686-7189 |

http://www.ligo.caltech.edu/

**Table of Contents**

1 INTRODUCTION 5

2 SCATTERED LIGHT NOISE THEORY 6

3 RESULTS OF WIDE ANGLE SCATTER NOISE CALCULATIONS 8

3.1 Wide Angle Scattered Light Calculation Parameters 8

3.2 Scattered Light Results 9

**Table of Tables**

[Table 1: Wide Angle Scattered Light Power distribution from H1 ETMX, Determined Using ZEMAX Ray Detector 10](#_Toc334100759)

[Table 2: Wide Angle Scattered Light Power Back into IFO Mode 10](#_Toc334100760)

[Table 3: Displacement Noise caused by Re-scattering of Wide Angle Scattered Light from ETM 11](#_Toc334100761)

**Table of Figures**

[Figure 1: ZEMAX Lambertian Scatter Ray Trace from H1 ETMX HR Hitting ACB with Wide Angle Baffle Box, Top View 5](#_Toc334100765)

[Figure 2: ZEMAX Lambertian Scatter Ray Trace from H1 ETMX HR, Hitting ACB with Wide Angle Baffle Box, Side View 6](#_Toc334100766)

[Figure 3: Displacement Noise from Wide Angle Scattering by ETM 12](#_Toc334100767)

Abstract:

The displacement noise, m/rtHz @ 100 Hz, caused by re-scattering of wide-angle scattered light from the H1 ETMX was determined by using the ZEMAX ray trace detector and the scattering cross-section reciprocity theorem of Flanagan-Thorne; the displacement noise meets the SLC requirement.

# INTRODUCTION

Defects or dust on the test mass (TM) cavity mirrors scatter power into wide angles ; see [T070089-02](https://dcc.ligo.org/cgi-bin/private/DocDB/ShowDocument?docid=10390), Wide Angle Scatter from LIGO Arm Cavities. The angular scatter distribution is presumed to be Lambertian (i.e. “flat”), such that the probability of a cavity photon scattering to angle  off axis is given by  where  is a constant, nominally the “Lambertian reflectance.” This is reasonable for small point defects, and approximately consistent with Kells’ measurements out to . The value for  has been estimated by Hiro Yamamoto in G070240 to be 10 ppm of loss for wide-angle (point-defect) scatter.

The wide angle scattering from the H1 ETMX HR surface was analyzed using ZEMAX ray tracing by applying a Lambertian scattering property to the TM HR surface and detecting the scattered light with detector surfaces. More than 75% of the wide-angle scattered light from the ETM HR surface will be captured by the ACB and wide angle box. 4% passes through the hole in the arm cavity baffle and will hit the 7A2 spool piece or the support structure for the Photon Calibrator mirrors; the remaining rays hit the TM SUS structure and the walls of the BSC chamber.



Figure : ZEMAX Lambertian Scatter Ray Trace from H1 ETMX HR Hitting ACB with Wide Angle Baffle Box, Top View



Figure : ZEMAX Lambertian Scatter Ray Trace from H1 ETMX HR, Hitting ACB with Wide Angle Baffle Box, Side View

# SCATTERED LIGHT NOISE THEORY

The wide angle scattered light from the TM that hits an adjacent surface will scatter from that surface back onto the TM and then re-scatter from the TM into the mode of the interferometer (IFO).

The fraction of the arm power incident on the TM Lambertian scattering surface that scatters at wide angles onto each adjacent surface near the TM can be calculated in principle by knowing the Lambertian scatter function of the TM and the scattering geometry.

Lambertian scatter function for the TM



differential wide angle scattered light from TM onto adjacent surfaces



total wide angle scattered light from TM onto adjacent surfaces



However, the geometry is complex, and it is more convenient to use the ZEMAX ray detector program for determining the incident power that hits each adjacent surface. The ZEMAX power fraction is defined as follows:

ZEMAX power fraction



incident power hitting the adjacent surface is



The adjacent surface is located a distance Ls away. The back-scattered power from the surface with a BRDFs will irradiate the TM.

irradiance of TM by power scattered from adjacent surface, W/m^2



Some of this irradiance will be scattered by the TM back into the IFO mode. To determine the fraction that is recombined into the cavity mode, we rely on a reciprocity relation derived by E. Flanagan and K. Thorne in LIGO Technical note [T940063-00-R](https://dcc.ligo.org/cgi-bin/DocDB/ShowDocument?docid=28429). They calculate the cross section, , for a cavity mirror to scatter photons arriving from a point  back into the cavity mode (is a location in the plane *z* = constant a distance *z* from the mirror along the optic axis). They find this cross section is related to the probability  for the cavity mirror to scatter photons out of the main beam to the point :

.

In this case, the probability  is the Lambertian BRDF function, written above.

According to their reciprocity theorem, the power scattered back into the IFO mode from each adjacent surface is given by



where Es is the irradiance, W/m^2, of the cavity mirror by that adjacent surface. Then,



Flanagan-Thorne calculate the displacement noise caused by this injected scattered field fluctuation in the arm cavity.



Where S is the amplitude spectral density of sine phase fluctuations of the injected field



In the formalism of Smith and Yamamoto, the displacement noise, in m/rtHz, caused by the scattered field injected into the IFO mode is proportional to the DARM transfer function (see [T060073](https://dcc.ligo.org/cgi-bin/DocDB/ShowDocument?docid=27643) ), to the square root of the scattered power relative to the PSL power, and to the seismic motion amplitude spectrum of the scattering surface.



Where the factor rt2, following Flanagan-Thorne, corrects for the slow phase motion that is below the gravity wave frequency band.

These two apparently different approaches agree to within < 5%.

# RESULTS OF WIDE ANGLE SCATTER NOISE CALCULATIONS

## Wide Angle Scattered Light Calculation Parameters

Displacement noise requirement @ 100 Hz, m/rt Hz



Motion of manifold @ 100 Hz, m/rt Hz



ACB displacement @ 100 Hz, m/rtHz



ISI optical table displacement @ 100 Hz, m/rtHz



Transfer function @ 100 Hz, ITM HR



BRDF of chamber wall, sr^-1



BRDF of oxidized un-polished steel, sr^-1



laser wavelength, m



wave number, m^-1





wide angle hemispherical scattering loss fraction from TM wide, ref: T070089



arm power, W



input laser power, W



arm cavity length, m



## Scattered Light Results

Table 1 summarizes the results of the ZEMAX measurements of the fractional wide angle scatter from the ETM onto each adjacent scattering surface.

Table : Wide Angle Scattered Light Power distribution from H1 ETMX, Determined Using ZEMAX Ray Detector

| **Surface** | **Power, W** | **fractional scatter** | **scattering length, mm** | **incident angle, deg** | **incident angle, rad** |
| --- | --- | --- | --- | --- | --- |
| Annular Volume 1080: spool 7A2 large dia | 1.22 | 0.01 | 7446 | 5.5 | 0.10 |
| PCal structure | 2.78 | 0.03 | 2371 | 5 | 0.09 |
| BSC bottom | 3.11 | 0.03 | 2248 | 103 | 1.80 |
| BSC right | 5.44 | 0.05 | 1566 | 105 | 1.83 |
| BSC left | 0.44 | 0.004 | 1967 | 99 | 1.73 |
| ITM/ETM middle envelope | 4.56 | 0.05 | 172 | 103 | 1.81 |
| ARM CAVITY BAF PLATE top ETMX | 0.44 | 0.00 | 764 | 57 | 0.99 |
| ARM CAVITY BAF PLATE BOTTOM ETMX | 2.78 | 0.03 | 572 | 39 | 0.67 |
| ARM CAVITY BAF PLATE 2 ETMX | 6.89 | 0.07 | 716 | 47 | 0.82 |
| ARM CAVITY BAF PLATE 3 ETMX | 2.11 | 0.02 | 605 | 35 | 0.61 |
| ARM CAVITY BAF PLATE 4 ETMX | 0.89 | 0.01 | 468 | 26 |  |
| ARM CAVITY BAF PLATE 5 ETMX | 5.78 | 0.06 | 475 | 19 | 0.34 |
| ARM CAVITY BAF PLATE 6 ETMX | 6.33 | 0.06 | 443 | 18 | 0.31 |
| ARM CAVITY BAF PLATE 7 ETMX | 0.78 | 0.01 | 231 | 9 | 0.15 |
| WIDE ANGLE BAF TOP LEDGE ETMX | 7.22 | 0.07 | 901 | 41 | 0.71 |
| WIDE ANGLE BAF BOTTOM LEDGE ETMX | 21.89 | 0.22 | 748 | 29 | 0.51 |
| acb\_wide-angle-baffle-side\_H1\_ITMx.POB Right | 19.22 | 0.19 | 895 | 31 | 0.54 |
| acb\_wide-angle-baffle-side\_H1\_ITMx.POB Left | 5.67 | 0.06 | 788 | 26 | 0.46 |

Table 2 summarizes the calculated incident powers and the powers scattered into the IFO mode.

Table : Wide Angle Scattered Light Power Back into IFO Mode

| **Surface** | **Incident Power, W** | **Power Scattered into IFO, W** | **BRDF, sr^-1** | **Motion Spectrum** |
| --- | --- | --- | --- | --- |
| Annular Volume 1080: spool 7A2 large dia | 0.099 | 1.28E-21 | 0.1 | MANIFOLD |
| Detector Surface 1084: PCal structure | 0.226 | 2.88E-20 | 0.1 | MANIFOLD |
| Detector Surface 1118: BSC bottom | 0.253 | 2.26E-20 | 0.1 | BSC |
| Detector Surface 1119: BSC front | 0.442 | 6.23E-22 | 0.1 | BSC |
| Detector Surface 1120: BSC back | 0.036 | 2.59E-21 | 0.1 | BSC |
| Rectangular Volume 1115: ITM/ETM middle envelope | 0.370 | 6.42E-19 | 0.05 | ISI |
| Rectangular Volume 1127: ARM CAVITY BAF PLATE top ETMX | 0.036 | 7.33E-21 | 0.05 | ACB SUS |
| Rectangular Volume 1128: ARM CAVITY BAF PLATE BOTTOM ETMX | 0.226 | 1.17E-19 | 0.05 | ACB SUS |
| Rectangular Volume 1130: ARM CAVITY BAF PLATE 2 ETMX | 0.560 | 1.78E-19 | 0.05 | ACB SUS |
| Rectangular Volume 1131: ARM CAVITY BAF PLATE 3 ETMX | 0.171 | 8.33E-20 | 0.05 | ACB SUS |
| Rectangular Volume 1132: ARM CAVITY BAF PLATE 4 ETMX | 0.072 | 6.36E-20 | 0.05 | ACB SUS |
| Rectangular Volume 1133: ARM CAVITY BAF PLATE 5 ETMX | 0.470 | 4.00E-19 | 0.05 | ACB SUS |
| Rectangular Volume 1147: ARM CAVITY BAF PLATE 6 ETMX | 0.514 | 5.12E-19 | 0.05 | ACB SUS |
| Rectangular Volume 1161: ARM CAVITY BAF PLATE 7 ETMX | 0.063 | 2.49E-19 | 0.05 | ACB SUS |
| Rectangular Volume 1163: WIDE ANGLE BAF TOP LEDGE ETMX | 0.587 | 9.70E-20 | 0.05 | ACB SUS |
| Rectangular Volume 1164: WIDE ANGLE BAF BOTTOM LEDGE ETMX | 1.779 | 5.04E-19 | 0.05 | ACB SUS |
| Polygon Object 1165: acb\_wide-angle-baffle-side\_H1\_ITMx.POB Right | 1.560 | 2.63E-19 | 0.05 | ACB SUS |
| Polygon Object 1166: acb\_wide-angle-baffle-side\_H1\_ITMx.POB Left | 0.461 | 1.13E-19 | 0.05 | ACB SUS |

Table 3 summarizes the displacement noise, m/rtHz @ 100 Hz, caused by re-scattering of wide-angle scattered light from the ETM by each of the major surface groupings.

Table : Displacement Noise caused by Re-scattering of Wide Angle Scattered Light from ETM

|  |  |
| --- | --- |
| **Surface** | **Displacement Noise @ 100 Hz, m/rtHz** |
| spool 7A2 | 2.35E-24 |
| PCal structure | 1.12E-23 |
| BSC chamber walls | 9.91E-24 |
| ITM/ETM SUS structure | 1.97E-26 |
| ARM CAVITY BAF | 7.97E-25 |

The displacement noise spectra caused by re-scattering of the wide angle scattered light from the ETM are shown in Figure 3; the noise meets the SLC requirement.



Figure : Displacement Noise from Wide Angle Scattering by ETM