## Sheet1
OPTIC | ERM-04
DCC#: E1200964 J. Lewis, P. Murphy 10/26/12
All dimensions in mm; all orientation references are relative to the D080116 print (arrow right)
Refer to Q1100083 for the detailed procedure
Measured Thickness
Top | 130.2
Bottom | 130.21
Left | 130.35
Right (↑) | 130.03
Diameter
Front | 340.06
Back | 340.08
Ave Dia | 340.07
Radius | 170.035
The barrel of the optic was rested on three strips of 1" wide Kapton tape directly on the granite plate.
Fiducial elevations
Elevations are relative to the top of the optic (height gauge zeroed on top of optic)
Front and Back are at the extents of the fiducials ~88 mm
Elevation measurements are to the center of the 0.25 wide fiducials
"Leveled/rotated" in Excel, relative to the Front data
|  | Measured | "Leveled" | Radius | Difference
Front (S1) Left |  | 170.07 | 170.095 | 170.035 | 0.06
Front (S1) Right (↑) |  | 170.12 | 170.095 | 170.035 | 0.06
Back (S2) Left |  | 170.28 | 170.305 | 170.035 | 0.27
Back (S2) Right |  | 169.97 | 169.945 | 170.035 | -0.09
Fiducials horizontal within:
Left | 0.21
Right | 0.15