## Corner
Type | BIO | Chassis | Channel | Num | Variable | Description
WFS | 1 | 1 | 1 | 8 | H1.IMC.Wfs_A.Whiten | IMC WFS_A
WFS | 1 | 2 | 1 | 8 | H1.IMC.Wfs_B.Whiten | IMC WFS_B
LS | 1 | 3 | 1 | 2 | H1.LSC.Popair_B.Rf18.Whiten | LSC POPAIR_B
LS | 1 | 3 | 3 | 2 | H1.LSC.Popair_B.Rf90.Whiten | LSC POPAIR_B
LS | 1 | 3 | 5 | 2 | H1.LSC.Reflair_B.Rf27.Whiten | LSC REFLAIR_B
LS | 1 | 3 | 7 | 2 | H1.LSC.Reflair_B.Rf135.Whiten | LSC REFLAIR_B
LS | 1 | 4 | 1 | 2 | H1.LSC.Popair_A.Rf9.Whiten | LSC POPAIR_A
LS | 1 | 4 | 3 | 2 | H1.LSC.Popair_A.Rf45.Whiten | LSC POPAIR_A
LS | 1 | 4 | 5 | 2 | H1.LSC.Reflair_A.Rf9.Whiten | LSC REFLAIR_A
LS | 1 | 4 | 7 | 2 | H1.LSC.Reflair_A.Rf45.Whiten | LSC REFLAIR_A
LS | 1 | 5 | 1 | 2 | H1.LSC.Pop_A.Rf9.Whiten | LSC POP_A
LS | 1 | 5 | 3 | 2 | H1.LSC.Pop_A.Rf45.Whiten | LSC POP_A
LS | 1 | 5 | 5 | 2 | H1.LSC.Refl_A.Rf9.Whiten | LSC REFL_A
LS | 1 | 5 | 7 | 2 | H1.LSC.Refl_A.Rf45.Whiten | LSC REFL_A
WFS | 1 | 6 | 1 | 8 | H1.ASC.Refl_A.Rf9.Whiten | ASC WFS REFL_A
WFS | 2 | 1 | 1 | 8 | H1.ASC.Refl_A.Rf45.Whiten | ASC WFS REFL_A
WFS | 2 | 2 | 1 | 8 | H1.ASC.Refl_B.Rf9.Whiten | ASC WFS REFL_B
WFS | 2 | 3 | 1 | 8 | H1.ASC.Refl_B.Rf45.Whiten | ASC WFS REFL_B
WFS | 2 | 4 | 1 | 8 | H1.ASC.Pop_X.Rf36.Whiten | ASC WFS POP_X /ASC POP_A (in-vac)
QPD | 2 | 5 | 1 | 4 | H1.ASC.Pop_A.Whiten | ASC QPD POP_A (DC for WFS)
QPD | 2 | 5 | 5 | 4 | H1.ASC.Pop_B.Whiten | ASC QPD POP_B (DC for WFS)
WFS | 2 | 6 | 1 | 8 | H1.ASC.Pop_B.Rf45.Whiten | ASC POP_B (in-vac)
QPD | 3 | 1 | 1 | 4 | H1.ASC.Omcr_A.Whiten | ASC QPD OMCR_A
QPD | 3 | 1 | 5 | 4 | H1.ASC.Omcr_B.Whiten | ASC QPD OMCR_B
QPD | 3 | 2 | 1 | 4 | H1.ASC.As_C.Whiten | ASC QPD AS_C
DC | 3 | 2 | 5 | 1 | H1.OMC-Dcpd_A.Whiten | OMC DCPD_A
DC | 3 | 2 | 6 | 1 | H1.OMC-Dcpd_B.Whiten | OMC DCPD_B
PI | 3 | 2 | 7 | 1 | H1.OMC-PI_Dcpd_A.Whiten | OMC PI DCPD_A
PI | 3 | 2 | 8 | 1 | H1.OMC-PI_Dcpd_B.Whiten | OMC PI DCPD_B
WFS | 3 | 3 | 1 | 8 | H1.ASC.As_A.Rf90.Whiten | ASC WFS AS_A
WFS | 3 | 4 | 1 | 8 | H1.ASC.As_A.Rf45.Whiten | ASC WFS AS_A
WFS | 3 | 5 | 1 | 8 | H1.ASC.As_A.Rf36.Whiten | ASC WFS AS_A
WFS | 3 | 6 | 1 | 8 | H1.ASC.As_B.Rf45.Whiten | ASC WFS AS_B
WFS | 4 | 1 | 1 | 8 | H1.ASC.As_B.Rf36.Whiten | ASC WFS AS_B
LS | 4 | 2 | 1 | 2 | H1.LSC.Asair_B.Rf18.Whiten | LSC ASAIR_B
LS | 4 | 2 | 3 | 2 | H1.LSC.Asair_B.Rf90.Whiten | LSC ASAIR_B
LS | 4 | 2 | 5 | 2 | H1.LSC.Asair_A.Rf45.Whiten | LSC ASAIR_A
— | 4 | 2 | 7 | 2 | — | Spare
QPD | 4 | 3 | 1 | 4 | H1.ASC-Omc_A.Whiten | ASC OMC_A
QPD | 4 | 3 | 5 | 8 | H1.ASC-Omc_B.Whiten | ASC OMC_B
WFS | 4 | 4 | 1 | 8 | H1.ASC.As_B.Rf90.Whiten | ASC WFS AS_B
QPD | 4 | 5 | 1 | 4 | H1.IMC.Im4_Trans.Whiten | IMC QPD IM4 transmission
QPD | 4 | 5 | 5 | 4 | H1.PSL.Iss_SecondLoop_Qpd.Whiten | PSL ISS_QPD_A
QPD | 4 | 6 | 1 | 4 | H1.IMC.Mc2_Trans.Whiten | IMC QPD MC2 transmission
BES | 4 | 6 | 5 | 4 | H1.PSL.BES_A.Whiten | PSL bull's eye sensor
WFS | 5 | 1 | 1 | 8 | H1.SQZ.Wfs_A.Whiten | SQZ WFS A
WFS | 5 | 2 | 1 | 8 | H1.SQZ.Wfs_B.Whiten | SQZ WFS B
DC | 5 | 3 | 1 | 1 | H1.SQZ.Fibr.Pd.Whiten | SQZ DC PD
DC | 5 | 3 | 2 | 1 | H1.SQZ.Shg.Trans.Whiten | SQZ DC PD
DC | 5 | 3 | 3 | 1 | H1.SQZ.Laser.Ir.Whiten | SQZ DC PD
DC | 5 | 3 | 4 | 1 | H1.SQZ.Shg.Gr.Whiten | SQZ DC PD
DC | 5 | 3 | 5 | 1 | H1.SQZ.Opo.Trans.Whiten | SQZ DC PD
DC | 5 | 3 | 6 | 1 | H1.SQZ.Opo.Refl.Rejected.Whiten | SQZ DC PD
DC | 5 | 3 | 7 | 1 | H1.SQZ.Fibr.Trans.Whiten | SQZ DC PD
DC | 5 | 3 | 8 | 1 | H1.SQZ.Spare.Pd_B.Whiten | SQZ DC PD
QPD | 5 | 4 | 1 | 4 | H1.JAC.Qpd_A.Whiten | JAC QPD_A
QPD | 5 | 4 | 5 | 4 | H1.JAC.Qpd_B.Whiten | JAC QPD_B
DC | 5 | 5 | 1 | 1 | H1.JAC.Trans_A.Whiten | JAC Trans PD
DC | 5 | 5 | 2 | 1 | H1.JAC.Pwr_A.Whiten | JAC Power PD
DC | 5 | 5 | 3 | 1 | — | Spare
DC | 5 | 5 | 4 | 1 | — | Spare
LS | 5 | 5 | 5 | 2 | H1.Imc.Refl_A.Rf24.Whiten | IMC REFL_A RF
LS | 5 | 5 | 7 | 2 | H1.Jac.Refl_A.Rf23.Whiten | JAC REFL_A RF
— | 5 | 6 | 1 | 8 | — | Spare

## End
Type | BIO | Chassis | Channel | Num | Variable | Description
QPD | 1 | 1 | 1 | 4 | H1.ASC.X.Tr_A.Whiten | ASC QPD Tr_A
QPD | 1 | 1 | 5 | 4 | H1.ASC.X.Tr_B.Whiten | ASC QPD Tr_B
QPD | 1 | 2 | 1 | 4 | H1.ALS.X.Qpd_A.Whiten | ALS QPD_A
QPD | 1 | 2 | 5 | 4 | H1.ALS.X.Qpd_B.Whiten | ALS QPD_B
WFS | 1 | 3 | 1 | 8 | H1.ALS.X.Wfs_A.Whiten | ALS WFS_A
WFS | 1 | 4 | 1 | 8 | H1.ALS.X.Wfs_B.Whiten | ALS WFS_B
— | 1 | 5 | 1 | 8 | — | Spare
— | 1 | 6 | 1 | 8 | — | Spare