Facility Modifications and Preparation Acceptance

Facility Modifications LIGO-E1300450-v6 20 Nov 2013

Vacuum Equipment Modifications at LHO and LLO

Requirements: G1000040-IO Tubes Bidders’ Conference C1002601-SOW LHO Mid/End Vacuum Equipment Installation C1105429-Pilot Test Vacuum Component Bakeout and RGA T070122-Facilities Modifications and Preparations Conceptual Design

Design: D0902635-Annulus Piping Detail D0902636-Shipping Cover Air Purification System D0902687-External Loads at Mid Station Spool D0902724-84.25 inch Flange Flat Faced D0902727-Tie Rod Assembly 1 inch D0902728-Tie Rod Assembly 1 ¼ inch D0902729-Sample 60 inch Vacuum Test Cover D1000188-44 5/8 inch Groove and Slotted Flange C1001339-FDR Drawings ZIP File C1001345-GNB FDR Submittal A16 (Drawing) C1001346-GNB FDR Submittal A17 (Drawing) C1001347-GNB FDR Submittal A18 (Drawing) C1001348-GNB FDR Submittal MCA (Drawing) C1001349-GNB FDR Submittal MCB (Drawing) C1001350-GNB FDR Submittal Mid Station Spool (Drawing) C1001351-GNB FDR Submittal Bellows (Drawing) C1001352-GNB FDR Submittal Misc (Drawing) C1001599-GNB FDR Submittal Septum Plates (Drawing) C1101241-Septum Plate H1,L1 PRC (Drawing) C1101242-Septum Plate H2 PRC (Drawing) D1000245-IO Tubes Corner Station Layout D1003176-aLIGO Installation LHO X (Right) Mid Station Vacuum Equipment Layout D1003177-aLIGO LHO Y (Left) End Station Vacuum Equipment Layout D1003178-aLIGO LHO X (Right) End Station Vacuum Equipment Layout D1003179-aLIGO LHO Corner Station Vacuum Equipment Layout D1003180-aLIGO LLO Corner Station Vacuum Equipment Layout

Material and Fabrication Specifications: E0900402-Specification for SS Plate E0900403-Specification for Vacuum Component Cleaning E0900404-Specification for Vacuum Component Leak Checking E0900405-Specification for SS Flange Floorings E0900406-Specification for SS Rolling and Machining E0900407-Specification for Vacuum Component Bake-Out E0900408-Specification for Welding Inspection E0900409-Specification for Blacklight Inspection E0900410-Vacuum Component List E0900411-Specification for Vacuum Equipment Design and Fabrication E0900428-Specification for Welding Repairs E0900429-Specification for Raw Material Handling E0900430-Specification for Cleanliness Testing E0900431-Specification for O-Ring Installation E0900439-Specification for SS Bellows E1000046-Specification for Viton O-Ring Procurement E1000713-Specification for Piping Design and Material E1000715-Specification for Pipe Cleaning E1000717-Specification for Piping Thermal Insulation E1000718-Specification for Vacuum/Clean Air Piping E1000719-Contamination Control for aLIGO Vacuum Equipment Installation

Inventory Information: NA

Assembly Procedures: NA

Installation Procedures: E1000707-Specification for WA Mid/End VE Installation E1000708-aLIGO WA Corner Station Installation Specification E1000711-aLIGO LA Corner Station VE Installation Specification E1000712-Anchor Bolt Installation E1000716-Component Alignment Procedure

Test rationale-plan-data: Q1300009-aLIGO Spool Component Inspection Reports from GNB Corp.

User interface software: NA

Operation-Maintenance Manual: NA

Troubleshooting Guide: NA

Safety Documentation: C1001600-GNB FDR Submittal Topsfield Analysis

Other: Associated Event GNB FDR Procurement Event ID # FM-107

Facility Modifications Generic Requirements: T080110-Facilities Requirements Matrix T070122-Facilities Modifications and Preparations Conceptual Design C080058-aLIGO Observatory Facility Modification Scope L080058-Review Committee Report on FMP

LIGO Hanford Observatory (LHO aka H)

Ear Bonding/Fiber Pulling Lab Build-out

Design: T080006-Laboratory Layout During Ear Bonding at LASTI T0900474-COC/Monolithic FMP Design Requirements D0902698-LHO Bonding Lab Change Room G0900949-LHO Fiber Pulling Lab Layout

Material and Fabrication Specifications: See Generic Requirements information above

Inventory Information: NA

Assembly Procedures: NA

Installation Procedures: NA

Test rationale-plan-data: NA

User interface software: NA

Operation-Maintenance Manual: NA

Troubleshooting Guide: NA

Safety Documentation: NA

H1 Mezzanine and HVAC Build-Out

Design: M1000060-Building Addition/Modifications for Electronics Spaces D1200028-LIGO H1 Electronics HVAC Plan D1200029-LIGO H1 Electronics Plan and Equipment Schedules D1200030-LIGO H1 Electronics Room Mezzanine Plan D1200031-LIGO H1 Electronics Room Mezzanine Elevations

Material and Fabrication Specifications: See Generic Requirements and Design information above

Inventory Information: NA

Assembly Procedures: NA

Installation Procedures: NA

Test rationale-plan-data: NA

User interface software: NA

Operation-Maintenance Manual: NA

Troubleshooting Guide: NA

Safety Documentation: NA

H2 Electronics Building

Requirements: M1000060-Building Addition/Modifications for Electronics Spaces C1002031-SOW for H2 Building Concrete Pad C1002822-SOW for FM-150b H2 Electronics Building C1104440-SOW for H2 Electronics Building HVAC

Design: D1003016-H2 Electronics Modular Building Plan D1003017-H2 Electronics Modular Building Electrical Plan D1100814-H2 Electronics Building HVAC Plan

Material and Fabrication Specifications: C1104149-Mod 1 Supplemental Agreement Williams Scotsman 75ADV-S109567 E1300874-Design Documentation for H2 Electronics Building

Inventory Information: NA

Assembly Procedures: NA

Installation Procedures: NA

Test rationale-plan-data: NA

User interface software: NA

Operation-Maintenance Manual: NA

Troubleshooting Guide: NA

Safety Documentation: NA

Other: T1100334-Power Dissipation in the H2 Electronics Room

Staging Building Build-Out

Design: D1300733-LHO Staging Building-aLIGO Facility Modification Plan

Material and Fabrication Specifications: D080563-LHO Staging Building Modifications-Drawing Set

Inventory Information: NA

Assembly Procedures: NA

Installation Procedures: NA

Test rationale-plan-data: NA

User interface software: NA

Operation-Maintenance Manual: E1300435-LHO Staging Facility Operation and Maintenance Manual 2009 E1300466-LHO Staging Building Cerus P-Series Variable Frequency Drive User Manual

Troubleshooting Guide: See Operation-Maintenance Manual above

Safety Documentation: NA

Vacuum Prep Warehouse (VPW) Build-out

Requirements: See Generic Requirements information above

Design: D0810022-LHO Warehouse Modifications Architectural Plan D0810023-LHO Warehouse Modifications Reflected Ceiling Plan D0810024-LHO Warehouse Modifications Electrical Plan D0810025-LHO Warehouse Modifications Mechanical HVAC Plan D0810026-LHO Warehouse Modifications Curtain Wall and HVAC Sections D0810027-LHO Warehouse Modifications Mechanical Schedules

Material and Fabrication Specifications: E1300882-LHO VPW Drawings and Specifications

Inventory Information: NA

Assembly Procedures: NA

Installation Procedures: NA

Test rationale-plan-data: NA

User interface software: NA

Operation-Maintenance Manual: NA

Troubleshooting Guide: NA

Safety Documentation: NA

LIGO Livingston Observatory (LLO aka L)

Electronics and HVAC Build-Out

Design: M1000060-Building Addition/Modifications for Electronics Spaces

Material and Fabrication Specifications: NA

Inventory Information: NA

Assembly Procedures: NA

Installation Procedures: NA

Test rationale-plan-data: NA

User interface software: NA

Operation-Maintenance Manual: NA

Troubleshooting Guide:NA

Safety Documentation: NA

Staging Building Build-Out

Design: D1300515-LLO Staging Building a LIGO Layout

Material and Fabrication Specifications: NA

Inventory Information: NA

Assembly Procedures: NA

Installation Procedures: NA

Test rationale-plan-data: NA

User interface software: NA

Operation-Maintenance Manual: NA

Troubleshooting Guide: NA

Safety Documentation: NA

VPW and Annex Build-Out

Design: D1300516-LLO VPW Floor Plan Elevation Cross Section-aLIGO

Material and Fabrication Specifications: D1300517-LLO VPW Electrical Layout and Specs-aLIGO D1300518-LLO VPW HVAC Layout and Specs-aLIGO D1300519-LLO VPW Hat Channel-aLIGO

Inventory Information: NA

Assembly Procedures: NA

Installation Procedures: NA

Test rationale-plan-data: NA

User interface software: NA

Operation-Maintenance Manual: NA

Troubleshooting Guide: NA

Safety Documentation: NA