## H1 - LHO
H1 - LHO
| RH ELEMENT |  |  | RH ASSEMBLY |  |  |  | CABLE ASSEMBLY [ UPPER/LOWER ] CHILD OF D1001517-VX |  |  | ASSEMBLED RESISTANCE (W) THRU CHILD CABLE, AVE. |  | PARENT UHV CABLE ASSY | RESISTANCE at AIR-SIDE FLANGE THRU UHV SEI CABLE, AVE. (W) |  | INS LOCATION |  | RELATED TEST RESULTS | NOTES
| SN | glass PN | W | DWG NO | REV | SN | BOM | DWG NO | REV | SN | ELEMENT + CABLE | RTD |  | ELEMENT + CABLE | RTD | PHYSICAL LOC. | PARENT ASSY
Production Lot 1 / "Batch 1" | 1 | D1002538-v3 | 35.8 | D1001838 | v5 | 1 | E1000295-v7 | D1001518 | v6 | 1 |  |  | D1001517-V5 -001 | 39.6 | { null } | BSC8 ITMy --> BSC1 | D0901346-002 | T1300996 |  | Must be replaced when the ITM is replaced - see Bug255
| 2 |  | 35.8 | D1001895 | v5 | 1 |  | D1001519 | v6 | 1 |  |  |  | 39.6 | 108.8 | BSC8 ITMy --> BSC1 |  |  |  | Must be replaced when the ITM is replaced - see Bug255
| 3 |  | 35.4 | D1001838 | v5 | 3 | E1000295-v7 | D1001518 | v6 | 3 | 36.7 | { 0 } | D1001517-V5 -003 |  |  | BSC6 ETMy --> BSC10 | D0901346-004 | T1200465-v2 |  | replaced when the ETM is replaced - see Bug256
| 4 |  | 36.5 | D1001895 | v5 | 3 |  | D1001519 | v6 | 3 | 36.7 | { 0 } |  |  |  | BSC6 ETMy --> BSC10 |  |  |  | replaced when the ETM is replaced - see Bug256
|  |  |  | D1001838 | v5 | 4 | E1000295-v7 | D1001518 | v6 | 4 | [5 empty] | SPARE |  |  |  | IN STORAGE, OSB LAB @ LHO, 3 SEPARATE KITS: UPPER, LOWER, CABLES
|  |  |  | D1001895 | v5 | 4 |  | D1001519 | v6 | 4 | [5 empty] | SPARE |  |  |  | Upper RH Assy cannibalized for re-using macor retainers in ITMy Assy D1001838-v7-111
Prod Lots 2, 3 / "Batch 2" | 2 | D1002538-v3 | 42 | D1001838 | v6 | 2 | E1000295-v8 | D1001518 | v7 | S1106581 | 42.1 |  | D1001517-V6-612 | 43 |  | pilot BSC3 ITMx to be 3rd IFO ITM-Y | D0901346-005 3rd IFO ITM-Y |  | parent cable assy split | D1001679-v6-005 (shield); no RTD by design
| 108 | D1002538-v4 | 43 | D1001895 | v6 | 108 |  | D1001519 | v8 | S1106593 | 42.4 | { 0 } |  | 43 | 0 |  |  |  |  | D1001680-v6-001 (shield); RTD Pt leads broken just prior to installation
| 14 | D1002538-v3 | 42+/-0.7 | D1001838 | v6 | 14 | E1000295-v8 | D1001518 | v7 | S1106578 | 42.5 |  | D1001517-V6 -101 |  |  | BSC9 ETMx | D0901346-003 |  |  | D1001679-v6-002 (shield); parent cable assy: D1001517-v6-101
| 6 |  | 42+/-0.7 | D1001895 | v6 | 6 |  | D1001519 | v8 | S1106596 | 41.3 | 110.5 |  |  |  | BSC9 ETMx |  |  |  | D1001680-v6-002 (shield); parent cable assy: D1001517-v6-101
Prod Lot 3 / "Batch 3" | 112 | D1002538-v4 | 43 | D1001838 | v7 | 112 | E1300792-v1 | D1001518 | v6 | 3 | 43.2 | { 0 } | D1001517-V5 -003 |  |  | replacemt BSC10 ETMy | D0901346-004 |  |  | see "Bug256": resolved 10-Dec-2013
| 119 |  | 45 | D1001895 | v8 | 119 |  | D1001519 | v6 | 3 | 44.6 | { 0 } |  |  |  | replacemt BSC10 ETMy
| 111 | D1002538-v4 | 45 | D1001838 | v7 | 111 | E1300792-v1 | D1001518 | v7 | S1106579 | 44.8 | { 0 } | D1001517-S1106616 |  |  | op's BSC3 ITMx | D0901346-00X |  | using Shield D1001679-v6-001 & MidSpan Spring assy D1300954-v1-004
| 205 |  | 41 | D1001895 | v8 | 205 |  | D1001519 | v6 | S1106604 | 43.4 | { 0 } | [6 empty] | temp sensor broke during INS - uses Shield D1001680-v6-003. Replaced glass former #201 with #205.
| 201 |  | 45 |  |  | 201 |  |  |  |  | 45.6
| 117 | D1002538-v4 | 45 | D1001838 | v7 | 117 | E1300792-v1 | D1001518 | v6 | S1106580 | 41.5 | { 0 } | D1001517-S1106614 | 39.6 | { null } | replacemt BSC1 ITMy | D0901346-00X |  |  | see "Bug255" ring heater element SN-210 is to be reserved as a spare for H1. Macor and former replaced SN#203
| 203 |  | 40 | D1001895 | v8 | 203 |  | D1001519 | v6 | S1106597 | 43.3 | 109.5 |  | 39.6 | 108.8
| 210 |  | 44 |  |  | 210 |  |  |  |  | 44.9
| 1 | D1002538-v3 | 41 | D1001838 | v6 |  | E1000295-v8 | [8 empty] | ITMx |  |  |  | D1002538-v3 SN-001 broken during final assembly. See DEFECT-TCS-5123
| 9 | D1002538-v3 | 42 | D1001838 | v6 |  | E1000295-v8 | [8 empty] | ETMx |  |  |  | D1002538-v3 SN-009 broken during final assembly. See DEFECT-TCS-5125
| 16 | D1002538-v3 | 43 | D1001895 | v6 |  | E1000295-v8 | [8 empty] | ETMy |  |  |  | D1002538-v3 SN-016 broken during final assembly. See DEFECT-TCS-5128
| 110 | D1002538-v4 | 42 | D1001895 | v6 | 110 | E1000295-v8 | [8 empty] | ETMx |  |  |  | broken in (shield) D1001680-v6-003; DEFECT-TCS-5209; shipped to UF for broken uniformity meas.
¦
"ELEMENT" IS A WORD USED TO DESCRIBE THE COMBINED GLASS FORMER AND NiCr WIRE COIL, WHICH IS PUT THRU VACUUM UNIFORMITY TESTING AT UF PRIOR TO FINAL ASSEMBLY

## L1 - LLO
L1 - LHO
| RH ELEMENT |  |  | RH ASSEMBLY |  |  |  | CABLE ASSEMBLY [ UPPER/LOWER ] CHILD OF D1001517-VX |  |  | ASSEMBLED RESISTANCE (W) THRU CHILD CABLE, AVE. |  | PARENT UHV CABLE ASSY | RESISTANCE at AIR-SIDE FLANGE THRU UHV SEI CABLE, AVE. (W) |  | INS LOCATION |  | RELATED TEST RESULTS | NOTES
| SN | glass PN | W +/-0.7 | DWG NO | REV | SN | BOM | DWG NO | REV | SN | ELEMENT + CABLE | RTD |  | ELEMENT + CABLE | RTD | PHYSICAL LOC. | PARENT ASSY
Production Lot 2 / "Batch 1" | 20 | D1002538-v3 | 41.6 | D1001838 | v6 | 2 | E1000295-v8 | D1001518 | v7 | S1106591 | 41.8 |  | D1001517-V6 -002 | 49.7 |  | BSC3 ITMx | D0901346-011 |  | No RTD, by design
| 28 |  | 44.5 | D1001895 | v6 | 2 |  | D1001519 | v8 | S110660x | 43.8 | { null } |  | 52.4 | { null } | BSC3 ITMx |  |  | RTD JOINT BROKEN
| 23 |  | 42.5 | D1001838 | v6 | 1 | E1000295-v8 | D1001518 | v7 | S1106589 | 42.7 |  | D1001517-V6 -001 | 49.6 |  | BSC1 ITMy | D0901346-012 | aLog-8992 | No RTD, by design
| 31 |  | 44.8 | D1001895 | v6 | 1 |  | D1001519 | v8 | S110660x | 44.1 | 109 |  | 53 | 116.1 | BSC1 ITMy |  |  | MEASURED RTD RESISTANCE
| 26 |  | 40.7 | D1001838 | v6 | 4 | E1000295-v8 | D1001518 | v7 | S1106590 | 44.3 |  | D1001517-V6 -004 | 44.3 |  | BSC4 ETMx | D0901346-014 |  | No RTD, by design
| 32 |  | 43.8 | D1001895 | v7 | 4 |  | D1001519 | v8 | S1106606 | 45.7 | 109.7 |  | 45.7 | 109.7 | BSC4 ETMx |  |  | MEASURED RTD RESISTANCE
| 29 |  | 43.7 | D1001838 | v6 | 3 | E1000295-v8 | D1001518 | v7 | S1106587 | 43.2 |  | D1001517-V6 -003 | 42.3 |  | BSC5 ETMy | D0901346-013 |  | No RTD, by design
| 30 |  | 39.5 | D1001895 | v7 | 3 |  | D1001519 | v8 | S1106602 | 39.2 | 109 |  | 45.2 | 110.7 | BSC5 ETMy |  |  | MEASURED RTD RESISTANCE
39.2
| 22 |  | 41.4 | D1001838 | v6 | 5 | E1000295-v8 | [8 empty] | SPARE
| 27 |  | 44.2 | D1001895 | v6 | 5 | [9 empty] | SPARE
¦
"ELEMENT" IS A WORD USED TO DESCRIBE THE COMBINED GLASS FORMER AND NiCr WIRE COIL, WHICH IS PUT THRU VACUUM UNIFORMITY TESTING AT UF PRIOR TO FINAL ASSEMBLY

## 3RD IFO
3RD IFO
| RH ELEMENT |  |  | RH ASSEMBLY |  |  |  | CABLE ASSEMBLY [ UPPER/LOWER ] CHILD OF D1001517-VX |  |  | ASSEMBLED RESISTANCE (W) THRU CHILD CABLE, AVE. |  | PARENT UHV CABLE ASSY | RESISTANCE at AIR-SIDE FLANGE THRU UHV SEI CABLE, AVE. (W) |  | INS LOCATION |  | RELATED TEST RESULTS | NOTES
"Batch 3" | SN | glass PN | W | DWG NO | REV | SN | BOM | DWG NO | REV | SN | ELEMENT + CABLE | RTD |  | ELEMENT + CABLE | RTD | PHYSICAL LOC. | PARENT ASSY
Lot 3 | 115 | D1002538-v4 | 41 | D1001838 | v7 | 115 | E1300792-v1 | [9 empty] | BSC3 ITMx
| 204 |  | 42 | D1001895 | v8 | 204 | [10 empty] | BSC3 ITMx
| 203 |  | 45 | D1001838 | v7 | 203 | E1300792-v1 | [9 empty] | BSC1 ITMy |  |  | for H1 ITMy
| 210 |  | 44 | D1001895 | v8 | 210 | [10 empty] | BSC1 ITMy |  |  | for H1 ITMy
[ Lot #2 ] | 2 | D1002538-v3 | 42 | D1001838 | v6 | 2 | E1000295-v8 | D1001518 | v7 | S1106581 | 42.1 |  | D1001517-V6-612 | 43 |  | H1 BSC3 ITMx assy D0901346-005 --> 3rd IFO Storage for ITM-Y |  |  | parent cable assy split | D1001679-v6-005 (shield); no RTD by design
| 108 | D1002538-v4 | 43 | D1001895 | v6 | 108 |  | D1001519 | v8 | S1106593 | 42.4 | { 0 } |  | 43 | 0 |  |  |  |  | D1001680-v6-001 (shield); RTD Pt leads broken just prior to installation
Lot 3 | 114 | D1002538-v4 | 43 | D1001838 | v7 | 114 | E1300792-v1 | [9 empty] | BSC4 ETMx
| 118 |  | 43 | D1001895 | v8 | 118 | [10 empty] | BSC4 ETMx
[ Lot #2 ] | 109 | D1002538-v3 | 45 | D1001838 | v7 | 109 | E1300792-v1 | [9 empty] | BSC5 ETMy
| 15 | D1002538-v4 | 42 | D1001895 | v8 | 15 | [10 empty] | BSC5 ETMy
Lot 3 | 203 | D1002538-v4 |  | D1001838 | v7 |  | E1300792-v1 | [8 empty] | H1-ITMY, lower | SPARE |  | used for H1 - see tab | The coils of SN203 have been un-wound from both ends, during C&B
| 205 |  |  | D1001895 | v8 | [10 empty] | H1-ITMX, lower | SPARE
¦
"ELEMENT" IS A WORD USED TO DESCRIBE THE COMBINED GLASS FORMER AND NiCr WIRE COIL, WHICH IS PUT THRU VACUUM UNIFORMITY TESTING AT UF PRIOR TO FINAL ASSEMBLY

## batch3 notes_U-Fl
| Batch 3 SN's | ( mm ) |  |  | Status
|  | width | height | diameter
1 | SN-111 | 367.3 | 179.3 | 5.56 | Tested, Fits | 111 | 111
2 | SN-112 | 366.3 | 178.3 | 5.57 | Tested, Fits | 115 | 115
| SN-113 | 367.3 | 180.3 | 5.59 | broken
3 | SN-114 | 368.3 | 178.3 | 5.56 | Tested, Fits | 203 | 203
4 | SN-115 | 366.3 | 180.3 | 5.57 | Tested, Fits | 210 | 210
| SN-116 | 367.3 | 179.3 | 5.57 | broken
5 | SN-117 | 366.3 | 179.3 | 5.58 | Tested, Fits | 114 | 117
12 | SN-118 | 366.3 | 180.3 | 5.57 | Tested, Fits (only using midspan spring) | 117 | 205
6 | SN-119 | 368.3 | 179.3 | 5.57 | Tested, Fits
| SN-120 | 366.3 | 180.3 | 5.57 | broken | 112 | 112
7 | SN-201 | 364.3 | 180.3 | 5.585 | Tested, Fits | 201 | 201
8 | SN-204 | 365.8 | 179.8 | 5.58 | Tested, Fits
9 | SN-205 | 365.8 | 180.3 | 5.585 | Tested, Fits | 204 | 118
| SN-206 | 367.3 | 179.3 | 5.57 | Broken in preperation for configuration 4, seemed to break more easily than others | 205 | 204
| SN-207 | N/A | N/A | N/A | Broken in shipping
10 | SN-210 | 365.8 | 180.3 | 5.58 | Tested, Fits | 118 | 114
11 | SN-203 | 364.3 | 179.8 | 5.58 | Tested, Fits | 119 | 119