## Slide 1: Status of Advanced LIGO
Lisa Barsotti
MIT-LIGO Laboratory
On behalf of the
LIGO Scientific Collaboration
Amaldi Conference – July 8, 2013
LIGO-G1300708

## Slide 2: Hanford (WA) & Livingston (LA), 4 km arms

## Slide 3: How LIGO looked like (2001-2010)
LASER
Simple Pendulum
Up to 20 W of laser power

## Slide 4: Advanced LIGO in a Nut Shell
LASER
4
Up to 125 W of laser power
Larger mirrors
More laser power
Less seismic noise
Better optical layout

## Slide 5: Advanced LIGO
Albert Einstein Institute

## Slide 6: “EVERYTHING is better in Advanced LIGO!”
OUTPUT MODE CLEANER
ELECTRONICS
TRANSMISSION MONITOR
INPUT OPTICS

## Slide 7: GOAL: reach a scientifically interesting sensitivity as soon as possible
http://arxiv.org/abs/1304.0670
TENTATIVE TIMELINE:
Complete integration by 2014
(interferometer “locked”)
“Early” Science Run in 2015
(~60 Mpc)
Within a factor of 2 of design sensitivity by 2016 (~100 Mpc)

## Slide 8: Detection Rates
Neutron Star Binaries:
  Initial LIGO: ~15 Mpc  rate ~1/50years
  Advanced LIGO: ~ 200 Mpc “Realistic rate” ~ 40/year
Class. Quant. Grav. 27, 173001 (2010)
http://arxiv.org/abs/1304.0670
Notes: P0900125-v8

## Slide 9: It took longer the first time..
LIGO: First lock in 2001…
Fundamental Noises
Design
Technical Noise!
2002
2003
2004
2005
2007

## Slide 10: …but this time will be different!
Advanced LIGO Installation and Commissioning Strategy:
Extensive “standalone” testing before installation
Installation of “new” things as soon as possible
Configurations of increased complexity
Parallel effort between Hanford and Livingston
Better design and engineering informed by LIGO,
more experienced staff
Results are already visible:
It took 4 months to lock the input mode cleaner cavity in LIGO,
it took less than 1 week in Advanced LIGO (the first time at Livingston),
more like 1 day at Hanford

## Slide 11: “Half Interferometer” in progress @ Hanford (now one arm, in the fall the other)
LHO
Full test of the new
“Arm Length Stabilization” system: auxiliary green laser to stabilize the arm cavity length

## Slide 12: Seismic isolation performance
1000x
iLIGO
aLIGO target
aLIGO so far
LHO

## Slide 13: Cavity motion in good agreement with model (Jeff Kissel, MIT)
LHO
Frequency Noise

## Slide 14: “Arm Length Stabilization” System
C3: Tuesday, 17:18 - 17:36 Adam Mullavey (LIGO Livingston) The Arm Length Stabilization System for Advanced LIGO Lock Acquisition
LHO
in collaboration with the Australian National University
MAIN LASER
Auxiliary LASER


Beat Signal
Green light follows the arm cavity
Beat signal gives us the ability of controlling the main laser frequency relative to the green laser frequency
Green light won’t be used in “science mode”
but it will help us to bring the interferometer on
its working point reliably

## Slide 15: “Arm Length Stabilization” System
Frequency fluctuations of main laser light is already “good enough”
(1/10 of the cavity linewidth), “noise hunting” still in progress
GOAL: 8 Hz RMS
LHO

## Slide 16: Corner Interferometer in progress @ Livingston (Dual Recycled Michelson Interferometer)
LLO
Lock of the central part of the interferometer
(“everything except the arms”)
First configuration with
interesting sensitivity

## Slide 17: The Input Mode Cleaner
LLO
C3: Tuesday, 17:00 - 17:18 Chris Mueller (University of Florida) Characterization of the Input Optics for the Advanced LIGO Detectors
To be updated with new plot from Chris

## Slide 18: Dual Recycled Michelson Interferometer (Almost) everything installed, integration started
LLO
Output mode cleaner installation
(more pictures from Zach)
RF Wave Front Sensors
(for in vacuum use)
Small suspensions for steering the beam into the OMC (ANU)

## Slide 19: DRMI Noise Budget Model (Anamaria Effler, LSU-LIGO Livingston)
LLO

## Slide 20: Bumps in the road, but no showstoppers

## Slide 21: Outlook
Within a couple of months:
    each “type” of chamber will have been populated at least at one of the two sites
    main steps of lock acquisition sequence will have been tested full locking in progress at the Caltech 40m prototype
“Second-site” testing to follow
(DRMI @ LHO, Arms @ LLO)
Full Interferometer Lock:
    Starting February 2014 @ LLO
    Starting May 2014 @ LHO
On track for Advanced LIGO “acceptance” target
    “2 hours of lock”, end of 2014

## Slide 22: The Message
Main goal of Advanced LIGO is to reach a scientifically interesting sensitivity as soon as possible (~ 60 Mpc@2015, ~100 Mpc@2016)
Installation and commissioning strategy designed with this goal in mind
So far so good!

## Slide 23: By the way, is Advanced LIGO the best that we can do?
SEISMIC
WALL
aLIGO design sensitivity
C3: Tuesday, 17:54 - 18:12 Sheila Dwyer
Quantum noise reduction using squeezed states in LIGO

## Slide 24: Spare slides

## Slide 25: What we call “commissioning”: from installation to science data
Noise
THERMAL EFFECTS
OPTICS QUALITY
HIGH POWER
ALIGNMENT
Output
Mode-Cleaner
STRAY LIGHT
Understand and fix an entanglement of noise coupling mechanisms
Example from Enhanced LIGO