## Overview
LLO SUS INSTALL RACK BUILD OUT
Inventory of SUS electronics needed per IFO
This workbook contains spreadsheets for the build out of all LLO SUS electronics. The Summary below details the amount of spares we have on hand. The "Not installed electronics" include an inventory of spares, electronics not yet tested, and ones in need of repair. Electronics that have completed testing and installed in rack are listed in the rack drawing page in there location. These rack layouts are in the DCC under the S# for each rack. |  |  | Count of Row
|  | updated 3-May-2013 | Row Labels | Total
SUS ELECTRONICS SPARES SUMMARY: |  |  | 8 Channel OPLEV whitening | 5
TTOP | D1001242 | 6 SPARES, including test rack | AA (2xDB15, 5xDB9) | 2
TACQ | D090006 | 8 SPARES, including test rack | AA (2xDB9, 2xDB25) | 34
QUAD TOP | D1001782 | 5 SPARES | AA (8xDB9) | 12
UIM | D0902668 | 1 spare | AI (2 x DB15, 1 x DB9) | 3
PUM | D1100303 | 3 SPARES | AI (4xDB9) | 18
OMC | D1100304 | 1 spare | BI (DB9 & DB37) | 4
TM | D1100301 | 1 spare | BI (8xDB9) | 5
AI 4xDB9 | D1000305 | 3 spares, including test rack | BI (DB9, DB25) | 6
AI DB9;DB15 | D1100815 | 1 spare | BO (8xDB9) | 5
AA 2xDB15;5xDB9 | D1100809 | 2 spares | BO (DB9 & DB37) | 4
AA 2xDB9; 2xDB25 | D1000721 | 1 spare | BO (DB9, DB25) | 6
AA (8xDB9) | D0902783 | 2 spares, including test rack | HAM-A Coil Driver | 4
BI 8xDB9 | D1001726 | 1 spare | IO Ext Chassis | 13
BO 8xDB9 | D1002593 | 1 spare | Laser Power Marshal Chassis | 1
BI 4xDB9 ; 2xDB37 | D1001269 | 0 spare | OMC | 2
BO 4xDB9 ; 2xDB37 | D1001270 | 0 spare | PUM Driver | 4
BI (DB9, DB25) | D1000726 | 1 spare, including test rack | Quad Top Driver | 12
BO (DB9, DB25) | D1000725 | 1 spare, including test rack | Sat Amp | 65
Sat Amps | D0901284 | 5 spares (plus 5 pre-production) | Shelf for OpLev Lasers | 2
|  |  | TM Top Driver | 4
|  |  | Triple Acq | 19
|  |  | Triple top | 16
|  |  | UIM Driver | 4
|  |  | Grand Total | 250

## R1
SUS FIELD RACK S1200749 L1-SUS-R1 HAM2 D1200879 | Chassis Type | D# | S# | NOTES
42 | Sat Amp | D0901284 | S1000858 |  | Count of Chassis Type
41 | Sat Amp | D0901284 | S1000452 |  | Row Labels | Total
40 |  |  |  |  | 8 Channel OPLEV whitening | 1
39 |  |  |  |  | Sat Amp | 18
38 | Sat Amp | D0901284 | S1000322 |  | Grand Total | 19
37 | Sat Amp | D0901284 | S1000455
36 | Sat Amp | D0901284 | S1000475
35 | Sat Amp | D0901284 | S1000482
34
33 | Sat Amp | D0901284 | S1000453
32 | Sat Amp | D0901284 | S1000464
31 | Sat Amp | D0901284 | S1000323
30 | Sat Amp | D0901284 | S1000468
29 | Sat Amp | D0901284 | S1000480
28 | Sat Amp | D0901284 | S1000331
27 | Sat Amp | D0901284 | S1000465
26 | Sat Amp | D0901284 | S1000476
25
24 | Sat Amp | D0901284 | S1000478
23 | Sat Amp | D0901284 | S1000333
22 | Sat Amp | D0901284 | S1000859
21 | Sat Amp | D0901284 | S1000319
20 | 8 Channel OPLEV whitening | D1100013 | S1101545
19
18
17
16
15
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## R2
SUS FIELD RACK S1200750 L1-SUS-R2 HAM3 / BSC2 D1200880 | Chassis Type | D# | S# | NOTES
42 | Sat Amp | D0901284 | S1000324 | BS Top 1 | Count of Chassis Type
41 | Sat Amp | D0901284 | S1000467 | BS Top 2 | Row Labels | Total
40 | Sat Amp | D0901284 | S1000469 | BS Top 3 | 8 Channel OPLEV whitening | 1
39 |  |  |  |  | Sat Amp | 10
38 |  |  |  |  | Grand Total | 11
37 | Sat Amp | D0901284 | S1000339
36 | Sat Amp | D0901284 | S1000466
35 | Sat Amp | D0901284 | S1000472
34 | Sat Amp | D0901284 | S1000471
33
32 | Sat Amp | D0901284 | S1000483
31 | Sat Amp | D0901284 | S1000332
30 | Sat Amp | D0901284 | S1000458
29
28
27 | 8 Channel OPLEV whitening | D1100013 | S1101546
26
25
24
23
22
21
20
19
18
17
16
15
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## R3
SUS FIELD RACK S1202300 L1-SUS-R3 HAM4 D1200883 | Chassis Type | D# | S# | NOTES
42 | Sat Amp | D0901284 | S1000857 |  | Count of Chassis Type
41 | Sat Amp | D0901284 | S1000862 |  | Row Labels | Total
40 | Sat Amp | D0901284 | S1000462 |  | Sat Amp | 4
39 | Sat Amp | D0901284 | S1000470 |  | 8 Channel OPLEV whitening | 1
38 |  |  |  |  | Grand Total | 5
37
36
35
34
33
32
31
30
29
28
27
26
25
24
23
22
21
20
19 | 8 Channel OPLEV whitening | D1100013
18
17
16
15
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## R4
SUS FIELD RACK S1202995 L1-SUS-R4 HAM5/6 | Chassis Type | D# | S# | NOTES
42 | Sat Amp | D0901284 | S1000853 |  | Count of Chassis Type
41 | Sat Amp | D0901284 | S1000856 |  | Row Labels | Total
40 | Sat Amp | D0901284 | S1000327 |  | Sat Amp | 9
39 | Sat Amp | D0901284 | S1000335 |  | Grand Total | 9
38 | Sat Amp | D0901284 | S1000479
37 | Sat Amp | D0901284 | S1000864
36 | Sat Amp | D0901284 | S1000342
35 | Sat Amp | D0901284 | S1000474
34 | Sat Amp | D0901284 | S1000451
33
32
31
30
29
28
27
26
25
24
23
22
21
20
19
18
17
16
15
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## R5
SUS FIELD RACK S1202996 L1-SUS-R5 ITMY | Chassis Type | D# | S# | NOTES
42 | Sat Amp | D0901284 | S1000320 |  | Count of Chassis Type
41 | Sat Amp | D0901284 | S1000459 |  | Row Labels | Total
40 | Sat Amp | D0901284 | S1000457 |  | Sat Amp | 5
39 | Sat Amp | D0901284 | S1000473 |  | 8 Channel OPLEV whitening | 1
38 | Sat Amp | D0901284 | S1000854 |  | Grand Total | 6
37
36
35
34
33
32
31
30
29
28
27
26
25
24
23
22
21
20
19 | 8 Channel OPLEV whitening | D1100013 | S1101544
18
17
16
15
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## R6
SUS FIELD RACK S1202997 L1-SUS-R6 ITMX | Chassis Type | D# | S# | NOTES
42 | Sat Amp | D0901284 | S1000330 |  | Count of Chassis Type
41 | Sat Amp | D0901284 | S1000851 |  | Row Labels | Total
40 | Sat Amp | D0901284 | S1000454 |  | Sat Amp | 5
39 | Sat Amp | D0901284 | S1000855 |  | 8 Channel OPLEV whitening | 1
38 | Sat Amp | D0901284 | S1000481 |  | Grand Total | 6
37
36
35
34
33
32
31
30
29
28
27
26
25
24
23
22
21
20
19 | 8 Channel OPLEV whitening | D1100013 | S1101546
18
17
16
15
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## C1
HAM3-4 RACK S1104062 L1-SUS-C1 D1200856 | Chassis Type | D# | S# | NOTES
42 |  |  |  |  | Count of Chassis Type
41 | Triple top | D1001242 | S1000260 | MC2_M1(top) | Row Labels | Total
40 | Triple top | D1001242 | S1000264 | MC2_M1/PR2_M1(top) | AA (8xDB9) | 2
39 | Triple top | D1001242 | S1000721 | PR2_M1(top) | AI (4xDB9) | 3
38 |  |  |  |  | Triple Acq | 6
37 | Triple top | D1001242 | S1000722 | SR2_M1(top) | Triple top | 5
36 | Triple top | D1001242 | S1000273 | SR2_M1(top) | Grand Total | 16
35
34 | AA (8xDB9) | D0902783 | S1103954 | to i/o L1-SUS-C2-27-ADC0
33 | AA (8xDB9) | D0902783 | S1100327 | to i/o L1-SUS-C2-27-ADC1
32
31 | AI (4xDB9) | D1000305 | S1105314 | from i/o L1-SUS-C2-28DAC0/1
30 | AI (4xDB9) | D1000305 | S1001198 | from i/o L1-SUS-C2-28DAC2/3
29
28 | Triple Acq | D090006 | S1000347 | MC2_M2(middle)
27 | Triple Acq | D090006 | S1000348 | MC2_M3(bottom)
26 | Triple Acq | D090006 | S1000349 | PR2_M2(middle)
25
24 | AI (4xDB9) | D1000305 | S1101815 | from i/o L1-SUS-C2-28DAC4/5
23
22 | Triple Acq | D090006 | S1000350 | PR2_M3(bottom)
21 | Triple Acq | D090006 | S1001187 | SR2_M2(middle)
20 | Triple Acq | D090006 | S1001188 | SR2_M3(bottom)
19
18 | BO (DB9, DB25) | D1000725 | S1101781
17 | BI (DB9, DB25) | D1000726 | S1101805
16 | BO (DB9, DB25) | D1000725 | S1101782
15 | BI (DB9, DB25) | D1000726 | S1101802
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## C2
HAM3-4 RACK S1104356 L1-SUS-C2 D1200859 | Chassis Type | D# | S# | NOTES
42 |  |  |  |  | Count of Chassis Type
41 | AA (2xDB9, 2xDB25) | D1000721 | S1105129 |  | Row Labels | Total
40 | AA (2xDB9, 2xDB25) | D1000721 | S1105149 |  | AA (2xDB9, 2xDB25) | 6
39 |  |  |  |  | IO Ext Chassis | 2
38 | AA (2xDB9, 2xDB25) | D1000721 | S1105148 |  | Grand Total | 8
37 | AA (2xDB9, 2xDB25) | D1000721 | S1105147
36
35 | AA (2xDB9, 2xDB25) | D1000721 | S1105146
34 | AA (2xDB9, 2xDB25) | D1000721 | S1105145
33
32 | IO Ext Chassis | D1001715 | S1001141
31
30
29
28
27 | IO Ext Chassis | D1001715 | S1001140
26
25
24
23
22
21
20
19
18
17
16
15
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## C3
HAM2 RACK S1104357 L1-SUS-C3 D1200864 | Chassis Type | D# | S# | NOTES
42 |  |  |  |  | Count of Chassis Type
41 | AA (2xDB9, 2xDB25) | D1000721 | S1105265 |  | Row Labels | Total
40 | AA (2xDB9, 2xDB25) | D1000721 | S1105289 |  | AA (8xDB9) | 1
39 |  |  |  |  | BI (8xDB9) | 2
38 | AA (2xDB9, 2xDB25) | D1000721 | S1105290 |  | BI (DB9, DB25) | 2
37 | AA (2xDB9, 2xDB25) | D1000721 | S1105291 |  | BO (8xDB9) | 2
36 |  |  |  |  | BO (DB9, DB25) | 2
35 | AA (2xDB9, 2xDB25) | D1000721 | S1105292 |  | IO Ext Chassis | 3
34 | AA (2xDB9, 2xDB25) | D1000721 | S1105293 |  | AA (2xDB9, 2xDB25)2 | 7
33 |  |  |  |  | Grand Total | 19
32 | AA (2xDB9, 2xDB25) | D1000721 | S1105294
31 | AA (8xDB9) | D0902783 | S1100335
30
29
28
27 | IO Ext Chassis | D1001715 | S1103891
26
25
24
23 | IO Ext Chassis | D1001715 | S1001133
22
21
20
19 | IO Ext Chassis | D1001715 | S1001139
18
17
16
15
14 | BO (DB9, DB25) | D1000725 | S1104838
13 | BI (DB9, DB25) | D1000726 | S1104460
12 | BO (DB9, DB25) | D1000725 | S1104841
11 | BI (DB9, DB25) | D1000726 | S1104457
10 | BO (8xDB9) | D1002593 | S1101772
9 | BI (8xDB9) | D1001726 | S1101283
8
7 | BO (8xDB9) | D1002593 | S1101773
6 | BI (8xDB9) | D1001726 | S1101315
5
4
3
2
1

## C4
HAM2 RACK S1104358 L1-SUS-C4 D1200867 | Chassis Type | D# | S# | Notes:
42 |  |  |  |  | Count of Chassis Type
41 | Triple top | D1001242 | S1000253 |  | Row Labels | Total
40 | Triple top | D1001242 | S1000261 |  | AA (8xDB9) | 3
39 | Triple top | D1001242 | S1000262 |  | AI (4xDB9) | 5
38 |  |  |  |  | HAM-A Coil Driver | 4
37 | Triple top | D1001242 | S1000257 |  | Triple Acq | 8
36 | Triple top | D1001242 | S1000726 |  | Triple top | 6
35 | Triple top | D1001242 | S1000723 |  | Grand Total | 26
34
33 | AA (8xDB9) | D0902783 | S1100332
32 | AA (8xDB9) | D0902783 | S1100333
31
30 | AI (4xDB9) | D1000305 | S1105313
29 | AI (4xDB9) | D1000305 | S1001200
28
27 | Triple Acq | D090006 | S1001112
26 | Triple Acq | D090006 | S1000352
25 | Triple Acq | D090006 | S1000353
24 | Triple Acq | D090006 | S1000354
23
22 | AI (4xDB9) | D1000305 | S1104363
21 | AI (4xDB9) | D1000305 | S1101806
20
19 | Triple Acq | D090006 | S1001103 | PRM M2
18 | Triple Acq | D090006 | S1001191 | PRM M3
17 | Triple Acq | D090006 | S1001192
16 | Triple Acq | D090006 | S1001193
15
14 | HAM-A Coil Driver | D1100687 | S1200590 | IM1
13 | HAM-A Coil Driver | D1100687 | S1200585 | IM4
12
11 | AA (8xDB9) | D0902783 | S1200818
10 | AI (4xDB9) | D1000305 | S1101807
9
8 | HAM-A Coil Driver | D1100687 | S1200589 | IM2
7 | HAM-A Coil Driver | D1100687 | S1200591 | IM3
6
5
4
3
2
1

## C5
ITM & BS RACK S1105375 L1-SUS-C5 D1200874 | Chassis Type | D# | S# | NOTES
42 |  |  |  |  | Count of Chassis Type
41 | Quad Top Driver | D1001242 | S1000435 |  | Row Labels | Total
40 | Quad Top Driver | D1001242 | S1000380 |  | IO Ext Chassis | 2
39 | Quad Top Driver | D1001242 | S1000372 |  | PUM Driver | 2
38 |  |  |  |  | Quad Top Driver | 6
37 | Quad Top Driver | D1001242 | S1000377 |  | Triple Acq | 1
36 | Quad Top Driver | D1001242 | S1000379 |  | Triple top | 2
35 | Quad Top Driver | D1001242 | S1000370 |  | UIM Driver | 2
34 |  |  |  |  | Grand Total | 15
33 | UIM Driver | D0902668 | S0900313
32 | UIM Driver | D0902668 | S0900311
31 | PUM Driver | D1100303 | S1101562
30 | PUM Driver | D1100303 | S1101561
29
28 | Triple top | D1001242 | S1000265
27 | Triple top | D1001242 | S1000258
26 | Triple Acq | D090006 | S1001110
25
24 | IO Ext Chassis | D1001715 | S1001143
23
22
21
20
19
18
17
16
15
14 | IO Ext Chassis | D1001715 | S1103888
13
12
11
10
9
8
7
6
5
4
3
2
1

## C6
ITM & BS RACK S1105376 L1-SUS-C6 D1200875 | Chassis Type | D# | S# | Notes:
Count of Chassis Type
41 | AA (8xDB9) | D0902783 | S1107600 |  | Row Labels | Total
40 | AA (8xDB9) | D0902783 | S1100330 |  | AA (8xDB9) | 2
39 |  |  |  |  | AI (2 x DB15, 1 x DB9) | 1
38 | AI (4xDB9) | D1000305 | S1101808 |  | AI (4xDB9) | 3
37 | AI (4xDB9) | D1000305 | S1101809 |  | BI (DB9 & DB37) | 2
36 |  |  |  |  | BI (DB9, DB25) | 1
35 | AI (4xDB9) | D1000305 | S1101810 |  | BO (DB9 & DB37) | 2
34 |  |  |  |  | Laser Power Marshal Chassis | 1
33 | BO (DB9 & DB37) | D1001270 | S1101754 |  | AA (2xDB9, 2xDB25) | 8
32 | BI (DB9 & DB37) | D1001269 | S1101791 |  | BO (DB9, DB25) | 1
31 | BO (DB9 & DB37) | D1001270 | S1101751 |  | Grand Total | 21
30 | BI (DB9 & DB37) | D1001269 | S1101793
29 | BO (DB9, DB25) | D1000725 | S1101783
28 | BI (DB9, DB25) | D1000726 | S1101803
27
26
25
24
23 | AI (2 x DB15, 1 x DB9) | D1100815 | S1103828
22
21
20
19 | AA (2xDB9, 2xDB25) | D1000721 | S1107502
18 | AA (2xDB9, 2xDB25) | D1000721 | S1107501
17
16 | AA (2xDB9, 2xDB25) | D1000721 | S1107463
15 | AA (2xDB9, 2xDB25) | D1000721 | S1107499
14
13 | AA (2xDB9, 2xDB25) | D1000721 | S1107498
12 | AA (2xDB9, 2xDB25) | D1000721 | S1107504
11
10 | AA (2xDB9, 2xDB25) | D1000721 | S1107497
9
8 | Laser Power Marshal Chassis
7 | AA (2xDB9, 2xDB25) | D1000721 | S1201132
6
5
4
3
2
1

## C7
HAM5-6 RACK S1105378 L1-SUS-C7 D1200876 | Chassis Type | D# | S# | NOTES
42 |  |  |  |  | Count of Chassis Type
41 | Triple top | D1001242 | S1000255 |  | Row Labels | Total
40 | Triple top | D1001242 | S1000268 |  | AA (8xDB9) | 2
39 | Triple top | D1001242 | S1000254 |  | AI (4xDB9) | 3
38 |  |  |  |  | BI (8xDB9) | 1
37 | OMC | D1100304 | S1101565 |  | BI (DB9, DB25) | 1
36 | OMC | D1,100,304 | S1101567 |  | BO (8xDB9) | 1
35 |  |  |  |  | OMC | 2
34 | AA (8xDB9) | D0902783 | S1001149 |  | Triple Acq | 4
33 | AA (8xDB9) | D0902783 | S1100328 |  | Triple top | 3
32 |  |  |  |  | BO (DB9, DB25) | 1
31 | AI (4xDB9) | D1000305 | S1101812 |  | D1000725 | 1
30 | AI (4xDB9) | D1000305 | S1101813 |  | Grand Total | 18
29
28 | Triple Acq | D090006 | S1001190
27 | Triple Acq | D090006 | S1001105
26 | Triple Acq | D090006 | S1001186 | SRM M2
25
24 | AI (4xDB9) | D1000305 | S1101814
23
22 | Triple Acq | D090006 | S1001106
21
20 | BO (DB9, DB25) | D1000725 | S1201244
19 | BI (DB9, DB25) | D1000726 | S1201497
18 | BO (8xDB9) | D1002593 | S1101774
17 | BI (8xDB9) | D1001726 | S1101316
16
15
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## C8
HAM5-6 RACK S1105378 L1-SUS-C8 D1200877 | Chassis Type | D# | S# | NOTES
42 |  |  |  |  | Count of Chassis Type
41 | AA (2xDB9, 2xDB25) | D1000721 | S1107503 |  | Row Labels | Total
40 | AA (2xDB9, 2xDB25) | D1000721 | S1107500 |  | IO Ext Chassis | 2
39 |  |  |  |  | AA (2xDB9, 2xDB25) | 5
38 | AA (2xDB9, 2xDB25) | D1000721 | S1107505 |  | Grand Total | 7
37
36 | AA (2xDB9, 2xDB25) | D1000721 | S1107506
35 | AA (2xDB9, 2xDB25) | D1000721 | S1107507
34
33 | IO Ext Chassis | D1001715 | S1103889
32
31
30
29 | IO Ext Chassis | D1001715 | S1001142
28
27
26
25
24
23
22
21
20
19
18
17
16
15
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## XC1
ETMX RACK S1202946 L1-SUS-XC1 D1201082 | Chassis Type | D# | S# | NOTES
42 |  |  |  |  | Count of Chassis Type
41 | Quad Top Driver | D1001242 | S1000433 |  | Row Labels | Total
40 | Quad Top Driver | D1001242 | S1000373 |  | AA (2xDB15, 5xDB9) | 1
39 | Quad Top Driver | D1001242 | S1000375 |  | AA (8xDB9) | 1
38 |  |  |  |  | AI (4xDB9) | 2
37 | TM Top Driver | D1100301 | S1101559 |  | BI (DB9 & DB37) | 1
36 | TM Top Driver | D1100301 | S1101556 |  | BI (8xDB9) | 1
35 |  |  |  |  | BO (8xDB9) | 1
34 | AA (8xDB9) | D0902783 | S1001157 |  | BO (DB9 & DB37) | 1
33 |  |  |  |  | PUM Driver | 1
32 | AI (4xDB9) | D1000305 | S1104364 |  | Quad Top Driver | 3
31 | AI (4xDB9) | D1000305 | S1104365 |  | TM Top Driver | 2
30 |  |  |  |  | UIM Driver | 1
29 | UIM Driver | D0902668 | S0900315 |  | Grand Total | 15
28 | PUM Driver | D1100303 | S1101563
27
26 | AI (2 x DB15, 1 x DB9) | D1100815 | S1103825
25 | AA (2xDB15, 5xDB9) | D1100809 | S1104073
24
23
22
21
20
19 | BO (DB9 & DB37) | D1001270 | S1106208
18 | BI (DB9 & DB37) | D1001269 | S1106115
17 | BO (8xDB9) | D1002593 | S1103225
16 | BI (8xDB9) | D1001726 | S1103896
15
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## XC2
ETMX RACK S1202947 L1-SUS-XC2 D1201083 | Chassis Type | D# | S# | NOTES
42 |  |  |  |  | Count of Chassis Type
41 | AA (2xDB9, 2xDB25) | D1000721 | S1201130 |  | Row Labels | Total
40 | AA (2xDB9, 2xDB25) | D1000721 | S1201131 |  | IO Ext Chassis | 2
39 |  |  |  |  | Grand Total | 2
38
37 | AA (2xDB9, 2xDB25) | D1000721 | S1201127
36 | AA (2xDB9, 2xDB25) | D1000721 | S1201126
35
34
33 | IO Ext Chassis | D1001715 | S1201779
32
31
30
29 | IO Ext Chassis | D1001715 | S1103367
28
27
26
25
24
23
22
21
20
19
18
17
16
15
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## XR1
SUS FIELD RACK S1202993 L1-SUS-XR1 | Chassis Type | D# | S# | NOTES
42 | Sat Amp | D0901284 | S1000338 |  | Count of Chassis Type
41 | Sat Amp | D0901284 | S1000456 |  | Row Labels | Total
40 | Sat Amp | D0901284 | S1000860 |  | Sat Amp | 7
39 | Sat Amp | D0901284 | S1000849 |  | D0901284 | 7
38 | Sat Amp | D0901284 | S1000321 |  | Grand Total | 7
37 | Sat Amp | D0901284 | S1000852
36 | Sat Amp | D0901284 | S1000337
35
34
33
32
31
30
29
28
27
26
25
24
23
22
21
20
19
18
17
16
15
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## YC1
ETMX RACK S1202953 L1-SUS-YC1 D1201089 | Chassis Type | D# | S# | NOTES
42 |  |  |  |  | Count of Chassis Type
41 | Quad Top Driver | D1001242 | ????? |  | Row Labels | Total
40 | Quad Top Driver | D1001242 | S1000371 |  | AA (2xDB15, 5xDB9) | 1
39 | Quad Top Driver | D1001242 | S1000434 | ? need to check this S# | AA (8xDB9) | 1
38 |  |  |  |  | AI (4xDB9) | 2
37 | TM Top Driver | D1100301 | S1001557 |  | BI (DB9 & DB37) | 1
36 | TM Top Driver | D1100301 | S1001558 |  | BI (8xDB9) | 1
35 |  |  |  |  | BO (8xDB9) | 1
34 | AA (8xDB9) | D0902783 | S1200819 |  | BO (DB9 & DB37) | 1
33 |  |  |  |  | PUM Driver | 1
32 | AI (4xDB9) | D1000305 | S1001201 |  | Quad Top Driver | 3
31 | AI (4xDB9) | D1000305 | S1105312 |  | TM Top Driver | 2
30 |  |  |  |  | UIM Driver | 1
29 | UIM Driver | D0902668 | S0900310 |  | Grand Total | 15
28 | PUM Driver | D1100303 | S1101564
27
26 | AI (2 x DB15, 1 x DB9) | D1100815 | S1103827
25 | AA (2xDB15, 5xDB9) | D1100809 | S1104075
24
23
22
21
20
19 | BO (DB9 & DB37) | D1001270 | S1106211
18 | BI (DB9 & DB37) | D1001269 | S1106114
17 | BO (8xDB9) | D1002593 | S1103224
16 | BI (8xDB9) | D1001726 | S1103897
15
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## YC2
ETMX RACK S1202954 L1-SUS-YC2 | Chassis Type | D# | S# | NOTES
42 |  |  |  |  | Count of Chassis Type
41 | AA (2xDB9, 2xDB25) | D1000721 | S1201129 |  | Row Labels | Total
40 | AA (2xDB9, 2xDB25) | D1000721 | S1201128 |  | IO Ext Chassis | 2
39 |  |  |  |  | Grand Total | 2
38
37 | AA (2xDB9, 2xDB25) | D1000721 | S1201104
36 | AA (2xDB9, 2xDB25) | D1000721 | S1200931
35
34
33 | IO Ext Chassis | D1001715 | S1201775
32
31
30
29
28 | IO Ext Chassis | D1001715 | S1201776
27
26
25
24
23
22
21
20
19
18
17
16
15
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## YR1
SUS FIELD RACK S1202994 L1-SUS-YR1 | Chassis Type | D# | S# | NOTES
42 | Sat Amp | D0901284 | S1000863 |  | Count of Chassis Type
41 | Sat Amp | D0901284 | S1000463 |  | Row Labels | Total
40 | Sat Amp | D0901284 | S1000477 |  | Sat Amp | 7
39 | Sat Amp | D0901284 | S1000336 |  | Grand Total | 7
38 | Sat Amp | D0901284 | S1000326
37 | Sat Amp | D0901284 | S1000340
36 | Sat Amp | D0901284 | S1000328
35
34
33
32
31
30
29
28
27
26
25
24
23
22
21
20
19
18
17
16
15
14
13
12
11
10
9
8
7
6
5
4
3
2
1

## Not installed electronics
Chassis Type | D# | Spare Count: | S# | Inventory Verification 3 May 2013 | tested? | Testing Notes:
Not installed electronics:
TRIPLE TOPS
TTOP | D1001242 | 6 SPARES, including test rack | S1000256 | x | NO | repair needed
TTOP | D1001242 |  | S1000263 | x | NO | repair needed
TTOP | D1001242 |  | S1000725 | x | NO | repair needed
TTOP | D1001242 |  | S1000259 | x | NO | repair needed
Triple top | D1001242 |  | S1000724 | x | YES | Installed in llosus3
Triple top | D1001242 |  | S1000727 | x | YES | Installed in llosus3
TACQ's
TACQ | D090006 | 8 SPARES, including test rack | S1001107 | x | NO
TACQ | D090006 |  | S1001108 | x | NO
TACQ | D090006 |  | S1001109 | x | NO
TACQ | D090006 |  | S1001113 | x | NO
TACQ | D090006 |  | S1001189 | x | YES | Stored in C1
TACQ | D090006 |  | S1000351 | x | repair needed | repair needed
Triple Acq | D090006 |  | S1001114 | x | YES | Installed in llosus3
Triple Acq | D090006 |  | S1001111 | x | YES | Installed in llosus3
QUAD TOP
QUAD TOP | D1001782 | 5 SPARES | S1000376 |  | YES | Sent to MIT for Jeff Kissel
QUAD TOP | D1001782 |  | S1000378 | x | NO
QUAD TOP | D1001782 |  | S1000369 | x | NO
QUAD TOP | D1001782 |  | S1000374 | x | NO
QUAD TOP | D1001782 |  | S1000436 | x | NO
UIM DRIVER
UIM | D0902668 | 1 spare | S0900312 | x | NO
PUM DRIVER
PUM | D1100303 | 3 SPARES | S1200471 | x | NO
PUM | D1100303 |  | S1200470 | x | NO
PUM | D1100303 |  | S1200472 | x | NO
OMC
OMC | D1100304 | 1 spare | S1101566 | x | NO
TM
TM | D1100301 | 1 spare | S1101560 | x | NO
CDS ELECTRONICS FOR SUS INSTALL:
AI 4xDB9 | D1000305 | 3 spares, including test rack | S1001199 | x | repair needed | repair needed
AI 4xDB9 | D1000305 |  | S1101811 | x | repair needed | repair needed
AI (4xDB9) | D1000305 |  | S1105296 | x | YES | Installed in llosus3
AI DB9;DB15 | D1100815 | 1 spare | S1103826 | x | YES
AA 2xDB15;5xDB9 | D1100809 | 2 spares | S1104074 |  | YES
AA 2xDB15;5xDB9 | D1100809 |  | S1104073 |  | YES
AA 2xDB9; 2xDB25 | D1000721 | 1 spare | S1200932 | x | YES
AA (8xDB9) | D0902783 | 2 spares, including test rack | s1100331 | x | repair needed | repair needed
AA (8xDB9) | D0902783 |  | S1100329 | x | YES | Installed in llosus3
BI 8xDB9 | D1001726 | 1 spare | S1103895 | x | YES
BO 8xDB9 | D1002593 | 1 spare | S1103223 | x | YES
BI (DB9, DB25) | D1000726 | 1 spare, including test rack | S1104459 | x | YES | Installed in llosus3
BO (DB9, DB25) | D1000725 | 1 spare, including test rack | S1104819 | x | YES | Installed in llosus3
Op lev AA | D1101308_V2 |  | S1201347 | x
Op lev AA | D1101308_V2 |  | S1201346 | x
Op lev AA | D1101308 |  | S1200583 | x
SAT AMPS
UK Sat Amps | D0901284 |  | S1000341 |  | YES |  | Currently missing 17Jan2013
UK Sat Amps | D0901284 | y | S1000850 |  | repair needed
UK Sat Amps | D0901284 | Pre-Production y | S0900017 |  | YES
UK Sat Amps | D0901284 | Pre-Production y | S0900020 |  | YES
UK Sat Amps | D0901284 | Pre-Production y | S0900019 |  | YES
UK Sat Amps | D0901284 | Pre-Production y | S1103816 |  | YES
UK Sat Amps | D0901284 | Pre-Production y | S1200582 |  | repair needed
| Total |  | 9

## QuadETR(llosus1)
Quad Test Rack S1105361 X1-LLOSUS1 | Chassis Type | D# | S# | NOTES
42 |  |  |  |  | Count of Chassis Type
41 |  |  |  |  | Row Labels | Total
40 |  |  |  |  | AA | 1
39 | PP Quad Top Driver | D070482 | S0900011 |  | AI | 2
38 |  |  |  |  | IO Ext Chassis | 1
37 | PP Quad Top Driver | D070482 | S0900012 |  | PP PUM Coil Driver | 1
36 | PP Quad Top Driver | D070482 | S0900013 |  | PP Quad Top Driver | 3
35 | AI |  | S080008 |  | PP UIM Coil Driver | 1
34 |  |  |  |  | Sat Amp | 4
33 |  |  |  |  | Grand Total | 13
32
31 | PP UIM Coil Driver | D0902668 | S0900014
30 | PP PUM Coil Driver | D1100303 | S1105362
29
28 | AI |  | S080005
27 | AA |  | S1105255 | (was:S080009)
26 | Sat Amp | D0900900 | S0900019
25 | Sat Amp | D0900900 | S0900017
24 | Sat Amp | D0900900 | S0900020
23 | Sat Amp | D0900900 | S1103816
22
21
20
19
18 | IO Ext Chassis | D1001715 | S#?
17
16
15
14
13 | llosus1-work |  |  | Work station computer
12
11 | llosus1 |  |  | Front End computer
10
9
8
7
6
5
4
3
2
1

## HAM-AETR(llosus2)
HAMAUX TEST RACK S1107538 X1-LLOSUS2 | Chassis Type | D# | S# | NOTES
42 |  |  |  |  | Count of Chassis Type
41 |  |  |  |  | Row Labels | Total
40 | HAM-A | D1100687 | S1106049 |  | 8 CH CD | 1
39 | 8 Channel Sat Amp | D1002818 | S1200170 |  | 8 CH SA | 1
38 |  |  |  |  | 8 Channel Sat Amp | 1
37 | AA 8xDB9 | D0902783 | S1102778 |  | AA | 1
36 |  |  |  |  | AA 8xDB9 | 1
35 | AI 4xDB9 | D070081 | S1102758 |  | AI 4xDB9 | 1
34 |  |  |  |  | HAM-A | 1
33 |  |  |  |  | IO Ext Chassis | 1
32 |  |  |  |  | Grand Total | 8
31 | 8 CH SA | D080276 | SN 101
30 | AA | D1100809 | S1104074
29 | 8 CH CD | D060278 | S1103446
28
27
26
25
24
23 | IO Ext Chassis | D1001715 | S#?
22
21
20
19
18
17
16
15
14
13 | llosus3-work |  |  | Work station computer
12
11 | llosus3 |  |  | Front End computer
10
9
8
7
6
5
4
3
2
1

## newTripleETR (llosus3)
Triple Test Rack S1106460 X1-LLOSUS3 | Chassis Type | D# | S# | NOTES
42
41 | Triple top | D1001242 | S1000724 | tested
40 | Triple top | D1001242 | S1000727 | tested
39
38 | AA (8xDB9) | D0902783 | S1100329
37 | AI (4xDB9) | D1000305 | S1105296
36
35 | Triple Acq | D090006 | S1001111 | tested
34 | Triple Acq | D090006 | S1001114 | tested
33
32 | BO (DB9, DB25) | D1000725 | S1104819
31 | BI (DB9, DB25) | D1000726 | S1104459
30
29 | IO Ext Chassis | D1001715 | S1106560
28
27 | Sat Amps | D0900900 | S1000325 | tested
26 | Sat Amps | D0900900 | S1000329 | tested
25 | Sat Amps | D0900900 | S1000334 | tested
24 | Sat Amps | D0900900 | S1000861 | tested
23
22
21
20
19
18
17
16
15
14
13 | llosus3-work |  |  | Work station computer
12
11 | llosus3 |  |  | Front End computer
10
9
8
7
6
5
4
3
2
1

## 2nd TripleETR (llosus4)
Triple Test Rack S1107896 X1-LLOSUS4 | Chassis Type | D# | S# | NOTES
42
41 | Triple top | D1001242
40 | Triple top | D1001242
39
38 | AA (8xDB9) | D0902783
37 | AI (4xDB9) | D1000305
36
35 | Triple Acq | D090006
34 | Triple Acq | D090006
33
32 | BO (DB9, DB25) | D1000725
31 | BI (DB9, DB25) | D1000726
30
29
28
27 | Sat Amps | D0900900
26 | Sat Amps | D0900900
25 | Sat Amps | D0900900
24 | Sat Amps | D0900900
23
22 | The Test Rack has been decomisioned and the CDS parts have bee shipped to LHO
21
20
19
18
17
16
15 | IO Ext Chassis | D1001715
14
13 | llosus3-work |  |  | Work station computer
12
11 | llosus3 |  |  | Front End computer
10
9
8
7
6
5
4
3
2
1