*LIGO Laboratory / LIGO Scientific Collaboration*

LIGO-E1300767-v1 *advanced LIGO* 10/15/2013

TwinCAT Library for ALS Frequency

Daniel Sigg, Alexa Staley

Distribution of this document:

LIGO Scientific Collaboration

This is an internal working note
of the LIGO Laboratory.

|  |  |
| --- | --- |
| **California Institute of Technology****LIGO Project – MS 18-34****1200 E. California Blvd.****Pasadena, CA 91125**Phone (626) 395-2129Fax (626) 304-9834E-mail: info@ligo.caltech.edu | **Massachusetts Institute of Technology****LIGO Project – NW22-295****185 Albany St****Cambridge, MA 02139**Phone (617) 253-4824Fax (617) 253-7014E-mail: info@ligo.mit.edu |
| **LIGO Hanford Observatory****P.O. Box 159****Richland WA 99352**Phone 509-372-8106Fax 509-372-8137 | **LIGO Livingston Observatory****P.O. Box 940****Livingston, LA 70754**Phone 225-686-3100Fax 225-686-7189 |

http://www.ligo.caltech.edu/

|  |
| --- |
| **Library** |
| Title | ALSFrequency |
| Version | 1 |
| TwinCAT version | V2.11.0 |
| Name space |  |
| Author | Daniel Sigg |
| Description | Tracks the various frequencies |
| Error Code | 16#001 — Illegal diff. VCO frequency 16#002 — Illegal comm. VCO frequency16#004 — Illegal PSL VCO frequency16#008 — Illegal fiber AOM frequency16#010 — Illegal EX VCO frequency16#020 — Illegal EX beat frequency16#040 — Illegal EY VCO frequency16#080 — Illegal EY beat frequency |
| Library Dependencies | ErrorHandler, SaveRestore |

|  |
| --- |
| **User Interface Type**TYPE ALSFrequencyStruct :STRUCT Error: ErrorStruct; Aom: LREAL; DoubleAomVsDoublePsl: LREAL; BeatX: LREAL; BeatY: LREAL; VcoVsDoubleBeatY: LREAL; GrX: LREAL; GrY: LREAL; GrXVsDoublePSL: LREAL; GrYVsDoublePSL: LREAL; GrXVsGrY: LREAL; CommX: LREAL: CommY: LREAL; DiffXY: LREAL;END\_STRUCT;END\_TYPE; |
| Type Name | ALSLaserLockingFiberStruct |
| Description | Structure used in the user interface type monitor the frequencies and beat notes  |
| Definition | STRUCT |
| Output Tag | Name: ErrorType: ErrorStructDescription: Calls the error handler |
| Output Tag | Name: AomType: LREALDescription: Aom freuquency  |
| Output Tag | Name: DoubleAomVsDoublePslType: LREALDescription: -2\*f\_aom + 2\*f\_psl |
| Output Tag | Name: BeatXType: LREALDescription: Frequency of EX beat note |
| Output Tag | Name: BeatYType: LREALDescription: Frequency of EY beat note |
| Output Tag | Name: VcoVsDoubleBeatXType: LREALDescription: f\_VcoX – 2\*f\_beatX |
| Output Tag | Name: VcoVsDoubleBeatYType: LREALDescription: f\_VcoY – 2\*f\_beatY |
| Output Tag | Name: GrXType: LREALDescription: -4\*f\_Aom + f\_VcoX |
| Output Tag | Name: GrYType: LREALDescription: -4\*f\_Aom + f\_VcoY |
| Output Tag | Name: GrXVsDoublePSLType: LREALDescription: -4\*f\_Aom + f\_VcoX + 4\*f\_PSL |
| Output Tag | Name: GrYVsDoublePSLType: LREALDescription: -4\*f\_Aom + f\_VcoY + 4\*f\_PSL |
| Output Tag | Name: GrXVsGrYType: LREALDescription: f\_VcoX + f\_VcoY |
| Output Tag | Name: CommXType: LREALDescription: -4\*f\_Aom + f\_VcoX + 4\*f\_PSL – f\_Comm |
| Output Tag | Name: CommYType: LREALDescription: -4\*f\_Aom + f\_VcoY + 4\*f\_PSL – f\_Comm |
| Output Tag | Name: DIffXYType: LREALDescription: f\_VcoX + f\_VcoY – 2\*f\_Diff |

|  |
| --- |
| **Function Block**TYPE ALSFrequencyFB:VAR\_INPUT Request: SaveRestoreEnum; DiffVCOFreq: LREAL; CommVCOFreq: LREAL; PslVCOFreq: LREAL; FiberAOMFreq: LREAL; ExVCOFreq: LREAL; ExBeatFreq: LREAL; EyVCOFreq: LREAL; EyBeatFreq: LREAL;END\_VAR;VAR\_IN\_OUT AlsFreq: AlsFrequencyStruct; AlsFreqInit; AlsFrequencyStruct;END\_VAR:END\_TYPE; |
| Type Name | ALSFrequencyFB |
| Description | Function block used to monitor the VCO and beat note frequencies  |
| Definition | Function Block |
| Input Argument | Name: RequestType: SaveRestoreEnumDescription: Request save/restore/safemood or noop |
| Input Argument | Name: DiffVCOFreqType: LREALDescription: Monitors the diff. VCO frequency |
| Input Argument | Name: CommVCOFreqType: LREALDescription: Monitors the omm.. VCO frequency |
| Input Argument | Name: PslVCOFreqType: LREALDescription: Monitors the PSL VCO frequency |
| Input Argument | Name: FiberAOMFreqType: LREALDescription: Monitors the fiber AOM frequency |
| Input Argument | Name: ExVCOFreqType: LREALDescription: Monitors the EX VCO frequency |
| Input Argument | Name: ExBeatFreqType: LREALDescription: Monitors the EX beat note frequency |
| Input Argument | Name: EyVCOFreqType: LREALDescription: Monitors the EY VCO frequency |
| Input Argument | Name: EyBeatFreqType: LREALDescription: Monitors the EY beat note frequency |
| In/out Argument | Name: AlsFreqType: AlsFrequencyStructDescription: User interface structure |
| In/out Argument | Name: AlsFreqInitType: AlsFrequencyStructDescription: Save/restore variable in persistent memory |