## Slide 1: Advanced LIGO Suspensions Quick Start Guide
J. Romie, B. Shapiro, M. Barton

## Slide 3: Quadruple Suspension (Quad)
Main (test) Chain
Reaction Chain
Control
Local – damping at M0, R0
Global – LSC & ASC at all 4
Sensors/Actuators
BOSEMs at M0, R0, L1
AOSEMs at L2
Optical levers and IFO signals at L3
Electrostatic drive (ESD) at L3
Purpose
Input Test Mass (ITM, TCP)
End Test Mass (ETM, ERM)
Location
H1 - BSC 1, 3, 9, 10
L1 – BSC 1, 3, 4, 5
R0, M0
L1
L2
L3

## Slide 4: Quad MEDM Overview Screen

## Slide 5: Quad MEDM
Which suspension
M0=top mass Bosems
L1=UIM Bosems
ESD
PenRe Aosems
OpLev
R0=top mass Bosems
IFO odds and ends
Watchdogs & DACkill
1
Local > Cartesian & sensor corrections
Actuator corrections & Cartesian > local
Input
Sensor/
actuators
Input filters
Output filters

## Slide 6: Quad MEDM
Damping Filter-click on this for damping loops
Check state of IFO:
Acquire (locking)
Low Noise (running)
Coil/drive: enable or
disable
Green=enabled
Red=disabled
Yellow=intermediate

## Slide 7: Suspension Isolation Performance
Each stage provides 1/f2 isolation
1/f2
1/f4
1/f6
1/f8

## Slide 8: Beamsplitter/Folding Mirror (BSFM)
Control
Local – damping at M1
Global – LSC & ASC at M2
Sensors/Actuators
BOSEMs at M1 and M2
Optical levers and interferometric signals on M3
Naming: L1:SUS-FMX_M1…
Documentation
Final design review - T080218
Controls arrangement – E1100108
Purpose
BS, (FMX and FMY)
Location
Beamsplitter – BSC 2, (4)
(Fold Mirror – BSC 6, 8)
M1
M2
M3
UL
UR
LL
LR
F1
F2
F3
LF
RT
SD
L
T
V

## Slide 9: HAM Large Triple Suspension (HLTS)
Control
Local – damping at M1
Global – LSC & ASC at all 3
Sensors/Actuators
BOSEMs at M1
AOSEMs at M2 and M3
Optical levers and interferometric signals on M3
Naming: L1:SUS-SR3_M1…
Documentation
Final design review – T1000012
Controls arrangement – E1100109
Purpose
PR3, SR3
Location
HAM 2, 5, (8, 11)
M1
M2
M3
UL
UR
LL
LR
UL
UR
LL
LR
L
T
V

## Slide 10: HAM Small Triple Suspension (HSTS)
Control
Local – damping at M1
Global – LSC & ASC at all 3
Sensors/Actuators
BOSEMs at M1
AOSEMs at M2 and M3
Optical levers and interferometric signals on M3
Naming: L1:SUS-PRM_M1…
Documentation
Final design review - T0900435
Controls arrangement – E1100109
Purpose
PRM, PR2, SRM, SR2
MC1, MC2, MC3
Location
HAM 2, 3, 4, 5, (8, 9, 10, 11)
M1
M2
M3
T1
T2
T3
SD
LF
RT
UL
UR
LL
LR
UL
UR
LL
LR
L
T
V

## Slide 11: Output Mode Cleaner Double (OMCS)
In use during S6
Location
HAM 6, (12)
Control
Local – damping at M1
(true for all SUS’s)
Sensors/Actuators
BOSEMs at top mass
Top mass naming convention
L1:SUS-OMC_M1…
site subsystem unit stage
2
3
3,4
2
Documentation
Final design review - T0900060
HAM SUS controls arrangement – E1100109
Optics
M1
M2
T1
T2
T3
SD
LF
RT
L
T
V
Local coordinates

## Slide 12: Global Cavity Control (LSC)
Cavity Length
C1
C2
C3
C4
Each stage has limited range, so the control is distributed up the chain with:
Increasing control force
Lower frequency control
ITM
ETM

## Slide 13: Parallel Control of Cavity Length
Cavity Length
C1
C2
With parallel feedback, changing one loop requires changing the others to account for changes in gain and stability.
The stability of all stages are coupled
ITM
ETM

## Slide 14: Hierarchical Control of Cavity Length
Cavity Length
C1
C2’
If each stage’s input is the output of the previous stage, any feedback change is automatically registered by the rest of the loop.
The stability at each stage is independent from the others.
Detailed discussion in T1000242 & G1200632.
ITM
ETM