## E1300954 CC doc tree
Level 1 | Level 2 | Level 3 | Level 4 | Level 5
E1300954 | Contamination Control (CC)
| E1300951 | General Contamination Control Documentation
|  | E0900047 | LIGO Contamination Control Plan
|  | E1000088 | Qualifying Parts for LIGO UHV Service
|  |  | E080177 | RGA Test Qualification
|  |  |  | F0900052 | Inventory Database Bulk Parts Import (used for bake load definition)
|  |  | E0900480 | FTIR Testing to Qualify Parts for LIGO UHV Service
|  |  |  | E1000838 | Liquid rinsate particulate sampling procedure
|  |  |  | E0900479 | Instructions for taking Low Volatility Residue (LVR) Wipe Samples
|  |  | P990032 | Optical Contamination Screening of Materials with a High-finesse Fabry-Perot Cavity
|  | E960050 | LIGO Vacuum Compatible Materials List
|  |  | T0900368 | Allowable Bake Temperature for UHV Processing of Copper Alloys
|  |  | T970168 | Viton Spring Seat Vacuum Bake Qualification
|  |  | L080072 | Limits to high vapor pressure elements in alloys
|  |  | E970130 | Material, Process, Handling and Shipping Specification for Fluorel Parts
|  |  | E1000193 | LIGO UHV Qualification Test Results
| E1300953 | Particulate Contamination
|  | E1400030 | Particulate Contamination Requirement and Policy Documents
|  |  | T1300511 | Particulate Contamination Requirements
|  |  | E1400258 | Contamination Control Mitigation Processes & resulting Cleanliness Levels
|  |  | E1201035 | Chamber Entry & Exit Procedures
|  | E1400029 | Contamination Control Training Material
|  | E1300399 | Contamination Control Supplies and Clothing - Buy List
|  | E1400027 | Particulate Contamination Control Tools
|  |  | T1300665 | The LIGO Particulate Evaluation Tool (PET)
|  |  | E1201096 | Contamination Sample Handling - How to receive, use, send, buy and store samples.
|  |  | T1400310 | Contamination Control Kits - Parts list, poster and kiting plan and use.
|  |  | T1400024 | Using Handheld Airborne Particle Counters in LIGO
|  |  | D1201075 | Clean room vacuum cleaner, accessories, user manuals and instructions
|  |  | T1300687 | Guidance on Top Gun Ionizing Air Gun System
|  |  | M1300383 | UV Black Light Flashlights - SOP
|  |  | C1301435 | UV Black Light Flashlights - Cleanroom Inspection
|  |  | T1100559 | First Contact Kit Materials Buy List (including Top Gun Ionizer)
| E1300952 | Hydrocarbon Contamination
|  | E0900398 | Advanced LIGO residual gas estimate
|  | E0900364 | Metal components intended for use in the Adv LIGO Vacuum System
|  | E0900048 | Welding Specification for Weldments used within the Advanced LIGO Vacuum System
|  | E1500028 | Helium Bomb Testing Procedure
| E1400026 | Parts Cleaning / Processing & Material Qualification
|  | E960022 | LIGO Clean and Bake Methods and Procedures
|  |  | E970130 | Material, Process, Handling and Shipping Specification for Fluorel Parts
|  |  | F1000007 | Precision Cleaning Checklist
|  |  | E1100624 | Specification: Pulse-Purge Vacuum Baking for Polymers
|  |  | T1000091 | Semiconductor Cleaning for In-vacuum Applications
|  |  | E1300449 | RFPD Clean and Bake Procedure
|  |  | T1300040 | Clean Soldering Techniques
|  |  | E1700165 | Clean, Bake, Ship Plan: Large Gate Valve Bellows
|  |  | C1700142 | aLIGO, SQZ, In-vac Faraday, EOT cleaning and handling guidelines
|  |  | T1100168 | Cleaning Procedure for aLIGO TCS Ring Heater Assemblies
|  |  | T1000105 | Cleaning Procedures for Viton and PFA encapsulated Viton O-rings
|  |  | T1100540 | procedure for cleaning broken fibre shards from optic
|  |  | T040127 | Cleaning Procedure for magnet wire with ML/HML insulation
|  |  | E0900257 | Cleaning Procedure: SEI ISI Actuators, BSC and HAM, AdLIGO
|  |  | E1101069 | Gross Cleaning Procedure for Advanced LIGO BSC-ISI Machined Plates
|  |  | E0900308 | BSC ISI Large Plate Cleaning and Baking
|  |  | E0810022 | HAM ISI Large Plate Cleaning and Baking
|  |  | E1300458 | Cleaning Procedures and Waivers for IO Faraday Isolator
|  |  | E1300002 | TMS Focus Slide Clean and Bake Procedure
|  |  | E000007 | Liquinox Cleaning Procedure
|  | E1400363 | Collection of Documents associated with cleaning optics for advanced LIGO
|  |  | E1100439 | General Optics Cleaning Procedure
|  |  | E1300017 | First Contact Spray Application & Removal Procedure
|  |  | E1000079 | First Contact Brush and Pour Application Procedure
|  |  | T1100286 | Methanol Spray Optic Cleaning Procedure
|  |  | E1200266 | Ground Glass Freon Wipe Cleaning Procedure
|  |  | E1400472 | Test Mass In Situ Cleaning Procedure
|  |  | E1200326 | First Contact cleaning of water spots or water soluble contamination
|  |  | T1200149 | Cleaning Procedure for Optics Lens Caps
|  |  | E1300111 | Cleaning Procedure for PETG Plastics
|  |  | E1200386 | Commercial Viewports Cleaning Procedure
|  |  | T1100596 | Cleaning procedure for aLIGO TCS periscope mirrors
|  |  | T1100179 | Cleaning Procedure for aLIGO TCS Gold-Coated Copper Mirrors with Yttrium Over Coating
|  |  | T1200436 | Cleaning Procedure for H1 and L1 Advanced LIGO TCS Gold-Coated Copper Mirrors