## Slide 1: Characterization of Second Harmonic Generators for Advanced LIGO Squeezing by Andres Medina
Mentors: Sheila Dwyer and Daniel Sigg

## Slide 2: Gravitational Wave Detectors
At high frequencies shot noise (quantum noise) limited the sensitivity of the detector above a few hundred Hertz.
Shot noise is the result of detected photons obeying the Poisson distribution, which has an uncertainty of
The best solution that does not involve increasing the power of the laser is to use squeezed light

## Slide 3: Squeezed light
Vacuum State
Coherent State
Squeezed State

## Slide 4: Overview of Squeezed Light
SHG
OPO

## Slide 5: Second Harmonic Generator
R @ 1064 90% AR @ 532
R @ 1064, 99.85%, HR @ 532

## Slide 6: Second Harmonic Generator

## Slide 8: Beam Profiler
Waist X = 64.48 μm
Waist Y= 69.21 μm
Effective Waist to Mode Match= 68.81 μm
Expected Waist Size= 70.41 μm

## Slide 9: Cavity Modes
Hermite Gauss (r)

## Slide 11: Transmission Scan
Mode Mismatch = 10.58%

## Slide 12: Feedback Control System

## Slide 13: Pound-Drever-Hall Technique

## Slide 14: Pound-Drever-Hall Signal

## Slide 15: Phase Match

## Slide 16: Predicted Phase Matching Curve

## Slide 17: `

## Slide 18: Phase Matching Curve
Incident infrared power = 15.33mW

## Slide 19: Conversion Efficiency of SHG
Using an Incidence beam of 100 mW
We found the Efficiency conversion from Infrared to green light is 27%.

## Slide 20: Prediction of Conversion Efficiency
Green Power @ 500 mW = 225 mW

## Slide 21: References
McClelland, D.E., Mavalvala, N., Chen, Y., Schnabel, R., Advance Interferometry, Quantum Optics and Optomechanics in Gravitational Wave Detectors, Laser & Photonics Reviews 5.5 (2011): 677-696.
Henry, Richard W., and Sharon C. Glotzer. "A squeezed-state primer." Am. J. Phys 56.4 (1988): 318-328.
Walls, Daniel F. "Squeezed states of light." nature 306 (1983): 141-146.

## Slide 22: Intra-cavity losses
IntraCavityLoss = 6.25%
Front Mirror = 10.65%
Back Mirror = 0.31%