## Slide 1: The road to Advanced LIGO’s first observations
Jess McIver for the
LIGO Scientific Collaboration
Photo: Michael Fyffe

## Slide 2: Outline
Observing transient GW signals with Advanced LIGO
  The Advanced LIGO interferometers
  Projected commissioning timeline
  Likely observing scenarios
Detector characterization efforts
  Past strategies, challenges, and successes
  First glimpse of Livingston data quality

## Slide 3: Outline
Observing transient GW signals with Advanced LIGO
  The Advanced LIGO interferometers
  Projected commissioning timeline
  Likely observing scenarios
Detector characterization efforts
  Past strategies, challenges, and successes
  First glimpse of Livingston data quality

## Slide 4: Advanced LIGO

## Slide 5: Advanced LIGO
Advanced LIGO
Livingston is
currently here

## Slide 6: Likely aLIGO observing scenarios
Aasi, et al. 2013
arxiv
1304.0670
Advanced LIGO expected BNS sensitivity

## Slide 7: How will we get there?

## Slide 8: aLIGO instrumental improvements
Better
Seismic
Isolation
Increased
Laser Power
and Signal Recycling
Reduced
Brownian
Noise
Notes: Three major frequency regimes improved by different technologies from initial to advanced LIGO
Low freq – introduction of active seismic isolation – actuating the platforms housing the optics to cancel the effects of ground motion – plus improved passive isolation suspensions
In our most sensitive frequency range on the order of hundreds of Hz we reduce the effects of thermal noise with improved optical coatings and the materials of our test mass suspensions
At higher frequency we are dominated by shot noise, which scales inversely with circulating power, so we combat this by increasing input power and further recycling it

## Slide 9: aLIGO installation and testing
LIGO Hanford observatory
Each LIGO ifo has 4km arms

## Slide 10: aLIGO installation and testing
Pre stabilized laser
Notes: Test configurations of increasing complexity

## Slide 11: aLIGO installation and testing
Input optics
Used for:
Input laser stabilization
Selecting for fundamental Gaussian beam mode

## Slide 12: aLIGO installation and testing
Arm locking test
Arm Length Stabilization (ALS)
Tests:
Locking the interferometer arm cavities with green laser light
Notes: Treat each arm as a distinct cavity and lock using GREEN laser light
Eventually this green light will be phase locked to the red light from the PSL and used to lock the arms to speed acquiring full ifo lock

## Slide 13: aLIGO installation and testing
Power Recycled Michelson Interferometer (PRMI)
Vertex locking
Power Recycling Cavity:
Recycles the power that would exit via the power recycling mirror
Increases cycled power and reduces shot noise

## Slide 14: aLIGO installation and testing
Dual Recycled Michelson Interferometer (DRMI)
Vertex locking
Signal Recycling Cavity:
Tunable
Increases sensitivity in selected frequency band

## Slide 15: aLIGO installation and testing
Full interferometer!

## Slide 16: Timeline: from eLIGO to aLIGO
2010
2011
2012
2014
2015
2016
2013
Hanford aLIGO installation, testing, commissioning
Livingston aLIGO installation, testing, commissioning
aLIGO observing run
aLIGO observing run
S6
S6

## Slide 17: Timeline: from eLIGO to aLIGO
2010
2011
2012
2014
2015
2016
2013
Hanford aLIGO installation, testing, commissioning
Livingston aLIGO installation, testing, commissioning
aLIGO observing run
aLIGO observing run
S6
S6
Now

## Slide 18: Timeline: installation and testing
Hanford aLIGO installation, testing, commissioning
Livingston aLIGO installation, testing, commissioning
aLIGO observing run
aLIGO observing run
S6
S6
2013
Input optics
Vertex
Full ifo
Livingston Installation
Hanford Installation
2010
2012
2011
One arm
Input optics
Arms and vertex
Install
Arms
2011
2012
2014
2015
2016
2013
2010

## Slide 19: Timeline: the lead up to the first observing run
Hanford aLIGO installation, testing, commissioning
Livingston aLIGO installation, testing, commissioning
aLIGO observing run
aLIGO observing run
S6
S6
2014
2015
O1
O1
Vertex
Arms
Full ifo
Acceptance and sens. improve.
Hanford Installation
Livingston Full interferometer
Acceptance and sensitivity improvement
2010
2011
2012
2014
2015
2016
2013
Now

## Slide 20: aLIGO project acceptance requires:
Subsystems meet their acceptance criteria
  Design and use documentation produced
  Meet individual performance requirements
Each interferometer locks for an extended time (2 hours)
  Locking: acquire and maintain interferometer resonance under automated control
Livingston has achieved this!

## Slide 21: Commissioning at Livingston
Improving sensitivity
Increased laser power
Noise hunting
Transition to DC readout
Improved optic alignment and angular stability
+/- 25%
Notes: Progression of LLO full ifo lock testing – point out iLIGO and aLIGO curves
Started in late May - Steady march throughout June and July
PASSED eLIGO on July 30th
Already doing ~1000x better at 10Hz, of interest to people looking for early inspirals
THIS IS DUE TO EXPECTED commissioning progression

## Slide 22: Prior commissioning progression
Science Requirement. document (1995)
S2: Feb.- Apr. 2003
59 days BNS reach ~ 1Mpc
S3: Oct. ‘03 - Jan. ‘04
70 days BNS reach ~ 3Mpc
S1: Aug. - Sep. 2002
17 days BNS reach ~100kpc
S5: Nov 2005 – Oct 2007
S4: Feb. - Mar. 2005
30 days BNS reach ~ 15Mpc
15 Mpc
L. Barsotti
Notes: Slide for some perspective – understand how remarkably fast this is.
6 years to iLIGO sensitivity
3 MONTHS to the same sensitivity in aLIGO
S6 – same process/progression as now, but now MUCH FASTER (pick a freq and show how much faster in aLIGO)

## Slide 23
July 28, 2014
Preliminary
Preliminary
Noise budget
Livingston - August 16, 2014

## Slide 24: The challenges of commissioning
Many effects cannot be tested prior to large scale implementation
Often noise sources stem from the interaction of different subsystems and cavities
Laser power
Optic alignment
Optic quality
Scattering
Thermal effects
Noise!
Seismic

## Slide 25: Planning observing runs
Number of detections =
Rate x Volume x Time

## Slide 26: Planning observing runs
For Binary Neutron Stars:
Number of detections =
Rate x Volume x Time
arxiv 1003.2480
Notes: Neutron Star Binaries:
Advanced LIGO:~200 Mpc, “Realistic*rate”*~*40/year*
Initial LIGO: ~15(Mpc, Rate ~1/50years)

## Slide 27: Outline
Observing transient GW signals with Advanced LIGO
  The advanced detector network
  Projected commissioning timeline
  Likely observational scenarios
Detector characterization efforts
  Past strategies, challenges, and successes
  New approach to characterizing complex instrumentation
  First glimpse of Livingston data quality

## Slide 28: GW search pipelines are adversely affected by non-Gaussian data!
Long tails (outliers) in all-sky GW burst search background triggers greatly restrict achievable false alarm rate.
Non-Gaussian noise confuses parameter estimation for all transient searches.
  Slide: Josh Smith, 2014
Notes: because of the loud tail, having a signal loud enough for detection is astrophysically unlikely.

## Slide 29: Example: NINJA2 search results
A normalized spectrogram of Hanford recolored noise only showing a transient event, or glitch, that happens to occur at the time of the injection.
  Slide: Josh Smith, 2014
Solid blue – the 95% credible region for mass estimation based on EOBNRv2 analysis using recolored noise.
Dashed pink – in Gaussian noise.
arvix 1401.0939
Actual injected masses
Notes: NINJA2 notes

## Slide 30: How glitchy were data in past runs?
Number of events vs. loudness histogram
Number of events vs. loudness histogram
Gaussian noise prediction
Gaussian noise prediction
A ‘good’ day in S6
A ‘bad’ day in S6
Notes: S6 run in 2009-2010

## Slide 31: What kinds of glitches affect the transient GW searches?
The burst search, requiring coherence and time coincidence between ifos, is more affected by very frequent glitches
Detector characterization
Example: ‘Grid’ Glitches
Notes: Explain glitchgrams – a time representation of bursts of noise in the detector, with color representing loudness, etc.

## Slide 32
The CBC search is more affected by very loud glitches, which will convolve with many waveform templates in the template bank and pollute large chunks of data
Example: ‘Spike’ Glitches
What kinds of glitches affect the transient GW searches?
Notes: in a matched-filter search, a loud delta-function (like a spike glitch) will convolve with all the templates, across the entire duration of the template (as the template is 'slid' over the spike glitch). A loud glitch will ruin a large chunk of data for the CBC search, ~10s of sec long

## Slide 33: First Glimpse Advanced LIGO Livingston DQ

## Slide 34: Livingston full interferometer glitching
  Slide: Josh Smith, 2014
Calibrated DARM (differential arm length) glitch rate comparison
September 2010 (S6)
August 2014

## Slide 35: An early DQ issue diagnosis
  Slide: Josh Smith, 2014
Calibrated DARM - 1 hour on August 9th 2014
Time (minutes)
00:10
00:20
00:40
00:50
00:60

## Slide 36: An early DQ issue diagnosis
  Slide: Josh Smith, 2014
Calibrated DARM - 1 hour on August 9th 2014
Time (minutes)
00:10
00:20
00:40
00:50
00:60

## Slide 37: Through the lens of a single ifo burst GW pipeline
  Slide: Josh Smith, 2014
8 hours on August 9th 2014
Calibrated DARM (differential arm length)

## Slide 38: The mechanism : major carry transition DAC glitching
  Slide: Josh Smith, 2014
Power recycling cavity length
Power recycling mirror actuation
Notes: LSC-PRCL_IN1_DQ is the power recycling cavity length error signal, so any misalignments in the PRC length will show up in this signal. Specifically this is the input to the control filters, so this signal is processed to make the PRC length control signal.

## Slide 39: The mechanism : major carry transition DAC glitching
  Slide: Josh Smith, 2014
First dubbed “zero crossing” glitches – identified when vertex cavity actuation signals crossed zero.
Actually a subset of a broader known issue with these DACs.
Power recycling cavity length
Power recycling mirror actuation
Notes: Think of it as an inversion of the majority of the switches. This is where glitch-ing is most common.
LLO commissioners reported Digital-to-Analog Converters (DACs) glitching on zero crossing (next slide) in alog 13940
This should occur for any other major carry transition (e.g.,+/- 2^16 for 18-bit DAC and +/- 2^14 for 16-bit DAC)

## Slide 40: The mechanism : major carry transition DAC glitching
  Slide: Josh Smith, 2014
Major-carry transitions: single-code transitions that cause a most significant bit (to change because of the lower bits transitioning.
Examples:
0111
1000
1000
0111
G1400823
Power recycling cavity length
Power recycling mirror actuation
Notes: Think of it as an inversion of the majority of the switches. This is where glitch-ing is most common.
LLO commissioners reported Digital-to-Analog Converters (DACs) glitching on zero crossing (next slide) in alog 13940
This should occur for any other major carry transition (e.g.,+/- 2^16 for 18-bit DAC and +/- 2^14 for 16-bit DAC)
R-2R precision DACs

## Slide 41: Offset applied to vertex cavity actuation
  Slide: Josh Smith, 2014
Time series of power recycling cavity length control signal

## Slide 42: Offset applied to vertex cavity actuation
  Slide: Josh Smith, 2014
An offset is applied to the signal sent to the optic actuators in the vertex cavities
These signals no longer cross zero
The length signal glitching that couples to DARM is greatly reduced
Time series of power recycling cavity length control signal
Notes: ZERO OR 2^16!!

## Slide 43: End station actuator glitches identified
  Slide: Josh Smith, 2014
The Detector Characterization group also identified this behavior in one of the end stations at the 2^16 MCT
accounting for ~80% of loud glitches remaining after offset applied to vertex cavity actuators
End X optic suspension actuation signal
Calibrated DARM
Time – 2 hours

## Slide 44: Conclusions
With less than a year to go, making good progress toward commissioning and data analysis goals
  Commissioning following a rapid timeline, advances in sensitivity expected and well understood
  Detector characterization investment in instrumental expertise already fruitful in preparing to improve data quality for GW searches in O1
All indications are that we will be ready!