## Slide 1: Cryogenic Test Mass Work at Stanford
Brett Shapiro
Stanford cryo people:
Brian Lantz, Tim MacDonald, Dakota Madden-Fong (summer ’13 and ‘14)

## Slide 2: LIGO III cryo work distribution
Adapted from Nicolas Smith-Lefebvre
Caltech - cryogenic reference cavities; direct thermal noise measurements
Jena/Glasgow/Moscow - mechanical loss
MIT – high emissivity coatings
KAGRA – 20 K sapphire suspensions
INPE Brazil – Cryogenic multi-nested pendulum
Stanford – optical coatings (Riccardo Bassiri’s talk); cryogenic technology

## Slide 3: LIGO III Cryosystem
See also G1200246-v1
124 K
295 K
Heat shield at
80 K maintains 124 K through radiative coupling
Active Seismic Isolation Table
ISI stage 2
Vacuum flange
Flexible LN2 tubing
or Cu cables
clamp
1560 nm MW laser
≈ 3 W absorption at 124 K
≤ 10 m
≈140 kg Si test mass
…
…
chiller
Not shown:
Test mass cold link for initial cool down

## Slide 4: Integrated Experiment Beginning
Vacuum wall
LN2 feedthrough
GN2 feedthrough
Chillers -
cryomech
ISI Stage 2
ISI Stage 1
LN2 return
LN2 supply
Cold link
motor
Stainless steel legs
Heat shield - preliminary design complete T1400553
Test mass –
6” prototype in lab
Cold link -
prototyped
and tested
Maraging steel blade spring
LN2 pipe around shield
Goal:
Show we can make a low vibration cryogenic environment

## Slide 5: Stanford Heat Shield
Dakota Madden-Fong - T1400553
2 m
Material: Stainless steel for weldability
LN2 pipes at 75 mm spacing
(shown w/ greater density here)
6” test mass location
1 ft dia

## Slide 6: Initial Cool Down Cold Link – 2 Designs
Test mass
Conductive cooling, low pressure N2 gas
Stanford Prototype
liquid N2 pipe flexures or Cu cables
thermally conductive plate with variable gap
Operates in partial vacuum
Fine temperature control
Permits both conductive and convective cooling.

## Slide 7: Pros and Cons of LN2 pipe vs. Cu cable
Cu cable
Pros:
No fluid to make noise
No LN2 pumping mechanism
No risk of N2 leaks
Cons:
Low heat transfer
Cryo refrigerator must be placed near feedthrough
High bulk: stiffness, weight, etc
  Q = K(A/L)ΔT
    Big L means big A
    Can reduce A by making cold end less than LN2 (77 K). E.g. Cryomech’s PT407 can pull 25W at 55 K.
  - Minimize stiffness by using lots of this wires, but wire dia must be > electron m.f.p.
Thermal conductivity decreases when wire dia becomes smaller than electron m.f.p.
Hysteresis
  - Lots of small wires sliding past each other
High difficulty in minimizing seismic shorting
- Minimize using:
    Lots of thin wires
    Intermediate masses along length
LN2 pipe
Pros:
High heat transfer
Low bulk
Moderate difficulty in minimizing seismic shorting
Length of pipe in vacuum not an issue for net heat transfer (longer pipes do require more pressure to push fluid)
Vibrating cryorefrigerator can be placed further from vacuum feedthrough.
Cons:
Complex LN2 pumping mechanism
Requires its own seismic isolation stage.
Risk of leaking
Fluid flow could contribute noise
  Minimize by:
    Cooling the LN2 so it doesn’t boil
    Ensuring laminar flow

## Slide 8: LN2 pipes vs Cu cables trade-offs
 | Heat Transfer | Added weight | Seismic shorting | complexity of cryo system | Vacuum leaks
Copper cables |  |  |  |  | 
LN2 pipes |  |  |  |  | 
?
Good
Fair
Risky
Show stopper

## Slide 9: Cryogenic Cu Braids
Copper Braid Products Ltd. - http://www.copperbraid.co.uk/oxygen_free.php

## Slide 10: Test mass cool down
OFHC copper braids: http://www.copperbraid.co.uk/oxygen_free.php
== 1, 10” dia cable
== 1, 5” dia cable
== 1, 1” dia
cable
simulation

## Slide 11: LN2 Piping System
http://www.battlefieldplumbing.com

## Slide 12: Test mass cool down
simulation

## Slide 13: Steady state cooling with LN2
F: Flow rate
P: Heat load
simulation

## Slide 14: Steady state cooling with LN2
Test mass contribution
F: Flow rate
P: Heat load
simulation

## Slide 15: Steady state cooling with LN2
Test mass contribution
Possible scattered light contribution
F: Flow rate
P: Heat load
simulation

## Slide 16: Steady state cooling with a Cu cable
simulation
Chiller Tcold
5 m Cu cable
50 mm2
Thot = 80 K
Heat flow

## Slide 17: Copper thermal conductivity

## Slide 18: Copper thermal conductivity
Depends on geometry:
Small dimensions bring this down.
Heat carriers scatter off boundaries.

## Slide 19: Copper thermal conductivity
“In metals [the M.F.P. limit] is a relatively rare occurrence, to be considered only in the case of very small particles, very thin wires, or superconductors at extremely low temperatures.
Depends on geometry:
Small dimensions bring this down.
Heat carriers scatter off boundaries.

## Slide 20: Copper thermal conductivity
Longer and skinny threads

## Slide 21: Steady state heat through a Cu cable
simulation
Longer and skinner threads
More work needed to take this into account

## Slide 22: Flow-Induced Vibration Experiment
ISI Stage 2
3 kg test plate
Water pipe
HS1 Geophone
Compliant pipe loop with viton damping
Earthquake stop

## Slide 23
3 kg test plate
Viton balls to for damping and horizontal isolation
Water pipe
HS1 Geophone

## Slide 24: Flow-Induced Vibration Experiment

## Slide 25: Flow-induced vibration measurement

## Slide 26: Flow-induced vibration measurement

## Slide 27: Flow-induced vibration measurement

## Slide 28: Flow-induced vibration measurement

## Slide 29: Flow-induced vibration measurement

## Slide 30: Flow-induced pressure measurement

## Slide 31: Seismic noise on BSC-ISI Stage 2 Rz

## Slide 32: Noise projected on BSC-ISI Stage 2 Rz

## Slide 33: LN2 pipes vs cu cables trade-offs
 | Heat Transfer | Added weight | Seismic shorting | complexity of cryo system | Vacuum leaks
Copper cables |  |  |  |  | 
LN2 pipes |  |  |  |  | 
?
Good
Fair
Risky
Show stopper

## Slide 34: Future Work: Experiment Layout
Vacuum wall
LN2 feedthrough
GN2 feedthrough
Chillers -
cryomech
ISI Stage 2
ISI Stage 1
LN2 return
LN2 supply
Cold link
motor
Stainless steel legs
Heat shield - preliminary design complete T1400553
Test mass –
6” prototype in lab
Cold link -
prototyped
and tested
Maraging steel blade spring
LN2 pipe around shield
Goal:
Show we can make a low vibration cryogenic environment

## Slide 35: Backups

## Slide 36: Future work
Next generation experiment using the Stanford ETF (experimental test facility)
More realistic LIGO setup
Measure temperature drifts on LIGO hardware, e.g. blade springs
Measure seismic noise of nitrogen delivery and/or copper cables
Test heat shield design
  Black coatings
  baffles
Test a variety of cooling techniques
System integration: how to make all this stuff work together
Implement in stages
  Cables/hoses first – test seismic noise
  Heat shield and suspended optic
  Install cryogenic refrigerator
  Cavity?
  Anything we haven’t thought of yet

## Slide 37: Stage 2 to Test Plate TF

## Slide 40: Other slides to add
Pressure to velocity TF
  Maybe use this to get around noise floor
Summary slide?
Conclusions?
Update future work
Backups:

## Slide 41: How to get a LN2 Hose to ST2
Stage 0
Stage 1
Stage 2
Stage A
LN2 hoses: Supply and return
Actuators
Sensors
Extra stage, A, in parallel with stage 1 carries hose. Stage A is actuated to follow stage 2 so the hose has does not short seismic isolation. Stage A sensor noise is set by the stage 2 isolation requirement (so it follows stage 2 and not the sensor noise).
Vacuum flange
clamps

## Slide 42
Hose shaker
Water reservoir
Lift, for flow rate control
Suspension for
mechanical isolation of pipe shaking
Eddy current damping for suspension
In vacuum vibration measurement (not visible)
Water hose

## Slide 44: Other Problems To Solve
Flexibility of liquid N2 hoses or Cu cables
Temperature/height control of blade springs
Test mass temperature control
Test mass temperature tolerance
How to measure temperature?
  Measure acoustic modes – Young’s modulus is temp. dependent
  Measure test mass diameter – combined with CTE data gives temperature
  Infrared camera
Emissivity of optical coatings
Lossiness of emissive coatings
Good emissivity estimates/measurements of Si?
Power absorption in Si and Si coatings (ppm, W, etc)?
How noisy is flowing laminar liquid nitrogen: seismic, Newtonian?
Optical coating thermal noise at 124 K
How to actuate the test mass – is the ESD out?
Can we put viewports in the heat shield?

## Slide 45: Heat shield mode 1 = 102 Hz
Can increase this frequency with a stiffening ring at the opening of the cylinder.

## Slide 46: Heat shield mode 2 = 145 Hz
Can increase this frequency with a stiffening ring at the opening of the cylinder.

## Slide 47: Steady state shield temperature

## Slide 48: Influence of LN2 pipe spacing
Dakota Madden-Fong - T1400553

## Slide 49: Radiation cool down with shield

## Slide 50: Concept for a lower natural frequency