## Slide 1: Mirror suspensions at the AEI 10m-Prototype
Conor Mow-Lowry
For the AEI 10m team
Special credit: Johannes Lehmann, Sina Köhlenbeck, Gerald Bergmann

## Slide 2: The 10m Prototype
Provides a test-bed facility with
  Low displacement noise at acoustic frequencies
  100m3 high-vacuum enclosure (10-7 mbar)
  Flexible configuration
An experimental platform
  Geodesy/LISA related experiments
  Novel techniques for future gravitational wave detectors
    Coating thermal noise reduction with materials or configurations
    Radiation pressure noise mitigation
    Parametric instabilities? Frequency dependent squeezing? Macroscopic quantum mechanics?

## Slide 3: SQL interferometer
A Michelson interferometer with Fabry-Perot arm-cavities

## Slide 4: SQL interferometer triples
Designed by Glasgow group, including 10um glass fibre welding techniques
100g mirrors
3 horizontal, 2 maraging vertical stages
Monolithic final stage
Eddy-current damped
Novel ESD

## Slide 5: Top mass

## Slide 6: Top Mass
220 g, main balancing and steering
Eddy-current damped, 4 coils, 2 blades

## Slide 7: Penultimate mass

## Slide 8: Penultimate Mass and fibre-guards

## Slide 9: Test mass

## Slide 10: ESD concept

## Slide 11: Expected longtiudinal motion

## Slide 12
Test coils for Top and Penultimate masses
Confirm model
Inform control design
Pitch-balancing and de-bugging
(Measurements and analysis by Johannes Lehmann, bachelor project)
Transfer function testing

## Slide 13: Actuator tests

## Slide 14: Top-Mass (Pitch)

## Slide 15: Top-Mass (Yaw)

## Slide 16: PUM (Pitch)

## Slide 17: PUM (Yaw)

## Slide 18: Reference cavity 1kg triples

## Slide 19: Steering mirror suspensions
Single loop, no springs
Eddy-current damped
3” normal-incidence
2” + 4” 45-degree

## Slide 20: Physical layout

## Slide 21: The team
Ken Strain: Scientific leader (Glasgow)
Harald Lück: Co-ordinator (Hannover)
  Tobin Fricke: Reference cavity, CDS, electronics
  Conor Mow-Lowry: Seismic isolation, suspensions, single-arm test
  Vaishali Adya: Interferometric sensing & control and simulations
  Gerald Bergmann: Isolation tables, ESD
  Manuela Hanke: Reference cavity
  Sina Köhlenbeck: Suspension Platform Interferometer, Single-arm test
  Tobias Westphal: Non-SQL suspensions, Thermal noise interferometer
  Aftab Baig: SQL and steering suspensions, Single-arm test
Liam Cunningham, Russell Jones, Alan Cumming, Giles Hammond: SQL IFO suspensions
Sean Leavey, Stefan Hild: Simulations and interferometric readout (Glasgow)
Gerrit Kühn: Real time control and data system
Andreas Weidner: Electronics and Electrical design
Benno Willke, Jan Hendrik Pöld, Patrick Oppermann: High power laser system
Kasem Mossavi: Vacuum system and pumps control
  Thimotheus Alig , Alessandro Bertolini, Michael Born, Yanbei Chen, Katrin Dahl, Stefan Danilishin, Stefan Goßler, Christian Gräf, Sabina Huttner, Fumiko Kawazoe, Kentaro Somiya, Bob Taylor, Alexander Wanner