## Slide 1: Lessons Learned from Commissioning of Advanced Detectors
May 18, 2015
Daniel Sigg LIGO Hanford Observatory

## Slide 2: Lessons
Good QA & experience lead to quick progress
Locking
  Arm Length Stabilization (ALS) is working
  Dual Recycled Michelson Locking (DRMI) is working (3f technique)
  Alignment stability is important with low frequency seismic systems
Low frequency seismic isolation systems at Virgo
Squeezing at GEO
Underground and cryogenic at KAGRA
Low finesse cavities causes alignment offset problems
High Q resonances and uncontrolled DOFs
Thermal adjustments not needed at 20W input
ESD charging Issues
Parametric Instabilities

## Slide 3: Progress
Chart: aLIGO Commissioning Progress
| 0 | 11.16041666666667 | 27.393750000000001 | 53.772916666666667 | 59.860416666666673 | 99.42916666666666 | 115.66249999999999 | 116.6770833333333 | 178.56666666666669 | 193.78541666666669 | 231.32499999999999 | 244.51458333333329 | 267.85000000000002
LLO | 0.58 | 3.68 | 5.87 | 15.8 | 20.14 | 27 | 31 | 36 | 50 | 57 | 60 | 64.2 | 67
LHO | 1 | 9 | 13 | 28 | 34 | 36
O1-lower | 40 | 40
O1-upper | 80 | 80

## Slide 4: Sensitivity
Preliminary

## Slide 5
Preliminary

## Slide 6: L1 Noise Model

## Slide 7: Locking
Time [s]
Refl.
Locking
Refl.
Power [W]
Intensity Power [W]
Arm Length Stabilization
Full Lock
Switching to Nominal Sensors &
Adjusting operating point
DRMI 3f

## Slide 8: Squeezing at GEO
Squeezing long term stable around 3dB
After researching phase control and auto-alignment now focus on losses
Data taking runs well, fully automated locking

## Slide 9: Underground & Cryogenic at KAGRA

## Slide 10: Parametric Instabilities
Evans et al., Phys. Rev. Lett. 114, 161102 (2015)

## Slide 11: Parametric Instabilities (3)
Mechanical Optical

## Slide 12: Parametric Instabilities (2)
Number of Unstable Modes Depends on ROC
Thermal control of ROC can work for small N

## Slide 13: Electro Static Drive
250V
Recharging

## Slide 14: Electro Static Drive (2)
Charge is a problem, can be 10s (even >100) of Volts
  First contact leaves a charge behind
  Field lines must terminate somewhere (e.g. ring heater)
  Drive strength depends on charge, adds a linear term
  Charge is not uniform
Injecting ions into the vacuum did not fix the problem
  Hard to reach the back surface
Recharging does occur
  Ion pump main culprit, needs to be shielded or removed
Test masses need to be discharged before pumping
  Seems to stay discharged without an ion pump

## Slide 15: Electro Static Drive (4)

## Slide 16: Summary
Sensitivity of initial detectors surpassed quickly
Robust locking achieved
Squeezing is now ready and robust (GEO)
Parametric instabilities are real; need to be dealt with
Test mass charge is a problem
  Discharging effort underway
What’s left?
  High power operations: thermal control, PI, alignment instability
  Low frequency noise hunting & controls optimization
  Make the seismic system work during bad weather
  Damping of high Q modes
  Backscatter mitigation