## Slide 1: The road to 10 dB
Kate Dooley, Emil Schreiber
GWADW, Girdwood, May 19 2015
LIGO-G1500668

## Slide 2: Motivation
also, all LIGO strawman designs assume around 10 dB observed squeezing
ET-0106C-10

## Slide 3: The main challenges
S. Dwyer et al., 2013
1. losses
2. phase noise

## Slide 4: The injection path
OPA
Faraday isolator
Faraday
isolator
Faraday
isolator
OMC
1% tap-off
MSR
from IFO
PD

## Slide 5: Loss budget
component | achieved at GEO (at some point) | goal (numbers from Strawman Team Red)
OPA internal loss | 5% | 3%
Faraday isolator (rotator + 2 PBS’) | 4 · 2% | 3 · 0.8%
loss on IFO reflection | 1% (estimated) | 1%
mode matching to OMC | 4% | 1%
OMC internal loss | 2% | 0.5%
PD quantum efficiency | 1% | 0.5%
filter cavity | – | 1%
tap off | 2 · 1% | –
total | 21% (40% observed) | 9%
source:
LIGO-T1200046-v1

## Slide 6: Low loss Faraday isolators
K. D. Skeldon et al., 2000
current GEO Faraday rotators have 0.6% single pass loss
PBS cubes show up to 1% loss
Glasgow PBS design: 220 ppm
need redesign if we care for both polarizations
isolator design at the University of Florida based on optimized IFI design: 0.4% loss
R. Goetz, LIGO-T1500187

## Slide 7: Alignment control
E. Schreiber et al., LIGO-P1500056

## Slide 8: The phase noise roadmap
Dwyer et al. Optics Express, Vol. 21, Issue 16 (2012)

## Slide 9: Total phase noise (current detectors)
Out-of-loop measurements of total phase noise
GEO:
LIGO:
Both sites: ~37 mrad rms (!)
Dwyer, PhD thesis (2013)

## Slide 10: Phase noise budget
Free-running
In-loop
Sensor noise
Total accounted-for phase noise = 16 mrad rms
(LIGO accounted-for phase noise = ~ 25 mrad rms)
Both interferometers observe excess phase noise.

## Slide 11: Squeezing phase error signal: 3 choices

## Slide 12: New signals = stable squeezing
Stability of h(t) from 4 kHz – 5 kHz (a shot-noise-limited region)
Squeezing level fluctuates when phase error signal derived from pre-OMC pick- off field

## Slide 13: Phase noise from RF sidebands

## Slide 14: Phase noise from RF sidebands
Example: GEO 14.9 MHz Michelson sidebands

## Slide 15: 3 years of squeezing
2012
2013
2014

## Slide 16: Adapt the interferometer design

## Slide 17: Don’t forget about other noise sources

## Slide 18: 2 OMCs a la Virgo?
Reduce losses and phase noise from RF sidebands
– 2 OMCs in series
-- low finesse  low losses
-- double pole  sufficient filtering of RF sidebands
Advanced Virgo TDR
VIR–0128A–12
Virgo has already demonstrated 96% transmission through both OMCs

## Slide 19: Summary and open questions
For 10 dB of squeezing:
– Phase noise must be reduced from ~35 mrad to ~10 mrad
– Optical losses must be reduced from ~40% to ~8%

## Slide 20: Summary and open questions
In what other ways can we adapt the interferometer to be compatible with 10 dB squeezing?
2 OMCs?
can we minimize pick-offs for other control beams?
can we make use of OMC reflection for ifo alignment?
?
For 10 dB of squeezing:
– Phase noise must be reduced from ~35 mrad to ~10 mrad
– Optical losses must be reduced from ~40% to ~8%