****

# LIGO LABORATORY

California Institute of Technology

1200 E. California Blvd.

Pasadena, CA 91125

**Statement of Work (SOW)**

**LIGO Livingston LN2 Supply**

1. **Scope**

* The Contractor will be required to supply and deliver liquid nitrogen (LN2) to the LIGO Livingston Observatory, 19100 LIGO Lane, Livingston LA 70754.
* The LIGO site consists of four vertical Dewar’s (of which two are 14,400 gallons and two being 17,700 gallons) distributed along 5 miles of private paved road with adequate truck access to each Dewar.
* The annual total LN2 consumption is approximately 310,000 gallons.
* Delivery availability must be sufficient to prevent any individual Dewar falling below 40% of its capacity.
* Only full truckloads will be accepted.
* All trucks should be able to unload 6000 gallons in one hour.
* All deliveries will be made on Tuesdays between the hours of 8:00am central time and 12:00pm central time~~.~~ Exceptions can be made with approval of the site Operations Manager. The LIGO Livingston Observatory reserves the right to change the delivery window.

**2.0 Purpose**

To provide Liquid Nitrogen to LIGO Livingston Observatory as needed.

**3.0 Waivers or Deviations**

If it is apparent that the requirements of this specification cannot be complied with, the responsible technical organization shall initiate a waiver or deviation and submit it in sufficient time to allow for proper evaluation and disposition. Submit requests by memorandum to LIGO Project: Scott McCormick

**smccormick@ligo-la.caltech.edu**

**4.0 Requirements**

4.1 Provide fixed price for the first three (3) years of the basic contract as follows:

Fixed price for base contract FY16 (Year 1): $.XXX/gallon

Fixed price for base contract FY17 (Year 2): $.XXX/gallon

Fixed price for base contract FY18 (Year 3): $.XXX/gallon

Fixed price for Option Year 4 to be contemplated by the LIGO Project.

4.2 Mandatory Delivery Requirement:

Liquid Nitrogen Supply and Delivery to the LIGO Livingston Observatory Site as needed.

Deliver to the Attention:

Scott McCormick

LIGO Livingston Observatory

19100 LIGO Lane

Livingston, LA 70754

USA

Please contact Scott McCormick (225) 686-3165 for questions of a technical nature. For questions of a contractual nature, please

contact Steven J. Marroquin at 626-395-8431.

1. **Period of Performance**

5.1 Period of Performance:

October 1, 2015 through September 30, 2018

Contractor shall propose price for Three (3) years and a

one (1) year option.

5.2 Payment Terms:

Net 30 after work has been completed.

5.3 F.O.B. Point:

LIGO Livingston Observatory

19100 LIGO Lane

Livingston, LA 70754

USA

5.4 Billing Procedure

The Contractor will bill referencing our standard purchase order number. The Contractor is advised that invoices failing to reference any of the above will not be paid until properly identified.

**6.0 General Provisions and Special Provisions**

Refer to Attachment 2 Section 1 – Commercial Items or Services Contract General Provisions.