## Slide 1: VOPO HAM 5 & HAM 6 Layout
LIGO MIT Lab
Barsotti, Lisa
Matichard, Fabrice
Miller, John
Fernandez Galiana, Alvaro

## Slide 2: Optical Layout
2 different layouts:
  O3 Squeezer model with filter cavity + RFPD in Vacuum
  O2 Squeezer model (early squeezing)

## Slide 3: O2 LAYOUT
HAM 5 & HAM 6 LAYOUT FOR O2
NO Filter Cavity
RFPD in Air
To be added:
  VOPO Suspension (x1)
  Tip-Tilt (x1)
  2” Mirror (x2)
  Beam Splitter (x1)
Faraday
VOPO

## Slide 4: O2 LAYOUT
Injection Bench O2
Green Beam: 532 nm
Orange Beam: 1064 nm
Red Beam: SQZ

## Slide 5: O2 LAYOUT
Injection Bench O2
A
B
C
D
Green Beam:
  A = 0.149 m
  B = 0.106 m
  C = 0.10862 m
  D =
  Fiber-Lens1: 0.149
  Fiber-Lens 2: 0.255
  Fiber-Cavity: 0.36362

## Slide 6: O2 LAYOUT
A
B
Orange Beam:
  A = 0.030 m
  B = 0.250 m
  Fiber-Lens1: 0.030 m
  Fiber-Cavity: 0.280 m
Injection Bench O2

## Slide 7: O2 LAYOUT
SQZ Beam:
  A = 0.346m
  B = 0.534m
  C = 67.50° (33.75° incidence)
  Cavity-Lens1: 0.346m
  Cavity-Lens 2: 0.880 m
Injection Bench O2
A
B
C

## Slide 8: O2 LAYOUT
HAM 6 O2
A
B
C
D
E
HAM 6 Beam:
  A = 90° (45° incidence)
  B = 54° (27° incidence)
  C = 92° (46° incidence)
  D = 90° (45° incidence)
  E = 32° (16° incidence)

## Slide 9: O2 LAYOUT
HAM 5 & 6 O2 Layout
SQZ Beam (Red):
  Cavity Out – Faraday : 4.7146m

## Slide 10: O2 LAYOUT
HAM 5 SQZ Beam:
  A = 90°
HAM 5 O2 Layout
A

## Slide 11: O3 LAYOUT
HAM 6 O3
Filter Cavity
RFPD in Vacuum
To be added (from O2):
  Tip-Tilt (x1)
To be removed (from O2):
  2” Mirror (x2)

## Slide 12: O3 LAYOUT
Green Beam: 532 nm
Orange Beam: 1064 nm
Red Beam: SQZ
Blue Beam: FC to IF
Injection Bench O3

## Slide 13: O3 LAYOUT
Injection Bench O3
Orange Beam:
  Same as O2
Pink Beam:
  RFPD in Vacuum

## Slide 14: O3 LAYOUT
Injection Bench O3
Blue Beam:
  RFPD in Vacuum

## Slide 15: O3 LAYOUT
SQZ (red) Beam:
  Same as O2
FC (Blue) Beam:
  A = 75.82° (37.91° incidence)
  B = 108.36° (54.18° incidence)
  C = 78° (39° incidence)
Injection Bench + HAM 6 O3
A
B
C

## Slide 16: O3 LAYOUT
HAM 6 O3

## Slide 17: HEIGHT “PROBLEM”
Height difference Ham 5 - 6
Height difference: 4.91732 in (124.9mm)

## Slide 18: HEIGHT “PROBLEM”
Height difference Ham 5 - 6
NOTA: A 124.9mm high Aluminum base will have to be designed in order to raise the Tip-Tilt in Ham 5