## Sheet1
Item | LIGO DCC or P/N | Qty in hand | Required Qty per OMC | Note
Glass/Ceramic components
Glass breadboard | D1200105 | 3 | 1
Black glass pieces for beam dump | D1201286 | 16 | 10
Noliac PZT | NAC2124 | 4 | 2
Prism Mirror "A" | E1101086 | 7 | 2 | Flat IO coupler
Prism Mirror "B" | E1101086 | 6 | 2 | 50:50 BS
1/2" Mirror "C" | E1101095 | 6 | 2 | Curved optic
Prism Mirror "E" | E1101086 | 6 | 4 | 45deg HR mirror
Mouting Prism | E1101087 | 9 | 2
Wire mount | D1102209 | 13 | 4
PDs
High QE PD (IGHQE3000X) |  | >10 | 2
QPD (FCI-INGAAS-Q3000) |  | 4 | 2
Large Parts
DCPD Housing | D1201274 | 0 | 2 | Requires Alumina plasma spray
QPD Housing | D1201280 | 3 | 2
Cable Bracket | D1300052 | 1 | 1
Mass Mounting Bracket | D1300060 | 1 | 2
Small Parts
PD Face Plate | D1201275 | 2 | 2
QPD Face Plate | D1201281 | 3 | 2
Cable peg | D1300057 | 10 | 4
DCPD connector Front PEEK | D1201276 | 1 | 2
QPD connector Front PEEK | D1201282 | 1 | 2
PEEK cable tie |  | 0 | 10
PD Shims | D1201467-1 | 2 | -
| D1201467-2 | 7 | -
| D1201467-3 | 10 | -
| D1201467-4 | 8 | -
| D1201467-5 | 4 | -
| D1201467-6 | 0 | -
| D1201467-7 | 0 | -
| D1201467-8 | 0 | -
| D1201467-9 | 1 | -
| D1201467-10 | 1 | -
Tranport Fixture (Assembly) | D1201515 | 0 | 1 | One per OMC bread board
DCPD Cable A | D1300371 | 0 | 1
DCPD Cable B | D1300372 | 0 | 1
QPD Cable A | D1300374 | 0 | 1
QPD Cable B | D1300375 | 0 | 1
PZT subassembly |  | 0 | 2 | New production needed
Black glass subassembly |  | 0 | 5 | New mechanism needed
PD Mounting Bracket |  | 0 | 14 | New mechanism needed