## Slide 1: Current and future ground-based gravitational-wave detectors
Haixing Miao
University of Birmingham
LAAC Tutorial Glasgow
Key reference: LIGO Instrument Science White Paper (2015-2016)

## Slide 2
Background
  Gravitational waves and their detection
Basic of noise
  Noise spectral density and transfer function
Environmental noise
  Passive isolation and active cancellation
Thermal noise
  Fluctuation-dissipation theorem
  How to reduce thermal noise
Quantum noise
  Standard Quantum Limit
  Frequency-dependent squeezing
Current and future detectors
  Timeline and sensitivity
Outline
1
LAAC Tutorial Glasgow

## Slide 3
Background
  Gravitational waves and their detection
Basic of noise
  Noise spectral density and transfer function
Environmental noise
  Passive isolation and active cancellation
Thermal noise
  Fluctuation-dissipation theorem
  How to reduce thermal noise
Quantum noise
  Standard Quantum Limit
  Frequency-dependent squeezing
Current and future detectors
  Timeline and sensitivity
Outline
2
LAAC Tutorial Glasgow

## Slide 4
Gravitational waves and their detection
3
Quantum fluctuations in early universe
Wave period
Log(frequency)
Age of universe
-16
-14
-12
-10
-8
-6
-4
-2
0
2
years
hours
sec
ms
Supermassive black holes binary mergers
Compact objects captured by supermassive black holes
Compact binary mergers
Supernovae, neutron star
Cosmic Microwave Background polarization
Pulsar timing array
Space-based interferometers
Ground-based interferometers
LAAC Tutorial Glasgow

## Slide 5
3
Quantum fluctuations in early universe
Wave period
Log(frequency)
Age of universe
-16
-14
-12
-10
-8
-6
-4
-2
0
2
years
hours
sec
ms
Supermassive black holes binary mergers
Compact objects captured by supermassive black holes
Compact binary mergers
Supernovae, neutron star
Cosmic Microwave Background polarization
Pulsar timing array
Space-based interferometers
Ground-based interferometers
Gravitational waves and their detection
LAAC Tutorial Glasgow

## Slide 6
A Global Network
4
GEO600
VIRGO
KAGRA
LIGO-India
LIGO
LAAC Tutorial Glasgow

## Slide 7
Different stages of Advanced LIGO
5
LSC, Living Reviews in Relativity 19, 1 (2016)
LAAC Tutorial Glasgow
strain

## Slide 8
Design sensitivity of Advanced LIGO
6
LSC, Class. Quantum Grav. 32, 074001 (2015)
LAAC Tutorial Glasgow
strain

## Slide 9
Background
  Gravitational waves and their detection
Basic of noise
  Noise spectral density and transfer function
Environmental noise
  Passive isolation and active cancellation
Thermal noise
  Fluctuation-dissipation theorem
  How to reduce thermal noise
Quantum noise
  Standard Quantum Limit
  Frequency-dependent squeezing
Current and future detectors
  Timeline and sensitivity
Outline
7
LAAC Tutorial Glasgow

## Slide 10
Signal and noise
8
Time Domain
Frequency Domain
LAAC Tutorial Glasgow

## Slide 11
Noise spectral density (spectrum)
9
LAAC Tutorial Glasgow

## Slide 12
Noise spectral density (spectrum)
10
LAAC Tutorial Glasgow

## Slide 13
Noise spectral density (spectrum)
11
LAAC Tutorial Glasgow

## Slide 14
Noise spectral density (spectrum)
12
Spectral density:
LAAC Tutorial Glasgow

## Slide 15
Noise spectral density (spectrum)
13
Spectral density:
Linear version:
Order of magnitude:
resolution bandwidth
Chap 6: Random Process in Applications of Classical Physics by Blandford & Thorne
LAAC Tutorial Glasgow

## Slide 16
Noise spectral density (spectrum)
14
In general:
100Hz signal (1sec long):
(with matched filtering)
LAAC Tutorial Glasgow
strain

## Slide 17
Transfer function
15
Physical
System
Transfer
Function
LAAC Tutorial Glasgow

## Slide 18
Background
  Gravitational waves and their detection
Basic of noise
  Noise spectral density and transfer function
Environmental noise
  Passive isolation and active cancellation
Thermal noise
  Fluctuation-dissipation theorem
  How to reduce thermal noise
Quantum noise
  Standard Quantum Limit
  Frequency-dependent squeezing
Current and future detectors
  Timeline and sensitivity
Outline
16
LAAC Tutorial Glasgow

## Slide 19
Seismic noise
Newtonian noise
Acoustic noise
EM interference
17
Environmental noise
LAAC Tutorial Glasgow

## Slide 20
18

## Slide 21
1. Passive isolation:
2. Active cancelation: (on-line or off-line)
Noise
source
Test
mass
Noise
source
Test
mass
Sensors
-
19
How to reduce environmental noise
LAAC Tutorial Glasgow

## Slide 22
1. Passive isolation:
Noise
source
Test
mass
Seven orders of magnitude passive isolation
Advanced LIGO quadruple suspension:
Example: Seismic noise
20
LAAC Tutorial Glasgow

## Slide 23
2. Active cancelation: (on-line or off-line)
Noise
source
Test
mass
Sensors
-
Example: Seismic noise
21
Similar technique can be used for cancelling Newtonian noise
LAAC Tutorial Glasgow

## Slide 24
Background
  Gravitational waves and their detection
Basic of noise
  Noise spectral density and transfer function
Environmental noise
  Passive isolation and active cancellation
Thermal noise
  Fluctuation-dissipation theorem
  How to reduce thermal noise
Quantum noise
  Standard Quantum Limit
  Frequency-dependent squeezing
Current and future detectors
  Timeline and sensitivity
Outline
22
LAAC Tutorial Glasgow

## Slide 25
Fluctuation-dissipation theorem (FDT)
23
LAAC Tutorial Glasgow

## Slide 26
Fluctuation-dissipation theorem (FDT)
24
LAAC Tutorial Glasgow

## Slide 27
Fluctuation-dissipation theorem (FDT)
25
Susceptibility:
FDT:
H. Callen, and T. Welton, Phys. Rev. 83, 34 (1951)
LAAC Tutorial Glasgow

## Slide 28
Fluctuation-dissipation theorem (FDT)
26
(Equipartition)
Susceptibility:
FDT:
LAAC Tutorial Glasgow

## Slide 29
Background
  Gravitational waves and their detection
Basic of noise
  Noise spectral density and transfer function
Environmental noise
  Passive isolation and active cancellation
Thermal noise
  Fluctuation-dissipation theorem
  How to reduce thermal noise
Quantum noise
  Standard Quantum Limit
  Frequency-dependent squeezing
Current and future detectors
  Timeline and sensitivity
Outline
27
LAAC Tutorial Glasgow

## Slide 30
Our hope
Our life
Thermal noises are ubiquitous. Dominant: suspension and coating.
Suspension
wire
Test
mass
Laser
Coating
Sources of thermal noise
28
LAAC Tutorial Glasgow

## Slide 31
1. Using low temperature
KAGRA in JAPAN will operated at cryogenic temperature.
Some designs of future detectors also incorporates cryogenic.
How to reduce thermal noise
29
LAAC Tutorial Glasgow

## Slide 32
2. Using high-quality material
Concentrating thermal energy; pushing noise outside band of interest.
How to reduce thermal noise
30
LAAC Tutorial Glasgow
FDT

## Slide 33
3. Using larger beam size
How to reduce thermal noise
Averaging out the thermal fluctuation.
31
LAAC Tutorial Glasgow

## Slide 34
Background
  Gravitational waves and their detection
Basic of noise
  Noise spectral density and transfer function
Environmental noise
  Passive isolation and active cancellation
Thermal noise
  Fluctuation-dissipation theorem
  How to reduce thermal noise
Quantum noise
  Standard Quantum Limit
  Frequency-dependent squeezing
Current and future detectors
  Timeline and sensitivity
Outline
32
LAAC Tutorial Glasgow

## Slide 35
Origin of quantum noise
33
LAAC Tutorial Glasgow

## Slide 36
34
Standard Quantum Limit:
Standard quantum limit
Shot noise
Radiation pressure noise
Quantum fluctuation in optical phase
In optical amplitude
Test
Mass
Optical
Field
GW
tidal force
Power fluctuation
LAAC Tutorial Glasgow

## Slide 37
Frequency-dependent squeezing
35
J. Kimble, et al. Conversion of conventional GW interferometers into QND by modifying their input and/or output optics, PRD 65, 022002 (2001)
LAAC Tutorial Glasgow
strain

## Slide 38
State-of-the-art
36
E. Oelker et al., Audio-Band Frequency-Dependent Squeezing for Gravitational-Wave Detectors, PRL 116, 041102 (2016)
LAAC Tutorial Glasgow
MIT proof-of-principle demonstration

## Slide 39
Background
  Gravitational waves and their detection
Basic of noise
  Noise spectral density and transfer function
Environmental noise
  Passive isolation and active cancellation
Thermal noise
  Fluctuation-dissipation theorem
  How to reduce thermal noise
Quantum noise
  Standard Quantum Limit
  Frequency-dependent squeezing
Current and future detectors
  Timeline and sensitivity
Outline
37
LAAC Tutorial Glasgow

## Slide 40
Timeline of current and future detectors
38
(now)
aLIGO
aLIGO Plus
2020
2025
2030
2016
Design study
Installation
Data taking
LIGO Voyager (current facility)
Cosmic Explorer / ET (new facility with longer baseline)
Experiments
aVIRGO
LIGO-India
KAGRA
LAAC Tutorial Glasgow

## Slide 41
Sensitivity of future detectors
39
LAAC Tutorial Glasgow

## Slide 42
Science enabled by Cosmic Explorer
40
LAAC Tutorial Glasgow
LIGO-DCC: P1600143-v14 (2016)
GW150914

## Slide 43
References for further reading
41
Advanced LIGO:
Advanced LIGO plus:
LIGO Voyager:
Einstein Telescope (ET):
Cosmic Explorer:
Finally, refer to LIGO Instrument Science White Paper (2015-2016)
LSC, Class. Quantum Grav. 32, 074001 (2015)
M. Evans et al, Phys. Rev. D 88, 022002 (2013)
J. Miller et al, Phys. Rev. D 91, 062005 (2015)
R. X. Adhikari et al, LIGO-DCC: T1400226 –v7 (2016)
ET science team, Einstein GW Telescope conceptual design study
S. Dwyer et al, Phys. Rev. D 91, 082001 (2015)
LSC, LIGO-DCC: P1600143-v14 (2016)
LAAC Tutorial Glasgow

## Slide 44
Background
  Gravitational waves and their detection
Basic of noise
  Noise spectral density and transfer function
Environmental noise
  Passive isolation and active cancellation
Thermal noise
  Fluctuation-dissipation theorem
  How to reduce thermal noise
Quantum noise
  Standard Quantum Limit
  Frequency-dependent squeezing
Current and future detectors
  Timeline and sensitivity
Outline
LAAC Tutorial Glasgow