## Slide 1: Detection of gravitational waves with a laser interferometer
Koji Arai (新井宏二) – LIGO Laboratory / Caltech
GW mini-school: Beijing Normal Universuty 2016/9/15~18
LIGO-G1601925-v1
引力波

## Slide 2: Self-introduction
Senior Scientist @Caltech
  Interferometer Sensing and Control
Ph.D (U of Tokyo,1995-1999)
  TAMA300 double suspension
  Interferometer length sensing
  3m prototype interferomter
TAMA300 interferometer (NAOJ 1999-2009)
  Commissioning and science runs
LIGO (Caltech 2009-)
  Output optics chain, eLIGO/aLIGO commissioning

## Slide 3: Detector Topics
Introduction
  Gravitational wave detection with laser interferometers
Laser interferometry
Noises in laser interferometer detectors
Linear control system

## Slide 4: Interferometer GW detection

## Slide 5: GW detection
GW Sources
GW Detectors

## Slide 6: GW: Generation, Propagation, and Detection
Generation:
Change of quadrupole moment
Post-newtonian, NR
Propagation:
Wave equation of
the spacetime metric
Detection:
Quadrupolar “displacement” of the masses
1/R

## Slide 7: Gravitational wave
Quadrupole deformation of the spacetime
GW
Free mass

## Slide 8: GW Detection
GW
free mass
= free fall
free mass
= free fall
Measure strain between free masses
Free fall = no external force
Local measurement show no effect of GW

## Slide 9: GW Detection
Measure strain between free masses
GW
L
M1
M2
Notes: {\bf Metric:\,\,\,} g_{\mu\nu} & = \eta_{\mu\nu} + h_{\mu\nu}\\
\eta_{\mu\nu} =
\left(\begin{matrix}
-1 & 0 & 0 & 0 \\
0 & 1 & 0 & 0 \\
0 & 0 & 1 & 0 \\
0 & 0 & 0 & 1
\end{matrix}\right),\,\,\,&
g_{\mu\nu} =
\left(\begin{matrix}
0 & 0 & 0 & 0 \\
0 & h_{+} & h_{\times} & 0 \\
0 & h_{\times} & h_{+} & 0 \\
0 & 0 & 0 & 1
&\\
\end{matrix}\right)\\
{\bf Distance:\,\,\,} ds^2 & = g_{\mu\nu} dx^{\mu} dx^{\nu} \\
ds^2 & = - (c\,dt)^2 + (1+h_{+}) dx^2 + dy^2 + dz^2

## Slide 10: GW Detection
Measure strain between free masses
Changes in optical distance between the masses
GW
L -> (1+ h/2) L
Notes: \int ds = \int_{\rm M1{\rightarrow}M2} \sqrt{1+h_{+}} dx &\simeq \int_{\rm M1{\rightarrow}M2} (1+h_{+}/2) dx = (1+h_{+}/2) L \\

## Slide 11: Quadrupole nature of GWs
Differential motion => Michelson interferometer
Longer baseline -> bigger change
  (displacement dx) = (Strain h) x (baseline L)
GW effect is tiny
  h~10-21 , L~1km -> dx~10-18 m
Need to measure the phase of the laser light
  => use “laser interferometry”
(1+h/2) L
(1-h/2) L

## Slide 12: Amplitude of GWs
The effect of GW is very small
h ~ 10-21 => distance of 1m changes 10-21m
Corresponds to:
change by ~1 angstrom (or 100pm) for distance between the sun and the earth
1.5 x 1011 m
changes
by a H atom diameter!

## Slide 13: Antenna pattern
Fixed on the ground, can not be directed
Poor directivity => More like an antenna
Antenna pattern (at low frequencies)
Rev. Mod. Phys. 86 (2014) 121-151
http://link.aps.org/doi/10.1103/RevModPhys.86.121 (http://arxiv.org/abs/1305.5188)
h+ hx UNPOL

## Slide 14: Interferometer GW Network
Still shorter than the optimum length
=> Use optical cavity to increase life time of the photons in the arm
LIGO Observatories
Hanford / Livingston 4km
\
c.f. Virgo (FRA/ITA) 3km, KAGRA (JPN) 3km, GEO (GER/GBR) 600m

## Slide 15: Localization capability:
Localization of GW150914 & GW151226

## Slide 16: Localization capability:
LIGO-Virgo only

## Slide 17: Localization capability:
LIGO-Virgo plus LIGO-India

## Slide 18: World Wide GW detector network
LIGO Hanford
LIGO Livingston
Advanced VIRGO
GEO600
KAGRA
LIGO India

## Slide 19: cf. Radio Telescope Interferometer ~ VLBI

## Slide 20: Technologies of Interferometer GW detectors

## Slide 21: Simplified interferometer GW detector
Differential motion => Michelson interferometer

## Slide 22: Actual GW detector (still simplified)
High
Power Laser
Mode
Cleaner
Recycling
Mirrors
4km FP arm cavities
Signal
Readout
Scheme
Data Storage
Data Analysis
Analog Electronics
Digital Control
Seismic Attenuation
Vacuum Envelope
Mirror Suspension
(Quad Pendulum)
Mirror & Coating
Fused Silica fiber

## Slide 23
World’s biggest UHV vacuum system, straighter than earth’s curvature
Large vacuum chambers to accommodate main optics and suspensions
Vacuum system

## Slide 24: Test Masses
Requires the state of the art in substrates, polishing, coating
  Half-nm flatness over 300mm diameter
  0.2 ppm absorption at 1064nm
  Coating specs for 1064 and 532 nm
  Mechanical requirements: bulk and coating thermal noise, high resonant frequency

## Slide 25
~2m
Seismic Isolation system

## Slide 26: Quadruple monolithic suspension
Optics Table Interface
(Seismic Isolation System)
Damping Controls
Electrostatic
Actuation
Hierarchical Global
Controls
Quadruple pendulum suspensions for the test masses
Monolithic final stage using fused silica fibers to suspend 40 kg test mass
Final elements
All Fused silica

## Slide 27: Components of the interferometer
3 elements of a GW detector
  Mechanics
  Optics
  Electronics

## Slide 28: Components of the interferometer
3 elements of a GW detector
  Mechanics
  Optics
  Electronics

## Slide 29: Size of interferometer GW detectors
GW Detection = Length measurement
The longer arms, the bigger the effect
  GW works as strain => dx = hGW x Larm
  Until cancellation of the signal happens
  in the arms
  Optimum arm length
Laser
Photodetector
Mirror
Mirror
Laser
Photodetector
Mirror
Mirror

## Slide 30: Michelson interferometer
Frequency response of the Michelson to GWs
DC Response
longer -> larger
Cut off freq
longer -> lower
Notch freq
f = n c / (2 L)
  Michelson arm length optimized for 1kHz GW -> 75km, too long!

## Slide 31: Fabry-Perot optical resonator
Storing light in an optical cavity
  Input vs circulating: constructive Prompt reflection vs leakage: destructive => The circulating field grows up
  N times more power Equivalent to have N times longer arm
Finesse
Folding Number
99%
99.999%

## Slide 32: Fabry-Perot optical resonator
Storing light in an optical cavity
Finesse
DC Response
amplification
Cutoff freq “Cavity pole”
  1. FP increases stored power in the arm
  2. FP increases accumulation time of the signal
  => Above the roll-off, increasing F does not improve the response

## Slide 33: GW telescope?
A continuous signal stream from an interferometer
GWs and noises: in principle, indistinguishable
=> Anything we detect is GW
Reduce noises!
  Obs. distance is inv-proportional to noise level
  x10 better => x10 farther => x1000 more galaxies

## Slide 34: Sensitivity and noise
Sensitivity (=noise level) of Advanced LIGO
Design

## Slide 35: Sensitivity and noise
Sensitivity (=noise level) of Advanced LIGO
Current sensitivity
h= 8x10-24 /rtHz

## Slide 36: Sensitivity and noise
Sensitivity (=noise level) of Advanced LIGO
Noise budget
h= 2x10-23 /rtHz

## Slide 37: Summary
GWs ~ ripples of the spacetime
GW effect is very small ~ the effect is so small (h<10-21)
Not yet directly detected Sufficiently sensitive detectors allow us to detect
Michelson-type interferometers are used
GW detection is a precise length (=displacement) measurement!

## Slide 38: Summary
Basically, the larger, the better. LIGO has two largest interferometers in the world, and multiple detector will have very important role in GW astronomy
IFO consists of many components Optics / Mechanics / Electronics
and their combinations (e.g. Opto-Electronics)
Noises and signals are, in principle, indistinguishable. Noise reduction is essential