## Title Page
T1600401-v2 SR3 ROC Actuator Elevated Temperature RGA Experiment supplement 170426.xlsx
Abstract | This node houses supporting documentation for an estimate of cost required to execute production planned in T1600575: Collection of documents associated with the PMC "re-work" FDR (Dec 16 / Jan 17)
DCC Number | T1600401
Version | v2 |  | v5 - Added lead times/scheduling chart, hid rows of items irrelevant to buy, revised unit price estimates
Date | 2017/04/26 | 170426 | v4 - Added full Buy List Machined Parts, updated quantities per conversation with Rick Savage.
Author | S Appert |  | v3 - updated per D1600270-v4, Added Buy Qty (Column D) And Spare Qty (Column Z)

## Timeline
[5 empty] | SETTINGS |  |  | SCAN |  | SCAN DURATION |  | ICS Bake-8278 Parameter Table
|  | Temp (°C) | Power (W) | Y AXIS TITLE | DATE | HOUR | Timestamp | DATE | HOUR | HOURS | DAYS | Scan Date | Temp (°C) | Power (W) | Duration (hrs)
24 | 11 thru 16) Two sets of room temperature scans, made before heating the sr3 roc actuator, weeks apart. | 22 | 0 | 22°C (0 W) | 2017-01-03 | 9 | 2017-01-03 09:00 | 2017-01-03 | 12 | 3 | 0.125 | 2017-01-03 | 22 | 0 | 3
26 |  |  |  | °C ( W) |  |  | 0 |  |  | 0 | 0 |  |  |  | 0
27 | 11 thru 16) Two sets of room temperature scans, made before heating the sr3 roc actuator, weeks apart. | 22 | 0 | 22°C (0 W) | 2017-01-03 | 12 | 2017-01-03 12:00 | 2017-01-25 |  | 516 | 21.5 | 2017-01-25 | 22 | 0 | 516
1 | 1 thru 3) Scan set at 42 °C (1.5 W), stable operation for days. | 42 | 1.5 | 42°C (1.5 W) | 2017-02-09 | 12 | 2017-02-09 12:00 | 2017-02-13 | 12 | 96 | 4 | 2017-02-13 | 42 | 1.5 | 96
3 |  |  |  | °C ( W) |  |  | 0 |  |  | 0 | 0 |  |  |  | 0
4 | 4 thru 6) Scan set at 82 °C (6 W), stable operation for less than 12 hours | 82 | 6 | 82°C (6 W) | 2017-02-13 | 12 | 2017-02-13 12:00 | 2017-02-14 | 9 | 21 | 0.875 | 2017-02-14 | 82 | 6 | 21
6 |  |  |  | °C ( W) |  |  | 0 |  |  | 0 | 0 |  |  |  | 0
7 | 7 thru 9) Scan set at 82 °C (6 W), stable operation for 53 hours longer than above | 82 | 6 | 82°C (6 W) | 2017-02-14 | 9 | 2017-02-14 09:00 | 2017-02-16 | 2.3 | 41.3 | 1.7208 | 2017-02-16 | 82 | 6 | 41.3
9 |  |  |  | °C ( W) |  |  | 0 |  |  | 0 | 0 |  |  |  | 0
10 | 10) Background scan only, 18 hours after Background scan [07] | 82 | 6 | 82°C (6 W) | 2017-02-16 | 2.3 | 2017-02-16 02:18 | 2017-02-17 | 7.5 | 29.2 | 1.2167 | 2017-02-17 | 82 | 6 | 29.2
10 |  |  |  | °C ( W) |  |  | 0 |  |  | 0 | 0 |  |  |  | 0
26 |  |  |  | °C ( W) |  |  | 0 |  |  | 0 | 0 |  |  |  | 0
11 | 11) 61 °C (3 W) Scan following the calibration scan 13) | 61 | 3 | 61°C (3 W) | 2017-02-17 | 7.5 | 2017-02-17 07:30 | 2017-02-21 | 9.8 | 98.3 | 4.0958 | 2017-02-21 | 61 | 3 | 98.3
|  |  |  | °C ( W) |  |  | 0 |  |  | 0 | 0 |  |  |  | 0
12 | 12 thru 14) Scan set at 61 °C (3 W), stable operation for > 3 days | 61 | 3 | 61°C (3 W) | 2017-02-17 | 7.5 | 2017-02-17 07:30 | 2017-02-21 | 9.6 | 98.1 | 4.0875 | 2017-02-21 | 61 | 3 | 98.1
14 |  |  |  | °C ( W) |  |  | 0 |  |  | 0 | 0 |  |  |  | 0
| Vent for configuration change |  |  | °C ( W) |  |  | 0 |  |  | 0 | 0 |  |  |  | 0
15 | 15 thru 17) Scan set at 55 °C (3W in new, isolated configuration) | 55 | 3 | 55°C (3 W) | 2017-02-21 | 9.6 | 2017-02-21 09:36 | 2017-03-30 | 7.5 | 885.9 | 36.9125 | 2017-03-30 | 55 | 3 | 885.9
17 |  |  |  | °C ( W) |  |  | 0 |  |  | 0 | 0 |  |  |  | 0
| waiting | 55 | 3 | 55°C (3 W) | 2017-03-30 | 7.5 | 2017-03-30 07:30 | 2017-04-07 | 1900-01-15 | 200.5 | 8.3542 | (waiting) | 55 | 3 | 200.5
|  |  |  | °C ( W) |  |  | 0 |  |  | 0 | 0 |  |  |  | 0
18 | 18 thru 23) Scan set at 64 °C (4W in new, isolated configuration) | 64 | 4 | 64°C (4 W) | 2017-04-07 | 16 | 2017-04-07 16:00 | 2017-04-14 | 14.8 | 166.8 | 6.95 | 2017-04-14 | 64 | 4 | 166.8
23 |  |  |  | °C ( W) |  |  | 0 |  |  | 0 | 0 |  |  |  | 0
| noticed temperature decrease in log; now we know due to atm | 54 | 4 | 54°C (4 W) | 2017-04-14 | 14.8 | 2017-04-14 14:48 | 2017-04-25 | 10 | 259.2 | 10.8 | (vented due to turbo failure) | 54 | 4 | 259.2
|  |  |  | °C ( W) |  |  | 0 |  |  | 0 | 0 |  |  |  | 0
| working on VBO D | 54 | 4 | 54°C (4 W) | 2017-04-25 | 10 | 2017-04-25 10:00 | 2017-04-26 | 12 | 26 | 1.0833 | (current status as of 26 April) | 54 | 4 | 26
Formulas:
Timestamp = [SETTINGS]+[HOUR]/24

## Temp Power vs Time
[5 empty] | SETTINGS |  |  | SCAN |  | SCAN DURATION
|  | Temp (°C) | Power (W) | Y AXIS TITLE | DATE | HOUR | Timestamp | DATE | HOUR | HOURS | DAYS
24 | 11 thru 16) Two sets of room temperature scans, made before heating the sr3 roc actuator, weeks apart. | 22 | 0 | 22°C (0 W) | 2017-01-03 | 9 | 2017-01-03 09:00 | 2017-01-03 | 12 | 3 | 0.125
26 |  | 22 | 0 | 22°C (0 W) | 2017-01-25 | 12 | 2017-01-25 12:00 |  |  | -1026252 | -42760.5
27 | 11 thru 16) Two sets of room temperature scans, made before heating the sr3 roc actuator, weeks apart. | 22 | 0 | 22°C (0 W) | 2017-01-25 | 12 | 2017-01-25 12:00 | 2017-01-25 | 12 | 0 | 0
29 |  | 22 | 0 | 22°C (0 W) | 2017-02-09 | 12 | 2017-02-09 12:00
1 | 1 thru 3) Scan set at 42 °C (1.5 W), stable operation for days. | 42 | 1.5 | 42°C (1.5 W) | 2017-02-09 | 12 | 2017-02-09 12:00 | 2017-02-13 | 12 | 96 | 4
3 |  | 42 | 1.5 | 42°C (1.5 W) | 2017-02-13 | 12 | 2017-02-13 12:00 |  |  | -1026708 | -42779.5
4 | 4 thru 6) Scan set at 82 °C (6 W), stable operation for less than 12 hours | 82 | 6 | 82°C (6 W) | 2017-02-13 | 12 | 2017-02-13 12:00 | 2017-02-14 | 9 | 21 | 0.875
6 |  | 82 | 6 | 82°C (6 W) | 2017-02-14 | 9 | 2017-02-14 09:00 |  |  | -1026729 | -42780.375
7 | 7 thru 9) Scan set at 82 °C (6 W), stable operation for 53 hours longer than above | 82 | 6 | 82°C (6 W) | 2017-02-14 | 9 | 2017-02-14 09:00 | 2017-02-16 | 2.3 | 41.3 | 1.7208
9 |  | 82 | 6 | 82°C (6 W) | 2017-02-16 | 2.3 | 2017-02-16 02:18 |  |  | -1026770.3 | -42782.0958
10 | 10) Background scan only, 18 hours after Background scan [07] | 82 | 6 | 82°C (6 W) | 2017-02-16 | 2.3 | 2017-02-16 02:18 | 2017-02-17 | 7.5 | 29.2 | 1.2167
10 |  | 82 | 6 | 82°C (6 W) | 2017-02-17 | 7.5 | 2017-02-17 07:30 |  |  | -1026799.5 | -42783.3125
11 | 11) 61 °C (3 W) Scan following the calibration scan 13) | 61 | 3 | 61°C (3 W) | 2017-02-17 | 7.5 | 2017-02-17 07:30 | 2017-02-21 | 9.8 | 98.3 | 4.0958
|  | 61 | 3 | 61°C (3 W) | 2017-02-17 | 7.5 | 2017-02-17 07:30 |  |  | -1026799.5 | -42783.3125
12 | 12 thru 14) Scan set at 61 °C (3 W), stable operation for > 3 days | 61 | 3 | 61°C (3 W) | 2017-02-17 | 7.5 | 2017-02-17 07:30 | 2017-02-21 | 9.6 | 98.1 | 4.0875
14 |  | 61 | 3 | 61°C (3 W) | 2017-02-21 | 9.6 | 2017-02-21 09:36 |  |  | -1026897.6 | -42787.4
| Vent for configuration change | 24 | 3 | 24°C (3 W) | 2017-02-21 | 9.6 | 2017-02-21 09:36 |  |  | -1026897.6 | -42787.4
|  | 24 | 3 | 24°C (3 W) | 2017-02-21 | 9.6 | 2017-02-21 09:36
15 | 15 thru 17) Scan set at 55 °C (3W in new, isolated configuration) | 55 | 3 | 55°C (3 W) | 2017-02-21 | 9.6 | 2017-02-21 09:36 | 2017-03-30 | 7.5 | 885.9 | 36.9125 | CONFIGURATION CHANGE PRIOR
17 |  | 55 | 3 | 55°C (3 W) | 2017-03-30 | 7.5 | 2017-03-30 07:30 |  |  | -1027783.5 | -42824.3125
| waiting | 55 | 3 | 55°C (3 W) | 2017-03-30 | 7.5 | 2017-03-30 07:30 | 2017-04-07 | 1900-01-15 | 200.5 | 8.3542
|  | 55 | 3 | 55°C (3 W) | 2017-04-07 | 16 | 2017-04-07 16:00 |  |  | -1027984 | -42832.6667
18 | 18 thru 23) Scan set at 64 °C (4W in new, isolated configuration) | 64 | 4 | 64°C (4 W) | 2017-04-07 | 16 | 2017-04-07 16:00 | 2017-04-14 | 14.8 | 166.8 | 6.95
23 |  | 64 | 4 | 64°C (4 W) | 2017-04-14 | 14.8 | 2017-04-14 14:48 |  |  | -1028150.8 | -42839.6167
| waiting | 64 | 4 | 64°C (4 W) | 2017-04-14 | 14.8 | 2017-04-14 14:48
|  | 64 | 4 | 64°C (4 W) | 2017-04-14 | 14.8 | 2017-04-14 14:48
| noticed temperature decrease in log; now we know due to atm | 54 | 4 | 54°C (4 W) | 2017-04-14 | 14.8 | 2017-04-14 14:48 | 2017-04-25 | 10 | 259.2 | 10.8
|  | 54 | 4 | 54°C (4 W) | 2017-04-25 | 10 | 2017-04-25 10:00 |  |  | -1028410 | -42850.4167
| working on VBO D | 54 | 4 | 54°C (4 W) | 2017-04-25 | 10 | 2017-04-25 10:00 | 2017-04-26 | 12 | 26 | 1.0833
Formulas:
Timestamp = [SETTINGS]+[HOUR]/24
SETTINGS = [SETTINGS, row below]
SETTINGS = [SCAN]