## Sheet1
Procurement list for homemade fibers and feedtrhus for the sites
Total quantities are for 2 sites + spares
In air patch-cords
Description | Location | Length (m) | Qty needed per site | Spares per site | Patch-cord Qty | Nufern Optical Fiber | Total Fiber length to procure | Thorlabs Jacket | Total jacket length to procure | Thorlabs Sleeves | Sleeves Qty | Thorlabs Connectors | Connectors Qty | Connectors Caps | Connectors Caps Qty | Thorlabs Mating sleeves | Sleeves Qty | Sleeves Caps | Sleeves Caps Qty
Green pump to table flange | ISCT6 | 2 | 1 | 1 | 4 | 532nm - Acrylate | 8 | FT061PS | 8 | FTS61A | 8 | 30126A3 | 8 | CAPFM | 8 | ADAFCPM2 | 1 | CAPF1 | 2
Green pump to chamber | Field | 10 | 1 | 1 | 4 | 532nm - Acrylate | 40 | FT061PS | 40 | FTS61A | 8 | 30126A3 | 8 | CAPFM | 8 | ADAFCPM2 | 0 | CAPF1 | 0
Seed to fiber switch | ISCT6 | 0.5 | 1 | 1 | 4 | 1064nm - Acrylate | 2 | FT061PS | 2 | FTS61A | 8 | 30126A3 | 8 | CAPFM | 8 | ADAFCPM2 | 0 | CAPF1 | 0
CLF to fiber switch | ISCT6 | 0.5 | 1 | 1 | 4 | 1064nm - Acrylate | 2 | FT061PS | 2 | FTS61A | 8 | 30126A3 | 8 | CAPFM | 8 | ADAFCPM2 | 0 | CAPF1 | 0
Fiber switch to table flange | ISCT6 | 2 | 1 | 1 | 4 | 1064nm - Acrylate | 8 | FT061PS | 8 | FTS61A | 8 | 30126A3 | 8 | CAPFM | 8 | ADAFCPM2 | 1 | CAPF1 | 2
Seed/CLF to chamber | Field | 10 | 1 | 1 | 4 | 1064nm - Acrylate | 40 | FT061PS | 40 | FTS61A | 8 | 30126A3 | 8 | CAPFM | 8 | ADAFCPM2 | 0 | CAPF1 | 0
Total | - | - | - | - | 24 | - | 100 | - | 100 | - | 48 | - | 48 | - | 48 | - | 2 | - | 4
In vacuum patch-cords
Description | Location | Length (m) | Qty needed per site | Spares per site | Patch-cord Qty | Nufern Optical Fiber | Total Fiber length to procure | Jacket | Total jacket length to procure | Thorlabs Sleeves | Sleeves Qty | Thorlabs Connectors | Connectors Qty | Connectors Caps | Connectors Caps Qty | Thorlabs Mating sleeves | Sleeves Qty | Connectors Caps | Connectors Caps Qty
Green Pump | HAM6 | 6 | 1 | 1 | 4 | 1064nm - Polyimide | 24 | Braid peek | 24 | FTS50A | 8 | 30126A3 | 8 | CAPFM | 8 | ADAFCPM2 | 1 | CAPF1 | 2
CLF/Seed | HAM6 | 6 | 1 | 1 | 4 | 1064nm - Polyimide | 24 | Braid peek | 24 | FTS50A | 8 | 30126A3 | 8 | CAPFM | 8 | ADAFCPM2 | 1 | CAPF1 | 2
Total | - | - | - | - | 8 | - | 48 | - | 48 | - | 16 | - | 16 | - | 16 | - | 2 | - | 4
Fiber feedthrus
Description | Location | Length (m) | Qty needed per site | Spares per site | Feedthru Qty | Nufern Optical Fiber | Total Fiber length to procure | Jacket | Total jacket length to procure | Thorlabs Sleeves | Sleeves Qty | Thorlabs Connectors | Connectors Qty | Connectors Caps | Connectors Caps Qty | Thorlabs Mating sleeves | Sleeves Qty | Connectors Caps | Connectors Caps Qty
Green Pump | HAM6 | 0.1 | 1 | 1 | 4 | 1064nm - Polyimide | 0.4 | - | - | FTS50A | 8 | 30126A3 | 8 | CAPFM | 8 | ADAFCPM2 | 1 | CAPF1 | 2
CLF/Seed | HAM6 | 0.1 | 1 | 1 | 4 | 1064nm - Polyimide | 0.4 | - | - | FTS50A | 8 | 30126A3 | 8 | CAPFM | 8 | ADAFCPM2 | 1 | CAPF1 | 2
Total | - | - | - | - | 8 | - | 0.8 | - | - | - | 16 | - | 16 | - | 16 | - | 2 | - | 4
Supplies Order Summary
Nufern | Reference | Minimal length needed (m) | Length to order (m) | Unit price | Total Price | Link
532nm - Acrylate | S460-HP | 48 | 50 | 9 | 450 | http://www.nufern.com/pam/optical_fibers/974/S460-HP/
1064nm - Acrylate | 1060-OCT | 52 | 50 | 3.4 | 170 | www.nufern.com/pam/optical_fibers/1188/1060-OCT/
1064nm - Polyimide | 1060-OCT-P | 48 | 50 | 4.75 | 237.5 | www.nufern.com/pam/optical_fibers/1188/1060-OCT/
Total | - | - | - | - | 857.5
Wire Care | Reference | Minimal length needed (m) | Length to order (m) | Unit price per feet | Total Price | Link
Peek Jacket | PKN0.13BK | 48 | 58 | 5.65 | 983.1 | https://www.wirecare.com/category/braided-sleeving/advanced-engineering/peek/pkn0.13bk-flexo-peek-1-8-5-ft-cuts?redirected=true
Total | - | - | - | - | 983.1
Thorlabs | Reference | Minimal length (m)/Qty needed | Length (m)/ Qty to order | Unit price | Total Price | Description |  |  |  |  | Link
In air jacket | FT061PS | 100 | 120 | 13.6 | 1632 | Stainless Steel Sleeve for Ø6.1 mm Tubing |  |  |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=FT061PS
Sleeves - In air | FTS61A | 48 | 58 | 8.5 | 493 | Stainless Steel Sleeve for Ø6.1 mm Tubing |  |  |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=FTS61A
Sleeves - In vacuum | FTS50A | 32 | 52 | 7.3 | 379.6 | Stainless Steel Sleeve for Ø5.0 mm Tubing |  |  |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=FTS50A
Connectors | 30126A3 | 80 | 90 | 8.55 | 769.5 | FC/APC Single Mode Connector, Ø126 µm Bore |  |  |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=30126A3
Connectors Caps | CAPFM | 80 | 20 | 7.15 | 143 | Metal Threaded Caps for FC Connectors, 4 Pack |  |  |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=CAPFM
Mating sleeves | ADAFCPM2 | 6 | 18 | 49 | 882 | FC/APC Mating Sleeve, Narrow Precision Key |  |  |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=ADAFCPM2
Sleeves Caps | CAPF1 | 12 | 16 | 7.4 | 118.4 | Metal Cap for FC/APC Mating Sleeves |  |  |  |  | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=312&pn=CAPF1#6729
Epoxy | 353NDPK | 4 | 4 | 71.25 | 285 | Hi-Temp Epoxy, 4g Packets, 10 per Pack |  |  |  |  | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1452&pn=353NDPK#1301
Seringes | MS403-10 | 4 | 2 | 10.5 | 21 | 3 cc Empty Epoxy Syringe, Package of 10 |  |  |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=MS403-10
Cleaver | S90R | 2 | 2 | 51.75 | 103.5 | Ruby DualScribe™ Fiber Optic Scribe |  |  |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=S90R
Polishing supplies | LF1D | 2 | 2 | 41.75 | 83.5 | LF1D 6" x 6" Diamond Lapping (Polishing) Sheets, 1 µm Grit (5 Sheets) |  |  |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=LF1D
Polishing supplies | LF3D | 2 | 2 | 41.75 | 83.5 | 6" x 6" Diamond Lapping (Polishing) Sheets, 3 µm Grit (5 Sheets) |  |  |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=LF3D
Polishing supplies | LF6D | 2 | 2 | 41.75 | 83.5 | 6" x 6" Diamond Lapping (Polishing) Sheets, 6 µm Grit (5 Sheets) |  |  |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=LF6D
Ferules | SF230-10 | 2 | 2 | 76.5 | 153 | Ø2.5 mm Multimode (FC/PC, SC/PC, or ST®/PC) Stainless Steel Ferrule |  |  |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=SF230-10
Total | - | - | - | - | 5230.5
Grand Total | - | - | - | - | 7071.1