## Slide 1: A+ FOR LIGO
GariLynn Billingsley
On Behalf of
LIGO Laboratory
Advanced LIGO UK Group
Oz-Grav ANU, Oz-Grav UA
LVC 21 March 2019
LIGO-G1900666-v1

## Slide 2: Performance goals
observing range improvement
NS:NS 1.4 M
173 Mpc
-> 325 Mpc
BH:BH 30 M
1606 Mpc
-> 2563 Mpc
quantum
coating thermal
LIGO Document T1800042-v5 (public)
.
.
aLIGO curves are shown dotted
for reference

## Slide 3: Sketch S. Hild
Test Mass Coatings
Lower CTN
Larger Beamsplitter
450 mm
Balanced Homodyne Readout
Frequency Dependent Squeezing

## Slide 4: A+ Cartoon
+Y
+X
UK/US breakout see LIGO-G1900646

## Slide 5
A+, SITE LAYOUT (H1)
(EXTRACTED FROM LIGO D1900060)
+Y
+X

## Slide 6
Livingston
A+ Filter Cavity End Station Building Sites
View toward LVEA

## Slide 7
A+, SITE LAYOUT (H1):
END STATION
(EXTRACTED FROM LIGO D1900060)
+Y
+X

## Slide 8
E. Sanchez at CIT
More at LIGO-G1900621
+Y
+X

## Slide 9
E. Sanchez at CIT
More at LIGO-G1900621
+Y
+X

## Slide 10
HAM Double Suspension (aka SAMS)
Up to 12 Double Suspension for A+
First units possibly installed for O4
HDS Main functionalities:
Seismic isolation (2 stages)
DC tip-tilt steering
Dither for alignment signals (2kHz tip-tilt)
Mode matching (Mirror curvature control
D1800027-v14
Top Level Conceptual Layout of A+
Huy Tuong Cao, Sebastian Ng, Daniel Brown, Peter Veitch at University of Adelaide
Minkyun Noh, Peter Fritschel, Fabrice Matichard at MIT
Calum Torrie, Dennis Coyne, Aidan Brooks at Caltech
+Y
+X

## Slide 11
Thermal expansion allows assembly and provides actuation
Demonstrated low higher order aberration
No adhesive
Requires optimization of geometry
Curvature actuation: up to ~ 3 mD / degree C
11
LIGO-E1900073: SAMS - Thermal adaptive optics geometry parameter optimization
LIGO-E1900044: SAMS-Compression fit mirror A+ Stress and deformation optimization
The University of Adelaide
Compression Fit Mirror (CFM) - Cao Huy-Tuong, Sebastian Ng, Peter Veicht

## Slide 12
Piezo Deformable Mirror
LIGO-E1900007: SAMS Development - Summary 4 - Piezo flexure mechanism
Piezo flexure mechanism designed by Minkyun Noh
Compression fit inspired by Adelaide’s concepts
Flexure Mechanism designed to translate axial displacement into moment on the barrel of the mirror.
Pros | Cons
High bandwidth Adhesive-free Standard mirror Standard PZT | PZT hysteresis Sensing for closed-loop control Flexure machining Large inertia for dithering PZT column resonance

## Slide 13
Suspension Concepts
Thermal Deformable Mirror
Piezo Deformable Mirror
LIGO-E1900066: SAMS - Suspension Interface: Bracket Option
LIGO-E1900056: SAMS - Suspension Interface

## Slide 14: A+ Team
Name | Home | A+WBS/WP | A+ Project Subsystem/WP Title
D. Reitze | CIT | PM | PI
A. Lazzarini | CIT | PM | Co-PI
M. Zucker | MIT | PM, FAC | Co-Pi, Facilities
G. Billingsley | CIT | PM, COC | Project Lead Engineer, Optical Test
H. Hansen | LHO | PM | Business
C. Torrie | CIT | SYS | Systems Engineering
N. Robertson | CIT | SUS | Suspensions
K. Mason | MIT | SEI | Seismic Isolation
R. Abbott | CIT | CDS | Controls & Data Systems
C. Romel | LHO | VAC | Vacuum Systems
L. Barsotti | MIT | ISC | Interferometric Sensing & Controls
S. Rowan | GU | WP1 | Test Mass Production/Coatings
K. Strain | GU | WP2/WP7 | Beamsplitter Production and Project Management
J. O’Dell | RAL | WP3 | Suspensions
C. Mow-Lowry | BU | WP4 | Sensors and Actuators
S. Hild | GU+CU | WP5 | Balanced Homodyne Readout
G. Hammond | GU | WP6 | Suspension Upgrades

## Slide 15: Project Summary
  PM infrastructure is in place
    Resource-loaded schedule now under baseline review
    WBS, cost accrual structures and interface definitions complete
  Early deliverables on track for pre-O4 integration
    Facility Design Requirements complete and reviewed
    Vacuum Design Requirements complete and reviewed, moving into procurement
    Seismic isolation systems, fabrication underway
    Low Loss Output Faraday Design Requirements complete, moving into procurement
  UK announcement in February 2019
    Integrate deliverables into plan and move ahead together on all fronts

## Slide 16: Extra Slides

## Slide 17: LLO February 27, 2019

## Slide 18: UK Work Package Overview
See also
LIGO-G1900646