## Slide 1: Radio Frequency Noise Reduction in the LIGO Hanford Observatory
Matthew Withers
2019 Caltech SURF Program
Mentors: Dick Gustafson and Keita Kawabe
LIGO-T1900364-v3

## Slide 2: Overview
RF Distribution System Overview
Project #1 – Eliminating Harmonic Generation in the RF Distribution Amplifier
Project #2 – Mapping RF Cable Noise to DARM
  Mapping Methodology
  Experiment #1: Cable Characterization
  Experiment #2: RF Noise Injections
  Experiment #3: Cable Noise Profile Collection
Future Work
LIGO-T1900364-v3

## Slide 3: aLIGO RF Distribution System
The aLIGO RF Distribution System produces and distributes a variety of radio frequency signals, which are used to modulate/demodulate the signal channels used to monitor and control the IFO
  Main Modulation Frequencies: 9.10023 MHz and 45.50115 MHz
RF Distribution affects a multitude of IFO subsystems (e.g., ISC, PSL, etc.)
Noise reduction in the RF Distribution system is critical – ensures that RF noise does not propagate to other IFO systems
LIGO-T1900364-v3

## Slide 4: Project #1: Harmonic Noise Elimination
The RF Distribution Amplifier (D1000124)
LIGO-T1900364-v3

## Slide 5: Project #1: Harmonic Noise Elimination
Sample Harmonic Noise Profile (10 MHz Amp)
LIGO-T1900364-v3

## Slide 6: Project #1: Harmonic Noise Elimination
RF Distribution Amplifier
LIGO-T1900364-v3

## Slide 7: Project #1: Harmonic Noise Elimination
Solution: RL Filtering
Filter Requirements:
Fundamental Freq. Falls before -1 dB Cutoff
Second Harmonic Falls after -20 dB Cutoff
LIGO-T1900364-v3

## Slide 8: Project #1: Harmonic Noise Elimination
Corrected RF Amplifier Output (10 MHz Amp)
LIGO-T1900364-v3

## Slide 9: Project #2: Mapping Cable Noise to DARM
Shield Noise Overview
  H1 uses HELIAX LDF4-50A cables from Andrew
LIGO-T1900364-v3

## Slide 10: Project #2: Mapping Cable Noise to DARM
Mapping Methodology:
LIGO-T1900364-v3

## Slide 11: Project #2: Mapping Cable Noise to DARM
Sample Shield Noise Profile
LIGO-T1900364-v3
Notes: Looks scary -> but how do we know if it really affects the IFO?

## Slide 12: Project #2: Mapping Cable Noise to DARM
DARM Response of March 2019 RF Signal Injection
Injection Line (55 Hz)
LIGO-T1900364-v3

## Slide 13: Project #2: Mapping Cable Noise to DARM
Experiment #1: Cable Characterization
Experiment #2: RF Noise Injection
Experiment #3: RF Noise Profile Collection
Mapping Methodology:
LIGO-T1900364-v3

## Slide 14: Project #2: Mapping Cable Noise to DARM
Experiment #1: Cable Characterization - Setup
LIGO-T1900364-v3

## Slide 15: Project #2: Mapping Cable Noise to DARM
Experiment #1: Cable Characterization - Results
LIGO-T1900364-v3

## Slide 16: Project #2: Mapping Cable Noise to DARM
Experiment #1: Cable Characterization
Experiment #2: RF Noise Injection
Experiment #3: RF Noise Profile Collection

## Slide 17: Project #2: Mapping Cable Noise to DARM
Experiment #2: Noise Injections - Setup
LIGO-T1900364-v3

## Slide 18: Project #2: Mapping Cable Noise to DARM
Experiment #2: Noise Injections - Results
Injection Line (50 Hz)
LIGO-T1900364-v3

## Slide 19: Project #2: Mapping Cable Noise to DARM
Experiment #2: Noise Injections - Results
LIGO-T1900364-v3

## Slide 20: Project #2: Mapping Cable Noise to DARM
Experiment #1: Cable Characterization
Experiment #2: RF Noise Injection
Experiment #3: RF Noise Profile Collection
LIGO-T1900364-v3

## Slide 21: Project #2: Mapping Cable Noise to DARM
Experiment #3: RF Noise Profile Collection - Setup
LIGO-T1900364-v3

## Slide 22: Project #2: Mapping Cable Noise to DARM
Experiment #3: RF Noise Profile Collection - Results
LIGO-T1900364-v3

## Slide 23: Project #2: Mapping Cable Noise to DARM
Experiment #3: RF Noise Profile Collection - Results
LIGO-T1900364-v3

## Slide 24: Project #2: Mapping Cable Noise to DARM
Experiment #3: RF Noise Profile Collection - Results
LIGO-T1900364-v3

## Slide 25: Project #2: Mapping Cable Noise to DARM
Experiment #3: RF Noise Profile Collection - Results
LIGO-T1900364-v3

## Slide 26: Project #2: Mapping Cable Noise to DARM
Experiment #1: Cable Characterization
Experiment #2: RF Noise Injection
Experiment #3: RF Noise Profile Collection
LIGO-T1900364-v3

## Slide 27: Project #2: Mapping Cable Noise to DARM
Final Results: Main 9.10023 MHz Cable
LIGO-T1900364-v3

## Slide 28: Project #2: Mapping Cable Noise to DARM
Final Results: Secondary 9.10023 MHz Cable
LIGO-T1900364-v3

## Slide 29: Future Work
Project #1:
  Investigate the phase shift introduced by each filter to determine the impact of filter insertion on the phasing of the RF Distribution System
Project #2:
  Perform mapping process on other RF frequencies, especially the 45.5 MHz lines
Combination:
  Develop a method for mapping the harmonic noise present in the RF Distribution Amps to DARM
LIGO-T1900364-v3

## Slide 30: Acknowledgements
Special Thanks Goes to the Following Individuals for their Contributions to the Project
  Mentors: Dick Gustafson and Keita Kawabe
  EE Lab Help: Marc Pirello and Filiberto Clara
LIGO-T1900364-v3